## Slide 1
NPRR1107: Proposed New User Fees for 2021 Weatherization Inspections
David Kezell
Director, Weatherization and Inspection
Protocol Revision Subcommittee
November 10, 2021
ERCOT Public

## Slide 2: Proposed New User Fees for 2021 Weatherization Efforts
S.B. 3 -- Creates New Weatherization Obligations for PUCT and ERCOT
  Requires the weatherization of all generation, transmission, and natural gas facilities and pipelines within the State of Texas. Failure to comply can result in a penalty of $1,000,000 per day.
  Requires PUCT to adopt weatherization reliability standards.
  Requires ERCOT to conduct inspections of generation and transmission facilities regarding the standards adopted by PUCT.
PUCT Rule 25.55 – Requires Winter Weather Preparation Measures & Requires ERCOT to:
  prescribe a form for winter weather readiness reports,
  file checklist forms,
  file compliance reports,
  conduct inspections,
  provide inspection reports, and
  adopt rules associated with weatherization of generation and transmission facilities.

## Slide 3: Proposed New User Fees for 2021 Weatherization Efforts
ERCOT Board of Director’s Meeting on August 10, 2021
  Approved ERCOT’s 2022-23 budget.
  The budget is based upon the System Admin. Fee remaining the same.
  ERCOT Board adopted a resolution that instructed ERCOT to seek “full recovery” of weatherization inspection costs separately from the System Admin. Fee (as a user fee).
ERCOT Board Policies & Procedures – Section IX applies to user fees
  Section 9.1 requires that a new user fee must be approved by the Board pursuant to the Revision Request process and must be identified in the ERCOT Fee Schedule.
  Section 9.2 – recommends that a new user fee should:
    produce revenue in excess of $1,000,000.00 annually, or materially improve ERCOT operations.
    be incremental to revenue recovered through the System Administration Fee.
    be for a service that benefits a relatively few discrete Market Segments or Market Participants rather than providing general benefit to most Market Segments or Market Participants

## Slide 4: Proposed New User Fees for 2021 Weatherization Efforts
ERCOT’s Plan for Weatherization Inspections in 2021
  All inspections are anticipated to occur during December 2-23, 2021
  174 dispatchable Generation Resources
  133 Intermittent Renewable Resources (IRR)
  This represents 85% of the lost MWhrs among that type of Resource during Winter Storm Uri
  Two contractor firms (with ERCOT assistance) will perform inspections of the Generation Resources
  20-25 TSP Transmission Facilities that had weather related problems during Winter Storm Uri or are considered critical for grid reliability
  ERCOT staff will perform inspections of the TSP Transmission Facilities
ERCOT’s Plan for Weatherization Inspections in 2022
  Inspections will likely use same criteria and fee structure as 2021
  PUCT will undertake “Phase 2” of weatherization rulemaking efforts that will result in new standards
  These standards will likely drive a period of engineering evaluations, gap analyses, engineering design, procurement and installation of additional weatherization components at many Resource Entity and TSP facilities throughout ERCOT
  At some future point, the costs associated with inspections may be absorbed by the System Admin. Fee

## Slide 5: Proposed New User Fees for 2021 Weatherization Efforts
Proposed User Fees for 2021 Weatherization Inspections
  Inspection fee for Intermittent Renewable Resources (IRRs) and Energy Storage Resources (ESRs) = $4,000
  Inspection fee for all other Generation Resources = $12,500
  Inspection fee for TSP Transmission Facilities = $3,000
  Any reinspection occurring in 2022 will be at 50% of the cost of the original inspection
  Invoices will be sent to the Resource Entity or TSP by December 31,2021, with payment due in 30 days and 18% annual interest charges if late
  Inspection fees in 2022 will use the 2021 fee amounts
Weatherization Inspection Costs and Revenue from Fees
  Estimated accumulated cost associated with inspections by EOY 2021 = $2.791M
  Estimated revenue from inspection fees = $2.767M

## Slide 6: Proposed New User Fees for 2021 Weatherization Efforts
Cost Basis for ESR and IRR Inspections ($4,000/unit)
  Market based cost from competitively bid inspection requisition
  Internal support costs including program management, legal support, DocuSign licenses, and related overhead
  Number of inspections required
Cost Basis for all other Generation Resource Inspections ($12,500/unit)
  Market based cost from competitively bid inspection services requisition
  Internal support costs including program management, legal support, DocuSign licenses, and related overhead
  Number of inspections required
Cost Basis for Transmission Facility Inspections ($3,000/unit)
  Internal cost based upon ERCOT standard employee rate ($90 per hour) at 16 person-hours per inspection, plus incidental travel costs
  Internal support costs including program management, legal support, DocuSign licenses, and related overhead