## Assumptions 1
Source:
ERCOT's May TAC/BOD Presentation

## Assumptions 2
Source:
ERCOT's May TAC/BOD Presentation

## Summary - Years 1-4
Cumulative Effect of the Valley Constraint on the South Load Zone
Based on an annual recurrence of December 2010 - March 2011
Note that these numbers are based on only 50.5 hours of congestion annually on this constraint.
| No Action | WMS Proposal - $5,000 reset | WMS Proposal $2,000 reset | WMS Proposal - No Reset | ERCOT Proposal
Year 1 | 556090514.68 | 216471231.4672 | 216471231.4672 | 216471231.4672 | 104905317.78
Year 2 | 1112181029.36 | 432942462.9344 | 419932853.2952 | 253889151.3212 | 124881657.32
Year 3 | 1668271544.04 | 649413694.4016 | 623394475.1232 | 291307071.1752 | 144857996.86
Year 4 | 2224362058.72 | 865884925.8688 | 826856096.9512 | 328724991.0292 | 164834336.4

## Year 1
Year 1
Pre - $350 |  | WMS Proposal - $5,000 Reset |  | WMS Proposal - $2,000 Reset |  | WMS Proposal with NO Annual Reset |  | ERCOT Proposal
50.5 | Hours Binding | 8 | Hours at $5,000 Shadow Price Cap before meeting irresolvable constraint threshold | 8 | Hours at $5,000 Shadow Price Cap before meeting irresolvable constraint threshold | 8 | Hours at $5,000 Shadow Price Cap before meeting irresolvable constraint threshold | 8 | Hours at $5,000 Shadow Price Cap before meeting irresolvable constraint threshold
6316 | Average SZ Load | 28.3 | Hours Binding @ $2,000 Shadow Price Cap | 28.3 | Hours Binding @ $2,000 Shadow Price Cap | 28.3 | Hours Binding @ $2,000 Shadow Price Cap | 42.5 | Hours Binding @$350
1806.83 | Average SZ LMP @ $5,000 Shadow Price Cap | 14.2 | Hours Binding at LCAP | 14.2 | Hours Binding at LCAP | 14.2 | Hours Binding at LCAP | 6316 | Average SZ Load
63.37 | Average N, H, W Zone LMPs | 6316 | Average SZ Load | 6316 | Average SZ Load | 6316 | Average SZ Load | 1806.83 | Average SZ LMP @ $5,000 Shadow Price Cap
1743.46 | Price Difference SLZ / Others | 1806.83 | Average SZ LMP @ $5,000 Shadow Price Cap | 1806.83 | Average SZ LMP @ $5,000 Shadow Price Cap | 1806.83 | Average SZ LMP @ $5,000 Shadow Price Cap | 126 | Average SZ LMP
|  | 722.732 | Average SZ LMP @ $2,000 Shadow Price Cap | 722.732 | Average SZ LMP @ $2,000 Shadow Price Cap | 722.732 | Average SZ LMP @ $2,000 Shadow Price Cap | 63.37 | Average N, H, W Zone LMPs
|  | 180.683 | Average SZ LMP @ LCAP | 180.683 | Average SZ LMP @ LCAP | 180.683 | Average SZ LMP @ LCAP | 1743.46 | Price Difference SLZ / Others @ $5,000 Shadow Price Cap
|  | 63.37 | Average N, H, W Zone LMPs | 63.37 | Average N, H, W Zone LMPs | 63.37 | Average N, H, W Zone LMPs | 62.63 | Price Difference SLZ / Others
|  | 1743.46 | Price Difference SLZ / Others @ $5,000 Shadow Price Cap | 1743.46 | Price Difference SLZ / Others @ $5,000 Shadow Price Cap | 1743.46 | Price Difference SLZ / Others @ $5,000 Shadow Price Cap
|  | 659.362 | Price Difference SLZ / Others @ $2,000 Shadow Price Cap | 659.362 | Price Difference SLZ / Others @ $2,000 Shadow Price Cap | 659.362 | Price Difference SLZ / Others @ $2,000 Shadow Price Cap
|  | 117.313 | Price Difference SLZ/Others @ LCAP | 117.313 | Price Difference SLZ/Others @ LCAP | 117.313 | Price Difference SLZ/Others @ LCAP
556090514.68 | Additional Cost to South Load Zone Consumers over other zones | 216471231.4672 | Additional Cost to South Load Zone Consumers over other zones | 216471231.4672 | Additional Cost to South Load Zone Consumers over other zones | 216471231.4672 | Additional Cost to South Load Zone Consumers over other zones | 104905317.78 | Additional Cost to South Load Zone Consumers over other zones
|  | Supporting Information |  | Supporting Information |  | Supporting Information |  | Supporting Information
|  | Average SZ LMPs |  | Average SZ LMPs |  | Average SZ LMPs |  | Average SZ LMP
|  | 5000 | Pre - $350 shadow price | 5000 | Pre - $350 shadow price | 5000 | Pre - $350 shadow price | 5000 | Pre - $350 shadow price
|  | 1806.83 | Resulting Pre - $350 load zone price | 1806.83 | Resulting Pre - $350 load zone price | 1806.83 | Resulting Pre - $350 load zone price | 1800 | Resulting Pre - $350 load zone price
|  | 2000 | WMS Proposed Shift factor cap | 2000 | WMS Proposed Shift factor cap | 2000 | WMS Proposed Shift factor cap | 350 | ERCOT Proposal
|  | 722.732 | Resulting Estimated LZ price based on WMS Proposal | 722.732 | Resulting Estimated LZ price based on WMS Proposal | 722.732 | Resulting Estimated LZ price based on WMS Proposal | 126 | Resulting Estimated LZ price based on WMS Proposal
|  | 500 | LCAP | 500 | LCAP | 500 | LCAP
|  | 180.683 | LZ Price @ LCAP | 180.683 | LZ Price @ LCAP | 180.683 | LZ Price @ LCAP
|  | Hours Binding |  | Hours Binding |  | Hours Binding
|  | 95000 | Net Margin from WMS Proposal | 95000 | Net Margin from WMS Proposal | 95000 | Net Margin from WMS Proposal
|  | 2000 | Cap from WMS Proposal | 2000 | Cap from WMS Proposal | 2000 | Cap from WMS Proposal
|  | 4.5 | Gas Price | 4.5 | Gas Price | 4.5 | Gas Price
|  | 10 | Heat Rate From WMS Proposal | 10 | Heat Rate From WMS Proposal | 10 | Heat Rate From WMS Proposal
|  | 45 | POC from WMS Proposal | 45 | POC from WMS Proposal | 45 | POC from WMS Proposal
|  | 1955 | Net Margin by Hour @ $2,000 Cap | 1955 | Net Margin by Hour @ $2,000 Cap | 1955 | Net Margin by Hour @ $2,000 Cap
|  | 4955 | Net Margin by Hour @ $5,000 Cap | 4955 | Net Margin by Hour @ $5,000 Cap | 4955 | Net Margin by Hour @ $5,000 Cap
|  | 28.3171 | Hours to Reach Net Margin @ $2,000 Cap | 28.3171 | Hours to Reach Net Margin @ $2,000 Cap | 28.3171 | Hours to Reach Net Margin @ $2,000 Cap

## Year 2
Year 2
Pre - $350 |  | WMS Proposal - $5,000 Reset |  | WMS Proposal - $2,000 Reset |  | WMS Proposal with NO Annual Reset |  | ERCOT Proposal
50.5 | Hours Binding | 8 | Hours at $5,000 Shadow Price Cap before meeting irresolvable constraint threshold | 0 | Hours at $5,000 Shadow Price Cap before meeting irresolvable constraint threshold | 0 | Hours at $5,000 Shadow Price Cap before meeting irresolvable constraint threshold | 0 | Hours at $5,000 Shadow Price Cap before meeting irresolvable constraint threshold
6316 | Average SZ Load | 28.3 | Hours Binding @ $2,000 Shadow Price Cap | 48.5 | Hours Binding @ $2,000 Shadow Price Cap | 0 | Hours Binding @ $2,000 Shadow Price Cap | 50.5 | Hours Binding @$350
1806.83 | Average SZ LMP @ $5,000 Shadow Price Cap | 14.2 | Hours Binding at LCAP | 2 | Hours Binding at LCAP | 50.5 | Hours Binding at LCAP | 6316 | Average SZ Load
63.37 | Average N, H, W Zone LMPs | 6316 | Average SZ Load | 6316 | Average SZ Load | 6316 | Average SZ Load | 1806.83 | Average SZ LMP @ $5,000 Shadow Price Cap
1743.46 | Price Difference SLZ / Others | 1806.83 | Average SZ LMP @ $5,000 Shadow Price Cap | 1806.83 | Average SZ LMP @ $5,000 Shadow Price Cap | 1806.83 | Average SZ LMP @ $5,000 Shadow Price Cap | 126 | Average SZ LMP
|  | 722.732 | Average SZ LMP @ $2,000 Shadow Price Cap | 722.732 | Average SZ LMP @ $2,000 Shadow Price Cap | 722.732 | Average SZ LMP @ $2,000 Shadow Price Cap | 63.37 | Average N, H, W Zone LMPs
|  | 180.683 | Average SZ LMP @ LCAP | 180.683 | Average SZ LMP @ LCAP | 180.683 | Average SZ LMP @ LCAP | 1743.46 | Price Difference SLZ / Others @ $5,000 Shadow Price Cap
|  | 63.37 | Average N, H, W Zone LMPs | 63.37 | Average N, H, W Zone LMPs | 63.37 | Average N, H, W Zone LMPs | 62.63 | Price Difference SLZ / Others
|  | 1743.46 | Price Difference SLZ / Others @ $5,000 Shadow Price Cap | 1743.46 | Price Difference SLZ / Others @ $5,000 Shadow Price Cap | 1743.46 | Price Difference SLZ / Others @ $5,000 Shadow Price Cap
|  | 659.362 | Price Difference SLZ / Others @ $2,000 Shadow Price Cap | 659.362 | Price Difference SLZ / Others @ $2,000 Shadow Price Cap | 659.362 | Price Difference SLZ / Others @ $2,000 Shadow Price Cap
|  | 117.313 | Price Difference SLZ/Others @ LCAP | 117.313 | Price Difference SLZ/Others @ LCAP | 117.313 | Price Difference SLZ/Others @ LCAP
556090514.68 | Additional Cost to South Load Zone Consumers over other zones | 216471231.4672 | Additional Cost to South Load Zone Consumers over other zones | 203461621.828 | Additional Cost to South Load Zone Consumers over other zones | 37417919.854 | Additional Cost to South Load Zone Consumers over other zones | 19976339.54 | Additional Cost to South Load Zone Consumers over other zones
1112181029.36 | Cumulative Cost | 432942462.9344 | Cumulative Cost | 419932853.2952 | Cumulative Cost | 253889151.3212 | Cumulative Cost | 124881657.32 | Cumulative Cost
|  | Supporting Information |  | Supporting Information |  | Supporting Information |  | Supporting Information
|  | Average SZ LMPs |  | Average SZ LMPs |  | Average SZ LMPs |  | Average SZ LMP
|  | 5000 | Pre - $350 shadow price | 5000 | Pre - $350 shadow price | 5000 | Pre - $350 shadow price | 5000 | Pre - $350 shadow price
|  | 1806.83 | Resulting Pre - $350 load zone price | 1806.83 | Resulting Pre - $350 load zone price | 1806.83 | Resulting Pre - $350 load zone price | 1800 | Resulting Pre - $350 load zone price
|  | 2000 | WMS Proposed Shift factor cap | 2000 | WMS Proposed Shift factor cap | 2000 | WMS Proposed Shift factor cap | 350 | ERCOT Proposal
|  | 722.732 | Resulting Estimated LZ price based on WMS Proposal | 722.732 | Resulting Estimated LZ price based on WMS Proposal | 722.732 | Resulting Estimated LZ price based on WMS Proposal | 126 | Resulting Estimated LZ price based on WMS Proposal
|  | 500 | LCAP | 500 | LCAP | 500 | LCAP
|  | 180.683 | LZ Price @ LCAP | 180.683 | LZ Price @ LCAP | 180.683 | LZ Price @ LCAP
|  | Hours Binding |  | Hours Binding |  | Hours Binding
|  | 95000 | Net Margin from WMS Proposal | 95000 | Net Margin from WMS Proposal | 95000 | Net Margin from WMS Proposal
|  | 2000 | Cap from WMS Proposal | 2000 | Cap from WMS Proposal | 2000 | Cap from WMS Proposal
|  | 4.5 | Gas Price | 4.5 | Gas Price | 4.5 | Gas Price
|  | 10 | Heat Rate From WMS Proposal | 10 | Heat Rate From WMS Proposal | 10 | Heat Rate From WMS Proposal
|  | 45 | POC from WMS Proposal | 45 | POC from WMS Proposal | 45 | POC from WMS Proposal
|  | 1955 | Net Margin by Interval @ $2,000 Cap | 1955 | Net Margin by Interval @ $2,000 Cap | 1955 | Net Margin by Hour @ $2,000 Cap
|  | 4955 | Net Margin by Interval @ $5,000 Cap | 4955 | Net Margin by Interval @ $5,000 Cap | 4955 | Net Margin by Hour @ $5,000 Cap
|  | 28.3171 | Hours to Reach Net Margin @ $2,000 Cap | 48.5934 | Hours to Reach Net Margin @ $2,000 Cap | 48.5934 | Hours to Reach Net Margin @ $2,000 Cap

## Year 3
Year 3
Pre - $350 |  | WMS Proposal - $5,000 Reset |  | WMS Proposal - $2,000 Reset |  | WMS Proposal with NO Annual Reset |  | ERCOT Proposal
50.5 | Hours Binding | 8 | Hours at $5,000 Shadow Price Cap before meeting irresolvable constraint threshold | 0 | Hours at $5,000 Shadow Price Cap before meeting irresolvable constraint threshold | 0 | Hours at $5,000 Shadow Price Cap before meeting irresolvable constraint threshold | 0 | Hours at $5,000 Shadow Price Cap before meeting irresolvable constraint threshold
6316 | Average SZ Load | 28.3 | Hours Binding @ $2,000 Shadow Price Cap | 48.5 | Hours Binding @ $2,000 Shadow Price Cap | 0 | Hours Binding @ $2,000 Shadow Price Cap | 50.5 | Hours Binding @$350
1806.83 | Average SZ LMP @ $5,000 Shadow Price Cap | 14.2 | Hours Binding at LCAP | 2 | Hours Binding at LCAP | 50.5 | Hours Binding at LCAP | 6316 | Average SZ Load
63.37 | Average N, H, W Zone LMPs | 6316 | Average SZ Load | 6316 | Average SZ Load | 6316 | Average SZ Load | 1806.83 | Average SZ LMP @ $5,000 Shadow Price Cap
1743.46 | Price Difference SLZ / Others | 1806.83 | Average SZ LMP @ $5,000 Shadow Price Cap | 1806.83 | Average SZ LMP @ $5,000 Shadow Price Cap | 1806.83 | Average SZ LMP @ $5,000 Shadow Price Cap | 126 | Average SZ LMP
|  | 722.732 | Average SZ LMP @ $2,000 Shadow Price Cap | 722.732 | Average SZ LMP @ $2,000 Shadow Price Cap | 722.732 | Average SZ LMP @ $2,000 Shadow Price Cap | 63.37 | Average N, H, W Zone LMPs
|  | 180.683 | Average SZ LMP @ LCAP | 180.683 | Average SZ LMP @ LCAP | 180.683 | Average SZ LMP @ LCAP | 1743.46 | Price Difference SLZ / Others @ $5,000 Shadow Price Cap
|  | 63.37 | Average N, H, W Zone LMPs | 63.37 | Average N, H, W Zone LMPs | 63.37 | Average N, H, W Zone LMPs | 62.63 | Price Difference SLZ / Others
|  | 1743.46 | Price Difference SLZ / Others @ $5,000 Shadow Price Cap | 1743.46 | Price Difference SLZ / Others @ $5,000 Shadow Price Cap | 1743.46 | Price Difference SLZ / Others @ $5,000 Shadow Price Cap
|  | 659.362 | Price Difference SLZ / Others @ $2,000 Shadow Price Cap | 659.362 | Price Difference SLZ / Others @ $2,000 Shadow Price Cap | 659.362 | Price Difference SLZ / Others @ $2,000 Shadow Price Cap
|  | 117.313 | Price Difference SLZ/Others @ LCAP | 117.313 | Price Difference SLZ/Others @ LCAP | 117.313 | Price Difference SLZ/Others @ LCAP
556090514.68 | Additional Cost to South Load Zone Consumers over other zones | 216471231.4672 | Additional Cost to South Load Zone Consumers over other zones | 203461621.828 | Additional Cost to South Load Zone Consumers over other zones | 37417919.854 | Additional Cost to South Load Zone Consumers over other zones | 19976339.54 | Additional Cost to South Load Zone Consumers over other zones
1668271544.04 | Cumulative Cost | 649413694.4016 | Cumulative Cost | 623394475.1232 | Cumulative Cost | 291307071.1752 | Cumulative Cost | 144857996.86 | Cumulative Cost
|  | Supporting Information |  | Supporting Information |  | Supporting Information |  | Supporting Information
|  | Average SZ LMPs |  | Average SZ LMPs |  | Average SZ LMPs |  | Average SZ LMP
|  | 5000 | Pre - $350 shadow price | 5000 | Pre - $350 shadow price | 5000 | Pre - $350 shadow price | 5000 | Pre - $350 shadow price
|  | 1806.83 | Resulting Pre - $350 load zone price | 1806.83 | Resulting Pre - $350 load zone price | 1806.83 | Resulting Pre - $350 load zone price | 1800 | Resulting Pre - $350 load zone price
|  | 2000 | WMS Proposed Shift factor cap | 2000 | WMS Proposed Shift factor cap | 2000 | WMS Proposed Shift factor cap | 350 | ERCOT Proposal
|  | 722.732 | Resulting Estimated LZ price based on WMS Proposal | 722.732 | Resulting Estimated LZ price based on WMS Proposal | 722.732 | Resulting Estimated LZ price based on WMS Proposal | 126 | Resulting Estimated LZ price based on WMS Proposal
|  | 500 | LCAP | 500 | LCAP | 500 | LCAP
|  | 180.683 | LZ Price @ LCAP | 180.683 | LZ Price @ LCAP | 180.683 | LZ Price @ LCAP
|  | Hours Binding |  | Hours Binding |  | Hours Binding
|  | 95000 | Net Margin from WMS Proposal | 95000 | Net Margin from WMS Proposal | 95000 | Net Margin from WMS Proposal
|  | 2000 | Cap from WMS Proposal | 2000 | Cap from WMS Proposal | 2000 | Cap from WMS Proposal
|  | 4.5 | Gas Price | 4.5 | Gas Price | 4.5 | Gas Price
|  | 10 | Heat Rate From WMS Proposal | 10 | Heat Rate From WMS Proposal | 10 | Heat Rate From WMS Proposal
|  | 45 | POC from WMS Proposal | 45 | POC from WMS Proposal | 45 | POC from WMS Proposal
|  | 1955 | Net Margin by Interval @ $2,000 Cap | 1955 | Net Margin by Interval @ $2,000 Cap | 1955 | Net Margin by Hour @ $2,000 Cap
|  | 4955 | Net Margin by Interval @ $5,000 Cap | 4955 | Net Margin by Interval @ $5,000 Cap | 4955 | Net Margin by Hour @ $5,000 Cap
|  | 28.3171 | Hours to Reach Net Margin @ $2,000 Cap | 48.5934 | Hours to Reach Net Margin @ $2,000 Cap | 48.5934 | Hours to Reach Net Margin @ $2,000 Cap

## Year 4
Year 4
Pre - $350 |  | WMS Proposal - $5,000 Reset |  | WMS Proposal - $2,000 Reset |  | WMS Proposal with NO Annual Reset |  | ERCOT Proposal
50.5 | Hours Binding | 8 | Hours at $5,000 Shadow Price Cap before meeting irresolvable constraint threshold | 0 | Hours at $5,000 Shadow Price Cap before meeting irresolvable constraint threshold | 0 | Hours at $5,000 Shadow Price Cap before meeting irresolvable constraint threshold | 0 | Hours at $5,000 Shadow Price Cap before meeting irresolvable constraint threshold
6316 | Average SZ Load | 28.3 | Hours Binding @ $2,000 Shadow Price Cap | 48.5 | Hours Binding @ $2,000 Shadow Price Cap | 0 | Hours Binding @ $2,000 Shadow Price Cap | 50.5 | Hours Binding @$350
1806.83 | Average SZ LMP @ $5,000 Shadow Price Cap | 14.2 | Hours Binding at LCAP | 2 | Hours Binding at LCAP | 50.5 | Hours Binding at LCAP | 6316 | Average SZ Load
63.37 | Average N, H, W Zone LMPs | 6316 | Average SZ Load | 6316 | Average SZ Load | 6316 | Average SZ Load | 1806.83 | Average SZ LMP @ $5,000 Shadow Price Cap
1743.46 | Price Difference SLZ / Others | 1806.83 | Average SZ LMP @ $5,000 Shadow Price Cap | 1806.83 | Average SZ LMP @ $5,000 Shadow Price Cap | 1806.83 | Average SZ LMP @ $5,000 Shadow Price Cap | 126 | Average SZ LMP
|  | 722.732 | Average SZ LMP @ $2,000 Shadow Price Cap | 722.732 | Average SZ LMP @ $2,000 Shadow Price Cap | 722.732 | Average SZ LMP @ $2,000 Shadow Price Cap | 63.37 | Average N, H, W Zone LMPs
|  | 180.683 | Average SZ LMP @ LCAP | 180.683 | Average SZ LMP @ LCAP | 180.683 | Average SZ LMP @ LCAP | 1743.46 | Price Difference SLZ / Others @ $5,000 Shadow Price Cap
|  | 63.37 | Average N, H, W Zone LMPs | 63.37 | Average N, H, W Zone LMPs | 63.37 | Average N, H, W Zone LMPs | 62.63 | Price Difference SLZ / Others
|  | 1743.46 | Price Difference SLZ / Others @ $5,000 Shadow Price Cap | 1743.46 | Price Difference SLZ / Others @ $5,000 Shadow Price Cap | 1743.46 | Price Difference SLZ / Others @ $5,000 Shadow Price Cap
|  | 659.362 | Price Difference SLZ / Others @ $2,000 Shadow Price Cap | 659.362 | Price Difference SLZ / Others @ $2,000 Shadow Price Cap | 659.362 | Price Difference SLZ / Others @ $2,000 Shadow Price Cap
|  | 117.313 | Price Difference SLZ/Others @ LCAP | 117.313 | Price Difference SLZ/Others @ LCAP | 117.313 | Price Difference SLZ/Others @ LCAP
556090514.68 | Additional Cost to South Load Zone Consumers over other zones | 216471231.4672 | Additional Cost to South Load Zone Consumers over other zones | 203461621.828 | Additional Cost to South Load Zone Consumers over other zones | 37417919.854 | Additional Cost to South Load Zone Consumers over other zones | 19976339.54 | Additional Cost to South Load Zone Consumers over other zones
2224362058.72 | Cumulative Cost | 865884925.8688 | Cumulative Cost | 826856096.9512 | Cumulative Cost | 328724991.0292 | Cumulative Cost | 164834336.4 | Cumulative Cost
|  | Supporting Information |  | Supporting Information |  | Supporting Information |  | Supporting Information
|  | Average SZ LMPs |  | Average SZ LMPs |  | Average SZ LMPs |  | Average SZ LMP
|  | 5000 | Pre - $350 shadow price | 5000 | Pre - $350 shadow price | 5000 | Pre - $350 shadow price | 5000 | Pre - $350 shadow price
|  | 1806.83 | Resulting Pre - $350 load zone price | 1806.83 | Resulting Pre - $350 load zone price | 1806.83 | Resulting Pre - $350 load zone price | 1800 | Resulting Pre - $350 load zone price
|  | 2000 | WMS Proposed Shift factor cap | 2000 | WMS Proposed Shift factor cap | 2000 | WMS Proposed Shift factor cap | 350 | ERCOT Proposal
|  | 722.732 | Resulting Estimated LZ price based on WMS Proposal | 722.732 | Resulting Estimated LZ price based on WMS Proposal | 722.732 | Resulting Estimated LZ price based on WMS Proposal | 126 | Resulting Estimated LZ price based on WMS Proposal
|  | 500 | LCAP | 500 | LCAP | 500 | LCAP
|  | 180.683 | LZ Price @ LCAP | 180.683 | LZ Price @ LCAP | 180.683 | LZ Price @ LCAP
|  | Hours Binding |  | Hours Binding |  | Hours Binding
|  | 95000 | Net Margin from WMS Proposal | 95000 | Net Margin from WMS Proposal | 95000 | Net Margin from WMS Proposal
|  | 2000 | Cap from WMS Proposal | 2000 | Cap from WMS Proposal | 2000 | Cap from WMS Proposal
|  | 4.5 | Gas Price | 4.5 | Gas Price | 4.5 | Gas Price
|  | 10 | Heat Rate From WMS Proposal | 10 | Heat Rate From WMS Proposal | 10 | Heat Rate From WMS Proposal
|  | 45 | POC from WMS Proposal | 45 | POC from WMS Proposal | 45 | POC from WMS Proposal
|  | 1955 | Net Margin by Interval @ $2,000 Cap | 1955 | Net Margin by Interval @ $2,000 Cap | 1955 | Net Margin by Hour @ $2,000 Cap
|  | 4955 | Net Margin by Interval @ $5,000 Cap | 4955 | Net Margin by Interval @ $5,000 Cap | 4955 | Net Margin by Hour @ $5,000 Cap
|  | 28.3171 | Hours to Reach Net Margin @ $2,000 Cap | 48.5934 | Hours to Reach Net Margin @ $2,000 Cap | 48.5934 | Hours to Reach Net Margin @ $2,000 Cap