## Slide 1
NPRR 1099, Managing Network Operations Model Resource Nodes
ERCOT Staff
CMWG
November 15, 2021

## Slide 2: Background
NPRR1016, Clarify Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs) was approved August 11, 2020
NPRR1099 differs from previously withdrawn NPRR1017
Protocol Section 3.10.3.1 (1), moving a Resource Node (RN) for Point-of-Interconnection (POI) changes and Resource Retirements differentiate in its managing
NPRR1099 focuses on three areas:
  DGR Modeling
  Resource Retirement
  Point-of-Interconnection (POI) changes

## Slide 3: DGR Example #1, Initial Modeling
Transmission Network
CIM Load
Line
TSP Station
DGR Station
DGR
Transmission Voltage
Distribution Voltage
Resource Node

## Slide 4: DGR Example #1, Post NPRR 1016 w/o NPRR 1099
Transmission Network
CIM Load
Line
TSP Station
DGR Station
DGR
Transmission Voltage
Distribution Voltage
Resource Node
CIM Load
New Resource Node
New Equipment
Equipment removed from the field and model
Equipment not needed or does not exist in the field, but left behind due to Resource Node location

## Slide 5: DGR Example #1, Post NPRR 1016 w/o NPRR 1099 (clean)
Transmission Network
TSP Station
Transmission Voltage
Distribution Voltage
Resource Node
CIM Load
New Resource Node
New Equipment
Equipment not Needed, but left behind due to Resource Node Location

## Slide 6: DGR Example #1, Post NPRR 1016 with NPRR 1099
Transmission Network
CIM Load
Line
TSP Station
DGR Station
DGR
Transmission Voltage
Distribution Voltage
CIM Load
Relocated Resource Node
New Equipment
Equipment removed from the field and model

## Slide 7: DGR Example #1, Post NPRR 1016 with NPRR 1099 (clean)
Transmission Network
TSP Station
Transmission Voltage
Distribution Voltage
CIM Load
Relocated Resource Node
New Equipment

## Slide 8: Resource Retirement Example, Initial Modeling
Transmission Network
Resource Node
TGR Station
Station B

## Slide 9: Resource Retirement Example, w/out NPRR1099
Transmission Network
Resource Node
Station B
TGR Station

## Slide 10: Resource Retirement Example, w/ NPRR1099
Transmission Network
Station B
Relocated Resource Node
TGR Station
Equipment removed from the field and model

## Slide 11: TGR Example, Initial Modeling
TGR Station
Tap Station
Transmission
Network
Transmission
Network
Station B
Station A
Resource Node

## Slide 12: TGR Example, POI Change Transition w/o NPRR 1099
TGR Station
Tap Station
Transmission
Network
Transmission
Network
Station B
Station A
Transmission
Network
Station C
New Resource Node
New Equipment
Resource Node

## Slide 13: TGR Example, POI Change Completed w/o NPRR 1099
TGR Station
Tap Station
Transmission
Network
Transmission
Network
Station B
Station A
Transmission
Network
Station C
New Resource Node
Equipment removed from the field and model
Equipment removed from the field but not from the model.
Outaged Equipment.
Resource Node

## Slide 14: TGR Example #1, POI Change Completed w/o NPRR 1099 (clean)
TGR Station
Tap Station
Transmission
Network
Transmission
Network
Station B
Station A
Transmission
Network
Station C
New Resource Node
Resource Node
Equipment removed from the field but not from the model.
Outaged Equipment.

## Slide 15: TGR Example, POI Change Completed with NPRR 1099
TGR Station
Tap Station
Transmission
Network
Transmission
Network
Station B
Station A
Transmission
Network
Station C
Relocated Resource Node
Equipment removed from the field and model

## Slide 16: TGR Example #1, POI Change Completed with NPRR 1099 (clean)
TGR Station
Transmission
Network
Transmission
Network
Station B
Station A
Transmission
Network
Station C
Relocated Resource Node

## Slide 17: TGR Example #2, Initial Modeling
TGR Station
Tap Station
Transmission
Network
Transmission
Network
Station B
Station A
Resource Node

## Slide 18: TGR Example #2, POI Change Transition w/o NPRR 1099
TGR Station
Tap Station
Transmission
Network
Transmission
Network
Station B
Station A
Transmission
Network
Station C
New Resource Node
New Equipment
Resource Node

## Slide 19: TGR Example #2, POI Change Completed with NPRR 1099
TGR Station
Tap Station
Transmission
Network
Transmission
Network
Station B
Station A
Transmission
Network
Station C
Relocated Resource Node

## Slide 20: TGR Example #3, Initial Modeling
TGR Station
Transmission
Network
Resource Node

## Slide 21: TGR Example #3, POI Change Transition w/o NPRR 1099
TGR Station
Transmission
Network
Resource Node
New Equipment
New Resource Node
SC

## Slide 22: TGR Example #3, POI Change Transition w/ NPRR 1099
TGR Station
Transmission
Network
New Equipment
Relocated Resource Node
SC

## Slide 23: Benefits of NPRR 1099
Allows NPRR1016 to be fully implemented as intended
  Distribution equipment is not secured
Allows Resource retirements to have cleaner modeling when the RN is located on a different kV level
  All retired equipment can be removed from the model
  Currently a RN may be de-energized by modeling normally open breakers/switches, therefore prices are already being moved by DAM Heuristic mappings
Accurate equipment modeling
Reduces the amount of Settlement Points (w/ POI changes)

## Slide 24: Benefits of NPRR 1099 to Operations
Improve ERCOT’s Control Room situational awareness.
  Without NPRR 1099, miscommunication could occur between equipment Operators and ERCOT for non existing equipment.
Reduce data management responsibilities by TSPs and REs.
  Without NPRR 1099, it would force TSPs and REs to maintain modeling data that does not exist in the field.
  Without NPRR 1099, it would force TSPs and REs to maintain ICCP telemetry for equipment that does not exist in the field.