## Slide 1
Item 6: PRS Report
Martha Henson
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
November 29, 2021

## Slide 2: Summary of PRS Update
Revision Request(s) Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR1094, Allow Under Frequency Relay Load to be Manually Shed During EEA3 [Oncor] *
NPRR1104, As-Built Definition of Real Time Liability Extrapolated (RTLE) – URGENT
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR1077, Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs [ERCOT]
  IA: Between $100k and $160k Priority 2022; Rank 3550
(* denotes no impact)

## Slide 3: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR1091, Changes to Address Market Impacts of Additional Non-Spin Procurement – URGENT [Shell]
  IA: Between $120k and $160k Priority TBD; Rank TBD
NPRR1101, Create Non-Spin Deployment Groups made up of Generation Resources Providing Off-Line Non-Spinning Reserve and Load Resources that are Not Controllable Load Resources Providing Non-Spinning Reserve – URGENT [ERCOT]
  IA: Between $30k and $50k Priority 2022; Rank 3550
NPRR1103, Securitization – PURA Subchapter M Default Charges – URGENT [ERCOT]
  IA: Between $1.5M and $2M Priority 2021; Rank 320

## Slide 4: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – With Opposing Votes (Vote):
NPRR1105, Option to Deploy Distribution Voltage Reduction Measures Prior to Energy Emergency Alert (EEA) – URGENT
  IA: Between $80k and $120k Priority TBD; Rank TBD
NPRR1106, Option to Deploy Distribution Voltage Reduction Measures Prior to Energy Emergency Alert (EEA) – URGENT
  IA: No Impact Priority N/A; Rank N/A
NPRR1107, Addition of Weatherization Inspection Fees to the ERCOT Fee Schedule and Clarification of Generation Interconnection Request Fees – URGENT
  IA: No Impact Priority N/A; Rank N/A
NPRR1109, Process for Reinstating Decommissioned Generation Resources – URGENT
  IA: No Impact Priority N/A; Rank N/A

## Slide 5: Appendix

## Slide 6: NPRR1077, Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2022; Rank 3550
ERCOT Impact Analysis: Between $100k and $160k; no impacts to ERCOT staffing; impacts to Resource Integration and Ongoing Operations (RIOO), Energy Management System (EMS), and Grid Modeling Systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR expands the Self-Limiting Facility concept introduced in NPRR1026, BESTF-7 Self-Limiting Facilities, to include sites with one or more Settlement Only Generators (SOGs). This NPRR also introduces a number of additional revisions to fully address requirements for generators and Energy Storage Systems (ESSs) that are connected at distribution voltage. In order to ensure that SOGs in Self-Limiting Facilities abide by established MW Injection and MW Withdrawal limits, and in order to ensure that ERCOT operators and system planners have clear visibility into the performance of SOGs, this NPRR requires the Qualified Scheduling Entity (QSE) for any SOG to provide telemetry of the injection or withdrawal at the Point of Interconnection (POI) (for transmission-connected sites) or Point of Common Coupling (POCC) (for distribution-connected sites) as well as telemetry of gross real power injection and withdrawal at the generator terminals and the status of each SOG’s breaker. Self-Limiting Facilities that include SOGs would be subject to the same consequences as other Self-Limiting Facilities when the MW Injection or MW Withdrawal limit is exceeded.
PRS Decision: On 10/14/21, PRS voted via roll call to recommend approval of NPRR1077 as amended by the 8/16/21 ERCOT comments. There were two abstentions from the Independent Generator (Broad Reach Power) and Independent Power Marketer (IPM) (Morgan Stanley) Market Segments. On 11/10/21, PRS voted via roll call to endorse and forward to TAC the 10/14/21 PRS Report and Revised Impact Analysis for NPRR1077 with a recommended priority of 2022 and rank of 3550. There was one abstention from the Consumer (Occidental) Market Segment.

## Slide 7: NPRR1091, Changes to Address Market Impacts of Additional Non-Spin Procurement – URGENT [Shell]
Proposed Effective Date: To be determined
ERCOT Impact Analysis: Between $120k and $160k; no impacts to ERCOT staffing; impacts to Market Operation Systems, Data Management & Analytic Systems, Energy Management Systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR makes two changes to address the energy price suppression and liquidity issues created by ERCOT’s urgent change to procure more Ancillary Service and deploying it early. Specifically, this NPRR extends the treatment of must-take energy from Reliability Unit Commitments (RUCs) in pricing run to Off-Line Non-Spinning Reserve (Non-Spin), when it is manually deployed, by setting the Low Sustained Limit (LSL), Low Ancillary Service Limit (LASL), and Low Dispatch Limit (LDL) of Off-Line Non-Spin Resources to zero in the pricing run; and increases the amount of Responsive Reserve (RRS) and Non-Spin that an Entity can self-arrange above its obligation.
PRS Decision: On 11/10/21, PRS voted via roll call to grant NPRR1091 Urgent status; to recommend approval of NPRR1091 as amended by the 11/8/21 WMS comments; and to forward to TAC NPRR1091. There was one abstention from the Consumer (Occidental Chemical) Market Segment.

## Slide 8: NPRR1094, Allow Under Frequency Relay Load to be Manually Shed During EEA3 [Oncor]
Proposed Effective Date: To be determined
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR allows a Transmission Operator (TO) and a Transmission and/or Distribution Service Provider (TDSP) to manually shed Load connected to under-frequency relays during an Energy Emergency Alert (EEA) Level 3 if the affected TO can meet its overall Under-Frequency Load Shed (UFLS) requirement in Nodal Operating Guide Section 2.6.1, Automatic Firm Load Shedding, and its Load shed obligation under Nodal Operating Guide Section 4.5.3.4, Load Shed Obligation.
PRS Decision: On 9/16/21, PRS unanimously voted via roll call to recommend approval of NPRR1094 as amended by the 9/15/21 Oncor comments. The Independent Retail Electric Provider (IREP) Market Segment did not participate in the vote. On 10/15/21, PRS unanimously voted via roll call to endorse and forward to TAC the 9/16/21 PRS Report and Impact Analysis for NPRR1094.

## Slide 9: NPRR1101, Create Non-Spin Deployment Groups made up of Generation Resources Providing Off-Line Non-Spinning Reserve and Load Resources that are Not Controllable Load Resources Providing Non-Spinning Reserve – URGENT [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2022; Rank 3195
ERCOT Impact Analysis: Between $30k and $50k; no impacts to ERCOT staffing; impacts to Data Management & Analytic Systems and Market Operation Systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR modifies the deployment grouping requirements for Load Resources that are not Controllable Load Resources (“NCLRs”) providing Non-Spinning Reserve (Non-Spin) to include Generation Resources providing Off-Line Non-Spin. This deployment grouping process only addresses NCLR and Off-Line Generation Resources. Other Resources providing Non-Spin are not addressed in the proposed revisions.
PRS Decision: On 11/10/21, PRS voted via roll call to grant NPRR1101 Urgent status. There was one abstention from the Independent Generator (Luminant) Market Segment. PRS then voted via roll call to recommend approval of NPRR1101 as submitted and to forward to TAC NPRR1101 and the Impact Analysis with a recommended priority of 2022 and rank of 3195. There was one abstention from the Consumer (Occidental Chemical) Market Segment.

## Slide 10: NPRR1103, Securitization – PURA Subchapter M Default Charges – URGENT [ERCOT]
Proposed Effective Date: Phase 1: January 1, 2022; Phase 2: Upon system implementation – Priority 2021; Rank 320
ERCOT Impact Analysis: Between $1.5M and $2M; there will be ongoing operational impacts to Settlement Services and Commercial Application Services to support this NPRR, but these departments are able to absorb the effort and will not require additional staff; impacts to Credit Management Systems (CMM), Credit, Settlements & Billing Systems, Data Management & Analytic Systems, Integration Systems, Financial Management Systems, ERCOT Website and MIS Systems, and CRM & Registration Systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR establishes processes for the assessment and collection of Default Charges and Default Charge Escrow Deposits to QSEs and CRR Account Holders pursuant to the DOO issued in PUCT Docket No. 52321, Subchapter M, of PURA.
PRS Decision: On 11/10/21, PRS voted via roll call to grant NPRR1103 Urgent status. There was one abstention from the Independent Generator (Luminant) Market Segment. PRS then voted via roll call to recommend approval of NPRR1103 as amended by the 11/5/21 LCRA comments as revised by PRS and to forward to TAC NPRR1103 and the Impact Analysis with a recommended priority of 2021 and rank of 320. There was one abstention from the Municipal (CPS Energy) Market Segment.

## Slide 11: NPRR1104, As-Built Definition of Real Time Liability Extrapolated (RTLE) – URGENT
Proposed Effective Date: January 1, 2022
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR corrects the definition of Real Time Liability Extrapolated (RTLE) to include market activity for Entities that have no Load or generation but have Real-Time exposure. It has come to ERCOT’s attention that the current definition of RTLE is erroneously tied to Qualified Scheduling Entities (QSEs) that represent Load or generation, and conflicts with the implementation of RTLE in ERCOT’s credit system.
PRS Decision: On 11/10/21, PRS voted via roll call to grant NPRR1104 Urgent status. There was one abstention from the Independent Generator (Luminant) Market Segment. PRS then voted via roll call to recommend approval of NPRR1104 as submitted and to forward to TAC NPRR1104 and the Impact Analysis. There was one abstention from the Consumer (Occidental Chemical) Market Segment.

## Slide 12: NPRR1105, Option to Deploy Distribution Voltage Reduction Measures Prior to Energy Emergency Alert (EEA) – URGENT
Proposed Effective Date: January 1, 2022
ERCOT Impact Analysis: Between $80k and $120k; no impacts to ERCOT staffing; impacts to Market Operation Systems, Data Management & Analytic Systems, Energy Management Systems; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR provides ERCOT the ability to instruct Transmission and/or Distribution Service Providers (TDSPs) to deploy any available distribution voltage reduction measures prior to ERCOT declaring an Energy Emergency Alert (EEA) if ERCOT determines it is possible that the deployment of these measures could avoid the need to declare an EEA and ERCOT does not expect to need these measures to reduce the amount of Load shedding that may be needed in EEA Level 3. These revisions also clarify the role of TDSPs in determining whether distribution voltage reduction should be implemented.
PRS Decision: On 11/10/21, PRS voted via roll call to waive notice for NPRR1105, and to grant NPRR1105 Urgent status. There were two opposing votes from the Independent Generator (Luminant) and Municipal (Denton) Market Segments, and seven abstentions from the Consumer (2) (OPUC, Occidental), Independent Generator (Jupiter Power), IPM (3) (DC Energy, Morgan Stanley, Tenaska), and Municipal (Austin Energy) Market Segments. PRS then voted via roll call to recommend approval of NPRR1105 as amended by the 11/10/21 TCPA comments, and to forward to TAC NPRR1105 and the Impact Analysis. There was one opposing vote from the Consumer (Occidental) Market Segment, and six abstentions from the Consumer (OPUC), Cooperative (LCRA), IPM (Morgan Stanley), and Municipal (3) (Denton, Austin Energy, CPS Energy) Market Segments.

## Slide 13: NPRR1106, Deployment of Emergency Response Service (ERS) Prior to Declaration of Energy Emergency Alert (EEA) – URGENT
Proposed Effective Date: January 1, 2022
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR revises the Protocols to allow for the deployment of ERS prior to the declaration of an EEA when Physical Responsive Capability (PRC) falls below 3,000 MW and is not projected to be recovered above 3,000 MW within 30 minutes following the deployment of Non-Spinning Reserve (Non-Spin).
PRS Decision: On 11/10/21, PRS voted via roll call to waive notice for NPRR1106, and to grant NPRR1106 Urgent status. There were two opposing votes from the Independent Generator (Luminant) and Municipal (Denton) Market Segments, and seven abstentions from the Consumer (2) (OPUC, Occidental), Independent Generator (Jupiter Power), IPM (3) (DC Energy, Morgan Stanley, Tenaska), and Municipal (Austin Energy) Market Segments. PRS then voted via roll call to recommend approval of NPRR1106 as submitted, and to forward to TAC NPRR1106 and the Impact Analysis. There was one opposing vote from the IPM (Morgan Stanley) Market Segment, and one abstention from the Municipal (Austin Energy) Market Segment.

## Slide 14: NPRR1107, Addition of Weatherization Inspection Fees to the ERCOT Fee Schedule and Clarification of Generation Interconnection Request Fees – URGENT
Proposed Effective Date: Upon PUCT approval – December 17, 2021 until September 1, 2022
ERCOT Impact Analysis: Less than $10k (O&M); no impacts to ERCOT staffing; no impacts to ERCOT Website and MIS Systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR adds new fees for weatherization inspections conducted by ERCOT to the ERCOT Fee Schedule. This NPRR further clarifies that the existing GINR fees apply to all generation interconnection projects regardless of whether they will interconnect at the transmission or distribution level.
PRS Decision: On 11/10/21, PRS voted via roll call to waive notice for NPRR1107, and to grant NPRR1107 Urgent status. There were two opposing votes from the Independent Generator (Luminant) and Municipal (Denton) Market Segments, and seven abstentions from the Consumer (2) (OPUC, Occidental Chemical), Independent Generator (Jupiter Power), IPM (3) (Tenaska, DC Energy, Morgan Stanley), and Municipal (Austin Energy) Market Segments. PRS then voted unanimously via roll call to table NPRR1107. On 11/17/21, PRS voted via roll call to recommend approval of NPRR1107 as amended by the 11/16/21 TIEC comments and to forward to TAC NPRR1107 and the Impact Analysis with a recommended effective date of upon PUCT approval and a recommended sunset date of September 1, 2022. There were four opposing votes from the Independent Generator (3) (Broad Reach, Jupiter Power, ENGIE) and Municipal (GEUS) Market Segments, and three abstentions from the Consumer (Occidental Chemical), IPM (Morgan Stanley), and IREP (Just Energy) Market Segments.

## Slide 15: NPRR1109, Process for Reinstating Decommissioned Generation Resources – URGENT
Proposed Effective Date: Upon PUCT approval – December 17, 2021
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR allows a Resource Entity to bring a Decommissioned Generation Resource back to service if it submits a Notification of Change of Generation Resource Designation notifying ERCOT of the intended return to service within three years of the date the Generation Resource was removed from the ERCOT Network Operations Model. This NPRR gives ERCOT and the interconnecting Transmission and/or Distribution Service Provider (TDSP) discretion to require any needed studies testing, metering, or facility upgrades to ensure the reliable interconnection of the Generation Resource.
PRS Decision: On 11/10/21, PRS voted via roll call to waive notice for NPRR1109, and to grant NPRR1109 Urgent status. There were two opposing votes from the Independent Generator (Luminant) and Municipal (Denton) Market Segments, and seven abstentions from the Consumer (2) (OPUC, Occidental), Independent Generator (Jupiter Power), IPM (3) (DC Energy, Morgan Stanley, Tenaska), and Municipal (Austin Energy) Market Segments. PRS then voted unanimously via roll call to table NPRR1109. On 11/17/21, PRS voted via roll call to recommend approval of NPRR1109 as submitted and to forward to TAC NPRR1109 and the Impact Analysis with a recommend effective date of upon PUCT approval. There were two opposing votes from the Independent Generator (Luminant) and IPM (Morgan Stanley) Market Segments, and 12 abstentions from the Independent Generator (5) (Broad Reach, Key Capture, Jupiter, Calpine, EDP Renewables), IPM (Tenaska), IREP (2) (Reliant, Just Energy), Investor Owned Utilities (IOU) (AEP), and Municipal (3) (Denton, Austin Energy, CPS Energy) Market Segments.

## Slide 16: 2021 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February 2/2 – 2/4 | April 3/30 – 4/1 | May 5/25 – 5/27 | July 7/27 – 7/29 | October 10/5 – 10/7 | December 12/7 – 12/9
NPRR902(a) NOGRR195 NPRR1055 OBDRR023(a) NPRR1020 SCR804 | NPRR971 NPRR986 NPRR998 NPRR1024 NPRR1043 NOGRR213 VCMRR027 PGRR070 NPRR1060 | NPRR974 NPRR978(c) NPRR1048 NPRR1051 SCR811 ECMS ECMS NPRR1080 OBDRR030 NPRR1081(a) | NPRR902(b) NPRR905 SCR789 NPRR1062 RMGRR164 NPRR1031 NPRR867 NPRR1081(b) | None NPRR984 OBDRR023(b) SCR781 | FFR Advancement (NPRR863 FFR) NPRR1015 NPRR1079 NOGRR187
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
R1
R2
R3
R4
R5
R6
NPRR902(a) – ECEII Market Participant MPIM role
NPRR902(b) – MIS links updated for ECEII reports
NPRR978(c) – Forecast Zone scope
NPRR1081(a) – Manual implementation
NPRR1081(b) – Automated solution
OBDRR023(a) – ERS Expenditure Limit
OBDRR023(b) – 4 Standard Contract Terms/Year
TBD Items | NPRRs: 484, 825(b), 826, 829, 841, 857, 879, 885, 904, 918, 930, 935(b), 936, 941, 945, 962, 965, 1004, 1006, 1019, 1023, 1030, 1032, 1034, 1040, 1057 SCRs: 799, 805, 809, 812 Market Guides: PGRR066, PGRR076 Other Binding Docs: OBDRR009
E
Replace NoticeBuilder
ECMS
11/17 – 11/20
New navigation
1/1
ü
ü
ü
2/1
10/1
5/1
3/15
ü
ü
ü
ü
ü
ü
ü
ü
ü
4/22
ü
6/1
ü
E
E
E
E
RIOO – Q4 2021
RARF Add Functionality Go-Live
6/25
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
New public version of ERCOT.com homepage
ü
7/1
9/16
7/14
7/23
8/1
ü
ü
ü
ü
ü
ü
9/10
ü
ü
ü
ü

## Slide 17: 2022 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February 2/1 – 2/3 | March 3/29 – 3/31 | May 5/24 – 5/26 | July 7/26 – 7/28 | October 10/4 – 10/6 | December 12/6 – 12/8
LPGRR068 DGR/DESR NPRR917 NPRR1016 NPRR1052 NPRR1065 NOGRR212 PGRR082 RRGRR026 | SCR800 SCR809 | NPRR939 NPRR1093 | TBD | TBD | TBD
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
R1
R2
R3
R4
R5
R6
I
P
I
I
E
E
E
E
E
E
E
E