## Slide 1: DWG Report to ROS
Sam Jung – DWG Chair
December 2nd, 2021

## Slide 2: DWG Update
DWG WebEx meeting held on 11/1/2021

## Slide 3: REGC_B Generic Model
2nd version of the Renewable Energy Generator/Converter (REGC) generic model
Better behavior than REGC_A in weak SCR condition (report attached)
DWG recommends all resource owners to replace their REGC_A model with REGC_B upon DWG transition into PSSE v35 (July 2022)
REGC_B has one extra parameter (Thevenin impedence) from REGC_A
  All other parameters identical