## Slide 1: Planning Working Group Update
To
Reliability and Operations Subcommittee
December 2, 2021

## Slide 2: ROS Voting Items
NPRR 1070 – Planning Criteria for GTC Exit Solutions
  Remain tabled at PLWG. No discussion in November.
PGRR 096 – Achieve Consistent Representation of DG in Steady-State Models
  No concerns raised.
  Final review pending SSWG review
PGRR 097 - Related to NPRR1098, Direct Current Tie (DC Tie) Reactive Power Capability Requirements
  Request table for discussion at December PLWG meeting
PGRR 098 - Consideration of Load Shed in Transmission Planning Criteria
  Reviewed language.
  Participants requested referral to PLWG for further discussion.

## Slide 3: ROS Voting Items
PGRR 095 – Establish Minimum Deliverability Criteria
  Discussed Comments filed by Rainbow and Oncor.
  Consensus to include NERC P2.1 and P3 contingencies as recommended by Oncor.
  No consensus on the addition of DC Tie as recommended by Rainbow.
  Discussed the term “dispatchable Resource” alternate language saved to meeting page for participants to consider for filing comments.
  Question raised: does the provision of backing down “Resources other than dispatchable” to relieve a constraint go against the intent of making more generation available to market during unanticipated conditions.

## Slide 4: Other items discussed
Southern Cross Directive 8 Revision Requests – Determination Regarding Primary Frequency Response and Voltage Support Service
  PGRR 097 - Related to NPRR1098, Direct Current Tie (DC Tie) Reactive Power Capability Requirements
  Requested discussion in December PLWG.
Emergency Conditions List –
  GTC management (#29, #51, #86) - ROS recommending to TAC to close.
  Transmission Planning Studies and Winter Cases (#47, 93, 94)
    Planning discussion for December meeting.
KTC- 15-6 RMR and MRA Services analysis for Batteries
  ERCOT to present high level concepts in December
Battery Energy Storage Systems (BESS) Topics
  Discussed “dispatchability” of BESS when charging
  Discussed range of practices for modelling in Full Interconnect Studies and Regional Transmission Plan
  Request ERCOT Interconnection team to present material at future Resource Integration Workshop (12/10/2021).

## Slide 5: Questions?