## Slide 1
PDCWG Report to ROS
Chair: Chad Mulholland, NRG
Vice Chair: Jimmy Jackson, CPS
ROS
December 02, 2021

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-2 FMEs and IMFR
    0 FME in the month of October
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 11/12/2021
  ERCOT Ancillary Service Methodology Follow-up Discussion
  Review of TAC emergency conditions list
  Review NPRR1096
  ERCOT reports

## Slide 4: Frequency Measurable Events Performance

## Slide 5: Frequency Measurable Events
There was 0 FME in October

## Slide 6: Interconnection Minimum Frequency Response (IMFR) Performance
Frequency Response Obligation (FRO): 471 MW/0.1 Hz
IMFR Performance currently
1130.5 MW/0.1HZ

## Slide 7
Questions?

## Slide 8: Frequency Control Report
October 2021

## Slide 9: CPS1 Performance
Current 12-Month Rolling Average: 169.37%

## Slide 10: RMS1 Performance of ERCOT Frequency

## Slide 11: Frequency Profile Analysis

## Slide 12: Time Error Corrections

## Slide 13: ERCOT Total Energy
Notes: 32,664,264MWh

## Slide 14: ERCOT Total Energy from Wind Generation
Notes: 8,604,573 MWh

## Slide 15: ERCOT % Energy from Wind Generation
Notes: 26.34%

## Slide 16: ERCOT Total Energy from Solar Generation
Notes: 1,414,241 MWh

## Slide 17: ERCOT % Energy from Solar Generation
Notes: 4.33%