## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Shawn McCreary
HITE List Sub-Chair – Pushkar Chhajed
12/02/2021

## Slide 2: NOGRR215 – Limited Use of RAS
Tabled pending new comments from ERCOT

## Slide 3: NOGRR226 - Revision to 5% Transmission Operator (TO) Load Shedding Relay Set Point
ERCOT continues to assess framework for studies needed before changes to Stage 1 UFLS can be considered
Tabled

## Slide 4: Emergency Condition list #5 NPRR1084
Improvements to Reporting of Resource Outages and Derates.
  Concerns raised on having enough personnel to provide the updates in the timeline required in the comments filed
  ERCOT comments were reviewed that included comments from Centerpoint
    ERCOT was supportive of comment submitted by CenterPoint's and is planning submitting additional comments before the next OWG
  NPRR1084 was Tabled
  Based on the submission of the this NPRR, OWG is considering the review of item #5 of the ECL complete.

## Slide 5: Emergency Condition list #6 NPRR1085
Ensuring Continuous Validity of Physical Responsive Capability (PRC) and Dispatch through Timely Changes to Resource Telemetry and Current Operating Plans (COPs)
  Concerns raised on personnel being able to provide accurate information to ERCOT as required in the comments
  Concerns were discussed about keeping COP updated and compliance risk if information was wrong
  Recommendations were reiterated on adding an “ON-HOLD” option when a units is experiencing issues for a long term solution and possibly locking the HSL or using “ONTEST” as a interim solution
  There were no updates and NPRR1085 remains tabled
  Based on the submission of the this NPRR, OWG is considering the review of item #6 of the ECL complete

## Slide 6: Emergency Condition list #128
Using Instant Messaging during EEA Events
  An update to the draft SCR was presented and discussed
  ERCOT requested a time to review the SCR and get additional details on the applications capabilities. ERCOT may also want to look at others vendors outside of the app use by SPP.
  ERCOT will sent out an update of the SCR following the OWG meeting. These updates will be reviewed at the next OWG.

## Slide 7: Emergency Condition list # 49
Energy Emergency Alert: Review EEA rules and assess if any changes are warranted.
With the submission of the NPRR1094, NPRR1105 and NPRR1106, OWG is considering the review of item #49 of the ECL complete.

## Slide 8: Emergency Condition List #73
Should there be different PRC EEA trigger point & ORDC minimum reserves levels for winter and summer given potential for different events?
There has been no proposed changes to the PRC EEA trigger point at this time and the current EEA trigger will remain in place for the near future.
ERCOT indicated this item will be discussed as part of a future NOGRR where possible changes might be considered for discussion.
Item #73 will remain open at OWG