## Slide 1: Wholesale Market Working Group Report to WMS
David Detelich
Murali Sithuraj
December 1, 2021
From November 15 WMWG Meeting

## Slide 2: NPRR1084 Improvements to Reporting of Resource Outages and Derates
Reviewed Centerpoint comments that clarify the reporting requirements in the NPRR are meant for Generation Resources
ERCOT states the Forced Derate information is needed for studies of thermal and voltage constraints as well as the public reports
On Forced Outage reporting, ERCOT wants their original language
Discussion around the interpretation of this proposed language:
  3.1.4.7 Reporting of Forced Derates
  (1) The Resource Entity or its designee must enter a Forced Derate into the Outage Scheduler within one hour of the beginning of the Forced Derate for any Forced Derate greater than ten MW unless the Forced Derate is less than 2% of the Seasonal net max sustainable rating of the Resource and the expected or actual duration is less than 30 minutes.
Any unit 500MW or less must report all derated that are greater than 10MW
Units larger than 500MW do not report derates between 10MW and 2% of rating unless the duration is 30 minutes or longer

## Slide 3: NPRR1084 Improvements to Reporting of Resource Outages and Derates
ERCOT states they can accept changing the 30 minutes to 1 hour if proposed by the stakeholders
ERCOT states they are less willing to move from the 2% of rating – 5% is too much for the larger units
WMWG did not have consensus on a recommendation
No further discussion at WMWG is needed
What is the will of WMS?

## Slide 4: Presentation on AAN’s
ERCOT presented a review of Advance Action Notices that occurred in October.
The Planning Assessment Input Details were compared to actual
  Described the estimation of Forced Outages used
  The resulting capacity must be sufficient to cover the Net Load (load forecast less the wind and solar forecasts) plus the up-ancillary service obligations – the 6,500 MW of available generating capacity
ERCOT is proposing some changes to the process some of which will require an NPRR to implement
  Contact ERCOT to provide feedback
Question on if NPRR1108 is intended to eliminate the need for AAN’s and OSA’s.
  Answer is it could reduce the need for them but not completely

## Slide 5: NPRR 1092 Remove RUC Offer Floor
ERCOT presented the energy offer curve with and without RUC and NSRS offers
  Appears to show an inflection around the $75 - $90 area
  Others stated that the inflection around $900 is competitive offers from quick starts and should not have been removed
  Heat rate review of gas resource verifiable costs shows no heat rate is higher than the generic 16.
Implement now or wait for PUC changes
  IMM and consumers want to implement now for the market power issue
  Others want to wait for the ORDC changes that should happen soon because the changes will incent self commitment
Offer floor proposals
  The $75 floor possibly coupled with removal of buy back provision
  Heat rate plus O&M adder can be implemented with manual calculation
  Method to ensure RUC resources are after competitive offers – requires programing
  Two phase approach – dollar offer floor until heat rate can be implemented
What is the will of WMS?
  WMWG did not have consensus on a recommendation
  No further discussion at WMWG is needed

## Slide 6: Responding to large price responsive loads
Potential control issues and regulation exhaustion due to crypto loads responding to price
  They can potentially turn on and off very quickly producing large MW swings
  They probably will not be CLRs
Discussion of settlement impacts
  The pricing outcomes of price responsive loads was discussed previously
  Load zone energy weighted price instead of a node price
Changes required to run SCED more often
  1 minute may not be possible
  Possibly 2 to 2.5 minutes
ERCOT will develop a presentation that explains the settlement impacts and outlines the changes required for shorter SCED run times
Medium priority issue

## Slide 7: ECL item 49
Energy Emergency Alert: Review EEA rules and assess if any changes are warranted. Look into issues going into and out of EEA and whether directives were appropriate.
Question on whether NPRR’s 1094, 1105 and 1106 address ECL item 49
While the provisions in these NPRR’s impact EEA, they do not change the EEA rules
The PUC and ERCOT is still reviewing the EEA rules for possible changes

## Slide 8: Next meeting
December 17
Review the Emergency Conditions List assignments
Any questions?