## Slide 1: Wholesale Market Working Group Emergency Conditions List
David Detelich
Murali Sithuraj

## Slide 2: Near Term Items
Item Number | Originating Entity | Item Description | Status
7 | ERCOT/ROS | DER Registration: Expand registration and Real-Time data requirements for all types of resources beyond current modeling requirements (e.g., distribution-level resources) to enhance situational awareness for planning and operational purposes.* | NPRR1077
35 | ROS | Procedures during Natural Gas Supply Emergency: Consider/discuss possible Protocol requirement for blackstart units to have onsite fuel specifically reserved for blackstart operations. | GEWG keeping item open for further discussion after commission actions NPRR1110 issued 11/22
49 | ROS | Energy Emergency Alert: Review EEA rules and assess if any changes are warranted. | ERCOT to review with OWG and WMWG after commission actions
73 | ROS/WMS | Should there be different PRC EEA trigger point & ORDC minimum reserves levels for winter and summer given potential for different events? | Related to 49
99 | WMS | Review converge of ORDC & PRC during the event. | Review complete; recommends to account load curtailment in ORDC calculation; ERCOT has submitted NPRR1081 - complete
100 | WMS | How did batteries providing FFR perform? Were FFR providers allowed to charge and if not, what penalties did they get charged? | No ESR bid for FFR during winter event - complete

## Slide 3: Long Term Items
Item Number | Originating Entity | Item Description | Status
43 | ROS/WMS | Reliability Studies for Proposed Resource Retirements: Review existing reliability must run (RMR) and must-run alternative (MRA) study and processes and determine if any changes to study parameters are needed, including winter peak and planned and forced outage scenarios and generation resource dispatch. Consider extension of RMR process to units proposed for seasonal mothball. | Not started. I don’t know what ROS WG has this item.
44 | ROS | Ancillary Service Products: Review existing ancillary service products and determine if existing suite of products and amounts is adequate based on lessons learned from the February 2021 winter weather event. | Reviewed by PDCWG – AS is evaluated each year; implement ERCOT Contingency Reserves and RTC. PDCWG recommends closing
46 | ROS | Station Service: Consider rule changes for turning off station service load at resources that are unavailable during EEA conditions. | Briefly discussed at WMWG. Rule changes not needed or recommended.
83 | WMS | Should there be a minimum market notice & timeline for design changes that impact prices so as to allow MPs time for hedging? | Not Started
84 | WMS | Should TCEQ exempt MWs be priced at a floor of $1500/MWh or higher? If ERCOT RUCs the resource, how is the resource compensated for lost opportunity of using the emissions limit during other scarcity time Vs the RUCed time? | Not Started
85 | WMS | How did exceptional fuel price process work? | Not Started

## Slide 4: Long Term Items
Item Number | Originating Entity | Item Description | Status
89 | WMS | Should there be different PRC EEA trigger point for winter and summer given potential for different events? | Related to 49 and 73. Not started.
90 | WMS | Are the existing suite of Ancillary Service products and quantities adequate to ensure reliability or are changes needed? | Combined with 44
91 | WMS | Could fast frequency response play a bigger role? | PDCWG recommendation is to close the action item and allow NOGRR226 implementation. Proposal to increase FFR participation can be added to item 44 or reviewed separately.
92 | WMS | Should the Reliability Must Run (RMR) processes be extended to units proposed for seasonal mothball? Are the RMR and Must Run Alternative study and processes sufficient or are changes to study parameters, such as winter peak-, planned/forced outage-, or resource dispatch-scenarios, needed? | Combined with 43. Not started.
95 | WMS | What were the costs, benefits, and constraints of dual fuel and fuel storage? Are there potential market incentives based on lessons learned from this event? | Not started.
96 | WMS | How did DR perform? Should UFR deployed beyond the period of it obligation be compensated for the deployment? Should A/S Imbalance Charge to deployed Load Resources be revisited? | Not started. DSWG completed review.

## Slide 5: Awaiting Legislative Direction
Item Number | Originating Entity | Item Description | Status
71 | WMS | Should there be make whole payments for extremely high fuel costs during EEA3? | NPRR1086 partially addressed
72 | WMS | How do we ensure that generation resources are being compensated for firm fuel arrangements? | Not started

## Slide 6: Outside the Stakeholder Purview
Item Number | Originating Entity | Item Description
56 | WMS | Improve situational awareness by identifying all NG infrastructure that is critical for power plants, Identifying firm and non-firm supply power plants. Should payments for NG storage closer to NG plants be considered to avoid counting a major supply on long haul transport?