## Slide 1: DSWG Report
Christian powell
WMS Meeting – December 2021

## Slide 2: Overview
Previous meeting – November 19
Ancillary Services Updates
ERS Updates
Emergency Conditions List Items
Demand Response Survey Counts
Goals
2022 DSWG Leadership Discussion

## Slide 3: Ancillary Service Updates
Oct. 27 FFR Workshop presentations are available for review. FFR (NCLR – high set underfrequency relays) delayed to March 2022. COPs will have different offer submissions and status codes. ERCOT asking market participants to plan on testing in 2022.
On Nov. 10, ERCOT deployed two LRs of approx. 70 MW for Transmission Emergency. LRs were recalled after approx. 30 minutes.
NPRR939, splitting RRS into multiple blocks, is on a six-month implementation timeline.
NPRR1073, NCLR participation in Nonspin, creating offline groups is also on a six-month implementation timeline.
AS Plan Changes for 2022: Interconnection Frequency Response Obligation (IFRO) changing in 2022. RRS-PFR limit will be 1240 MW. Up to 1907 MW of LRs in various hours.

## Slide 4: ERS Updates
NPRR1106, moved up the deployment of ERS for the next SCT (Dec.–Mar.) . New instruction triggers from PRC <3,000 MW.
Currently: ERS 30 is deployed at EEA Level 1, and ERS 10 is deployed at EEA Level 2. Over 90% of ERS capacity is ERS 30. So, ERS will no longer get deployed at separate levels, but will instead be deployed at the same time.
Dec.-Mar. SCT Procurements:
  Moved $ from shoulder periods into Winter.
  Approx. $22M compared to approx. $12M in Feb.-May 2021 SCT.
  Approx. 100 MW increase per time period compared to Feb.-May 2021 SCT.

## Slide 5
Emergency Conditions List
Item 48 – NPRR1090 approved. Can be closed.
Item 50 – Reviewed DR performance during Uri for REPs and NOIEs. Can be closed.
Item 62 - NPRR1087 approved. Can be closed.
Item 64 – PUC and ERCOT action underway.
Item 74 – Awaiting Commission direction.
Item 96 - DR performance has been presented. AS imbalance charge issue to be worked on in 2022 with WMWG and SAWG.
Item 97 – Completed.
Item 98 – Generally, more DER would help. SODG RFI summary provided by ERCOT. DGR now a 2022 item.
Item 101 - Completed and presented to May WMS.
Item 102 - Completed and presented to May WMS.
Item 103 – Completed and presented to August WMS.
Item 104 – Completed.

## Slide 6: Demand Response Survey
Presentation by ERCOT (Carl Raish)

## Slide 7: Demand Response Survey

## Slide 8: DSWG Goals
# | Goal Description | Status
1 | Review existing reports on DR/DER and identify areas where additional analysis is needed | Reviewed recommendations from stakeholders and implemented changes to the DR Report. ERCOT will be making additional changes to the ERS Report based on program changes. DSWG will revisit in 2022.
2 | WMS Assignments on ERS Deployments, Load Resources, Demand Response, and 2021 Emergency Conditions List | Addressed Emergency Conditions List items referred from WMS and will move any remaining items to 2022 review items.
3 | Evaluate new operational opportunities and needs for DR / DERs in ERCOT | Discuss DR/DER participation relative to reserve shortages in ERCOT. Discuss potential for additional Load Participation via multiple services including AS and ERS. ERCOT will continue to lead offline discussion and update DSWG.
4 | Formalize REP/ NOIE reporting requirements, process & compliance on demand response, and recommend changes in frequency as needed | Reviewed 2020 DR Report and changes to survey process for 2021. Reviewed headcounts for 2021 survey results.
5 | Continue to assess the way DR, DGRs, UDG, ESRs, retail rate structures, and energy efficiency is reflected in the CDR, SARA, etc. | SAWG will continue to address reporting. DSWG will review the possibilities for capturing/including additional price responsive demand information that can be input into SARA.
6 | DR deployment impacts on SCED | Completed in 2020 regarding up-to-date deployments. Will review any new deployments and will revisit in 2022.

## Slide 9: 2022 DSWG Leadership
New Leadership Proposed for 2022
  Chair Greg Thurnher (MP2)
  Vice Chair Jennifer Chamberlin (CPower)

## Slide 10: Next Meeting – 2022