## Slide 1: Congestion Management Working Group
December 1, 2021
Katie Rich, Chair
Andy Nguyen, Vice Chair

## Slide 2: RUC for Congestion on September 21
On September 21, ERCOT reported that nine resources were committed in the Houston, DFW, and San Antonio areas
ERCOT performed an analysis to determine how the committed resources impacted congestion by rerunning SCED
The differences in the constraint shadow price showed that the RUC’d units helped the congestion to some extent
When HRUC dispatch was compared to actual wind and solar dispatch, it was shown that there was some curtailment of wind and solar to help with constraints
NOTE: A revised presentation was posted to the CMWG page on November 18, 2021

## Slide 3: Improving the CRR Auction Model
ERCOT provided a ranking of the options presented at the October CMWG meeting
The option of TSPs submitting dual NOMCRs for derates was the only option that would not require a system change
  However, there were some operational concerns with this option
The options to add an end date to NOMCRs submitted for derates or submit a rating change for derates in Outage Scheduler instead of using NOMCRs were going to be looked at further
There were similar discussions at NDSWG and next steps likely include drafting an SCR to update Outage Scheduler

## Slide 4: NPRR 1099, Managing Network Operations Model Resource Nodes
This NPRR allows ERCOT more flexibility in moving a Resource Node in the Network Operations Model when deemed necessary to properly reflect Point of Interconnection (POI) changes or Resource retirements
ERCOT provided several examples of relocated resource nodes and the removal of old equipment
Concerns were expressed about the movement of some POIs as well as impacts to CRRs
ERCOT plans to file comments to address some of these concerns

## Slide 5: Next Meeting: December 6
Improving the CRR Auction Model
RENA Update

## Slide 6: Questions?