## SUMMARY
ERCOT Utility-Scale Solar Plants Profiles 2021 V2- CONFIDENTIAL
2021-06-25 | A. Gothandaraman, M. Shakarjian
| SUMMARY | # of Profiles
| Utility-Scale Solar PV | 313
| Rooftop DGPV | 228
Type | Operational Utility-Scale Plant Description | # of Profiles | # of Tracking Scenarios | Tracking Type(s) | Total # of Profiles
1 | Operational Sites (actual generation data was used for site-specific adjustment) | 26 | 1 | as specified | 26
2 | Planned, Part 2 or Newly Operational (No site generation available. A composite adjutment was applied) | 27 | 1 | as specified | 27
Total |  |  |  |  | 53
Type | 50 MW Utility-Scale Hypothetical Plant Description | # of Profiles | # of Tracking Scenarios | Tracking Type(s) | Total # of Profiles
1 | 2019 hypothetical sites (in counties which had queued plants/RARF) - all within 3km of transmission | 32 | 2 | single & dual | 64
2 | 2016 primary hypothetical sites within 3km of transmission | 48 | 2 | single & dual | 96
3 | 2016 primary hypothetical sites more than 3km from transmission but within 25-30km of operational plants | 3 | 2 | single & dual | 6
4 | 2016 primary hypothetical sites not near transmission nor operational plants (highest GHI site by county) | 56 | 2 | single & dual | 112
Total |  |  |  |  | 278
| Major Urban Areas Distributed Generation by Land Use Category (Low, Med, High) | # of Profiles | MWAC
| Austin | 3 | 2190
| Dallas | 3 | 9720
| Houston | 3 | 9667
| San Antonio | 3 | 2523
| Total | 12 | 24100
| Rural Areas Distributed Generation by County for CDR Zones | # of Profiles | MWAC
| Coastal | 10 | 835.97
| Houston | 6 | 249.32
| North | 59 | 1965.63
| Panhandle | 33 | 564.32
| South | 53 | 1497.03
| West | 55 | 863.71
| Total | 216 | 5975.98
CONFIDENTIAL

## Utility_Operational&Planned
Unit Code | Latitude | Longitude | County | CDR Zone | MWAC | Tracking System | Tracking Type | Tilt | Azimuth | DC:AC Ratio | Inverter(s) | Module(s) | Modeled in 2020
ACACIA_UNIT_1 | 29.593 | -104.3344 | Presidio | West | 10 | SINGLE | N-S | 0 | 0 | 1.2 | SMA SC500CP, SMA SC800CP | SunEdison MEMC-P285AMC | YES
BOOTLEG_UNIT1 | 31 | -102.28 | Pecos | West | 126 | SINGLE | N-S | 0 | 0 | 1.14 | GE LV5-1540-SLR | First Solar FS-4112-2 | YES
CAPRIDG4_BB_PV | 31.8703 | -100.8346 | Sterling | West | 30 | SINGLE | N-S | 0 | 0 | 1.51 | ABB PVS980-58-2000kVA-K | Jinko (320PP-72-V, 325PP-72-V) | YES
CASL_GAP_UNIT1 | 31.2542 | -102.2961 | Upton | West | 180 | SINGLE | N-S | 0 | 0 | 1.3 | KACO BLUEPLANET 2200 TL3 | Jinko (325PP-72, 330PP-72) | YES
ECLIPSE_UNIT1 | 29.324 | -100.392 | Kinney | South | 37.62 | FIXED | N-S | Lat | 25 | 1.29 | KACO XP550-OD-TL | RENESOLA JC300M-24/ABH | YES
HELIOS_UNIT1 | 29.2265 | -99.7009 | Uvalde | South | 100 | DUAL | NA | NA | 0 | 1.24 | KACO BLUEPLANET 1000 TL3 | Jinko (305P-72, 310P-72, 315P-72); Mission Solar 320 SB1A; Trina (TSM-PD14 310, TSM-PD14 315) | YES
HOVEY_UNIT1 | 30.9599 | -103.3712 | Pecos | West | 22 | FIXED | N-S | Lat | 25 | 1.28 | SMA SC800CP | First Solar (FS-272, FS-275, FS-277, FS-380, FS-382, FS-385, FS-387, FS-390, FS-395, FS-397) | YES
HOVEY_UNIT2 | 30.9599 | -103.3712 | Pecos | West | 7.41 | FIXED | N-S | Lat | 25 | 1.28 | GE LV5-1540 | First Solar FS-397 | YES
LAPETUS_UNIT_1 | 32.4578 | -102.6694 | Andrews | West | 100.7 | SINGLE | N-S | Lat | 0 | 1.34 | POWER ELECTRONICS HEM_FS3150MU | Jinko (JKM395M-72HL-V, JKM400M-72HL-V) | YES
LASSO_UNIT1 | 30.4655 | -103.4751 | Brewster | West | 50 | SINGLE | N-S | 0 | 0 | 1.29 | KACO BLUEPLANET 2200 TL3 | CSUN (CSUN315-72P, CSUN320-72P) | YES
LMESASLR_IVORY | 32.715 | -101.92 | Dawson | West | 50 | SINGLE | N-S | 0 | 0 | 1.32 | KACO BLUEPLANET 2200 TL3 | Mission Solar MSE340SO6J | YES
LMESASLR_UNIT1 | 32.715 | -101.92 | Dawson | West | 101.6 | SINGLE | N-S | 0 | 0 | 1.28 | KACO BLUEPLANET 1000 TL3 | Jinko 315P-72 | YES
OCI_ALM1_UNIT1 | 29.2696 | -98.4453 | Bexar | South | 39.18 | SINGLE, DUAL | N-S, NA | 0 | 0 | 1.27 | KACO XP550-OD-TL | YINGLI YL295-35b | YES
PHOEBE_UNIT1 | 31.8432 | -102.8678 | Winkler | West | 125.04 | SINGLE | N-S | 0 | 0 | 1.25 | POWER ELECTRONICS HEM FS3000M | First Solar FS-6430 | YES
PHOEBE_UNIT2 | 31.8432 | -102.8678 | Winkler | West | 127.95 | SINGLE | N-S | 0 | 0 | 1.24 | POWER ELECTRONICS HEM FS3000M | First Solar FS-6430 | YES
QUEEN_SL_SOLAR 1 & 2 | 31.2075 | 102.5 | Upton | West | 205 | SINGLE | N-S | 0 | 0 | 1.24 | SUNGROW SG2500U | TRINA TSM DEG 14 385 | YES
REROCK_UNIT1 | 31.1084 | -103.2622 | Reeves | West | 78.75 | SINGLE | N-S | 0 | 0 | 1.35 | POWER ELECTRONICS FS1250-HEC UL 390V | CANADIAN SOLAR CS6X-300P | YES
REROCK_UNIT2 | 31.1084 | -103.2622 | Reeves | West | 78.75 | SINGLE | N-S | 0 | 0 | 1.35 | POWER ELECTRONICS FS1250-HEC UL 390V | CANADIAN SOLAR CS6X-300P | YES
RIGGINS_UNIT1 | 31.0543 | -102.851 | Pecos | West | 155.44 | SINGLE | N-S | 0 | 0 | 1.3 | POWER ELECTRONICS FS2600CU15 | First Solar FS-4117-2 | YES
SIRIUS_UNIT1 | 30.9821 | -102.2742 | Pecos | West | 110.2 | DUAL | NA | NA | 0 | 1.28 | KACO BLUEPLANET 1000 TL3 | Mission Solar (305 SB1A, 315 SB1A, 320 SB1A, 325 SB1A, 300 SB1A, 305 SB1A, 310 SB1A, 315 SB1A, 320 SB1A, 325 SB1A, 300 SB1A, 305 SB1A, 310 SB1A, 315 SB1A, 320 SB1A, 325 SB1A, 330 SB1A, 310 SB1A, MSE330SO6J) | YES
SIRIUS_UNIT2 | 30.9821 | -102.2742 | Pecos | West | 50 | DUAL | NA | NA | 0 | 1.32 | KACO BLUEPLANET 1000 TL3 | Mission Solar 325 SB1A | YES
SOLARA_UNIT1 | 33.0066 | -99.6054 | Haskell | West | 106.4 | DUAL | NA | NA | 0 | 1.24 | KACO BLUEPLANET 1000 TL3 | Jinko (310P-72, 315P-72) | YES
SPTX12B_UNIT1 | 31.2489 | -102.2889 | Upton | West | 157.5 | SINGLE | N-S | 0 | 0 | 1.35 | KACO 1500, KACO 2200 | Jinko (315P-72, 320P-72, 325P-72) | YES
W_PECOS_UNIT1 | 31.7944 | -103.8629 | Reeves | West | 100 | SINGLE | N-S | Lat | 0 | 1.29 | POWER-ELECTRONICS FS3225 | JA Solar(JAM72S01-375-PR, JAM72S01-370-PR) | YES
WAYMARK_UNIT1 | 30.99 | -102.23 | Pecos | West | 182 | SINGLE | N-S | 0 | 0 | 1.3 | SCHNEIDER ELECTRIC CONEXT SMARTGEN CS 2200 | Hanwha (Q-CELLS Q. PLUS L- G4.2 345, Q-CELLS Q. PLUS L- G4.2 340) | YES
WEBBER_S_WSP1 | 30.2432 | -97.5023 | Travis | South | 26.7 | SINGLE | N-S | 0 | 0 | 1.42 | EMERSON SPV2400 | Trina TSM-PD14 | YES
Unit Code | Latitude | Longitude | County | CDR Zone | MWAC | Tracking System | Tracking Type | Tilt | Azimuth | DC:AC Ratio | Inverter(s) | Module(s) | Modeled in 2020
ANSON_UNIT 1&2 | 32.8042 | -99.9184 | Jones | West | 201.5 | SINGLE | N-S | 0 | 0 | 1.29 | POWER_ELECTRONICS HEM_FS3270M | VSUN (340_72PH, 345_72PH, 370_72PH), CHINT (CHSM6612P_HV_340, CHSM6612P_HV_345) | NO
ARAGORN | 31.7212 | -104.4425 | Culberson | West | 187.2 | SINGLE | N-S | 0 | 0 | 1.33 | TMEIC PVU-L0840GR | First Solar (FS_6430A, FS-6435A) | NO
CAPRIDG4_BB2_PV 1&2 | 31.8703 | -100.8346 | Sterling | West | 115 | SINGLE | N-S | 0 | 0 | 1.3 | ABB PVS980-58-1818kVA-I | First Solar (FS-6425A, FS-6435A) | NO
CONIGLIO_UNIT1 | 33.4049 | -96.0757 | Fannin | North | 125.7 | SINGLE | N-S | 0 | 0 | 1.34 | HEM_FS3150MU | Q. Cells (Q.PEAK DUO L-G8 415) | NO
E_BLACK_UNIT_1 | 30.413 | -97.4604 | Travis | South | 144 | SINGLE | N-S | 0 | 0 | 1.27 | TMEIC 840_PCS | Canadian_Solar (BiKu_CS3U-375MB-AG) | NO
EUNICE_PV 1&2 | 32.1208 | -102.5301 | Andrews | West | 426.7 | SINGLE | N-S | 0 | 0 | 1.22 | GE LV5_1566 | Jinko (400M-72HL-V, 405M-72HL-V), JA Solar (JAM72S09-390/PR, JAM72S09-395/PR), | NO
FWLR_SLR_UNIT1 | 31.2506 | -102.3152 | Crane | West | 152.5 | SINGLE | N-S | Lat | 0 | 1.39 | TMEIC PVH-L3360GR | Jink (400M-72HL-V, 405M-72-V, 400M-72HL-V) | YES
GALLOWAY_SOLAR1 | 31.447 | -99.891 | Concho | West | 256.96 | SINGLE | N-S | 0 | 0 | 1.24 | PVH-L3360GR-E7S | Jinko (395M-72HL-V, 400M-72HL-V, TSM-DEG15HC.20(II) 390, TSM-DEG15HC.20(II) 395, TSM-DEG15HC.20(II) 400) | NO
GREASWOD_UNIT1 &2 | 31.0337 | -102.4717 | Pecos | West | 258.5 | SINGLE | N-S | 0 | 0 | 1.34 | PCS-840 | Jinko (JKM405M-72HL-V, JKM410M-72HL-V) | NO
HOLSTEIN_SOLAR1 | 32.1019 | -100.167 | Nolan | West | 102.2 | SINGLE | N-S | Lat | 0 | 1.37 | POWER_ELECTRONICS FS3225M | Jinko (400M-72HL-V); Trina (DE15(II)-400, DE15(II)-395, DE15(II)-390) | YES
HOLSTEIN_SOLAR2 | 32.1019 | -100.167 | Nolan | West | 102.3 | SINGLE | N-S | 0 | 0 | 1.37 | POWER_ELECTRONICS FS3225M | Jinko (395M-72HL-V, 400M-72HL-V), Trina (TSM-DEG15HC.20(II) 395, TSM-DEG15HC.20(II) 400) | NO
IMPACT_UNIT1 | 33.4678 | -95.3709 | Lamar | North | 198.5 | SINGLE | N-S | 0 | 0 | 1.31 | POWER_ELECTRONICS HEM_FS3430M | Trina (TSM-DEG15HC.20(II) 395, TSM-DEG15HC.20(II) 400, TSM-DEG15MC.20(II) 395, TSM-DEG15MC.20(II) 400, TSM-DEG15MC.20(II) 405) | NO
JUNO_UNIT 1&2 | 32.78 | -101.6385 | Borden | West | 305.6 | SINGLE | N-S | 0 | 0 | 1.26 | TMEIC PVU-L0840GR | First Solar (FS_6430A) | NO
KELAM_SL_UNIT1 | 32.4717 | -95.7209 | Van Zandt | North | 59.8 | SINGLE | N-S | 0 | 0 | 1.36 | SUNGROW SG3150U | Q. Cells Q.PEAK DUO L-G8 420 | NO
LGDRAW_S_UNIT1_1 | 32.7428 | -101.622 | Borden | West | 101.4 | SINGLE | N-S | Lat | 0 | 1.26 | POWER_ELECTRONICS FS3270M | Astroenergy (CHSM6612P-HV 340W, CHSM6612P-HV 345W, CHSM6612M-HV 360W); CSUN (72MH 375W) | YES
LGDRAW_S_UNIT1_2 | 32.7428 | -101.622 | Borden | West | 125.3 | SINGLE | N-S | Lat | 0 | 1.27 | POWER_ELECTRONICS FS3270M | Astroenergy (CHSM6612P-HV 340W, CHSM6612P-HV 345W, CHSM6612M-HV 360W); CSUN (72MH 375W) | YES
MISAE_UNIT1 | 34.379 | -100.09 | Childress | Panhandle | 121.4 | SINGLE | N-S | 0 | 0 | 1.37 | TMEIC PVH-L3360GR | Jinko 395M-72HL-V | YES
MISAE_UNIT2 | 32.9942 | -100.53 | Kent | West | 118.6 | SINGLE | N-S | 0 | 0 | 1.35 | TMEIC PVH-L3360GR | Jinko 400M-72HL-V | YES
OBERON_UNIT_1 | 31.7188 | -102.705 | Ector | West | 180 | SINGLE | N-S | 0 | 0 | 1.28 | SUNGROW SG2500U | Hanwha (340_W, 345_W, 390W_BIFACIAL) | NO
PHOENIX_UNIT1 | 33.5175 | -96.1552 | Fannin | North | 83.9 | SINGLE | N-S | 0 | 0 | 1.25 | TMEIC PCS_840 | First Solar (FS_6440A) | NO
PROSPERO_UNIT1 | 32.3024 | -102.8616 | Andrews | West | 153.6 | SINGLE | N-S | Lat | 0 | 1.25 | PCS-840 | First Solar (FS-4117-3, FS-4120A-3) | YES
PROSPERO_UNIT2 | 32.3024 | -102.8616 | Andrews | West | 150 | SINGLE | N-S | 0 | 0 | 1.25 | TMEIC PCS-840 | First Solar (FS-4120A-3, FS-4122A-3) | NO
REDBARN_UNIT_1&2 | 30.98 | -102.25 | Pecos | West | 250 | SINGLE | N-S | 0 | 0 | 1.33 | POWER_ELECTRONICS FS3190M | Canadian Solar (BiHiKu_CS3W-405PB-AG) | NO
RIPPEY_UNIT1 | 33.5496 | -97.1796 | Cooke | North | 59.8 | SINGLE | N-S | 0 | 0 | 1.36 | SUNGROW SG3150U | Q. Cells Q.PEAK DUO L-G8 420 | NO
TAYGETE_UNIT 1&2 | 31.1722 | -103.1054 | Pecos | West | 254.8 | SINGLE | N-S | 0 | 0 | 1.35 | POWER_ELECTRONICS HEM_FS3350M | Jinko (JKM395M-72HL-V, JKM400M-72HL-V, JKM405M-72HL-V) | NO
TI_SOLAR_UNIT 1&2 | 31.685 | -104.4567 | Culberson | West | 267.9 | SINGLE | N-S | 0 | 0 | 1.35 | TMEIC PVU-L0840GR | First Solar (FS_6430A) | NO
WGU_UNIT1 | 29.2423 | -95.6585 | Brazoria | Coastal | 120 | SINGLE | N-S | 0 | 0 | 1.33 | POWER_ELECTRONICS HEM_FS3430MU | First Solar (FS-4117-3, FS-4120A-3) | YES
Notes
1) For plants in which multiple inverters or PV modules are listed and for newly added plants, a composite specification of these models was assumed.
2) Based on analysis of raw modeled data to observed generation data, it was concluded that the three fixed tilt plants should be modeled with a tilt equal to the latitude of the plant centroid and an azimuth of 25 degrees west of due south.
3) OCI Alamo 1 was specified as partially single-axis tracking and partially dual-axis, although the exact layout was unknown. The entire plant was modeled with both scenarios, and the final profile reflects an average of these two scenarios.
4) ACACIA_UNIT1 did not provide HSL data as a Settlement Only Generator (SOG). For this plant, only historical generation data was available, which included availability losses and curtailment.
5) MISAE_UNIT1, MISAE_UNIT2, LGDRAW_S_UNIT1_1, LGDRAW_S_UNIT1_2, WGU_UNIT1 were modeled as planned in 2020 and again in 2021 as they lacked observed generation data suitable for site-specific adjustment.
6) FWLR_SLR_UNIT1, HOLSTEIN_SOLAR1, KELAM_SL_UNIT1, OBERON_UNIT_1, PROSPERO_UNIT1, RIPPEY_UNIT1 had < 1 year of observed generation data and received a composite adjustment.
7) OXYSOLAR_SOLAR_1 (Site_00031) was previously modeled but has been omitted this year as it is a settlement only plant.

## Utility_Hypothetical
SITE ID | Type | MWAC | Latitude | Longitude | County | CDR Zone
745 | 4 | 50 | 32.1857 | -102.8994 | Andrews | West
5726 | 1 | 50 | 31.3635 | -94.8991 | Angelina | North
2804 | 4 | 50 | 34.9666 | -101.435 | Armstrong | Panhandle
1115 | 4 | 50 | 33.8613 | -103.0325 | Bailey | Panhandle
4753 | 1 | 50 | 28.2099 | -97.7436 | Bee | South
4433 | 2 | 50 | 29.2346 | -98.3286 | Bexar | South
1403 | 2 | 50 | 32.5413 | -101.6254 | Borden | West
4051 | 1 | 50 | 32.1073 | -97.7819 | Bosque | North
5922 | 1 | 50 | 29.2679 | -95.7235 | Brazoria | Coastal
30 | 4 | 50 | 30.1518 | -103.696 | Brewster | West
2695 | 2 | 50 | 34.3234 | -101.3026 | Briscoe | Panhandle
3202 | 4 | 50 | 31.6666 | -99.1612 | Brown | North
2864 | 2 | 50 | 32.4614 | -99.5907 | Callahan | West
2740 | 2 | 50 | 26.1096 | -97.8329 | Cameron | Coastal
2946 | 4 | 50 | 35.2118 | -101.5279 | Carson | Panhandle
1908 | 2 | 50 | 34.3419 | -102.4688 | Castro | Panhandle
3846 | 1 | 50 | 34.502 | -100.3889 | Childress | Panhandle
945 | 4 | 50 | 33.4562 | -103.0241 | Cochran | Panhandle
2326 | 2 | 50 | 31.9255 | -100.6371 | Coke | West
2925 | 2 | 50 | 31.7215 | -99.5017 | Coleman | West
3511 | 1 | 50 | 31.8442 | -98.7086 | Comanche | North
2168 | 2 | 50 | 31.1867 | -99.7676 | Concho | West
4971 | 1 | 50 | 33.5494 | -97.2439 | Cooke | North
3415 | 2 | 50 | 33.9372 | -100.4114 | Cottle | West
577 | 4 | 50 | 31.3714 | -102.7055 | Crane | West
805 | 2 | 50 | 31.0154 | -102.0727 | Crockett | West
2101 | 2 | 50 | 33.6765 | -101.5122 | Crosby | Panhandle
176 | 4 | 50 | 30.8677 | -104.6565 | Culberson | West
5018 | 2 | 50 | 32.5779 | -96.7112 | Dallas | North
1136 | 2 | 50 | 32.6372 | -102.1028 | Dawson | West
1348 | 4 | 50 | 34.8262 | -103.0342 | Deaf Smith | Panhandle
4831 | 1 | 50 | 33.2114 | -97.321 | Denton | North
2759 | 2 | 50 | 33.4133 | -101.0083 | Dickens | Panhandle
1713 | 4 | 50 | 28.273 | -99.8614 | Dimmit | South
3405 | 4 | 50 | 35.1498 | -100.9935 | Donley | Panhandle
2436 | 2 | 50 | 27.388 | -98.662 | Duval | South
3116 | 2 | 50 | 32.2295 | -99.0156 | Eastland | North
651 | 2 | 50 | 31.7606 | -102.7127 | Ector | West
1720 | 4 | 50 | 30.2342 | -100.4617 | Edwards | South
4779 | 1 | 50 | 32.1718 | -96.9435 | Ellis | North
4963 | 1 | 50 | 31.262 | -97.1337 | Falls | North
5516 | 1 | 50 | 33.4253 | -96.3726 | Fannin | North
2173 | 3 | 50 | 32.7227 | -100.4715 | Fisher | West
2560 | 2 | 50 | 33.8745 | -101.4807 | Floyd | Panhandle
5961 | 1 | 50 | 29.5725 | -95.8399 | Fort Bend | Houston
2688 | 4 | 50 | 28.7083 | -99.3247 | Frio | South
831 | 4 | 50 | 32.6277 | -102.9464 | Gaines | West
1980 | 2 | 50 | 33.2147 | -101.5097 | Garza | West
2437 | 4 | 50 | 30.4414 | -99.2491 | Gillespie | South
1008 | 2 | 50 | 31.7004 | -101.6163 | Glasscock | West
5597 | 1 | 50 | 30.6969 | -96.0793 | Grimes | North
2062 | 2 | 50 | 33.8734 | -101.8936 | Hale | Panhandle
3399 | 2 | 50 | 34.3272 | -100.8901 | Hall | Panhandle
4156 | 1 | 50 | 34.2139 | -99.5779 | Hardeman | West
5718 | 2 | 50 | 29.8583 | -95.055 | Harris | Houston
3061 | 4 | 50 | 33.0568 | -99.9029 | Haskell | West
1545 | 2 | 50 | 26.4002 | -98.497 | Hidalgo | South
4458 | 1 | 50 | 31.9607 | -97.3453 | Hill | North
1238 | 2 | 50 | 33.5222 | -102.5989 | Hockley | Panhandle
6003 | 1 | 50 | 33.0938 | -95.7054 | Hopkins | North
1217 | 2 | 50 | 32.1461 | -101.5325 | Howard | West
5790 | 1 | 50 | 33.1017 | -96.1955 | Hunt | North
1117 | 4 | 50 | 31.216 | -101.1094 | Irion | West
5417 | 1 | 50 | 28.9718 | -96.7527 | Jackson | South
105 | 4 | 50 | 30.5444 | -104.5139 | Jeff Davis | West
1309 | 4 | 50 | 26.848 | -98.8152 | Jim Hogg | South
4553 | 1 | 50 | 27.3852 | -98.0777 | Jim Wells | South
2638 | 4 | 50 | 32.829 | -100.0968 | Jones | West
5366 | 1 | 50 | 32.6435 | -96.427 | Kaufman | North
2154 | 2 | 50 | 33.0358 | -100.9771 | Kent | West
2405 | 4 | 50 | 30.1331 | -99.6056 | Kerr | South
2134 | 4 | 50 | 30.6214 | -99.9984 | Kimble | South
3022 | 4 | 50 | 33.4224 | -100.3306 | King | West
1923 | 4 | 50 | 29.0966 | -100.5664 | Kinney | South
3443 | 4 | 50 | 33.4718 | -99.7265 | Knox | West
2351 | 4 | 50 | 28.06 | -99.1567 | La Salle | South
6025 | 1 | 50 | 33.6302 | -95.7503 | Lamar | North
1336 | 2 | 50 | 33.8661 | -102.5759 | Lamb | Panhandle
672 | 2 | 50 | 31.8209 | -103.6692 | Loving | West
1992 | 2 | 50 | 33.5729 | -101.755 | Lubbock | Panhandle
1475 | 4 | 50 | 33.0858 | -101.9558 | Lynn | West
1047 | 2 | 50 | 32.1391 | -101.8868 | Martin | West
2346 | 2 | 50 | 30.8255 | -99.4279 | Mason | South
5892 | 1 | 50 | 29.0047 | -96.161 | Matagorda | Coastal
1715 | 4 | 50 | 28.2696 | -100.2593 | Maverick | South
2279 | 4 | 50 | 31.2198 | -99.5347 | McCulloch | South
4657 | 1 | 50 | 31.6084 | -97.4218 | McLennan | North
2870 | 4 | 50 | 28.1549 | -98.565 | McMullen | South
3480 | 1 | 50 | 29.2053 | -99.3852 | Medina | South
1999 | 4 | 50 | 30.8618 | -100.0879 | Menard | West
896 | 4 | 50 | 31.659 | -101.9648 | Midland | West
3397 | 4 | 50 | 31.4645 | -98.9547 | Mills | North
1618 | 2 | 50 | 32.1522 | -101.1438 | Mitchell | West
3062 | 2 | 50 | 33.8631 | -100.9173 | Motley | Panhandle
4946 | 1 | 50 | 31.8265 | -96.7103 | Navarro | North
1957 | 2 | 50 | 32.4238 | -100.5678 | Nolan | West
4515 | 1 | 50 | 27.6128 | -97.8532 | Nueces | Coastal
2338 | 4 | 50 | 35.2326 | -102.8704 | Oldham | Panhandle
1233 | 2 | 50 | 34.3372 | -103.0346 | Parmer | Panhandle
136 | 4 | 50 | 30.3218 | -102.9455 | Pecos | West
3188 | 4 | 50 | 35.3054 | -102.153 | Potter | Panhandle
4 | 4 | 50 | 29.7003 | -103.8929 | Presidio | West
2512 | 4 | 50 | 34.8289 | -102.1288 | Randall | Panhandle
906 | 4 | 50 | 31.3929 | -101.7493 | Reagan | West
3236 | 2 | 50 | 29.7008 | -100.0032 | Real | South
439 | 4 | 50 | 31.2334 | -104.0212 | Reeves | West
2548 | 4 | 50 | 31.595 | -100.0195 | Runnels | West
3005 | 4 | 50 | 31.2341 | -99.0222 | San Saba | North
1487 | 4 | 50 | 30.7909 | -100.8541 | Schleicher | West
2010 | 4 | 50 | 32.649 | -100.6875 | Scurry | West
3075 | 2 | 50 | 32.8839 | -99.5999 | Shackelford | West
1161 | 4 | 50 | 26.6435 | -98.8727 | Starr | South
3284 | 4 | 50 | 32.6022 | -98.9541 | Stephens | North
1488 | 2 | 50 | 31.9393 | -101.2565 | Sterling | West
2791 | 2 | 50 | 33.2374 | -100.3179 | Stonewall | West
1633 | 4 | 50 | 30.5651 | -100.502 | Sutton | West
2536 | 2 | 50 | 34.4249 | -101.9044 | Swisher | Panhandle
2416 | 4 | 50 | 32.3595 | -100.1271 | Taylor | West
509 | 4 | 50 | 29.9933 | -102.3087 | Terrell | West
1162 | 4 | 50 | 33.1266 | -102.4584 | Terry | West
3225 | 3 | 50 | 33.2132 | -99.4465 | Throckmorton | West
1919 | 4 | 50 | 31.2201 | -100.5597 | Tom Green | West
5044 | 2 | 50 | 30.0978 | -97.71 | Travis | South
647 | 2 | 50 | 31.3594 | -102.2405 | Upton | West
2723 | 3 | 50 | 29.1437 | -99.9495 | Uvalde | South
736 | 4 | 50 | 29.8455 | -101.7515 | Val Verde | West
5375 | 1 | 50 | 32.4829 | -95.8994 | Van Zandt | North
5198 | 1 | 50 | 28.8283 | -97.1476 | Victoria | South
555 | 2 | 50 | 31.4986 | -103.4052 | Ward | West
1097 | 2 | 50 | 27.5023 | -99.1168 | Webb | South
5804 | 1 | 50 | 29.2895 | -96.3984 | Wharton | South
4671 | 1 | 50 | 34.132 | -98.9083 | Wichita | West
2916 | 2 | 50 | 26.4285 | -97.8213 | Willacy | Coastal
4927 | 1 | 50 | 30.5437 | -97.4864 | Williamson | South
704 | 4 | 50 | 31.8469 | -103.2818 | Winkler | West
903 | 2 | 50 | 32.9948 | -103.0247 | Yoakum | West
3839 | 1 | 50 | 33.2311 | -98.5504 | Young | West
1158 | 4 | 50 | 27.0038 | -99.2039 | Zapata | South
1914 | 4 | 50 | 28.6975 | -100.0476 | Zavala | South

## DGPV_metro
SITE ID | Metro Area | Development Intensity | MWAC
1022 | Austin | Low | 374
1023 | Austin | Med | 411
1024 | Austin | High | 1405
2022 | Dallas | Low | 1557
2023 | Dallas | Med | 1611
2024 | Dallas | High | 6552
3022 | Houston | Low | 1211
3023 | Houston | Med | 1779
3024 | Houston | High | 6677
4022 | SanAntonio | Low | 420
4023 | SanAntonio | Med | 431
4024 | SanAntonio | High | 1672

## DGPV_rural
SITE ID | MWAC | County | CDR Zone
3001 | 30.13 | Anderson | North
6002 | 6.01 | Andrews | West
3003 | 70.44 | Angelina | North
1004 | 21.99 | Aransas | Coastal
6005 | 5.76 | Archer | West
4006 | 1.02 | Armstrong | Panhandle
5007 | 16.63 | Atascosa | South
5008 | 15.97 | Austin | South
4009 | 4.03 | Bailey | Panhandle
5010 | 1.09 | Bandera | South
5011 | 2.78 | Bastrop | South
6012 | 3.88 | Baylor | West
5013 | 10.62 | Bee | South
3014 | 248.46 | Bell | North
5015 | 6.02 | Bexar | South
5016 | 2.43 | Blanco | South
3018 | 4.01 | Bosque | North
1020 | 91.05 | Brazoria | Coastal
3021 | 159.41 | Brazos | North
6022 | 3.16 | Brewster | West
4023 | 0.77 | Briscoe | Panhandle
5024 | 3.26 | Brooks | South
3025 | 24.81 | Brown | North
5026 | 9.33 | Burleson | South
5027 | 23.02 | Burnet | South
5028 | 11.53 | Caldwell | South
1029 | 15.62 | Calhoun | Coastal
6030 | 5.11 | Callahan | West
1031 | 256.83 | Cameron | Coastal
4033 | 3.44 | Carson | Panhandle
4035 | 4.03 | Castro | Panhandle
2036 | 3.41 | Chambers | Houston
3037 | 28.11 | Cherokee | North
4038 | 5.22 | Childress | Panhandle
6039 | 4.31 | Clay | West
4040 | 1.89 | Cochran | Panhandle
6041 | 2.15 | Coke | West
6042 | 5.15 | Coleman | West
3043 | 28.37 | Collin | North
4044 | 2.1 | Collingsworth | Panhandle
5045 | 7.4 | Colorado | South
5046 | 63.53 | Comal | South
3047 | 4.93 | Comanche | North
6048 | 1.75 | Concho | West
3049 | 24.2 | Cooke | North
3050 | 28.71 | Coryell | North
6051 | 0.83 | Cottle | West
6052 | 1.87 | Crane | West
4054 | 2.94 | Crosby | Panhandle
6055 | 1.65 | Culberson | West
3056 | 5.93 | Dallas | North
6057 | 6.62 | Dawson | West
4058 | 10.15 | Deaf Smith | Panhandle
3059 | 0.74 | Delta | North
3060 | 35.04 | Denton | North
5061 | 13.57 | DeWitt | South
4062 | 1.12 | Dickens | Panhandle
5063 | 6.44 | Dimmit | South
4064 | 1.71 | Donley | Panhandle
5065 | 5.45 | Duval | South
3066 | 9.03 | Eastland | North
6067 | 65.07 | Ector | West
5068 | 0.68 | Edwards | South
3069 | 46.05 | Ellis | North
3070 | 15.37 | Erath | North
3071 | 4.33 | Falls | North
3072 | 12.55 | Fannin | North
5073 | 9.44 | Fayette | South
6074 | 1.4 | Fisher | West
4075 | 3.51 | Floyd | Panhandle
6076 | 0.56 | Foard | West
2077 | 84.31 | Fort Bend | Houston
3078 | 3.43 | Franklin | North
3079 | 12.61 | Freestone | North
5080 | 8.33 | Frio | South
6081 | 7.08 | Gaines | West
2082 | 0.06 | Galveston | Houston
6083 | 2.03 | Garza | West
5084 | 11.24 | Gillespie | South
5086 | 1.85 | Goliad | South
5087 | 9.73 | Gonzales | South
4088 | 14.41 | Gray | Panhandle
3089 | 86.04 | Grayson | North
3091 | 9.12 | Grimes | North
5092 | 52.98 | Guadalupe | South
4093 | 21.5 | Hale | Panhandle
4094 | 2.79 | Hall | Panhandle
3095 | 2.6 | Hamilton | North
4096 | 3.39 | Hansford | Panhandle
6097 | 2.17 | Hardeman | West
2099 | 25.82 | Harris | Houston
6101 | 2.78 | Haskell | West
5102 | 57.94 | Hays | South
4103 | 3.2 | Hemphill | Panhandle
3104 | 48.33 | Henderson | North
5105 | 516.3 | Hidalgo | South
3106 | 15.81 | Hill | North
4107 | 14.19 | Hockley | Panhandle
3108 | 23.05 | Hood | North
3109 | 26.65 | Hopkins | North
3110 | 13.49 | Houston | North
6111 | 21.14 | Howard | West
3112 | 50.72 | Hunt | North
4113 | 18.84 | Hutchinson | Panhandle
6114 | 1.47 | Irion | West
3115 | 3.66 | Jack | North
5116 | 4.68 | Jackson | South
6118 | 0.15 | Jeff Davis | West
5121 | 24.41 | Jim Wells | South
3122 | 12.43 | Johnson | North
6123 | 9.31 | Jones | West
5124 | 8.3 | Karnes | South
3125 | 70.83 | Kaufman | North
5126 | 12.8 | Kendall | South
6128 | 0.55 | Kent | West
5129 | 22.52 | Kerr | South
5130 | 1.83 | Kimble | South
5132 | 1.55 | Kinney | South
1133 | 20.16 | Kleberg | Coastal
6134 | 2.03 | Knox | West
5135 | 3.17 | La Salle | South
3136 | 34.83 | Lamar | North
4137 | 7.23 | Lamb | Panhandle
3138 | 7.45 | Lampasas | North
5139 | 8.54 | Lavaca | South
5140 | 6.16 | Lee | South
3141 | 7.74 | Leon | North
3143 | 12.84 | Limestone | North
4144 | 1.96 | Lipscomb | Panhandle
5145 | 6.58 | Live Oak | South
5146 | 9.15 | Llano | South
4148 | 220.13 | Lubbock | Panhandle
6149 | 2.31 | Lynn | West
3150 | 10.08 | Madison | North
6152 | 1.81 | Martin | West
5153 | 1.09 | Mason | South
1154 | 17.08 | Matagorda | Coastal
5155 | 49.47 | Maverick | South
5156 | 6.37 | McCulloch | South
3157 | 209.6 | McLennan | North
5159 | 13.84 | Medina | South
6160 | 1.19 | Menard | West
6161 | 105.15 | Midland | West
5162 | 8.32 | Milam | South
3163 | 1.52 | Mills | North
6164 | 4.98 | Mitchell | West
3165 | 9.51 | Montague | North
2166 | 122.1 | Montgomery | Houston
4168 | 0.65 | Motley | Panhandle
3169 | 37.08 | Nacogdoches | North
3170 | 42.98 | Navarro | North
6172 | 15.55 | Nolan | West
1173 | 357.24 | Nueces | Coastal
4174 | 6.49 | Ochiltree | Panhandle
4175 | 0.77 | Oldham | Panhandle
3177 | 19.87 | Palo Pinto | North
3179 | 54.14 | Parker | North
4180 | 2.56 | Parmer | Panhandle
6181 | 7.53 | Pecos | West
4183 | 126.23 | Potter | Panhandle
6184 | 5.3 | Presidio | West
3185 | 3.92 | Rains | North
4186 | 69.14 | Randall | Panhandle
6187 | 2.8 | Reagan | West
5188 | 0.44 | Real | South
3189 | 7.39 | Red River | North
6190 | 13.54 | Reeves | West
1191 | 4.08 | Refugio | Coastal
4192 | 0.59 | Roberts | Panhandle
3193 | 6 | Robertson | North
3194 | 11.24 | Rockwall | North
6195 | 9.49 | Runnels | West
3196 | 27.94 | Rusk | North
1200 | 44.87 | San Patricio | Coastal
3201 | 1.84 | San Saba | North
6202 | 1.98 | Schleicher | West
6203 | 10.38 | Scurry | West
6204 | 1.69 | Shackelford | West
4206 | 1.88 | Sherman | Panhandle
3207 | 193.56 | Smith | North
3208 | 3.97 | Somervell | North
5209 | 16.34 | Starr | South
3210 | 4.23 | Stephens | North
6211 | 1.62 | Sterling | West
6212 | 0.98 | Stonewall | West
6213 | 4.2 | Sutton | West
4214 | 4.22 | Swisher | Panhandle
3215 | 5.3 | Tarrant | North
6216 | 166.27 | Taylor | West
6218 | 6.32 | Terry | West
6219 | 1.06 | Throckmorton | West
3220 | 26.64 | Titus | North
6221 | 107.63 | Tom Green | West
5222 | 0.01 | Travis | South
6226 | 2.26 | Upton | West
5227 | 13.19 | Uvalde | South
6228 | 17.53 | Val Verde | West
3229 | 21.25 | Van Zandt | North
5230 | 65.88 | Victoria | South
2232 | 13.62 | Waller | Houston
6233 | 6.44 | Ward | West
5234 | 20.94 | Washington | South
5235 | 283.9 | Webb | South
5236 | 19.86 | Wharton | South
4237 | 2.22 | Wheeler | Panhandle
6238 | 160.53 | Wichita | West
6239 | 12.91 | Wilbarger | West
1240 | 7.05 | Willacy | Coastal
5241 | 5.78 | Williamson | South
5242 | 9.27 | Wilson | South
6243 | 5.5 | Winkler | West
3244 | 29.4 | Wise | North
3245 | 15.92 | Wood | North
6246 | 5.84 | Yoakum | West
6247 | 16.93 | Young | West
5249 | 5.08 | Zavala | South