## Slide 1
<number>
PWG
Profiling Working Group
Update to RMS
December 7, 2021
Leadership: Sam Pak (Oncor)
Sheri Wiegand (TXU)
Notes: <number>

## Slide 2: 2021 Weather Sensitivity Update
<number>
On November 2nd ERCOT provided TDSPs initial Weather Sensitivity Report
Process ongoing for changes with a target completion by Jan 31 2022
Table below is latest monthly update as of Dec 2nd

## Slide 3: Discussion Topics
Unaccounted For Energy (UFE) Holistic Review
  Suggestion to utilize EMS transmission factors (more accurate) vs the current seasonal calculation for Transmission Loss Factors
    Using these “more accurate” factors should minimize the swing of UFE calculations
  Should NOIEs receive a % allocation of UFE – argument years ago was that they have only boundary meters and are already settled on interval data.
    With the proliferation of AMS meters, 99.5% of competitive load is settled on interval data
  What are the appropriate UFE allocation factors?
    With Transmission Losses being a primary driver of UFE factors, NOIEs are subject to some transmission losses at boundary meters
<number>
Recommendation: WMS to take up this discussion as this falls under their purview.

## Slide 4: Discussion Topics
Proposed Enhancements to Data Loading Process for BUSLRG and BUSLRDG profiles
  ERCOT has proposed additional Error Codes to help identify and alert TDSPs on their respective 867_03 Activity Report and Interval Data LSE Activity Report
  867_03 Activity Report
    ERROR Code 35 will distinguish BUSLRG/DG with submitted interval data on IDR867_03 transaction
    ERROR Code 36 will provide notice when certain kwh/kW thresholds are exceeded on the IDR867_03 transaction
  Interval Data LSE Activity Report:
    ERROR Code 16 “Exceeds LOAD Threshold for BUSLRG/DG”
    ERROR Code 17 “Exceeds GEN Threshold for BUSLRG/DG”
<number>

## Slide 5: Next PWG Meeting
<number>
Next PWG meetings:
January 12, 2022 @ 9:30 AM
PWG Meeting Page:
http://www.ercot.com/committee/pwg