## Slide 1
Battery Dispatch in FIS
12/10/2021
Jun Li

## Slide 2: Steady State Study
Battery alone
  Discharging: modeled as a generator injecting power at Pmax
  Charging: modeled as a generator absorbing power at Pmin (negative value)
Hybrid (Battery + Generator)
  Discharging: modeled as a generator at battery’s Pmax with the associated generator at its Pmax
  Charing: modeled as a negative generator at battery’s Pmin (negative value) with the associated generator offline

## Slide 3: Stability
Battery alone
  Discharging: modeled as a generator at Pmax
  Charging: modeled as a generator absorbing power at Pmin (negative value)
Hybrid (Battery + Generator)
  Discharging: Modeled as a generator at battery’s Pmax with the associated generator at its Pmax
  Charging:
    modeled as a generator absorbing power at battery’s Pmin (negative value) with the associated generator at its Pmax for SP
    Modeled as a generator absorbing power at battery’s Pmin (negative value) with the associated generator offline for HWLL

## Slide 4
Questions?