## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for November 2021

## Slide 2: Non-IRR GREDP < 85% – November 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 258 | 207 | 249 | 2.46 | 83.13
Unit 270 | 105 | 160 | 1.75 | 65.63
Unit 331 | 0 | 1 | 0.53 | 0.00

## Slide 3: IRR Summary – November 2021
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 87.75 | 74.37 | 81.52
GREDP Median (%) | 96.21 | 81.25 | 88.02
Average MW Error | 4.19 | 4.30 | 4.39
Median MW Error | 3.83 | 4.10 | 3.99
Total Intervals Scored | 93,381 | 34,454 | 33,361
100+ Intervals Scored | 107 | 173 | 48
Total Intervals Scored Average | 331.14 | 415.11 | 695.02

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – Nov. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,816 | 2,817 | 3.65 | 99.96
Unit 2 | 2,691 | 2,694 | 2.17 | 99.89
Unit 3 | 2,663 | 2,684 | 2.79 | 99.22
Unit 5 | 2,527 | 2,537 | 3.91 | 99.61
Unit 6 | 2,431 | 2,440 | 4.07 | 99.63
Unit 7 | 2,089 | 2,128 | 5.08 | 98.17
Unit 8 | 2,097 | 2,110 | 6.01 | 99.38
Unit 9 | 1,952 | 1,962 | 2.39 | 99.49
Unit 10 | 1,905 | 1,960 | 2.53 | 97.19
Unit 12 | 1,828 | 1,853 | 4.57 | 98.65
Unit 14 | 1,590 | 1,602 | 2.66 | 99.25
Unit 18 | 1,436 | 1,509 | 2.03 | 95.16
Unit 19 | 1,430 | 1,483 | 4.43 | 96.43
Unit 20 | 1,354 | 1,423 | 2.27 | 95.15
Unit 21 | 1,397 | 1,400 | 3.67 | 99.79
Unit 22 | 1,373 | 1,383 | 4.10 | 99.28
Unit 25 | 1,312 | 1,349 | 6.73 | 97.26
Unit 26 | 1,268 | 1,274 | 7.92 | 99.53
Unit 27 | 1,258 | 1,258 | 6.20 | 100.00
Unit 29 | 1,152 | 1,189 | 1.94 | 96.89

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – Nov. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 30 | 1,164 | 1,179 | 3.22 | 98.73
Unit 31 | 1,153 | 1,164 | 4.14 | 99.05
Unit 35 | 941 | 965 | 2.80 | 97.51
Unit 36 | 943 | 955 | 2.82 | 98.74
Unit 38 | 868 | 874 | 6.86 | 99.31
Unit 39 | 813 | 836 | 3.25 | 97.25
Unit 40 | 808 | 832 | 5.17 | 97.12
Unit 41 | 759 | 786 | 9.91 | 96.56
Unit 45 | 690 | 705 | 4.64 | 97.87
Unit 47 | 686 | 689 | 10.23 | 99.56
Unit 48 | 685 | 688 | 3.39 | 99.56
Unit 50 | 664 | 677 | 2.82 | 98.08
Unit 52 | 619 | 629 | 4.12 | 98.41
Unit 53 | 609 | 617 | 2.61 | 98.70
Unit 54 | 587 | 617 | 3.27 | 95.14
Unit 55 | 583 | 613 | 3.55 | 95.11
Unit 56 | 543 | 561 | 7.63 | 96.79
Unit 58 | 532 | 553 | 4.76 | 96.20
Unit 62 | 538 | 544 | 4.61 | 98.90
Unit 63 | 521 | 537 | 5.17 | 97.02

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – Nov. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 64 | 534 | 536 | 5.69 | 99.63
Unit 67 | 492 | 516 | 1.51 | 95.35
Unit 69 | 482 | 501 | 6.83 | 96.21
Unit 73 | 478 | 489 | 0.73 | 97.75
Unit 77 | 401 | 417 | 2.66 | 96.16
Unit 78 | 365 | 375 | 6.93 | 97.33
Unit 81 | 325 | 327 | 3.77 | 99.39
Unit 84 | 297 | 297 | 3.66 | 100.00
Unit 85 | 282 | 296 | 0.50 | 95.27
Unit 86 | 282 | 290 | 2.88 | 97.24
Unit 90 | 265 | 273 | 2.92 | 97.07
Unit 91 | 233 | 233 | 6.42 | 100.00
Unit 93 | 216 | 226 | 3.27 | 95.58
Unit 95 | 213 | 216 | 1.38 | 98.61
Unit 96 | 214 | 216 | 1.21 | 99.07
Unit 97 | 209 | 213 | 3.77 | 98.12
Unit 98 | 194 | 202 | 6.12 | 96.04
Unit 104 | 129 | 132 | 3.35 | 97.73
Unit 105 | 122 | 122 | 3.22 | 100.00

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – Nov. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 4 | 2,354 | 2,549 | 3.89 | 92.35
Unit 11 | 1,808 | 1,944 | 1.40 | 93.00
Unit 13 | 1,660 | 1,757 | 4.75 | 94.48
Unit 15 | 1,354 | 1,592 | 5.20 | 85.05
Unit 16 | 1,492 | 1,582 | 3.33 | 94.31
Unit 17 | 1,427 | 1,565 | 2.99 | 91.18
Unit 23 | 1,282 | 1,378 | 5.21 | 93.03
Unit 24 | 1,251 | 1,354 | 1.20 | 92.39
Unit 28 | 908 | 1,193 | 6.49 | 76.11
Unit 32 | 877 | 1,147 | 4.69 | 76.46
Unit 33 | 925 | 977 | 1.57 | 94.68
Unit 34 | 768 | 975 | 3.03 | 78.77
Unit 37 | 794 | 906 | 1.65 | 87.64
Unit 42 | 599 | 782 | 6.64 | 76.60
Unit 43 | 726 | 777 | 8.96 | 93.44
Unit 44 | 655 | 733 | 8.61 | 89.36
Unit 46 | 573 | 701 | 4.93 | 81.74
Unit 49 | 485 | 681 | 2.37 | 71.22
Unit 51 | 568 | 645 | 2.07 | 88.06
Unit 57 | 306 | 555 | 5.64 | 55.14

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – Nov. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 59 | 486 | 552 | 4.40 | 88.04
Unit 60 | 443 | 550 | 7.01 | 80.55
Unit 61 | 484 | 550 | 4.30 | 88.00
Unit 65 | 488 | 524 | 6.92 | 93.13
Unit 66 | 457 | 521 | 6.82 | 87.72
Unit 68 | 459 | 516 | 1.18 | 88.95
Unit 70 | 444 | 498 | 2.89 | 89.16
Unit 71 | 436 | 495 | 8.35 | 88.08
Unit 72 | 356 | 490 | 9.38 | 72.65
Unit 74 | 329 | 432 | 4.10 | 76.16
Unit 75 | 341 | 429 | 2.63 | 79.49
Unit 76 | 288 | 429 | 4.25 | 67.13
Unit 79 | 304 | 335 | 3.14 | 90.75
Unit 80 | 282 | 330 | 3.45 | 85.45
Unit 82 | 295 | 311 | 1.08 | 94.86
Unit 83 | 202 | 301 | 15.69 | 67.11
Unit 87 | 225 | 286 | 3.21 | 78.67
Unit 88 | 255 | 283 | 0.97 | 90.11
Unit 89 | 110 | 277 | 4.38 | 39.71
Unit 92 | 208 | 230 | 3.53 | 90.43

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – Nov. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 94 | 204 | 223 | 2.77 | 91.48
Unit 99 | 169 | 181 | 1.33 | 93.37
Unit 100 | 156 | 176 | 6.35 | 88.64
Unit 101 | 141 | 151 | 2.93 | 93.38
Unit 102 | 106 | 150 | 0.91 | 70.67
Unit 103 | 100 | 134 | 5.67 | 74.63
Unit 106 | 14 | 112 | 3.60 | 12.50
Unit 107 | 48 | 102 | 4.77 | 47.06