- Section 3:

PGRR057 – Responsibilities for Performing Geomagnetic Disturbance (GMD) Vulnerability Assessments

This Planning Guide Revision Request (PGRR) aligns the Planning Guides with North American Electric Reliability Corporation (NERC) Reliability Standard TPL-007-1, Transmission System Planned Performance for Geomagnetic Disturbance Events, by identifying responsibilities for performing studies needed to complete Geomagnetic Disturbance (GMD) vulnerability assessments.

Revised Subsection:  3.1.1.5, 3.1.8  [unboxed due to system implementation]

PGRR070 – Revised Responsibilities for Performing Geomagnetic Disturbance (GMD) Vulnerability Assessments

This Planning Guide Revision Request (PGRR) aligns the Planning Guide with North American Electric Reliability Corporation (NERC) Reliability Standard TPL-007-2, Transmission System Planned Performance for Geomagnetic Disturbance Events, by identifying responsibilities for performing studies needed to complete benchmark and supplemental Geomagnetic Disturbance (GMD) vulnerability assessments.

Revised Subsection:  3.1.1.5, 3.1.8 [unboxed due to system implementation]

PGRR072 – Treatment of Generation Resource Retirement and Mothball in Regional Transmission Plan and Geomagnetic Disturbance Vulnerability Assessment

This Planning Guide Revision Request (PGRR) allows ERCOT, in collaboration with stakeholders, to set a Generation Resource to out of service in Regional Transmission Plan and Geomagnetic Disturbance (GMD) vulnerability assessment base cases prior to receiving a Notification of Suspension of Operations (NSO), provided the Resource Entity notifies ERCOT of its intent to retire/mothball the Generation Resource and/or makes a public statement of its intent to retire/mothball the Generation Resource.

Revised Subsection:  3.1.8 [unboxed due to system implementation]

- Section 7:

PGRR089 – Planning Data and Information Updates for Planning Posting

This Planning Guide Revision Request (PGRR) makes changes to the list of data sets posted to the Market Information System (MIS) in Section 7.1, Function of Congestion Revenue Rights.  First, it removes the Planning Horizon Transmission Capability Methodology from the list.  Second, it adds Long-Term System Assessment (LTSA) postings, Geomagnetic Disturbance (GMD) vulnerability assessments, and the monthly Generator Interconnection Status (GIS) Report to the list.

Revised Subsection:  7.1 [unboxed due to system implementation]

- Administrative Changes:

- Non-substantive administrative changes were made such as spelling corrections, formatting, and correcting Section numbering and references.

Revised Subsection:  3.1.8, 7.1