- Section 2:

NPRR1103 – Securitization – PURA Subchapter M Default Charges

This Nodal Protocol Revision Request (NPRR) establishes processes for the assessment and collection of Default Charges and Default Charge Escrow Deposits to Qualified Scheduling Entities (QSEs) and Congestion Revenue Right (CRR) Account Holders pursuant to the Debt Obligation Order (DOO) issued in Public Utility Commission of Texas (PUCT) Docket No. 52321, Application of Electric Reliability Council of Texas, Inc. for a Debt Obligation Order Pursuant to Chapter 39, Subchapter M, of the Public Utility Regulatory Act (PURA).

Revised Subsection:  2.1

NPRR1106 – Deployment of Emergency Response Service (ERS) Prior to Declaration of Energy Emergency Alert (EEA)

This Nodal Protocol Revision Request (NPRR) allows for the deployment of Emergency Response Service (ERS) prior to the declaration of an Energy Emergency Alert (EEA) when Physical Responsive Capability (PRC) falls below 3,000 MW and is not projected to be recovered above 3,000 MW within 30 minutes following the deployment of Non-Spinning Reserve (Non-Spin).

Revised Subsection:  2.1

- Section 3:

NPRR1106 – Deployment of Emergency Response Service (ERS) Prior to Declaration of Energy Emergency Alert (EEA)

See Section 2 above.

Revised Subsection:  3.14.3

NPRR1109 – Process for Reinstating Decommissioned Generation Resources

This Nodal Protocol Revision Request (NPRR) allows a Resource Entity to bring a Decommissioned Generation Resource back to service if it submits a Notification of Change of Generation Resource Designation notifying ERCOT of the intended return to service within three years of the date the Generation Resource was removed from the ERCOT Network Operations Model.  This NPRR gives ERCOT and the interconnecting Transmission and/or Distribution Service Provider (TDSP) discretion to require any needed studies testing, metering, or facility upgrades to ensure the reliable interconnection of the Generation Resource.

Revised Subsection:  3.14.1.9

- Section 6:

NPRR1094 – Allow Under Frequency Relay Load to be Manually Shed During EEA3

This Nodal Protocol Revision Request (NPRR) allows a Transmission Operator (TO) and a Transmission and/or Distribution Service Provider (TDSP) to manually shed Load connected to under-frequency relays during an Energy Emergency Alert (EEA) Level 3 if the affected TO can meet its overall Under-Frequency Load Shed (UFLS) requirement in Nodal Operating Guide Section 2.6.1, Automatic Firm Load Shedding, and its Load shed obligation under Nodal Operating Guide Section 4.5.3.4, Load Shed Obligation.

Revised Subsection:  6.5.9.4.2

NPRR1105 – Option to Deploy Distribution Voltage Reduction Measures Prior to Energy Emergency Alert (EEA)

This Nodal Protocol Revision Request (NPRR) provides ERCOT the ability to instruct Transmission and/or Distribution Service Providers (TDSPs) to deploy any available distribution voltage reduction measures prior to ERCOT declaring an Energy Emergency Alert (EEA) if ERCOT determines it is possible that the deployment of these measures could avoid the need to declare an EEA and ERCOT does not expect to need these measures to reduce the amount of Load shedding that may be needed in EEA Level 3.  These revisions also clarify the role of TDSPs in determining whether distribution voltage reduction should be implemented.

Revised Subsections:  6.5.7.3.1 [effective upon system implementation]; and  6.5.9.4.1, and 6.5.9.4.2

NPRR1106 – Deployment of Emergency Response Service (ERS) Prior to Declaration of Energy Emergency Alert (EEA)

See Section 2 above.

Revised Subsection:  6.5.9.4.1, 6.5.9.4.2, and 6.5.9.4.3

- Section 8:

NPRR1106 – Deployment of Emergency Response Service (ERS) Prior to Declaration of Energy Emergency Alert (EEA)

See Section 2 above.

Revised Subsection:  8.1.3.1.3.1 and 8.1.3.1.3.2

- Section 9:

NPRR1103 – Securitization – PURA Subchapter M Default Charges

See Section 2 above.

Revised Subsection:  9.1.2 [effective upon system implementation]; and 9.1.2

- Section 16:

NPRR1103 – Securitization – PURA Subchapter M Default Charges

See Section 2 above.

Revised Subsection:  16.11.4.7 [effective upon system implementation]

NPRR1104 – As-Built Definition of Real Time Liability Extrapolated (RTLE)

This Nodal Protocol Revision Request (NPRR) corrects the definition of Real Time Liability Extrapolated (RTLE) to include market activity for Entities that have no Load or generation but have Real-Time exposure. It has come to ERCOT’s attention that the current definition of RTLE is erroneously tied to Qualified Scheduling Entities (QSEs) that represent Load or generation, and conflicts with the implementation of RTLE in ERCOT’s credit system.

Revised Subsection:  16.11.4.3

- Section 22:

NPRR1109 – Process for Reinstating Decommissioned Generation Resources

See Section 3 above.

Revised Attachment:  H

- Section 26:

NPRR1103 – Securitization – PURA Subchapter M Default Charges

See Section 2 above.

Revised Subsections:  26 (new), 26.1 (new), 26.2 (new), 26.3 (new), 26.3.1 (new), 26.3.1.1 (new), 26.3.1.2 (new), 26.3.1 (new), 26.3.1.1 (new), 26.3.1.2 (new), 26.4 (new), 26.4 (new), 26.5 (new), 26.5.1 (new), 26.5.2 (new), 26.5.3 (new), 26.5.4 (new), 26.5.5 (new), 26.5.6 (new), and 26.5.7 (new); and 26.3, 26.3.1, 26.3.1.1, 26.3.1.2, 26.4  [effective upon system implementation]