## Slide 1: NPRR 1100 Discussion Topics
Eric Goff
eric at ericwintersgoff dot com

## Slide 2: Issues to discuss
Topic | NPRR 1100 comments | Additional discussion
Settlement | Both load and ESR still “connected” to grid via metering, but flow happens across switching equipment. Dead bus pricing. | Should there just be no settlement instead with meters that read zero?
Wholesale Storage Load | As originally proposed, would waive WSL on days surrounding event. The “connected” metering above would be a wholesale sale. | However, without settlement, may need to go back to original proposal
Configurations | What if there is gen, a battery, and load all in microgrid operations? | If this is too complicated, can we solve it later?
Transmission? Distribution? | As proposed, transmission only | Do any parties want to expand this to distribution in this NPRR, or can we discuss that later?
Telemetry | OUT | What telemetry makes this easiest for ERCOT operator?