- Section 2:

RRGRR029 – Related to NPRR1077, Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs

This Resource Registration Glossary Revision Request (RRGRR) allows an Interconnecting Entity (IE) proposing a Settlement Only Generator (SOG) to designate that SOG as part of a Self-Limiting Facility for the purposes of the Generator Interconnection or Modification (GIM) process and provide that information using the same fields that RRGRR023, Related to NPRR1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions, introduced for that purpose.  The RRGRR is consistent with NPRR1077, which broadens the Self-Limiting Facility concept in the Protocols to allow SOGs to be designated as part of a Self-Limiting Facility.

Revised Sections:  Unit Information, Parameters [effective upon system implementation of NPRR1077]

RRGRR030 – Allow New Voltage Levels in Resource Registration Information

This Resource Registration Glossary Revision Request (RRGRR) removes the hard coding of voltage levels for certain Resource Registration information related to Transformer Data.  This will allow Resources connected to other voltage levels to submit their Resource Registration data without receiving validation errors.

Revised Section:  Transformer Data (as applicable) [effective upon system implementation]

- Administrative Changes:

- Non-substantive administrative changes were made such as spelling corrections, formatting, and correcting Section numbering and references.

Revised Subsection:  Transformer Data (as applicable)