## Index
Input Assumption | Status | Date
Start Cases | Final | 2021-11-22
Model Updates & Corrections | Final | 2021-11-22
Renewable Generation Dispatch | Final | 2021-11-22
Load Forecast | Final | 2021-11-22

## Start Cases
Date Last Updated: | 2021-11-22 | Back
Status | Final
GIC System Model Version | GIC System Model posted on November 08, 2019
On-Peak Case:
2019GIC_AC_Model_2022_SUM1_Final_Update1.raw
2019GIC_DC_Model_2022_SUM1_Final_Update6.gic
Off-Peak Case:
2019GIC_AC_Model_2022_MIN1_Final_Update1.raw
2019GIC_DC_Model_2022_MIN1_Final_Update6.gic

## Model Updates & Corrections
Date Last Updated: | 2021-11-22 | Back
Status | Final
Model Corrections/Updates Made to the 2021 GMDVA Cases
Transmission Changes | TO |  |  | Comments
|  | 2022 SUM | 2022 MIN
Opened the Crane N to Pleasant Farms normally open line | Oncor | x | x | Based on Oncor feedback
Opened the Barnsley to Exxon Cordona normally open line | Oncor | x | x | Based on Oncor feedback
Opened the Nylon to Nylon Tap normally open line | Oncor | x | x | Based on Oncor feedback
Load Changes | TO |  |  | Comments
|  | 2022 SUM | 2022 MIN
Corrected the Big Tree bus (8146) load values | AEP | x | X | Based on AEP feedback
Removed potential loads (no signed contracts) at bus 8565, 80470, 8337 | AEP | X |  | Based on AEP feedback

## Renewable Generation Dispatch
Date Last Updated: | 2021-11-22 |  | Back
Status | Final
Solar
82.91%
Wind
Summer, Coastal | Summer, Panhandle | Summer, Other
57.2% | 38.9% | 29.6%
Min Case, Coastal | Min Case, Panhandle | Min Case, Other
22.04% | 49.09% | 36.76%

## Load Forecast
Date Last Updated | 2021-11-22 | Back
Status | Final
2021 GMDVA load level with self-served load (MW)
Case | Coast | East | Far West | North | North Central | South Central | Southern | West | Total
2022 Sum | 24803.1425 | 2717.1752 | 4893.2177 | 2080.5916 | 25826.087 | 13005.8091 | 6913.6951 | 2324.4664 | 82564.1846
2022 Min | 13745.02 | 1283.53 | 3417.86 | 690.32 | 8221.79 | 4801.29 | 3284.88 | 1101.24 | 36545.93