## Slide 1: Wholesale Market Working Group Report to WMS
David Detelich
Murali Sithuraj
January 5, 2022
From December 17 WMWG Meeting

## Slide 2: NPRR1084 Improvements to Reporting of Resource Outages and Derates
Stakeholders still working through concerns and developing comments
  Labor requirements
  Combined Cycle temperature ratings
  Real time reporting compared to GADS report
Stays Tabled at WMWG

## Slide 3: High System-Wide Offer Cap (HCAP)
ERCOT presented the changes required to implement the new High System-Wide Offer Cap (HCAP).
OBDRR to be presented at the TAC meeting
ERCOT will present at WMS as well
ERCOT preparing report on the PUC phase 1 items
  Ready for January 10
Stakeholders would like involvement in the development of the new market rules similar to the Nodal implementation

## Slide 4: NERC report on electric gas issues during Winter Storm Uri in Texas
A Gas Utilization tool was implemented in ISO-NE
  Improves communication
  Would be beneficial in ERCOT
Well freeze offs and shut ins were the major causes of lost gas production
Price Majeure was an issue being investigated

## Slide 5: NPRR1100 Emergency Switching Solutions for Energy Storage Resources
Main issues discussed
  Microgrid interconnection and metering
  Settlements and WSL
ERCOT to issue comments
Item remains tabled to review the ERCOT comments

## Slide 6: NPRR1108 ERCOT Shall Approve or Deny All Resource Outage Requests
Presentation on study process and outage capacity limits
ERCOT to issue comments to clarify the process
Item remains tabled to review the ERCOT comments

## Slide 7: CLR, NCLR, and nonmarket loads settlement related to fast ramp of large loads
Follow-up to discussion of Crypto loads fast ramp
  Settlement types for loads
  Crypto loads have been changing telemetered status in Real Time to change their dispatch
Can rules be developed that will incentives these loads to become CLR’s
  Set ramp rates that loads can follow
Large loads can impact the Load Shed requirements of a Transco
  Possibly exclude CLR from the load calculation
WMWG will continue to review this issue

## Slide 8: TAC Assignments – Scope Review
AS Methodology
  Additional analysis for NSRS quantities
  Definition of conservative operations
  ERCOT will begin analysis for review
Addressing cost and compensation for using voltage reduction for grid reliability
  Would like ROS to determine how to measure the load reduction
  Capacity and duration
Weatherization Inspections fees
  Will take up in 2nd quarter

## Slide 9: Next meeting
Need to set 2022 schedule
Leadeership
Any questions?