## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Shawn McCreary
HITE List Sub-Chair – Pushkar Chhajed
01/06/2022

## Slide 2: NOGRR215 – Limited Use of RAS
Tabled pending new comments from ERCOT

## Slide 3: NOGRR226 - Revision to 5% Transmission Operator (TO) Load Shedding Relay Set Point
ERCOT continues to assess framework for studies needed before changes to Stage 1 UFLS can be considered
Tabled

## Slide 4: Emergency Condition list #5 NPRR1084
Improvements to Reporting of Resource Outages and Derates.
  ERCOT comments were reviewed that included comments from Centerpoint
    ERCOT was supportive of comment submitted by CenterPoint's and is planning submitting additional comments before the next OWG
    MPs would like to continue to work with ERCOT on changes to comments
  NPRR1084 was Tabled

## Slide 5: Emergency Condition list #6 NPRR1085
Ensuring Continuous Validity of Physical Responsive Capability (PRC) and Dispatch through Timely Changes to Resource Telemetry and Current Operating Plans (COPs)
  Concerns raised on personnel being able to provide accurate information to ERCOT as required in the comments
  Concerns were discussed about keeping COP updated and compliance risk if information was wrong
  Recommendations were reiterated on adding an “ON-HOLD” option when a units is experiencing issues for a long term solution and possibly locking the HSL or using “ONTEST” as a interim solution
  ERCOT is still evaluating latest comments from MPs
  NPRR1085 remains tabled

## Slide 6: Emergency Condition list #128
Using Instant Messaging during EEA Events
  An update to the draft SCR was presented and discussed
  ERCOT requested a time to review the SCR and get additional details on the applications capabilities. ERCOT may also want to look at others vendors outside of the app use by SPP.
  ERCOT sent out updates to the SCR.
  SCR was formally submitted to ERCOT and draft copy was posted on OWG site for review.

## Slide 7: Emergency Condition List #73
Should there be different PRC EEA trigger point & ORDC minimum reserves levels for winter and summer given potential for different events?
ERCOT is reviewing this item and any changes would possibly be included as new comments in NOGRR226.

## Slide 8: NPRR1100 - Emergency Switching Solutions for Energy Storage Resources
Will be discussed at next OWG

## Slide 9: OWG Nominations
OWG Chair – Rickey Floyd
OWG Vice Chair – Shawn McCreary
HITE List Sub Chair - Pushkar Chhajed