## Slide 1
PDCWG Report to ROS
Chair: Chad Mulholland, NRG
Vice Chair: Jimmy Jackson, CPS
ROS
January 06, 2022

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-2 FMEs and IMFR
    1 FME in the month of November
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 12/8/2021
  Reviewed two non-FMEs that occurred on
    11/15/2021
    11/17/2021
  Reviewed one FME
    11/1/2021
  Regulation and Frequency Control Reports

## Slide 4: Frequency Measurable Events Performance

## Slide 5: Frequency Measurable Events
There was 1 FME in November
  11/1/2021 4:57:04
    Loss of 540 MW generation
    Interconnection Frequency Response: 771 MW/0.1 Hz
    39 Resources were evaluated. These includes,
      37 Generation Resources
      2 Controllable Load Resources
      0 Energy Storage Resources
    10 of 37 Evaluated Generation Resources had less than 75% of their expected Initial Primary Frequency Response.
    7 of 37 Evaluated Generation Resources had less than 75% of their expected Sustained Primary Frequency Response.

## Slide 6: Interconnection Minimum Frequency Response (IMFR) Performance
Frequency Response Obligation (FRO): 471 MW/0.1 Hz
IMFR Performance currently
1120.7 MW/0.1HZ

## Slide 7
Questions?

## Slide 8: Frequency Control Report
November 2021

## Slide 9: CPS1 Performance

## Slide 10: RMS1 Performance of ERCOT Frequency

## Slide 11: Frequency Profile Analysis

## Slide 12: Time Error Corrections

## Slide 13: ERCOT Total Energy
Notes: 27,968,176MWh

## Slide 14: ERCOT Total Energy from Wind Generation
Notes: 8,537,442 MWh

## Slide 15: ERCOT % Energy from Wind Generation
Notes: 30.53%

## Slide 16: ERCOT Total Energy from Solar Generation
Notes: 1,182,376 MWh

## Slide 17: ERCOT % Energy from Solar Generation
Notes: 4.23%