## Slide 1: Planning Working Group Update
To
Reliability and Operations Subcommittee
January 6, 2022

## Slide 2: ROS Voting Items
NPRR 1070 – Planning Criteria for GTC Exit Solutions
  Remain tabled at PLWG pending PUCT rule making related to economic project evaluation.
PGRR 095 – Establish Minimum Deliverability Criteria
  PLWG submitted comments based on desktop edits.
  Consensus to recommend approval at ROS.
PGRR 096 – Achieve Consistent Representation of DG in Steady-State Models
  Additional discussion needed around achieving consistency (see proposed revision to 6.1 (3) (c)
  Recommend to remain tabled at PLWG.
PGRR 098 - Consideration of Load Shed in Transmission Planning Criteria
  Participants requested more time to review “off-peak” definition.
  Remain tabled at PLWG.
PGRR 100 – Steady State Case Building Timeline
  PLWG reviewed.
  Consensus to recommend approval as submitted by SSWG

## Slide 3: ECL Item
Transmission Planning Studies and Winter Cases (#47, 93, 94)
  Completed Review of these items.
  Summary of findings
    Identified need for defining contingencies related to NG deliverability constraints to generation resources during extreme events.
    Recommends that the Regional Planning Group continue to develop extreme case scenarios for development in Regional Transmission Plan.
      Participants suggested PLWG continue discussion centered around resiliency rather than minimum threshold criteria.

## Slide 4: Other items discussed
KTC- 15-6 RMR and MRA Services analysis for Batteries
  Priority to MRA since ESR retirements not expected in near future.

## Slide 5: Questions?