## Slide 1: PGDTF Meeting
01/11/2021

## Slide 2: Agenda
PGDTF Leadership
Review of 11/16/2021 PGDTF meeting minutes
2021 End-of-year update
  SCR 818 Update
PGDTF 2022 Activities

## Slide 3: PGDTF Leadership
Chair: Jorge Canamar – Sharyland Utilities
Vice Chair: TBD

## Slide 4: 2021 End-of-year update
The GMDVA report and results were posted on 12/23/2021
  For both the benchmark and supplemental GMDVAs (TPL-007-4 R4)
    No steady state voltage criteria violations were identified
    No cascading events were identified
  Therefore, no Correction Action Plans (CAPs) were needed for the benchmark or supplemental GMD events (TPL-007-4 R7 & R8 )
  Next model build will be in 2024
SCR 818 was recommended for approval during the 12/14/2021 PRS meeting
  SCR 818 proposes to modify the NMMS and topology processor to incorporate GIC modeling data for maintaining GIC system models for ERCOT
  Next steps – impact analysis consideration

## Slide 5: PGDTF 2022 Activities
Review and update PGDTF related documents as needed
  PGDTF scope (last approved 12/03/2020)
Continue discussions and determine whether PGDTF will become a working group or if our activities will be passed on to an existing working group
TPL-007-4 R4 Benchmark GMD Vulnerability Assessment
  Continue discussions to determine best time to begin the case build process
    Next model build will be in 2024
  Continued maintenance of the data base will be important
    SCR 818
    Meanwhile it can be done internally by each entity
Continued support for SCR 818
Monitor GMD-related activities at FERC, IEEE, NERC and EPRI
Additional suggestions?

## Slide 6: Federal and State Activities
NERCT GMDTF
Monitor GMD-related activities at
  FERC
  IEEE
  EPRI

## Slide 7: PGDTF Documents
All documents can be found at:
  https://www.ercot.com/committees/ros/pgdtf
List of documents:
  Scope
  Procedure Manual
  Planning Guides
  Reliability Standards TPL 007-1
  Etc…

## Slide 8: 2022 PGDTF Meeting Dates
Meetings Dates:
  01/11/2022
  03/22/2022
  05/10/2022
  07/18/2022
  09/21/2022
  11/15/2022

## Slide 9: Questions or Comments?
jcanamar@huntutility.com