## Slide 1
2022 Long-Term Load Forecast
Calvin Opheim
Load Forecasting & Analysis
SAWG
January 12, 2022

## Slide 2: Agenda
ERCOT System Forecast
Rooftop PV Forecast
Forecast Adjustments
Assumptions and Challenges
Weather Zone Forecast Summary
Questions

## Slide 3
ERCOT System Load Forecast

## Slide 4: ERCOT Summer Peak Demand Forecast
Chart: Year
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
Historical | 56068.0162 | 60029.6626 | 58483.7006 | 60212.6796 | 62202.8028 | 62114.7508 | 62102.9637 | 63407.1899 | 65713.4485 | 68317.6698 | 66557.7818 | 67252.9949 | 66464.0643 | 69620.4076 | 71092.6092 | 69496.2398 | 73308.1534 | 74665.5795 | 74327.8368 | 73650.5735
Forecast | 77732.7575 | 79328.6254 | 80553.6185 | 81581.3409 | 82605.7585 | 83398.0649 | 84146.1036 | 84878.1297 | 85569.3326 | 86233.2128

## Slide 5: ERCOT Summer Peak Forecast
Chart: Year
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
2020 LTLF | 80107.5913 | 81593.2603 | 82982.0987 | 84193.342 | 85383.9337 | 86546.2076 | 87668.3732 | 88751.3167 | 89814.0662 | 90855.718
2021 LTLF | 78855.2515 | 80280.2923 | 81266.818 | 82057.6381 | 82838.0592 | 83615.9218 | 84361.6918 | 85094.6733 | 85820.1422 | 86523.2017
2022 LTLF | 77732.7575 | 79328.6254 | 80553.6185 | 81581.3409 | 82605.7585 | 83398.0649 | 84146.1036 | 84878.1297 | 85569.3326 | 86233.2128

## Slide 6: Historical Coincident Factors Scenario Forecasts
Chart: Year
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
Maximum Coincident Factors | 77733 | 79329 | 80554 | 81581 | 82606 | 83398 | 84146 | 84878 | 85569 | 86233
Average Coincident Factors | 77009.9676 | 78499.6503 | 79597.4761 | 80483.571 | 81365.7638 | 82015.2037 | 82616.4726 | 83196.7957 | 83727.087 | 84228.7005
Minimum Coincident Factors | 75939.7333 | 77414.6916 | 78498.1265 | 79369.7992 | 80237.4552 | 80872.4083 | 81459.1668 | 82025.0507 | 82540.4334 | 83027.6435

## Slide 7: ERCOT Annual Energy Forecast
Chart: Year
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
2020 LTLF | 424830.7607 | 437920.9466 | 449969.4074 | 458262.8869 | 467416.1431 | 476372.8197 | 486219.7609 | 493415.2383 | 501621.5583 | 509666.7007
2021 LTLF | 419616.1297 | 434006.1603 | 444425.8147 | 450675.8648 | 457853.9767 | 464902.5388 | 472950.0009 | 478510.2935 | 485142.9766 | 491642.1955
2022 LTLF | 423333.0354 | 439714.0606 | 452161.0561 | 460428.7627 | 469633.6408 | 476838.7511 | 484883.461 | 490231.6813 | 496464.3935 | 502356.7005

## Slide 8: ERCOT Annual Energy Forecast
Chart: Year
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
Actual | 279859.6871 | 284353.9065 | 288361.9987 | 298432.4753 | 304957.9249 | 306569.309 | 310833.7322 | 307366.3563 | 318268.5325 | 333968.6178 | 324986.4682 | 331715.6797 | 340115.3201 | 347470.2521 | 351344.2118 | 357227.0858 | 376206.855 | 383811.7391 | 381749.367 | 392667.7523
Forecast | 423333.0354 | 439714.0606 | 452161.0561 | 460428.7627 | 469633.6408 | 476838.7511 | 484883.461 | 490231.6813 | 496464.3935 | 502356.7005

## Slide 9
Rooftop PV Forecast

## Slide 10: Rooftop PV Forecast
An hourly rooftop PV forecast was created
A forecast was created for residential ESIIDs using the load profile assignment for each weather zone
Total installed capacity was approximately 1,030 MW as of September, 2021
Forecast is for the total installed capacity to increase to approximately 6,000 MW by August, 2031
The gross forecast minus the rooftop PV forecast results in the net forecast

## Slide 11: Rooftop PV Forecast - Approach
Chart: 8/19/2021
Residential with PV | 2.3623 | 2.172 | 2.0405 | 1.9238 | 1.8648 | 1.8532 | 1.8668 | 1.6221 | 0.86663 | -0.22011 | -1.0433 | -1.7217 | -2.1344 | -2.2307 | -1.8145 | -1.0916 | 0.020209 | 1.4242 | 2.781 | 3.5241 | 3.7302 | 3.5603 | 3.2485 | 2.8277
Residential w/o PV | 1.9473 | 1.8023 | 1.6886 | 1.6069 | 1.5538 | 1.5566 | 1.5843 | 1.5403 | 1.5326 | 1.7126 | 1.9556 | 2.2173 | 2.488 | 2.722 | 2.9309 | 3.1289 | 3.3226 | 3.4661 | 3.4505 | 3.272 | 3.1105 | 2.9522 | 2.6768 | 2.3457

## Slide 12: Rooftop PV Forecast - Approach
Calculate the total hourly demands for residential ESIIDs with PV
Calculate the total hourly demands for residential ESIIDs without PV
Divide the total hour demand values by the number of ESIIDs (result is an average use per ESIID with and without PV)
Create models for the average use per ESIID with and without PV
Run the models for the average use per ESIID with and without PV using historical weather data from 2006 – 2020
Subtract the average use per ESIID without PV by the average use per ESIID with PV for each hour (call this the PV hourly factors)

## Slide 13: Rooftop PV Forecast - Approach
Multiply the PV hourly factors by the forecasted number of PV Premises (this is the total PV forecast to be applied to the Long-Term Load Forecast)
Subtract the PV forecast from the Long-Term Load Forecast for each of the historical weather years (2006 – 2020)
Assume the same PV hourly factor for residential and business ESIIDs

## Slide 14: Observations
Residential ESIIDs with PV have greater average usage per hour than ESIIDs without PV during the early morning and evening hours
Some studies suggest that customers with PV tend to use more energy
To compensate for this, should the shapes be unitized?

## Slide 15
Forecast Adjustments

## Slide 16: Load Forecast Adjustments
Lubbock added to North Forecast from 2022 on
  Based on Lubbock’s Peak Forecast of its growth
“Fiber Services in Lubbock, TX.” About NTS, NTS Communications, Inc., 2018, www.ntscom.com/aboutnts/primary-locations/lubbock-tx.

## Slide 17: Load Forecast Adjustments
Rayburn added to East Forecast from 2022 on
  Based on Rayburn’s Actual Seasonal Peaks in 2019
“RCEC.” PROJECTS>OFFICE>RCEC, Alliance Architects, 2019, www.alliancearch.com/projects/office/rcec/.

## Slide 18: Load Forecast Adjustments
Adjustments added for Large Industrial Facilities
  Coast 650 MW
  Far West from 200 to 1,000 MW
  South from 75 to 930 MW
  South Central from 190 to 480 MW

## Slide 19
Assumptions and Challenges

## Slide 20: Assumptions
Inherent Levels from the Input Data of
  Appliance Stock and Energy Efficiency
  Demand Response
  4 CP Impact
  Price Responsive Load
  Electric Vehicles (significant impact on future forecasts)

## Slide 21: Challenges
Weather Volatility
Economic Uncertainty
Policy Impacts

## Slide 22
Weather Zone Forecast Summary

## Slide 23: Coast Summer NCP Forecasts
Chart: Year
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
Historical | 14574.11 | 15822.24 | 16641.99 | 16483.75 | 16746.2 | 18226.7 | 17622.9 | 18268.47 | 18063.87 | 19321.01 | 18410.64 | 18770.17 | 18578.07 | 19928.72 | 19826.18 | 20100.76 | 20269.85 | 21256.1152 | 20904.8591 | 21157.764
Forecast | 21529.4639 | 21760.6001 | 21962.6986 | 22142.2042 | 22324.3078 | 22502.5889 | 22674.9705 | 22843.7129 | 23003.0149 | 23153.8855
P90 | 22079.4298 | 22310.0165 | 22511.7952 | 22691.2382 | 22873.3274 | 23051.5346 | 23223.8666 | 23392.5258 | 23551.7341 | 23702.4629

## Slide 24: East Summer NCP Forecasts
Chart: Year
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
Historical | 2230.879 | 2319.682 | 2334.929 | 2404.626 | 2480.621 | 2337.326 | 2373.37 | 2443.624 | 2429.033 | 2570.032 | 2420.808 | 2379.342 | 2324.902 | 2463.956 | 2493.829 | 2415.877 | 2565.6631 | 2554.0154 | 2871.3338 | 2841.8916
Forecast | 2751.171 | 2773.5289 | 2791.4324 | 2805.5257 | 2820.6406 | 2835.9216 | 2851.1113 | 2866.7556 | 2881.4261 | 2895.6752
P90 | 2822.6285 | 2844.8933 | 2862.7414 | 2876.8275 | 2891.9413 | 2907.2175 | 2922.4111 | 2938.0626 | 2952.7137 | 2966.9474

## Slide 25: Far West Summer NCP Forecasts
Chart: Year
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
Historical | 1829.969 | 1805.013 | 1735.146 | 1759.9999 | 1869.45 | 1767.031 | 1886.498 | 1739.459 | 1867.422 | 2102.653 | 2172.245 | 2278.671 | 2688.004 | 2811.841 | 2908.97 | 3164.186 | 3655.014 | 4307.5529 | 4438.8515 | 4725
Forecast | 4949.8717 | 5301.271 | 5652.4069 | 5998.4842 | 6345.2481 | 6487.723 | 6618.4994 | 6749.177 | 6869.4929 | 6987.8903
P90 | 5333.4736 | 5722.4637 | 6102.0362 | 6485.9966 | 6865.0925 | 7040.7759 | 7210.7987 | 7375.6586 | 7534.8046 | 7692.4483

## Slide 26: North Summer NCP Forecasts
Chart: Year
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
Historical | 1985.169 | 2107.554 | 2069.743 | 2108.822 | 2305.723 | 2156.136 | 2258.092 | 1498.261 | 1511.929 | 1563.751 | 1559.08 | 1483.473 | 1407.791 | 1451.536 | 1440.184 | 1393.509 | 1521.845 | 1476.3299 | 1420.1554 | 2078
Forecast | 2242.5607 | 2282.1455 | 2305.2286 | 2315.8515 | 2330.252 | 2345.6582 | 2360.8448 | 2377.9184 | 2392.3713 | 2404.2589
P90 | 2408.9653 | 2447.1134 | 2469.439 | 2480.056 | 2494.5327 | 2510.0153 | 2525.3296 | 2542.109 | 2556.5147 | 2568.108
Lubbock added 2021

## Slide 27: North Central Summer NCP Forecasts
Chart: Year
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
Historical | 20916.8 | 22444.6 | 20759.13 | 21975 | 22746.06 | 22228.62 | 22594.99 | 23404.86 | 24532.52 | 25626.48 | 24747.94 | 24420.69 | 23445.61 | 24580.65 | 25282.32 | 24313.21 | 26499.24 | 25493.7914 | 25510.2523 | 24673.917
Forecast | 25876.9356 | 26151.0862 | 26432.7865 | 26721.1512 | 27006.7106 | 27275.7779 | 27529.4074 | 27771.1676 | 28004.6715 | 28232.4383
P90 | 26878.0192 | 27152.3067 | 27434.1018 | 27722.4348 | 28007.7942 | 28276.5666 | 28529.9329 | 28771.514 | 29004.9231 | 29232.5635

## Slide 28: South Summer NCP Forecasts
Chart: Year
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
Historical | 3984.073 | 4051.859 | 4178.083 | 4345.688 | 4278.01 | 3993.2017 | 4280.895 | 4850.951 | 4807.233 | 5092.7329 | 5240.682 | 5206.733 | 5352.216 | 5455.453 | 5786.826 | 5845.284 | 5791.2531 | 6039.7135 | 5850.2163 | 5996.1934
Forecast | 6619.0992 | 6925.9347 | 7133.2201 | 7180.2839 | 7236.6889 | 7300.7447 | 7367.2635 | 7434.6342 | 7506.0945 | 7577.5826
P90 | 6799.2966 | 7105.595 | 7312.5867 | 7359.5483 | 7415.9491 | 7479.9336 | 7546.3815 | 7613.741 | 7685.1086 | 7756.5149

## Slide 29: South Central Summer NCP Forecasts
Chart: Year
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
Historical | 9543.979 | 10064.14 | 9834.75 | 10535.28 | 10906.37 | 10454.31 | 11298.96 | 11089.13 | 11323.91 | 11734.55 | 11641.49 | 11432.81 | 11452.23 | 12032.55 | 12344.84 | 11970.2 | 12886.8971 | 12784.8579 | 13010.9607 | 12320.6764
Forecast | 12680.4141 | 13051.7791 | 13187.4203 | 13323.9026 | 13457.8642 | 13588.688 | 13713.9424 | 13833.2547 | 13945.8178 | 14052.8321
P90 | 13053.1123 | 13424.4489 | 13560.0107 | 13696.4419 | 13830.3297 | 13961.0456 | 14086.2035 | 14205.4421 | 14317.9427 | 14424.9173

## Slide 30: West Summer NCP Forecasts
Chart: Year
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
Historical | 1594.291 | 1674.741 | 1605.173 | 1596.82 | 1741.211 | 1496.599 | 1630.958 | 1768.265 | 1850.524 | 1853.87 | 1849.128 | 1862.304 | 1852.928 | 1883.889 | 1899.086 | 1901.941 | 2083.579 | 2117.3991 | 2058.4193 | 1925.3455
Forecast | 2010.6296 | 2026.7744 | 2041.2557 | 2053.5936 | 2065.4045 | 2079.4246 | 2095.4693 | 2113.2793 | 2132.1784 | 2151.0356
P90 | 2080.4877 | 2096.7916 | 2111.3047 | 2123.8071 | 2135.5862 | 2149.5639 | 2165.6033 | 2183.3655 | 2202.2116 | 2221.1484

## Slide 31: Coast Summer NCP Forecast
Chart: Year
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
2020 LTLF | 22206.0532 | 22521.2584 | 22829.4103 | 23134.3416 | 23437.9834 | 23738.678 | 24030.3715 | 24314.4167 | 24593.3095 | 24865.3055
2021 LTLF | 21938.0589 | 22229.7592 | 22446.9686 | 22634.7961 | 22829.8089 | 23020.0229 | 23208.2339 | 23397.7648 | 23585.6714 | 23769.2591
2022 LTLF | 21529.4639 | 21760.6001 | 21962.6986 | 22142.2042 | 22324.3078 | 22502.5889 | 22674.9705 | 22843.7129 | 23003.0149 | 23153.8855

## Slide 32: East Summer NCP Forecast
Chart: Year
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
2020 LTLF | 2788.8114 | 2807.4572 | 2825.3976 | 2841.7367 | 2858.7823 | 2876.7427 | 2893.2117 | 2909.4943 | 2924.7997 | 2938.2267
2021 LTLF | 2850.4577 | 2895.0741 | 2940.2025 | 2983.7356 | 3026.0158 | 3066.4813 | 3105.4974 | 3143.6681 | 3180.8921 | 3217.6676
2022 LTLF | 2751.171 | 2773.5289 | 2791.4324 | 2805.5257 | 2820.6406 | 2835.9216 | 2851.1113 | 2866.7556 | 2881.4261 | 2895.6752

## Slide 33: Far West Summer NCP Forecast
Chart: Year
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
2020 LTLF | 5553.5078 | 5798.4962 | 6035.8231 | 6265.351 | 6490.5893 | 6707.2612 | 6915.4144 | 7113.6241 | 7307.4251 | 7497.0001
2021 LTLF | 5168.674 | 5394.7964 | 5615.5349 | 5830.8895 | 6046.2441 | 6248.1391 | 6441.9582 | 6635.7774 | 6816.1369 | 6996.4964
2022 LTLF | 4949.8717 | 5301.271 | 5652.4069 | 5998.4842 | 6345.2481 | 6487.723 | 6618.4994 | 6749.177 | 6869.4929 | 6987.8903

## Slide 34: North Summer NCP Forecast
Chart: Year
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
2020 LTLF | 1915.6207 | 1919.5077 | 1923.5744 | 1927.6019 | 1931.5135 | 1935.5169 | 1939.7093 | 1944.1927 | 1948.7281 | 1953.3312
2021 LTLF | 1899.71 | 1900.9445 | 1902.2566 | 1903.6715 | 1905.1033 | 1906.6127 | 1908.2046 | 1909.9297 | 1911.6886 | 1913.4592
2022 LTLF | 2242.5607 | 2282.1455 | 2305.2286 | 2315.8515 | 2330.252 | 2345.6582 | 2360.8448 | 2377.9184 | 2392.3713 | 2404.2589

## Slide 35: North Central Summer NCP Forecast
Chart: Year
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
2020 LTLF | 26620.8614 | 26965.1683 | 27309.9794 | 27647.9747 | 27978.173 | 28295.7904 | 28599.965 | 28889.8294 | 29173.4717 | 29454.1168
2021 LTLF | 26259.1483 | 26491.4919 | 26725.003 | 26950.9231 | 27171.2119 | 27382.68 | 27586.688 | 27781.5963 | 27970.4187 | 28157.1057
2022 LTLF | 25876.9356 | 26151.0862 | 26432.7865 | 26721.1512 | 27006.7106 | 27275.7779 | 27529.4074 | 27771.1676 | 28004.6715 | 28232.4383

## Slide 36: South Summer NCP Forecast
Chart: Year
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
2020 LTLF | 6734.2223 | 7069.7895 | 7322.2065 | 7424.6283 | 7526.4044 | 7626.8603 | 7723.8234 | 7818.2021 | 7911.152 | 8001.7269
2021 LTLF | 6671.656 | 6994.3821 | 7216.7695 | 7441.2791 | 7592.5093 | 7744.943 | 7893.1735 | 8041.8162 | 8191.0078 | 8338.2743
2022 LTLF | 6619.0992 | 6925.9347 | 7133.2201 | 7180.2839 | 7236.6889 | 7300.7447 | 7367.2635 | 7434.6342 | 7506.0945 | 7577.5826

## Slide 37: South Central Summer NCP Forecast
Chart: Year
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
2020 LTLF | 13206.4219 | 13375.9936 | 13544.3559 | 13706.9474 | 13864.4515 | 14016.3099 | 14162.2411 | 14301.2948 | 14436.7272 | 14569.5316
2021 LTLF | 13194.2747 | 13510.7538 | 13586.5491 | 13658.4228 | 13727.8556 | 13794.75 | 13859.4174 | 13921.195 | 13980.7334 | 14038.8904
2022 LTLF | 12680.4141 | 13051.7791 | 13187.4203 | 13323.9026 | 13457.8642 | 13588.688 | 13713.9424 | 13833.2547 | 13945.8178 | 14052.8321

## Slide 38: West Summer NCP Forecast
Chart: Year
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
2020 LTLF | 2207.6373 | 2262.9268 | 2319.2258 | 2373.0337 | 2424.6495 | 2478.5355 | 2534.1704 | 2591.4849 | 2650.2106 | 2708.5206
2021 LTLF | 2125.8456 | 2180.7766 | 2234.3747 | 2291.5684 | 2351.4377 | 2415.4879 | 2484.3042 | 2556.4652 | 2632.4725 | 2709.6504
2022 LTLF | 2010.6296 | 2026.7744 | 2041.2557 | 2053.5936 | 2065.4045 | 2079.4246 | 2095.4693 | 2113.2793 | 2132.1784 | 2151.0356

## Slide 39: Questions?