## CONTACT INFORMATION
Load Entity Information
Load Entity: | Texas Utilities Electric Company (TU Electric)
Contact Person: | Don Deffebach
Mailing Address Line 1: | 1601 Bryan Street
Mailing Address Line 2: | Suite 12012
City: | Dallas
State: | Texas
Zip Code: | 75201-3411
Street Address Line 1: | 1601 Bryan Street
Street Address Line 2: | Suite 12012
City: | Dallas
State: | Texas
Zip Code: | 75201-3411
Company Internal Mail Code: | Suite 12012
Telephone Number: | 214-812-8213
Facsimile (FAX) Number: | 214-812-8177
Internet email address: | ddeffeb1@tuelectric.com

## 1700 June 19, 1998
REPORT FOR LOAD ENTITY ==> | Texas Utilities Electric Company (TU Electric)
LOAD ENTITY IN CONTROL AREA ==> | Texas Utilities Electric Company (TU Electric)
June 19, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Firm Schedules
CPL - SESCO | 68000 | CSWX | CSWS
HLP - TNP | 30000 | HLPT | HLP
Economy Schedules
CPSTA-TUEC - UD | 75000 | CPSTA | CPS
TMPPA-TUEC - UC | 100000 | TMPPA | BEC
HLPTA-TUEC - UD | 35000 | HLPTA | HLP
CSWSA-TUEC-UG | 200000 | CSWSA | DC-E
CSWSA-TUEC-UG | 140000 | CSWSA | DC-E
TNPXA-TUEC-UD | 15000 | TNMPA | TNP
Subtotal Receiving Transactions (A) | 663000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Firm Schedules
CPL - SESCO | 68000 | TUET | SESCO
HLP - TNP | 30000 | TUET | TNP
Economy Schedules
TUEC - TMPPA- UC | 21000 | TMPPA | BEC
TUEC - HLPTA- UE | 100000 | HLPTA | HLP
TUEC - HLPTA - UE | 200000 | HLPTA | HLP
TUEC-HLPTA- UE | 40000 | HLPTA | HLP
Interchange Adjustment
(Non-Telemetered)
TUEC - BEC | 28000 | TMPP | BEC
Wholesale Load Adjustments
COCS (a) | 126710 | TUET | Not Applicable
SESCO (b) | 164960 | TUET | Not Applicable
TNP (c) | 263025 | TUET | Not Applicable
Subtotal Sending Transactions (B) | 1041695 | Notes:
(a) The City of College Station's load is being removed from
GENERATION INFORMATION |  | TU Electric's reported load for the City of College Station
Generation kW | 20064000 | to report its own 1999 load responsibility.
Less Gen Unit Main XFMR Losses kW | 64000 | (b) The 1998 load for SESCO is being removed from
Inadvertent kW | -21000 | TU Electric's reported load, as SESCO will not be served by
Subtotal Net Generation (C) | 20021000 | TU Electric at the time of its 1999 firm peak demand.
After June 30, 1998, SESCO ceased to be
TOTAL LOAD CALCULATION |  | TUET's Control Area responsibility.
Subtotal Receiving Transactions (A) | 663000 | (c) A portion of the 1998 load for TNP is being removed from
Subtotal Sending Transactions (B) | 1041695 | TU Electric's reported load, as that portion of TNP's load will not be
Subtotal Net Generation (C) | 20021000 | served by TU Electric at the time of its 1999 firm peak demand.
After December 31, 1998, that portion of TNP's load will cease to be
Total Load Responsibility (A-B+C) | 19642305 | TUET's Control Area responsibility.

## 1700 July 31, 1998
REPORT FOR LOAD ENTITY ==> | Texas Utilities Electric Company (TU Electric)
LOAD ENTITY IN CONTROL AREA ==> | Texas Utilities Electric Company (TU Electric)
July 31, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Firm Schedules
HLP - TNP | 30000 | HLPT | HLP
Economy Schedules
HLPTA-TUEC - UB | 50000 | HLPTA | HLP
HLPTA-TUEC - UD | 45000 | HLPTA | HLP
CSWSA-TUEC - UG | 200000 | CSWSA | DC-E
CSWSA-TUEC-UG | 50000 | CSWSA | DC-E
CSWSA-TUEC - UG | 50000 | CSWSA | DC-E
CSWSA-TUEC - UG | 50000 | CSWSA | DC-E
CSWSA-TUEC- UG | 50000 | CSWSA | DC-E
CSWSA-TUEC- UG | 150000 | CSWSA | DC-E
CSWSA-TUEC- UG | 100000 | CSWSA | DC-N
HLPTA-TUEC- UB | 100000 | HLPTA | HLP
HLPTA-TUEC -UB | 75000 | HLPTA | HLP
CPSTA-TUEC-UD | 75000 | CPSTA | CPS
HLPTA-TUEC- UD | 85000 | HLPTA | HLP
Subtotal Receiving Transactions (A) | 1110000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Firm Schedules
HLP - TNP | 30000 | TUET | TNP
Economy Schedules
TUEC - LCRA - UB | 25000 | LCRA | LCRA
Wholesale Load Adjustments
COCS (a) | 131420 | TUET | Not Applicable
TNP (b) | 274302 | TUET | Not Applicable
Subtotal Sending Transactions (B) | 460722 | Notes:
(a) The City of College Station's load is being removed from
GENERATION INFORMATION |  | TU Electric's reported load for the City of College Station
Generation kW | 19454000 | to report its own 1999 load responsibility.
Less Gen Unit Main XFMR Losses kW | 60000 | (b) A portion of the 1998 load for TNP is being removed from
Inadvertent kW | 70000 | TU Electric's reported load, as that portion of TNP's load will not be
Subtotal Net Generation (C) | 19324000 | served by TU Electric at the time of its 1999 firm peak demand.
After December 31, 1998, that portion of TNP's load will cease to be
TOTAL LOAD CALCULATION |  | TUET's Control Area responsibility.
Subtotal Receiving Transactions (A) | 1110000
Subtotal Sending Transactions (B) | 460722
Subtotal Net Generation (C) | 19324000
Total Load Responsibility (A-B+C) | 19973278

## 1600 August 3, 1998
REPORT FOR LOAD ENTITY ==> | Texas Utilities Electric Company (TU Electric)
LOAD ENTITY IN CONTROL AREA ==> | Texas Utilities Electric Company (TU Electric)
August 3, 1998 Hour Ending 16:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Firm Schedules
HLP - TNP | 30000 | HLPT | HLP
Economy Schedules
CSWSA-TUEC- UG | 200000 | CSWSA | DC-E
CSWSA-TUEC- UG | 164000 | CSWSA | DC-E
CSWSA-TUEC-UG | 50000 | CSWSA | DC-E
CSWSA-TUEC-UG | 50000 | CSWSA | DC-E
CSWSA-TUEC-UG | 50000 | CSWSA | DC-E
HLPTA-TUEC- UD | 85000 | HLPTA | HLP
CSWSA-TUEC UG | 50000 | CSWSA | DC-E
LCRAA-TUEC-UB | 25000 | LCRAA | LCRA
LCRAA-TUEC-UB | 25000 | LCRAA | LCRA
HLPTA-TUEC-UB | 75000 | HLPTA | HLP
CPSTA-TUEC- UD | 75000 | CPSTA | CPS
HLPTA-TUEC-UB | 100000 | HLPTA | HLP
HLPTA-TUEC-UB | 70000 | HLPTA | HLP
Subtotal Receiving Transactions (A) | 1049000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Firm Schedules
HLP - TNP | 30000 | TUET | TNP
Economy Schedules
TUEC-LCRAA- UB | 25000 | LCRAA | LCRA
TUEC-HLPTA- UE | 90000 | HLPTA | HLP
Wholesale Load Adjustments
COCS (a) | 135630 | TUET | Not Applicable
TNP (b) | 286512 | TUET | Not Applicable
Subtotal Sending Transactions (B) | 567142 | Notes:
(a) The City of College Station's load is being removed from
GENERATION INFORMATION |  | TU Electric's reported load for the City of College Station
Generation kW | 20503000 | to report its own 1999 load responsibility.
Less Gen Unit Main XFMR Losses kW | 67000 | (b) A portion of the 1998 load for TNP is being removed from
Inadvertent kW | 24000 | TU Electric's reported load, as that portion of TNP's load will not be
Subtotal Net Generation (C) | 20412000 | served by TU Electric at the time of its 1999 firm peak demand.
After December 31, 1998, that portion of TNP's load will cease to be
TOTAL LOAD CALCULATION |  | TUET's Control Area responsibility.
Subtotal Receiving Transactions (A) | 1049000
Subtotal Sending Transactions (B) | 567142
Subtotal Net Generation (C) | 20412000
Total Load Responsibility (A-B+C) | 20893858

## 1700 September 4, 1998
REPORT FOR LOAD ENTITY ==> | Texas Utilities Electric Company (TU Electric)
LOAD ENTITY IN CONTROL AREA ==> | Texas Utilities Electric Company (TU Electric)
September 4, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Firm Schedules
HLP - TNP | 30000 | HLPT | HLP
Economic Schedules
HLPTA-TUEC- UB | 50000 | HLPTA | HLP
HLPTA-TUEC- UB | 50000 | HLPTA | HLP
HLPTA-TUEC- UB | 50000 | HLPTA | HLP
HLPTA-TUEC- UB | 50000 | HLPTA | HLP
AENXA-TUEC - UB | 50000 | AENXA | AEN
HLPTA-TUEC- UB | 50000 | HLPTA | HLP
HLPTA-TUEC- UB | 50000 | HLPTA | HLP
CPSTA-TUEC- UD | 75000 | CPSTA | CPS
HLPTA-TUEC - UD | 85000 | HLPTA | HLP
Subtotal Receiving Transactions (A) | 540000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Firm Schedules
HLP - TNP | 30000 | TUET | TNP
Economy Schedules
TUEC-TMPPA - UE | 29000 | TMPPA | DGG
TUEC-HLPTA- UE | 221000 | HLPTA | HLP
TUEC-AENXA-UC | 50000 | AENXA | AEN
TUEC-CSWSA- UC | 50000 | CSWSA | CSW
TUEC-LCRAA- UC | 125000 | LCRAA | LCRA
TUEC-TMPPA- UC | 50000 | TMPPA | DGG
TUEC-TMPPA- UG | 146000 | TMPPA | DGG
TUEC-STECA- UC | 25000 | STECA | STEC
Wholesale Load Adjustments
COCS (a) | 138740 | TUET | Not Applicable
TNP (b) | 277668 | TUET | Not Applicable
Subtotal Sending Transactions (B) | 1142408 | Notes:
(a) The City of College Station's load is being removed from
GENERATION INFORMATION |  | TU Electric's reported load for the City of College Station
Generation kW | 20967000 | to report its own 1999 load responsibility.
Less Gen Unit Main XFMR Losses kW | 65000 | (b) A portion of the 1998 load for TNP is being removed from
Inadvertent kW | 17000 | TU Electric's reported load, as that portion of TNP's load will not be
Subtotal Net Generation (C) | 20885000 | served by TU Electric at the time of its 1999 firm peak demand.
After December 31, 1998, that portion of TNP's load will cease to be
TOTAL LOAD CALCULATION |  | TUET's Control Area responsibility.
Subtotal Receiving Transactions (A) | 540000
Subtotal Sending Transactions (B) | 1142408
Subtotal Net Generation (C) | 20885000
Total Load Responsibility (A-B+C) | 20282592