## 1999 FOUR CP CALCULATION
1999 Four Coincident Peak Load Calculation
LSE Acronym | Load Serving Entity Name | June Load at ERCOT Coincident Peak kW | July Load at ERCOT Coincident Peak kW | August Load at ERCOT Coincident Peak kW | September Load at ERCOT Coincident Peak kW | Average 4CP Load kW | ERCOT ES PIETF 1999 Summer On Peak Loss Adjustment Factor Percent | Average 4CP Load at Delivery Point kW | ERCOT ES PIETF 1999 Summer On Peak VAMO Loss Allocation Percent | 1999 Load Responsibility kW | Load Ratio Share | LSE Acronym
AENX | Austin Energy | 1865342 | 1969413 | 2094250 | 1941450 | 1967613.8 | 2.3785 | 1921901.6 | 2.2536 | 1965212.8 | 3.827% | AENX
BCEC | Big Country Electric Coop | 24913 | 25367.2 | 27883.2 | 24198.2 | 25590.4 | 0 | 25590.4 | 4.3402 | 26701.1 | 0.052% | BCEC
BEPC | Brazos Electric Coop | 1297106 | 1443238 | 1521269 | 1304384 | 1391499.3 | 0 | 1391499.3 | 3.9836 | 1446931.1 | 2.818% | BEPC
BPMX | Brazos Power Marketing | 55000 | 54000 | 54000 | 38000 | 50250 | 0 | 50250 | 4.5897 | 52556.3 | 0.1024% | BPMX
BRYN | City of Bryan | 200000 | 217000 | 234000 | 233000 | 221000 | 1.1022 | 218590.7 | 1.6294 | 222152.4 | 0.4326% | BRYN
CCEC | Coleman County Electric Coop | 17764.9 | 18765.2 | 18879.1 | 17777.7 | 18296.7 | 0 | 18296.7 | 4.3402 | 19090.8 | 0.03718% | CCEC
COCS | City of College Station | 123280 | 130460 | 148260 | 135990 | 134497.5 | 0.15567 | 134288.5 | 4.2179 | 139952.7 | 0.2726% | COCS
CODX | Denton Municipal Electric | 131580 | 150966 | 162966 | 128124 | 143409 | 0.33437 | 142931.1 | 1.8375 | 145557.5 | 0.2835% | CODX
COGX | City of Garland | 223610 | 266954 | 278954 | 222810 | 248082 | 1.3969 | 244664.2 | 2.339 | 250386.8 | 0.4876% | COGX
CPST | City Public Service | 3352108.3 | 3544656.5 | 3547852.7 | 3195952.1 | 3410142.4 | 1.5821 | 3357030.8 | 1.3975 | 3403945 | 6.629% | CPST
CSWS | Central & South West | 5265977.5 | 5402175.5 | 5194055.7 | 4783082.9 | 5161322.9 | 4.1582 | 4955274.7 | 3.3499 | 5121271 | 9.974% | CSWS
CVEC | Concho Valley Electric Coop | 31328.6 | 34261.2 | 32387.8 | 28497.2 | 31618.7 | 0 | 31618.7 | 4.3402 | 32991 | 0.06425% | CVEC
GEUS | Greenville Electric Utility System | 47810 | 57080 | 58922 | 52066 | 53969.5 | 0.81158 | 53535 | 2.7546 | 55009.7 | 0.1071% | GEUS
GRBX | City of Granbury | 14800 | 16400 | 18200 | 15600 | 16250 | 0 | 16250 | 5.5831 | 17157.3 | 0.03341% | GRBX
GTSV | City of Gatesville | 23240 | 24696 | 26728 | 23600 | 24566 | 0 | 24566 | 3.9358 | 25532.9 | 0.04973% | GTSV
HERN | City of Hearne | 9737.3 | 10143.36 | 11759 | 10588.3 | 10557 | 0 | 10557 | 10.1947 | 11633.3 | 0.02266% | HERN
HUCO | Cap Rock Electric | 18783 | 21674 | 23151 | 19310 | 20729.5 | 0 | 20729.5 | 5.0402 | 21774.3 | 0.04241% | HUCO
KIMB | Kimble Electric Coop | 593.6 | 726.48 | 648 | 620.3 | 647.1 | 0 | 647.1 | 4.3402 | 675.2 | 0.00131% | KIMB
LCRA | Lower Colorado River Authority | 2111581 | 2250217 | 2405902 | 2185112 | 2238203 | 2.7798 | 2177668.4 | 2.3788 | 2229469.7 | 4.342% | LCRA
LHEC | Lighthouse Electric Coop | 1833.8 | 4266.4 | 3871.1 | 2981.6 | 3238.2 | 0 | 3238.2 | 4.3402 | 3378.7 | 0.00658% | LHEC
MECX | Medina Electric Coop | 54335.5 | 69996.2 | 54506.9 | 50864.5 | 57425.8 | 5.7226 | 54317.4 | 7.5538 | 58420.4 | 0.1138% | MECX
OLNE | City of Olney | 4291 | 4655 | 5269 | 4735 | 4737.5 | 0 | 4737.5 | 3.9358 | 4924 | 0.00959% | OLNE
PUBX | Brownsville Public Utilities Board | 183878.4 | 186759 | 190718.4 | 143862.2 | 176304.5 | 0.23835 | 175885.3 | 3.042 | 181235.8 | 0.353% | PUBX
RCEC | Rayburn Country | 294000 | 347000 | 420000 | 288000 | 337250 | 0.15331 | 336733.8 | 5.6201 | 355658.5 | 0.6926% | RCEC
REIL | Reliant Energy HL&P | 13008181 | 13811823 | 14581203 | 13445277 | 13711621 | 0.98535 | 13577831.8 | 0.97086 | 13709653.5 | 26.7% | REIL
RGEC | Rio Grande Electric Coop | 14983.7 | 14808.4 | 14306.9 | 14133 | 14558 | 2.1548 | 14250.9 | 4.3402 | 14869.4 | 0.02896% | RGEC
SESC | Southwestern Electric Service Co. | 220000 | 241000 | 260000 | 235000 | 239000 | 0.97813 | 236684.9 | 5.743 | 250277.7 | 0.4874% | SESC
SHRY | Sharyland Utilities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0632 | 0 | 0% | SHRY
STEC | South Texas Electric Coop | 216737.5 | 231994.8 | 235185.1 | 219473.5 | 225847.7 | 6.3571 | 212348.4 | 4.2076 | 221283.2 | 0.4309% | STEC
SWTE | Southwest Texas Electric Coop | 19003 | 20983 | 19489.4 | 19458.6 | 19733.5 | 0 | 19733.5 | 4.3402 | 20590 | 0.0401% | SWTE
TECX | Taylor Electric Coop | 30152.7 | 31466.6 | 31579.6 | 27967.9 | 30291.7 | 0 | 30291.7 | 4.3402 | 31606.4 | 0.06155% | TECX
TMPA | Texas Municipal Power Agency | 354750 | 354750 | 354750 | 353750 | 354500 | 0 | 354500 | 0 | 354500 | 0.6904% | TMPA
TNMP | Texas-New Mexico Power Company | 797539 | 852259 | 896063 | 829925 | 843946.5 | 0.88034 | 836581.7 | 3.9358 | 869507.7 | 1.693% | TNMP
TUEC | TXU | 18924250 | 20535210 | 21443050 | 18950990 | 19963375 | 2.477 | 19480830.9 | 2.2659 | 19922241.2 | 38.8% | TUEC
TXLA | Tex-La Electric Coop | 88148 | 95946 | 104390 | 90636 | 94780 | 0.01101 | 94769.6 | 3.3599 | 97953.8 | 0.1908% | TXLA
WEAT | City of Weatherford | 55944 | 62861 | 64399.2 | 56680.8 | 59971.3 | 0 | 59971.3 | 6.4276 | 63826 | 0.1243% | WEAT
|  | 49082582.8 | 52503971.8 | 54538849.1 | 49093897.8 | 51304825.5 |  | 50288596.6 |  | 51347927.2 | 100%

## 1999 SUMMER ON PEAK MATRICES
PLAENX | AEN LOAD | ONPEAK | 1999-06-01 | LAF | 2.3785 | AENX | AENX | 1.303 | BEPC | TMPP | 0.03451 | BRYN | TMPP | 0.0025 | COCS | TUET | 0.00023 | CODX | TMPP | 2e-05 | COGX | TMPP | 0.00027 | CPLC | CSWS | 0.1363 | CPST | CPST | 0.09636 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.09782 | LCRA | LCRA | 0.26863 | MECX | STEC | 0.0005 | MVEC | CSWS | 8e-05 | PUBX | PUBX | 0 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.00122 | STEC | STEC | 0.02182 | TMPA | TMPP | 0.00522 | TNMP | TNMP | 1e-05 | TNMP | TUET | 3e-05 | TUET | TUET | 0.26857 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.01651 | LOADDCHK | 2.2536
PLBPMX | BPM LOAD | ONPEAK | 1999-06-01 | LAF | 0 | AENX | AENX | 0.151 | BEPC | TMPP | 0.30359 | BRYN | TMPP | 0.00765 | COCS | TUET | 0.00067 | CODX | TMPP | 0.0023 | COGX | TMPP | 0.01294 | CPLC | CSWS | 0.40212 | CPST | CPST | 0.14437 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.96686 | LCRA | LCRA | 0.26238 | MECX | STEC | 0.0027 | MVEC | CSWS | 0.00021 | PUBX | PUBX | 0 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.00117 | STEC | STEC | 0.04771 | TMPA | TMPP | 0.04535 | TNMP | TNMP | 0.00023 | TNMP | TUET | 0.00455 | TUET | TUET | 2.096 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.13794 | LOADDCHK | 4.5897
PLBEPC | BRAZOS LOAD | ONPEAK | 1999-06-01 | LAF | 0 | AENX | AENX | 0.0389 | BEPC | TMPP | 0.84284 | BRYN | TMPP | 0.03685 | COCS | TUET | 0.00238 | CODX | TMPP | 0.00196 | COGX | TMPP | 0.02742 | CPLC | CSWS | 0.21891 | CPST | CPST | 0.10218 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0.00337 | HLPT | HLPT | 0.07797 | LCRA | LCRA | 0.12978 | MECX | STEC | 0.00414 | MVEC | CSWS | 9e-05 | PUBX | PUBX | 0 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.00541 | STEC | STEC | 0.02211 | TMPA | TMPP | 0.07759 | TNMP | TNMP | 0.00032 | TNMP | TUET | 0.0034 | TUET | TUET | 2.1458 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.24218 | LOADDCHK | 3.9836
PLCOFV | CITY OF FARMERSVILLE | ONPEAK | 1999-06-01 | LAF | 0 | AENX | AENX | 0.12504 | BEPC | TMPP | 0.20159 | BRYN | TMPP | 0.00822 | COCS | TUET | 0.00073 | CODX | TMPP | 0.00033 | COGX | TMPP | 0.44658 | CPLC | CSWS | 0.34753 | CPST | CPST | 0.12058 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.94201 | LCRA | LCRA | 0.23044 | MECX | STEC | 0.00233 | MVEC | CSWS | 0.00018 | PUBX | PUBX | 0 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.001 | STEC | STEC | 0.04014 | TMPA | TMPP | 0.43184 | TNMP | TNMP | 0.00019 | TNMP | TUET | 0.00101 | TUET | TUET | 2.028 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.11237 | LOADDCHK | 5.0402
PLCPLC | CPL - CPL | ONPEAK | 1999-06-01 | LAF | 4.0362 | AENX | AENX | 0.02957 | BEPC | TMPP | 0.0095 | BRYN | TMPP | 0.00059 | COCS | TUET | 5e-05 | CODX | TMPP | 3e-05 | COGX | TMPP | 0.00025 | CPLC | CSWS | 2.1944 | CPST | CPST | 0.21541 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.06491 | LCRA | LCRA | 0.14922 | MECX | STEC | 0.03053 | MVEC | CSWS | 0.01928 | PUBX | PUBX | 0.00194 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.00603 | STEC | STEC | 0.16055 | TMPA | TMPP | 0.00153 | TNMP | TNMP | 0.00016 | TNMP | TUET | 4e-05 | TUET | TUET | 0.11322 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.06598 | LOADDCHK | 3.0632
PLCPST | CPS SAN ANTONIO LOAD | ONPEAK | 1999-06-01 | LAF | 1.5821 | AENX | AENX | 0.04124 | BEPC | TMPP | 0.00861 | BRYN | TMPP | 0.00085 | COCS | TUET | 8e-05 | CODX | TMPP | 1e-05 | COGX | TMPP | 0.00012 | CPLC | CSWS | 0.24518 | CPST | CPST | 0.85362 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.03883 | LCRA | LCRA | 0.08219 | MECX | STEC | 0.00871 | MVEC | CSWS | 0.00012 | PUBX | PUBX | 0 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.00136 | STEC | STEC | 0.02409 | TMPA | TMPP | 0.00183 | TNMP | TNMP | 3e-05 | TNMP | TUET | 2e-05 | TUET | TUET | 0.07505 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.01555 | LOADDCHK | 1.3975
PLGRBX | GRANBURY LOAD | ONPEAK | 1999-06-01 | LAF | 0 | AENX | AENX | 0.1419 | BEPC | TMPP | 1.1283 | BRYN | TMPP | 0.00877 | COCS | TUET | 0.00077 | CODX | TMPP | 0.00089 | COGX | TMPP | 0.00584 | CPLC | CSWS | 0.39339 | CPST | CPST | 0.13546 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 1.2354 | LCRA | LCRA | 0.28187 | MECX | STEC | 0.00269 | MVEC | CSWS | 0.0002 | PUBX | PUBX | 0 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.00109 | STEC | STEC | 0.0457 | TMPA | TMPP | 0.02296 | TNMP | TNMP | 0.01276 | TNMP | TUET | 0.00115 | TUET | TUET | 2.0084 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.15554 | LOADDCHK | 5.5831
PLHLPT | HLP LOAD | ONPEAK | 1999-06-01 | LAF | 0.98535 | AENX | AENX | 0.02084 | BEPC | TMPP | 0.01106 | BRYN | TMPP | 0.00068 | COCS | TUET | 6e-05 | CODX | TMPP | 1e-05 | COGX | TMPP | 0.00015 | CPLC | CSWS | 0.05481 | CPST | CPST | 0.01908 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.71657 | LCRA | LCRA | 0.03546 | MECX | STEC | 0.00022 | MVEC | CSWS | 2e-05 | PUBX | PUBX | 0 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.00019 | STEC | STEC | 0.00779 | TMPA | TMPP | 0.00148 | TNMP | TNMP | 2e-05 | TNMP | TUET | 2e-05 | TUET | TUET | 0.09156 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.01084 | LOADDCHK | 0.97086
PLHUCO | HUNT-COLLIN | ONPEAK | 1999-06-01 | LAF | 0 | AENX | AENX | 0.12504 | BEPC | TMPP | 0.20158 | BRYN | TMPP | 0.00822 | COCS | TUET | 0.00073 | CODX | TMPP | 0.00033 | COGX | TMPP | 0.44658 | CPLC | CSWS | 0.34753 | CPST | CPST | 0.12058 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.94202 | LCRA | LCRA | 0.23044 | MECX | STEC | 0.00233 | MVEC | CSWS | 0.00018 | PUBX | PUBX | 0 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.001 | STEC | STEC | 0.04014 | TMPA | TMPP | 0.43184 | TNMP | TNMP | 0.00019 | TNMP | TUET | 0.00101 | TUET | TUET | 2.0281 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.11237 | LOADDCHK | 5.0402
PLLCRA | LCRA | ONPEAK | 1999-06-01 | LAF | 2.7798 | AENX | AENX | 0.34299 | BEPC | TMPP | 0.03424 | BRYN | TMPP | 0.00195 | COCS | TUET | 0.00017 | CODX | TMPP | 5e-05 | COGX | TMPP | 0.00047 | CPLC | CSWS | 0.25508 | CPST | CPST | 0.14086 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.15072 | LCRA | LCRA | 0.97781 | MECX | STEC | 0.0013 | MVEC | CSWS | 7e-05 | PUBX | PUBX | 0 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.00049 | STEC | STEC | 0.02271 | TMPA | TMPP | 0.00441 | TNMP | TNMP | 8e-05 | TNMP | TUET | 7e-05 | TUET | TUET | 0.3678 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.07748 | LOADDCHK | 2.3788
PLMECX | MEC LOAD | ONPEAK | 1999-06-01 | LAF | 5.7226 | AENX | AENX | 0.06127 | BEPC | TMPP | 0.02844 | BRYN | TMPP | 0.00174 | COCS | TUET | 0.00016 | CODX | TMPP | 8e-05 | COGX | TMPP | 0.00064 | CPLC | CSWS | 2.4825 | CPST | CPST | 1.026 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.196 | LCRA | LCRA | 0.34634 | MECX | STEC | 2.1577 | MVEC | CSWS | 0.00329 | PUBX | PUBX | 0.00012 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.07212 | STEC | STEC | 0.67377 | TMPA | TMPP | 0.00438 | TNMP | TNMP | 0.00042 | TNMP | TUET | 0.00011 | TUET | TUET | 0.32146 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.17716 | LOADDCHK | 7.5538
PLPUBX | PUBX LOAD | ONPEAK | 1999-06-01 | LAF | 0.23835 | AENX | AENX | 0.04947 | BEPC | TMPP | 0.01783 | BRYN | TMPP | 0.0018 | COCS | TUET | 0.00016 | CODX | TMPP | 2e-05 | COGX | TMPP | 0.00024 | CPLC | CSWS | 1.6976 | CPST | CPST | 0.23977 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.2785 | LCRA | LCRA | 0.1412 | MECX | STEC | 0.01331 | MVEC | CSWS | 0.07692 | PUBX | PUBX | 0.19801 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.02514 | STEC | STEC | 0.1276 | TMPA | TMPP | 0.00383 | TNMP | TNMP | 4e-05 | TNMP | TUET | 3e-05 | TUET | TUET | 0.1492 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.02137 | LOADDCHK | 3.042
PLSESC | SESCO | ONPEAK | 1999-06-01 | LAF | 0.97813 | AENX | AENX | 0.12489 | BEPC | TMPP | 0.12699 | BRYN | TMPP | 0.01094 | COCS | TUET | 0.00099 | CODX | TMPP | 8e-05 | COGX | TMPP | 0.00453 | CPLC | CSWS | 0.286 | CPST | CPST | 0.11427 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.92101 | LCRA | LCRA | 0.19437 | MECX | STEC | 0.00147 | MVEC | CSWS | 0.00015 | PUBX | PUBX | 0 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0.96664 | SMEC | STEC | 0.00117 | STEC | STEC | 0.03795 | TMPA | TMPP | 0.02487 | TNMP | TNMP | 0.00013 | TNMP | TUET | 0.00029 | TUET | TUET | 2.8507 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.07551 | LOADDCHK | 5.743
PLSTEC | STEC LOAD | ONPEAK | 1999-06-01 | LAF | 6.3571 | AENX | AENX | 0.08263 | BEPC | TMPP | 0.02374 | BRYN | TMPP | 0.00238 | COCS | TUET | 0.00022 | CODX | TMPP | 3e-05 | COGX | TMPP | 0.00034 | CPLC | CSWS | 1.4112 | CPST | CPST | 0.34667 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.30529 | LCRA | LCRA | 0.47923 | MECX | STEC | 0.08961 | MVEC | CSWS | 0.00164 | PUBX | PUBX | 9e-05 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.05564 | STEC | STEC | 1.1672 | TMPA | TMPP | 0.00509 | TNMP | TNMP | 7e-05 | TNMP | TUET | 4e-05 | TUET | TUET | 0.20122 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.03537 | LOADDCHK | 4.2076
PLTNMP | TNMP | ONPEAK | 1999-06-01 | LAF | 0.88034 | AENX | AENX | 0.05752 | BEPC | TMPP | 0.08128 | BRYN | TMPP | 0.00325 | COCS | TUET | 0.00029 | CODX | TMPP | 0.0002 | COGX | TMPP | 0.00319 | CPLC | CSWS | 0.4234 | CPST | CPST | 0.1384 | DCEAST | CSWS | 0 | FECX | CSWS | 0.00595 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.91564 | LCRA | LCRA | 0.12554 | MECX | STEC | 0.0034 | MVEC | CSWS | 0.00333 | PUBX | PUBX | 6e-05 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.00154 | STEC | STEC | 0.04084 | TMPA | TMPP | 0.01484 | TNMP | TNMP | 0.83821 | TNMP | TUET | 0.00223 | TUET | TUET | 1.2044 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.07224 | LOADDCHK | 3.9358
PLCOCS | TUE TO COLSTA WHSAL | ONPEAK | 1999-06-01 | LAF | 88.034 | AENX | AENX | 0.06312 | BEPC | TMPP | 0.42113 | BRYN | TMPP | 0.1921 | COCS | TUET | 0.06425 | CODX | TMPP | 0.00061 | COGX | TMPP | 0.01121 | CPLC | CSWS | 0.274 | CPST | CPST | 0.07101 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.20133 | LCRA | LCRA | 0.16226 | MECX | STEC | 0.00255 | MVEC | CSWS | 0.00013 | PUBX | PUBX | 0 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.00048 | STEC | STEC | 0.02262 | TMPA | TMPP | 0.24671 | TNMP | TNMP | 0.00234 | TNMP | TUET | 0.00102 | TUET | TUET | 2.3236 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.15751 | LOADDCHK | 4.2179
PLHERN | WTU - HEARNE | ONPEAK | 1999-06-01 | LAF | 0 | AENX | AENX | 0.03572 | BEPC | TMPP | 2.9327 | BRYN | TMPP | 0.29545 | COCS | TUET | 0.01699 | CODX | TMPP | 0.00147 | COGX | TMPP | 0.01632 | CPLC | CSWS | 0.64958 | CPST | CPST | 0.06958 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.08507 | LCRA | LCRA | 0.28427 | MECX | STEC | 0.00884 | MVEC | CSWS | 0.00026 | PUBX | PUBX | 1e-05 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.00184 | STEC | STEC | 0.02138 | TMPA | TMPP | 0.25872 | TNMP | TNMP | 0.00263 | TNMP | TUET | 0.00178 | TUET | TUET | 4.4694 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 1.0427 | LOADDCHK | 10.1947
PLWTUC | WTU LOAD | ONPEAK | 1999-06-01 | LAF | 3.9365 | AENX | AENX | 0.01389 | BEPC | TMPP | 0.07619 | BRYN | TMPP | 0.00016 | COCS | TUET | 1e-05 | CODX | TMPP | 0.00022 | COGX | TMPP | 0.00072 | CPLC | CSWS | 0.44002 | CPST | CPST | 0.04075 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.02625 | LCRA | LCRA | 0.15672 | MECX | STEC | 0.00586 | MVEC | CSWS | 0.00017 | PUBX | PUBX | 0 | RCEC | CSWS | 0 | RGEC | CSWS | 0.00547 | SESC | LCRA | 0 | SMEC | STEC | 0.00134 | STEC | STEC | 0.01192 | TMPA | TMPP | 0.00157 | TNMP | TNMP | 0.0045 | TNMP | TUET | 0.00015 | TUET | TUET | 2.1755 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 1.3787 | LOADDCHK | 4.3402
PLWEAT | TOTAL WEATHERFORD | ONPEAK | 1999-06-01 | LAF | 0 | AENX | AENX | 0.0115 | BEPC | TMPP | 1.3593 | BRYN | TMPP | 0.00018 | COCS | TUET | 1e-05 | CODX | TMPP | 0.00203 | COGX | TMPP | 0.00095 | CPLC | CSWS | 0.39621 | CPST | CPST | 0.03734 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.02252 | LCRA | LCRA | 0.15041 | MECX | STEC | 0.00551 | MVEC | CSWS | 0.00015 | PUBX | PUBX | 0 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.00126 | STEC | STEC | 0.01108 | TMPA | TMPP | 0.01297 | TNMP | TNMP | 0.00234 | TNMP | TUET | 0.00118 | TUET | TUET | 3.5028 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.90992 | LOADDCHK | 6.4276
PLBRYN | TOTAL BTU | ONPEAK | 1999-06-01 | LAF | 1.1022 | AENX | AENX | 0.01886 | BEPC | TMPP | 0.30923 | BRYN | TMPP | 0.41425 | COCS | TUET | 0.01636 | CODX | TMPP | 0.00059 | COGX | TMPP | 0.00126 | CPLC | CSWS | 0.02317 | CPST | CPST | 0.01156 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.02899 | LCRA | LCRA | 0.02503 | MECX | STEC | 0.00017 | MVEC | CSWS | 1e-05 | PUBX | PUBX | 0 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.00019 | STEC | STEC | 0.0034 | TMPA | TMPP | 0.31904 | TNMP | TNMP | 1e-05 | TNMP | TUET | 0.00028 | TUET | TUET | 0.45014 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.00686 | LOADDCHK | 1.6294
PLCODX | TOTAL DENTON | ONPEAK | 1999-06-01 | LAF | 0.33437 | AENX | AENX | 0.02855 | BEPC | TMPP | 0.14776 | BRYN | TMPP | 0.00694 | COCS | TUET | 0.00063 | CODX | TMPP | 0.25935 | COGX | TMPP | 0.00935 | CPLC | CSWS | 0.10139 | CPST | CPST | 0.02953 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.08014 | LCRA | LCRA | 0.06523 | MECX | STEC | 0.00086 | MVEC | CSWS | 5e-05 | PUBX | PUBX | 0 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.00015 | STEC | STEC | 0.0094 | TMPA | TMPP | 0.16867 | TNMP | TNMP | 7e-05 | TNMP | TUET | 0.00826 | TUET | TUET | 0.88098 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.04023 | LOADDCHK | 1.8375
PLCOGX | TOTAL GARLAND | ONPEAK | 1999-06-01 | LAF | 1.3969 | AENX | AENX | 0.03013 | BEPC | TMPP | 0.15791 | BRYN | TMPP | 0.00771 | COCS | TUET | 0.00069 | CODX | TMPP | 0.00049 | COGX | TMPP | 0.72636 | CPLC | CSWS | 0.09851 | CPST | CPST | 0.03063 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.08629 | LCRA | LCRA | 0.06489 | MECX | STEC | 0.00078 | MVEC | CSWS | 5e-05 | PUBX | PUBX | 0 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.0002 | STEC | STEC | 0.00973 | TMPA | TMPP | 0.12035 | TNMP | TNMP | 6e-05 | TNMP | TUET | 0.0006 | TUET | TUET | 0.96663 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.03696 | LOADDCHK | 2.339
PLGEUS | TOTAL GREENVILLE | ONPEAK | 1999-06-01 | LAF | 0.81158 | AENX | AENX | 0.03155 | BEPC | TMPP | 0.11425 | BRYN | TMPP | 0.00797 | COCS | TUET | 0.00072 | CODX | TMPP | 0.00044 | COGX | TMPP | 0.1611 | CPLC | CSWS | 0.10369 | CPST | CPST | 0.03216 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0.75155 | HLPT | HLPT | 0.09083 | LCRA | LCRA | 0.06825 | MECX | STEC | 0.00083 | MVEC | CSWS | 5e-05 | PUBX | PUBX | 0 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.00021 | STEC | STEC | 0.01021 | TMPA | TMPP | 0.37295 | TNMP | TNMP | 7e-05 | TNMP | TUET | 0.00058 | TUET | TUET | 0.96836 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.03888 | LOADDCHK | 2.7546
PLRCEC | TOTAL RAYBURN | ONPEAK | 1999-06-01 | LAF | 0.15331 | AENX | AENX | 0.10366 | BEPC | TMPP | 0.17752 | BRYN | TMPP | 0.00663 | COCS | TUET | 0.00059 | CODX | TMPP | 0.00119 | COGX | TMPP | 0.01906 | CPLC | CSWS | 0.30387 | CPST | CPST | 0.10106 | DCEAST | CSWS | 0 | FECX | CSWS | 0.12758 | GCEC | CSWS | 0.00285 | GEUS | TMPP | 0 | HLPT | HLPT | 0.91323 | LCRA | LCRA | 0.19471 | MECX | STEC | 0.00217 | MVEC | CSWS | 0.00015 | PUBX | PUBX | 0 | RCEC | CSWS | 0.00164 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.0009 | STEC | STEC | 0.034 | TMPA | TMPP | 0.03825 | TNMP | TNMP | 0.00017 | TNMP | TUET | 0.00037 | TUET | TUET | 3.4636 | TVEC | CSWS | 0.00671 | TXLA | CSWS | 0 | WTUC | CSWS | 0.12023 | LOADDCHK | 5.6201
PLTUET | TOTAL TU ELECTRIC | ONPEAK | 1999-06-01 | LAF | 2.477 | AENX | AENX | 0.02598 | BEPC | TMPP | 0.09202 | BRYN | TMPP | 0.00116 | COCS | TUET | 0.0001 | CODX | TMPP | 0.00065 | COGX | TMPP | 0.01122 | CPLC | CSWS | 0.11093 | CPST | CPST | 0.0173 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.04014 | LCRA | LCRA | 0.05685 | MECX | STEC | 0.0013 | MVEC | CSWS | 4e-05 | PUBX | PUBX | 0 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0 | SMEC | STEC | 0.00029 | STEC | STEC | 0.00514 | TMPA | TMPP | 0.01426 | TNMP | TNMP | 0.00235 | TNMP | TUET | 0.00147 | TUET | TUET | 1.7614 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.12322 | LOADDCHK | 2.2659
PLTXLA | TOTAL TXLA | ONPEAK | 1999-06-01 | LAF | 0.01101 | AENX | AENX | 0.0093 | BEPC | TMPP | 0.10134 | BRYN | TMPP | 0.00114 | COCS | TUET | 9e-05 | CODX | TMPP | 0.00208 | COGX | TMPP | 0.0207 | CPLC | CSWS | 0.05309 | CPST | CPST | 0.01138 | DCEAST | CSWS | 0.17755 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.02478 | LCRA | LCRA | 0.03339 | MECX | STEC | 0.00057 | MVEC | CSWS | 2e-05 | PUBX | PUBX | 0 | RCEC | CSWS | 0 | RGEC | CSWS | 0 | SESC | LCRA | 0.0389 | SMEC | STEC | 1e-05 | STEC | STEC | 0.00367 | TMPA | TMPP | 0.02006 | TNMP | TNMP | 4e-05 | TNMP | TUET | 0.001 | TUET | TUET | 2.8241 | TVEC | CSWS | 0 | TXLA | CSWS | 0.01101 | WTUC | CSWS | 0.02572 | LOADDCHK | 3.3599
PLCSWS | TOTAL CSWS | ONPEAK | 1999-06-01 | LAF | 4.1582 | AENX | AENX | 0.02605 | BEPC | TMPP | 0.02447 | BRYN | TMPP | 0.0005 | COCS | TUET | 4e-05 | CODX | TMPP | 7e-05 | COGX | TMPP | 0.00036 | CPLC | CSWS | 1.8005 | CPST | CPST | 0.17619 | DCEAST | CSWS | 0 | FECX | CSWS | 0 | GCEC | CSWS | 0 | GEUS | TMPP | 0 | HLPT | HLPT | 0.05623 | LCRA | LCRA | 0.15091 | MECX | STEC | 0.02499 | MVEC | CSWS | 0.01499 | PUBX | PUBX | 0.0015 | RCEC | CSWS | 0 | RGEC | CSWS | 0.00123 | SESC | LCRA | 0 | SMEC | STEC | 0.00498 | STEC | STEC | 0.12718 | TMPA | TMPP | 0.00154 | TNMP | TNMP | 0.00113 | TNMP | TUET | 7e-05 | TUET | TUET | 0.57626 | TVEC | CSWS | 0 | TXLA | CSWS | 0 | WTUC | CSWS | 0.36072 | LOADDCHK | 3.3499
TRANSDCHK | XXXXXXXX | ONPEAK | 1999-06-01 | LAF | 124.1955 | AENX | AENX | 3.0675 | BEPC | TMPP | 8.9435 | BRYN | TMPP | 1.0301 | COCS | TUET | 0.10813 | CODX | TMPP | 0.27546 | COGX | TMPP | 1.9278 | CPLC | CSWS | 13.4504 | CPST | CPST | 4.2659 | DCEAST | CSWS | 0.17755 | FECX | CSWS | 0.13353 | GCEC | CSWS | 0.00285 | GEUS | TMPP | 0.75492 | HLPT | HLPT | 9.4491 | LCRA | LCRA | 5.1969 | MECX | STEC | 2.3504 | MVEC | CSWS | 0.10684 | PUBX | PUBX | 0.20023 | RCEC | CSWS | 0.00164 | RGEC | CSWS | 0.00547 | SESC | LCRA | 1.0055 | SMEC | STEC | 0.18144 | STEC | STEC | 2.6226 | TMPA | TMPP | 2.6506 | TNMP | TNMP | 0.86744 | TNMP | TUET | 0.03069 | TUET | TUET | 39.7361 | TVEC | CSWS | 0.00671 | TXLA | CSWS | 0.01101 | WTUC | CSWS | 5.2094 | LOADDCHK | 103.7697

## AGGREGATIONS
AGGREGATIONS OF LOAD SERVING ENTITIES
BTU (BRYAN)
MW ALLOCATION |  | EVENT MW | AENX | BEPCTMPP | BRYN | COCS | CODX | COGX | CPLC | CPST | DCEAST | FECX | GCEC | GEUS | HEARNE | HLPT | LCRA | MECX | MVEC | PUBX | RCEC | RGEC | SESC | SMEC | STEC | TMPA | TNMP | TNMPTUET | TUET | TVEC | TXLA | WEATHFD | WTUC
958 | BTU (BRYAN) LOAD | 100.2544 | 0.0045774 | 0.16588 | 0.58141 | 0.007184 | 0.0013208 | 0.0013689 | 0.018321 | 0.0025743 | 0 | 2.5004e-09 | 0 | 2.0194e-09 | #DIV/0! | 0.0049708 | 0.013927 | 0.00025284 | 6.0422e-06 | 1.2282e-07 | 0 | 0 | 1.8304e-08 | 7.2619e-05 | 0.00060321 | 0.24034 | 1.7822e-05 | 0.00061827 | 0.42544 | 0 | 0 | #DIV/0! | 0.012356
965 | GIB CRK TO BTU | 125.7871 | 0.038065 | 0.53311 | 0.35497 | 0.029798 | 9.5594e-06 | 0.0014801 | 0.034051 | 0.023567 | 0 | 4.603e-09 | 0 | 3.5793e-09 | #DIV/0! | 0.060548 | 0.042644 | 0.00014025 | 2.0196e-05 | 3.8917e-07 | 0 | 0 | 6.8728e-08 | 0.00035223 | 0.0070725 | 0.48082 | 3.012e-06 | 1.8909e-05 | 0.59207 | 0 | 0 | #DIV/0! | 0.0031478
| TOTAL | 226.0414 | 0.042642 | 0.69899 | 0.93638 | 0.036982 | 0.0013303 | 0.002849 | 0.052372 | 0.026141 | 0 | 7.1033e-09 | 0 | 5.5987e-09 | #DIV/0! | 0.065519 | 0.05657 | 0.00039308 | 2.6238e-05 | 5.12e-07 | 0 | 0 | 8.7032e-08 | 0.00042485 | 0.0076757 | 0.72116 | 2.0834e-05 | 0.00063718 | 1.0175 | 0 | 0 | #DIV/0! | 0.015504
| TOTAL BTU (% OF LOAD) |  | 0.01886% | 0.3092% | 0.4143% | 0.01636% | 0.00059% | 0.00126% | 0.02317% | 0.01156% | 0% | 0% | 0% | 0% | #DIV/0! | 0.02899% | 0.02503% | 0.00017% | 1e-05% | 0% | 0% | 0% | 0% | 0.00019% | 0.0034% | 0.319% | 1e-05% | 0.00028% | 0.4501% | 0% | 0% | #DIV/0! | 0.00686%
GARLAND
MW ALLOCATION |  | EVENT MW | AENX | BEPCTMPP | BRYN | COCS | CODX | COGX | CPLC | CPST | DCEAST | FECX | GCEC | GEUS | HEARNE | HLPT | LCRA | MECX | MVEC | PUBX | RCEC | RGEC | SESC | SMEC | STEC | TMPA | TNMP | TNMPTUET | TUET | TVEC | TXLA | WEATHFD | WTUC
962 | GARLAND LOAD | 284.1195 | 0.00091294 | 0.19145 | 0.00044088 | 3.1867e-05 | 0.0016685 | 2.4927 | 0.0059715 | 0.0010144 | 0 | 4.4067e-09 | 0 | 9.7052e-08 | #DIV/0! | 0.0018816 | 0.0028406 | 7.1976e-05 | 2.6365e-06 | 5.2709e-08 | 0 | 0 | 7.6845e-09 | 8.2291e-06 | 0.00032599 | 0.39004 | 5.5323e-06 | 0.00085881 | 0.5895 | 0 | 0 | #DIV/0! | 0.0055431
967 | GIB CRK TO GARLAND | 206.7428 | 0.14698 | 0.58366 | 0.037429 | 0.0033713 | 0.00072862 | 1.0727 | 0.47759 | 0.14934 | 0 | 1.0631e-07 | 0 | 1.6078e-07 | #DIV/0! | 0.4217 | 0.31567 | 0.0037677 | 0.00023882 | 4.7194e-06 | 0 | 0 | 1.0175e-06 | 0.00095056 | 0.047419 | 0.20073 | 0.00030007 | 0.0020751 | 4.1553 | 0 | 0 | #DIV/0! | 0.17587
| TOTAL | 490.8623 | 0.14789 | 0.77511 | 0.03787 | 0.0034032 | 0.0023971 | 3.5654 | 0.48356 | 0.15035 | 0 | 1.1072e-07 | 0 | 2.5783e-07 | #DIV/0! | 0.42359 | 0.31851 | 0.0038396 | 0.00024145 | 4.7721e-06 | 0 | 0 | 1.0252e-06 | 0.00095879 | 0.047745 | 0.59077 | 0.0003056 | 0.0029339 | 4.7448 | 0 | 0 | #DIV/0! | 0.18141
| TOTAL GARLAND (% OF LOAD) |  | 0.03013% | 0.1579% | 0.00771% | 0.00069% | 0.00049% | 0.7264% | 0.09851% | 0.03063% | 0% | 0% | 0% | 0% | #DIV/0! | 0.08629% | 0.06489% | 0.00078% | 5e-05% | 0% | 0% | 0% | 0% | 0.0002% | 0.00973% | 0.1203% | 6e-05% | 0.0006% | 0.9666% | 0% | 0% | #DIV/0! | 0.03696%
DENTON
MW ALLOCATION |  | EVENT MW | AENX | BEPCTMPP | BRYN | COCS | CODX | COGX | CPLC | CPST | DCEAST | FECX | GCEC | GEUS | HEARNE | HLPT | LCRA | MECX | MVEC | PUBX | RCEC | RGEC | SESC | SMEC | STEC | TMPA | TNMP | TNMPTUET | TUET | TVEC | TXLA | WEATHFD | WTUC
961 | DENTON LOAD | 152.8038 | 9.1672e-05 | 0.01964 | 3.8819e-06 | 3.4258e-07 | 0.47556 | 0.0001743 | 0.0012234 | 0.0001507 | 0 | 1.6683e-10 | 0 | 9.6941e-11 | #DIV/0! | 0.00019422 | 0.00060977 | 1.6263e-05 | 5.0962e-07 | 1.0241e-08 | 0 | 0 | 5.7827e-10 | 3.042e-06 | 4.7375e-05 | 0.1335 | 1.1912e-06 | 0.0016842 | 0.049631 | 0 | 0 | #DIV/0! | 0.00082869
966 | GIB CRK TO DENTON | 95.6183 | 0.070845 | 0.34744 | 0.017228 | 0.001555 | 0.16872 | 0.023049 | 0.25065 | 0.073209 | 0 | 5.3154e-08 | 0 | 3.973e-08 | #DIV/0! | 0.19889 | 0.16143 | 0.0021272 | 0.00012336 | 2.4406e-06 | 0 | 0 | 4.2334e-07 | 0.00037941 | 0.02331 | 0.28551 | 0.00016724 | 0.018831 | 2.1389 | 0 | 0 | #DIV/0! | 0.0991
| TOTAL | 248.422 | 0.070936 | 0.36708 | 0.017232 | 0.0015553 | 0.64428 | 0.023223 | 0.25187 | 0.073359 | 0 | 5.3321e-08 | 0 | 3.9827e-08 | #DIV/0! | 0.19908 | 0.16204 | 0.0021434 | 0.00012387 | 2.4509e-06 | 0 | 0 | 4.2392e-07 | 0.00038245 | 0.023357 | 0.41901 | 0.00016843 | 0.020516 | 2.1885 | 0 | 0 | #DIV/0! | 0.099928
| TOTAL DENTON (% OF LOAD) |  | 0.02855% | 0.1478% | 0.00694% | 0.00063% | 0.2593% | 0.00935% | 0.1014% | 0.02953% | 0% | 0% | 0% | 0% | #DIV/0! | 0.08014% | 0.06523% | 0.00086% | 5e-05% | 0% | 0% | 0% | 0% | 0.00015% | 0.0094% | 0.1687% | 7e-05% | 0.00826% | 0.881% | 0% | 0% | #DIV/0! | 0.04023%
GREENVILLE
MW ALLOCATION |  | EVENT MW | AENX | BEPCTMPP | BRYN | COCS | CODX | COGX |  | CPST | DCEAST | FECX | GCEC | GEUS | HEARNE | HLPT | LCRA | MECX | MVEC | PUBX | RCEC | RGEC | SESC | SMEC | STEC | TMPA | TNMP | TNMPTUET | TUET | TVEC | TXLA | WEATHFD | WTUC
963 | GREENVILLE LOAD | 57.0257 | 0.00010973 | 0.012848 | 3.9821e-06 | 3.6188e-07 | 0.00031649 | 0.0062869 | 0.0013905 | 0.00017888 | 0 | 2.289e-10 | 0 | 0.54875 | #DIV/0! | 0.00024618 | 0.00065788 | 1.841e-05 | 5.8682e-07 | 1.1788e-08 | 0 | 0 | 9.1878e-10 | 3.3044e-06 | 5.662e-05 | 0.021303 | 1.3811e-06 | 0.00016325 | 0.055655 | 0 | 0 | #DIV/0! | 0.0012019
968 | GIB CRK TO GREENVILLE | 45.7475 | 0.032317 | 0.10457 | 0.0081913 | 0.00073916 | 0.00013467 | 0.15929 | 0.10517 | 0.032869 | 0 | 2.6577e-08 | 0 | 0.22364 | #DIV/0! | 0.0931 | 0.069487 | 0.00083022 | 5.2584e-05 | 1.0379e-06 | 0 | 0 | 2.2946e-07 | 0.00020894 | 0.010437 | 0.36199 | 6.6121e-05 | 0.00043122 | 0.93956 | 0 | 0 | #DIV/0! | 0.03876
| TOTAL | 102.7732 | 0.032426 | 0.11742 | 0.0081953 | 0.00073953 | 0.00045117 | 0.16557 | 0.10656 | 0.033048 | 0 | 2.6806e-08 | 0 | 0.77239 | #DIV/0! | 0.093346 | 0.070145 | 0.00084864 | 5.3171e-05 | 1.0497e-06 | 0 | 0 | 2.3037e-07 | 0.00021224 | 0.010494 | 0.3833 | 6.7502e-05 | 0.00059447 | 0.99522 | 0 | 0 | #DIV/0! | 0.039962
| TOTAL GREENVILLE (% OF LOAD) |  | 0.03155% | 0.1143% | 0.00797% | 0.00072% | 0.00044% | 0.1611% | 0.1037% | 0.03216% | 0% | 0% | 0% | 0.7515% | #DIV/0! | 0.09083% | 0.06825% | 0.00083% | 5e-05% | 0% | 0% | 0% | 0% | 0.00021% | 0.01021% | 0.373% | 7e-05% | 0.00058% | 0.9684% | 0% | 0% | #DIV/0! | 0.03888%
TU ELECTRIC
MW ALLOCATION |  | EVENT MW | AENX | BEPCTMPP | BRYN | COCS | CODX | COGX | CPLC | CPST | DCEAST | FECX | GCEC | GEUS | HEARNE | HLPT | LCRA | MECX | MVEC | PUBX | RCEC | RGEC | SESC | SMEC | STEC | TMPA | TNMP | TNMPTUET | TUET | TVEC | TXLA | WEATHFD | WTUC
100 | TU ELECTRIC LOAD | 19970.6 | 5.2545 | 18.5032 | 0.23322 | 0.020245 | 0.12072 | 2.2423 | 22.3724 | 3.489 | 0 | 2.1813e-06 | 0 | 1.5562e-06 | #DIV/0! | 8.0926 | 11.4656 | 0.26271 | 0.0082526 | 0.00016564 | 0 | 0 | 1.8795e-05 | 0.058162 | 1.0374 | 2.7963 | 0.47378 | 0.20276 | 354.8524 | 0 | 0 | #DIV/0! | 24.8732
101 | TUE TO TNP WHSAL | 157.129 | 0.021962 | 0.18792 | 0.001453 | 0.00012417 | 0.010447 | 0.037257 | 0.16015 | 0.025116 | 0 | 2.0423e-08 | 0 | 1.6141e-08 | #DIV/0! | 0.060141 | 0.082287 | 0.0019491 | 5.9051e-05 | 1.1866e-06 | 0 | 0 | 1.4534e-07 | 0.00045965 | 0.0075138 | 0.10072 | 0.003507 | 0.095991 | 2.9466 | 0 | 0 | #DIV/0! | 0.1567
103 | SANDOW TO ALCOA | 185.0002 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| TOTAL | 20312.7293 | 5.2765 | 18.6911 | 0.23467 | 0.020369 | 0.13117 | 2.2796 | 22.5326 | 3.5141 | 0 | 2.2018e-06 | 0 | 1.5724e-06 | #DIV/0! | 8.1527 | 11.5479 | 0.26465 | 0.0083116 | 0.00016682 | 0 | 0 | 1.894e-05 | 0.058621 | 1.0449 | 2.897 | 0.47729 | 0.29875 | 357.7989 | 0 | 0 | #DIV/0! | 25.0299
| TOTAL TU ELECTRIC (% OF LOAD) |  | 0.02598% | 0.09202% | 0.00116% | 0.0001% | 0.00065% | 0.01122% | 0.1109% | 0.0173% | 0% | 0% | 0% | 0% | #DIV/0! | 0.04014% | 0.05685% | 0.0013% | 4e-05% | 0% | 0% | 0% | 0% | 0.00029% | 0.00514% | 0.01426% | 0.00235% | 0.00147% | 1.761% | 0% | 0% | #DIV/0! | 0.1232%
TXLA
MW ALLOCATION |  | EVENT MW | AENX | BEPCTMPP | BRYN | COCS | CODX | COGX | CPLC | CPST | DCEAST | FECX | GCEC | GEUS | HEARNE | HLPT | LCRA | MECX | MVEC | PUBX | RCEC | RGEC | SESC | SMEC | STEC | TMPA | TNMP | TNMPTUET | TUET | TVEC | TXLA | WEATHFD | WTUC
651 | DENSION DAM TO TEXLA | 31.99 | 0.0031763 | 0.041707 | 0.00035756 | 2.725e-05 | 0.0012999 | 0.0088926 | 0.018492 | 0.0038951 | 0 | 8.4454e-09 | 0 | 5.0207e-09 | #DIV/0! | 0.0083846 | 0.011533 | 0.00019937 | 8.4702e-06 | 1.6859e-07 | 0 | 0 | 0.012444 | 6.7656e-06 | 0.0012549 | 0.010042 | 1.4972e-05 | 0.00066157 | 1.0844 | 0 | 0.0035225 | #DIV/0! | 0.0091323
652 | EAST DC TO TEXLA | 35.9895 | 0.0031477 | 0.027187 | 0.00041784 | 3.2921e-05 | 0.00011368 | 0.0051779 | 0.017602 | 0.0038427 | 0.1207 | 9.2059e-09 | 0 | 4.9663e-09 | #DIV/0! | 0.0084607 | 0.011169 | 0.00018582 | 8.1201e-06 | 1.6166e-07 | 0 | 0 | 0.014 | 3.2027e-06 | 0.0012381 | 0.0035917 | 1.3951e-05 | 1.7161e-05 | 0.83536 | 0 | 0.0039629 | #DIV/0! | 0.0083541
654 | WTU - TEXLA | 7.3975 | 0.0020116 | 0.021231 | 5.6549e-05 | 3.3736e-06 | 0.00011845 | 0.0010085 | 0.040304 | 0.0044348 | 0 | 2.0874e-10 | 0 | 9.9348e-11 | #DIV/0! | 0.0049477 | 0.014374 | 0.00054351 | 1.6357e-05 | 3.2917e-07 | 0 | 0 | 0.0028777 | 0.00011017 | 0.0013878 | 0.0017001 | 0.00019014 | 0.00016619 | 0.34997 | 0 | 0.00081456 | #DIV/0! | 0.073709
| TOTAL | 67.9795 | 0.006324 | 0.068894 | 0.0007754 | 6.0171e-05 | 0.0014136 | 0.01407 | 0.036093 | 0.0077378 | 0.1207 | 1.7651e-08 | 0 | 9.987e-09 | #DIV/0! | 0.016845 | 0.022702 | 0.00038519 | 1.659e-05 | 3.3024e-07 | 0 | 0 | 0.026445 | 9.9683e-06 | 0.0024931 | 0.013633 | 2.8923e-05 | 0.00067874 | 1.9198 | 0 | 0.0074854 | #DIV/0! | 0.017486
| TOTAL TXLA (% OF LOAD) |  | 0.0093% | 0.1013% | 0.00114% | 9e-05% | 0.00208% | 0.0207% | 0.05309% | 0.01138% | 0.1775% | 0% | 0% | 0% | #DIV/0! | 0.02478% | 0.03339% | 0.00057% | 2e-05% | 0% | 0% | 0% | 0.0389% | 1e-05% | 0.00367% | 0.02006% | 4e-05% | 0.001% | 2.824% | 0% | 0.01101% | #DIV/0! | 0.02572%
RAYBURN COUNTRY
MW ALLOCATION |  | EVENT MW | AENX | BEPCTMPP | BRYN | COCS | CODX | COGX | CPLC | CPST | DCEAST | FECX | GCEC | GEUS | HEARNE | HLPT | LCRA | MECX | MVEC | PUBX | RCEC | RGEC | SESC | SMEC | STEC | TMPA | TNMP | TNMPTUET | TUET | TVEC | TXLA | WEATHFD | WTUC
681 | DENSION DAM - RAYBURN | 42.4282 | 0.00095183 | 0.023334 | 3.8194e-05 | 2.3591e-06 | 0.0012483 | 0.012066 | 0.0067889 | 0.0012286 | 0 | 0.05413 | 0.0012113 | 1.587e-09 | #DIV/0! | 0.0023667 | 0.0040161 | 7.9121e-05 | 3.0208e-06 | 6.0336e-08 | 0.00069705 | 0 | 2.2144e-08 | 7.3731e-06 | 0.00039448 | 0.011844 | 5.9095e-06 | 0.00070295 | 1.3844 | 0.0028453 | 0 | #DIV/0! | 0.0037449
682 | RAYBURN PURCHASES | 328.8698 | 0.38394 | 0.63581 | 0.024564 | 0.0021846 | 0.0031633 | 0.058696 | 1.1215 | 0.37402 | 0 | 0.41958 | 0.0093887 | 2.386e-07 | #DIV/0! | 3.3884 | 0.71895 | 0.0079666 | 0.00056486 | 1.1108e-05 | 0.005403 | 0 | 2.8391e-06 | 0.0033158 | 0.12584 | 0.13018 | 0.00063529 | 0.00066677 | 11.4757 | 0.022055 | 0 | #DIV/0! | 0.44268
| TOTAL | 371.298 | 0.3849 | 0.65914 | 0.024602 | 0.002187 | 0.0044116 | 0.070762 | 1.1283 | 0.37525 | 0 | 0.47371 | 0.0106 | 2.4019e-07 | #DIV/0! | 3.3908 | 0.72296 | 0.0080457 | 0.00056788 | 1.1168e-05 | 0.0061 | 0 | 2.8613e-06 | 0.0033232 | 0.12623 | 0.14202 | 0.0006412 | 0.0013697 | 12.8601 | 0.0249 | 0 | #DIV/0! | 0.44642
| TOTAL RAYBURN (% OF LOAD) |  | 0.1037% | 0.1775% | 0.00663% | 0.00059% | 0.00119% | 0.01906% | 0.3039% | 0.1011% | 0% | 0.1276% | 0.00285% | 0% | #DIV/0! | 0.9132% | 0.1947% | 0.00217% | 0.00015% | 0% | 0.00164% | 0% | 0% | 0.0009% | 0.034% | 0.03825% | 0.00017% | 0.00037% | 3.464% | 0.00671% | 0% | #DIV/0! | 0.1202%
WEATHERFORD COUNTRY
MW ALLOCATION |  | EVENT MW | AENX | BEPCTMPP | BRYN | COCS | CODX | COGX | CPLC | CPST | DCEAST | FECX | GCEC | GEUS | HEARNE | HLPT | LCRA | MECX | MVEC | PUBX | RCEC | RGEC | SESC | SMEC | STEC | TMPA | TNMP | TNMPTUET | TUET | TVEC | TXLA | WEATHFD | WTUC
661 | WTU - WEATHERFORD | 65.5955 | 0.0081023 | 0.939 | 0.00012207 | 5.3115e-06 | 0.0014271 | 0.00065237 | 0.2796 | 0.026346 | 0 | 2.2789e-09 | 0 | 1.8874e-09 | #DIV/0! | 0.015875 | 0.10608 | 0.003888 | 0.00010935 | 2.206e-06 | 0 | 0 | 2.2506e-08 | 0.00089058 | 0.007819 | 0.0091318 | 0.001649 | 0.00082561 | 2.4591 | 0 | 0 | #DIV/0! | 0.64222
662 | WEATHERFORD - WEATHERFOR | 4.9995 | 1.7524e-05 | 0.020592 | 1.7549e-06 | 1.4359e-07 | 6.7238e-06 | 2.114e-05 | 0.00010524 | 1.4932e-05 | 0 | 1.2977e-11 | 0 | 6.9921e-12 | #DIV/0! | 2.3666e-05 | 0.00010391 | 1.5022e-06 | 3.0293e-08 | 6.2005e-10 | 0 | 0 | 6.5299e-11 | 5.0255e-07 | 2.7591e-06 | 2.2204e-05 | 1.3123e-07 | 5.9786e-06 | 0.013671 | 0 | 0 | #DIV/0! | 0.00013619
| TOTAL | 70.595 | 0.0081198 | 0.95959 | 0.00012382 | 5.4551e-06 | 0.0014338 | 0.00067351 | 0.2797 | 0.026361 | 0 | 2.2919e-09 | 0 | 1.8944e-09 | #DIV/0! | 0.015899 | 0.10618 | 0.0038895 | 0.00010938 | 2.2067e-06 | 0 | 0 | 2.2571e-08 | 0.00089108 | 0.0078218 | 0.009154 | 0.0016491 | 0.00083159 | 2.4728 | 0 | 0 | #DIV/0! | 0.64236
| TOTAL WEATHERFORD (% OF LOAD) |  | 0.0115% | 1.359% | 0.00018% | 1e-05% | 0.00203% | 0.00095% | 0.3962% | 0.03734% | 0% | 0% | 0% | 0% | #DIV/0! | 0.02252% | 0.1504% | 0.00551% | 0.00015% | 0% | 0% | 0% | 0% | 0.00126% | 0.01108% | 0.01297% | 0.00234% | 0.00118% | 3.503% | 0% | 0% | #DIV/0! | 0.9099%
CSW (CSWS)
MW ALLOCATION |  | EVENT MW | AENX | BEPCTMPP | BRYN | COCS | CODX | COGX | CPLC | CPST | DCEAST | FECX | GCEC | GEUS | HEARNE | HLPT | LCRA | MECX | MVEC | PUBX | RCEC | RGEC | SESC | SMEC | STEC | TMPA | TNMP | TNMPTUET | TUET | TVEC | TXLA | WEATHFD | WTUC
600 | WTU - WTU | 1221.2953 | 0.16966 | 0.93052 | 0.0019577 | 0.0001479 | 0.0027287 | 0.008735 | 5.3739 | 0.49772 | 0 | 4.2914e-08 | 0 | 3.8546e-08 | #DIV/0! | 0.32064 | 1.9141 | 0.071609 | 0.0020179 | 4.0702e-05 | 0 | 0.0668 | 3.9312e-07 | 0.016307 | 0.14564 | 0.019225 | 0.054934 | 0.0018342 | 26.5699 | 0 | 0 | #DIV/0! | 16.8382
800 | CPL - CPL | 4218.1626 | 1.2472 | 0.40075 | 0.025023 | 0.0022744 | 0.0013384 | 0.010661 | 92.5626 | 9.0862 | 0 | 1.1042e-07 | 0 | 9.3086e-08 | #DIV/0! | 2.7381 | 6.2945 | 1.2879 | 0.81345 | 0.081751 | 0 | 0 | 1.3766e-06 | 0.25444 | 6.7722 | 0.064729 | 0.0067283 | 0.0018707 | 4.7757 | 0 | 0 | #DIV/0! | 2.783
| TOTAL | 5439.4578 | 1.4169 | 1.3313 | 0.02698 | 0.0024223 | 0.0040671 | 0.019396 | 97.9365 | 9.584 | 0 | 1.5334e-07 | 0 | 1.3163e-07 | #DIV/0! | 3.0588 | 8.2086 | 1.3595 | 0.81547 | 0.081792 | 0 | 0.0668 | 1.7697e-06 | 0.27075 | 6.9178 | 0.083954 | 0.061662 | 0.003705 | 31.3457 | 0 | 0 | #DIV/0! | 19.6212
| TOTAL CSW (% OF LOAD) |  | 0.02605% | 0.02447% | 0.0005% | 4e-05% | 7e-05% | 0.00036% | 1.8% | 0.1762% | 0% | 0% | 0% | 0% | #DIV/0! | 0.05623% | 0.1509% | 0.02499% | 0.01499% | 0.0015% | 0% | 0.00123% | 0% | 0.00498% | 0.1272% | 0.00154% | 0.00113% | 7e-05% | 0.5763% | 0% | 0% | #DIV/0! | 0.3607%

## CSW LAF 1999
1999 SUMMER Loss Adjustment Factor Calculations
|  |  |  | ONPEAK |  |  | OFFPEAK
AREA | Load Ent. | TPROV | CA | LOSSES kW | LOAD kW | LAF | LOSSES kW | LOAD kW | LAF
34 | HEARNE | HERN | CSWSA | 0 | 13500 | 0% | 0 | 5700 | 0%
37 | RCEC | RCEC | CSWSA | 6.1 | 258300 | 0.002362% | 0.3 | 58400 | 0.0005137%
17 | RCEC | FECX | CSWSA | 527.8 | 66900 | 0.7889% | 32.4 | 15900 | 0.2038%
26 | RCEC | TVEC | CSWSA | 24.9 | 38800 | 0.06418% | 1 | 8200 | 0.0122%
30 | RCEC | GCEC | CSWSA | 10.6 | 7400 | 0.1432% | 0.9 | 2300 | 0.03913%
| RCEC |  |  | 569.4 | 371400 | 0.1533% | 34.6 | 84800 | 0.0408%
20 | TXLA | TXLA | CSWSA | 8.3 | 75400 | 0.01101% | 1.3 | 20000 | 0.0065%
35 | WEATHFD | WEAT | CSWSA | 0 | 70600 | 0% | 0 | 30400 | 0%
8 | CPL | CPLC | CSWSA | 164747.7 | 4081700 | 4.036% | 72490.7 | 2316100 | 3.13%
23 | CPL | MVEC | CSWSA | 1032.5 | 138000 | 0.7482% | 238.3 | 51700 | 0.4609%
6 | WTU | WTUC | CSWSA | 55248.9 | 1095850 | 5.042% | 19204.1 | 810100 | 2.371%
| CSW |  |  | 221029.1 | 5315550 | 4.158% | 91933.1 | 3177900 | 2.893%

## 99SUM1 LAF, LOSS & LOAD BY TP
TP | AENX | BEPCTMPP | BRYN | COCS | CODX | COGX | CPLC | CPST | DCEAST | FECX | GCEC | GEUS | HEARNE | HLPT | LCRA | MECX | MVEC | PUBX | RCEC | RGEC | SESC | SMEC | STEC | TMPA | TNMP | TNMPTUET | TUET | TVEC | TXLA | WEATHFD | WTUC
LOSSES MW | 47.3367 | 41.3132 | 2.4083 | 0.2209 | 0.8259 | 6.7234 | 164.7477 | 57.9871 | 0.1207 | 0.5278 | 0.0106 | 0.8197 | 0 | 134.087 | 62.0922 | 3.817 | 1.0325 | 0.491 | 0.0061 | 0.0668 | 2.504 | 0.7774 | 15.4796 | 7.5355 | 8.1784 | 0.408 | 499.255 | 0.0249 | 0.0083 | 0 | 55.2489
[14 empty] | 15707.3 - 2099.2 | [12 empty] | 20557.5 - 402 |  |  |  | 1402.1-306.25
TP | AENX | BEPCTMPP | BRYN | COCS | CODX | COGX | CPLC | CPST | DCEAST | FECX | GCEC | GEUS | HEARNE | HLPT | LCRA | MECX | MVEC | PUBX | RCEC | RGEC | SESC | SMEC | STEC | TMPA | TNMP | TNMPTUET | TUET | TVEC | TXLA | WEATHFD | WTUC
LOAD MW | 1990.2 | 1482.8 | 218.5 | 141.9 | 247 | 481.3 | 4081.7 | 3665.2 | 10 | 66.9 | 7.4 | 101 | 13.5 | 13608.1 | 2233.7 | 66.7 | 138 | 206 | 258.3 | 3.1 | 256 | 0 | 243.5 | 20.3 | 929 | 157.1 | 20155.5 | 38.8 | 75.4 | 70.6 | 1095.85
TP | AENX | BEPCTMPP | BRYN | COCS | CODX | COGX | CPLC | CPST | DCEAST | FECX | GCEC | GEUS | HEARNE | HLPT | LCRA | MECX | MVEC | PUBX | RCEC | RGEC | SESC | SMEC | STEC | TMPA | TNMP | TNMPTUET | TUET | TVEC | TXLA | WEATHFD | WTUC
LAF | 2.378% | 2.786% | 1.102% | 0.1557% | 0.3344% | 1.397% | 4.036% | 1.582% | 1.207% | 0.7889% | 0.1432% | 0.8116% | 0% | 0.9853% | 2.78% | 5.723% | 0.7482% | 0.2384% | 0.00236% | 2.155% | 0.9781% | #DIV/0! | 6.357% | 37.12% | 0.8803% | 0.2597% | 2.477% | 0.06418% | 0.01101% | 0% | 5.042%
Notes: | 1) 2099.2 MW of self-serve load excluded from HLPT
2) 402 MW of self-serve load excluded from TUET
3) The following excluded from WTUC:
|  | North DC Tie | 160.65 | MW
|  | BCEC | 27.1 | MW
|  | RGEC | 13.7 | MW
|  | SWTex | 24.3 | MW
|  | Taylor | 31.4 | MW
|  | LHEC | 0.9 | MW
|  | CVEC | 31.2 | MW
|  | CCEC | 16.4 | MW
|  | Kimble | 0.6 | MW (WTU portion)
|  | Total | 306.25 | MW