## CONTACT INFORMATION
Load Entity Information
Load Entity: | Texas-New Mexico Power Company
Contact Person: | Rex McDaniel
Mailing Address Line 1: | P.O. Box 896
Mailing Address Line 2:
City: | Lewisville
State: | Texas
Zip Code: | 75067
Street Address Line 1: | 2139 N. Stemmons
Street Address Line 2:
City: | Lewisville
State: | Texas
Zip Code: | 75067
Company Internal Mail Code:
Telephone Number: | 972-317-5110, x115
Facsimile (FAX) Number: | 972-317-5204
Internet email address: | rmcdaniel@tnpe.com

## 1700 June 19, 1998
REPORT FOR LOAD ENTITY ==> | Texas-New Mexico Power Company
LOAD ENTITY IN CONTROL AREA ==> | Texas-New Mexico Power Company
June 19, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
P-B, Contract Purchase from HL&P - DSL* | 27000 | HLPTA | Houston Lighting & Power System
P-B, Contract Purchase from Calpine Clear Lake | 250000 | HLPTA | Calpine Clear Lake Cogeneration
U-C, Transaction #4648, TNMP - DSI | 50000 | CSWSA | Central Power & Light
U-C, Transaction #4649, TNMP | 50000 | HLPTA | Houston Lighting & Power System
Subtotal Receiving Transactions (A) | 350000
* Not Included in Subtotal (A) - Fully Bundled Wholesale Contract Purchase
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
P-B, TNP One Transfer to Lewisville* | 30000 | TUETA | TNMP - Lewisville
P-B, Wholesale Sale, TNP One | 13883 | TNMPA | Hunt Collin Electric Cooperative
P-B, Wholesale Sale, TNP One | 5567 | TNMPA | City of Farmersville
P-C, Wholesale Sale, TNP One | 5000 | LCRAA | City of Georgetown
P-D, Wholesale Sale, SCLP Cogeneration | 15000 | STECA | STEC/MEC
P-D, Wholesale Sale, SCLP Cogeneration | 60000 | CSWSA | Rayburn Country
U-D, Transaction #4604, LGEX | 20000 | CSWSA | DC-N
U-D, Transaction #4606, LGEX | 2000 | TMPPA | BEC
U-D, Transaction #4929, LGEX | 15000 | TUETA | TUE
Subtotal Sending Transactions (B) | 136450
*Not Included in Subtotal (B) - TNMP Responsible For This Load
GENERATION INFORMATION
Generation kW | 394550
Less Gen Unit Main XFMR Losses kW | 800 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -3000
Subtotal Net Generation (C) | 396750
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 350000
Subtotal Sending Transactions (B) | 136450
Subtotal Net Generation (C) | 396750
Total Load Responsibility (A-B+C) | 610300

## 1700 July 31, 1998
REPORT FOR LOAD ENTITY ==> | Texas-New Mexico Power Company
LOAD ENTITY IN CONTROL AREA ==> | Texas-New Mexico Power Company
July 31, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
P-B, Contract Purchase from HL&P - DSL* | 22000 | HLPTA | Houston Lighting & Power System
P-B, Contract Purchase from Calpine Clear Lake | 250000 | HLPTA | Calpine Clear Lake Cogeneration
U-B, Transaction #3376, TNMP | 50000 | AENXA | Austin Energy
U-B, Transaction #3491, TNMP | 85000 | AENXA | Austin Energy
U-C, Transaction #3494, TNMP - DSI | 50000 | CSWSA | West Texas Utilities
Subtotal Receiving Transactions (A) | 435000
* Not Included in Subtotal (A) - Fully Bundled Wholesale Contract Purchase
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
P-B, TNP One Transfer to Lewisville* | 30000 | TUETA | TNMP - Lewisville
P-B, Wholesale Sale, TNP One | 14724 | TNMPA | Hunt Collin Electric Cooperative
P-B, Wholesale Sale, TNP One | 6286 | TNMPA | City of Farmersville
P-C, Wholesale Sale, TNP One | 5000 | LCRAA | City of Georgetown
P-D, Wholesale Sale, SCLP Cogeneration | 25000 | STECA | STEC/MEC
P-D, Wholesale Sale, SCLP Cogeneration | 175000 | CSWSA | Rayburn Country
U-A, PURPA Sale, SCLP Cogeneration - DSG | 19000 | HLPTA | Houston Lighting & Power
Subtotal Sending Transactions (B) | 245010
*Not Included in Subtotal (B) - TNMP Responsible For This Load
GENERATION INFORMATION
Generation kW | 468460
Less Gen Unit Main XFMR Losses kW | 800 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 467660
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 435000
Subtotal Sending Transactions (B) | 245010
Subtotal Net Generation (C) | 467660
Total Load Responsibility (A-B+C) | 657650

## 1600 August 3, 1998
REPORT FOR LOAD ENTITY ==> | Texas-New Mexico Power Company
LOAD ENTITY IN CONTROL AREA ==> | Texas-New Mexico Power Company
August 3, 1998 Hour Ending 16:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
P-B, Contract Purchase from HL&P - DSL* | 35000 | HLPTA | Houston Lighting & Power System
P-B, Contract Purchase from Calpine Clear Lake | 250000 | HLPTA | Calpine Clear Lake Cogeneration
U-B, Transaction #3922, TNMP | 50000 | AENXA | Austin Energy
U-B, Transaction #3925, TNMP | 25000 | AENXA | Austin Energy
U-C, Transaction #3934, TNMP - DSI | 50000 | CSWSA | West Texas Utilities
Subtotal Receiving Transactions (A) | 375000
* Not Included in Subtotal (A) - Fully Bundled Wholesale Contract Purchase
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
P-B, TNP One Transfer to Lewisville* | 30000 | TUETA | TNMP - Lewisville
P-B, Wholesale Sale, TNP One | 15950 | TNMPA | Hunt Collin Electric Cooperative
P-B, Wholesale Sale, TNP One | 6630 | TNMPA | City of Farmersville
P-C, Wholesale Sale, TNP One | 5000 | LCRAA | City of Georgetown
P-D, Wholesale Sale, SCLP Cogeneration | 25000 | STECA | STEC/MEC
P-D, Wholesale Sale, SCLP Cogeneration | 135000 | CSWSA | Rayburn Country
U-A, PURPA Sale, SCLP Cogeneration - DSG | 39000 | HLPTA | Houston Lighting & Power
U-D, Transaction #4689, AENX | 15000 | AENXA | Austin Energy
Subtotal Sending Transactions (B) | 241580
*Not Included in Subtotal (B) - TNMP Responsible For This Load
GENERATION INFORMATION
Generation kW | 511390
Less Gen Unit Main XFMR Losses kW | 1000 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 510390
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 375000
Subtotal Sending Transactions (B) | 241580
Subtotal Net Generation (C) | 510390
Total Load Responsibility (A-B+C) | 643810

## 1700 September 4, 1998
REPORT FOR LOAD ENTITY ==> | Texas-New Mexico Power Company
LOAD ENTITY IN CONTROL AREA ==> | Texas-New Mexico Power Company
September 4, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
P-B, Contract Purchase from HL&P - DSL* | 8000 | HLPTA | Houston Lighting & Power System
P-B, Contract Purchase from Calpine Clear Lake | 250000 | HLPTA | Calpine Clear Lake Cogeneration
U-B, Transaction #9852, TNMP | 50000 | HLPTA | Houston Lighting & Power System
U-C, Transaction #9883, TNMP - DSI | 37000 | CSWSA | West Texas Utilities
U-E, Transaction #0253, TNMP | 30000 | CSWSA | Central Power & Light System
U-G, Transaction #9855, TNMP | 50000 | AENXA | Austin Energy System
Subtotal Receiving Transactions (A) | 417000
* Not Included in Subtotal (A) - Fully Bundled Wholesale Contract Purchase
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
P-B, TNP One Transfer to Lewisville* | 30000 | TUETA | TNMP - Lewisville
P-B, Wholesale Sale, TNP One | 15627 | TNMPA | Hunt Collin Electric Cooperative
P-B, Wholesale Sale, TNP One | 6753 | TNMPA | City of Farmersville
P-C, Wholesale Sale, TNP One | 5000 | LCRAA | City of Georgetown
P-D, Wholesale Sale, SCLP Cogeneration | 175000 | CSWSA | Rayburn Country
U-A, PURPA Sale, SCLP Cogeneration - DSG | 18000 | HLPTA | Houston Lighting & Power
U-D, Transaction #7567, LGEX | 23000 | TMPP | BEC
U-G, Transaction #9860, BEPC | 50000 | TMPP | BEC
Subtotal Sending Transactions (B) | 293380
*Not Included in Subtotal (B) - TNMP Responsible For This Load
GENERATION INFORMATION
Generation kW | 516600
Less Gen Unit Main XFMR Losses kW | 1000 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 5000
Subtotal Net Generation (C) | 510600
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 417000
Subtotal Sending Transactions (B) | 293380
Subtotal Net Generation (C) | 510600
Total Load Responsibility (A-B+C) | 634220