## June 19, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | PUB | 36 | 36 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | PUB | 1 | [13 empty] | 0 | 1
|  | 0 | [13 empty] | 0
PUB's Oklaunion Share | PUB | 0 | [13 empty] | 0
CPL Firm Contract | PUB | 25 |  |  | 25 | [10 empty] | 25
Amistad/Falcon Hydro | PUB | 3 |  |  | 3 | [10 empty] | 3
Replacement Power from HLP&TUEC | PUB | 118 |  |  |  |  | 50 | [5 empty] | 68 |  |  | 118
|  | 0 | [13 empty] | 0
Losses Payback to CPL | CPL | -15 | [6 empty] | -15 | [6 empty] | -15
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | PUB | 168 | 36 | 0 | 28 | 0 | 50 | 0 | -15 | 0 | 0 | 0 | 68 | 0 | 0 | 131 | 1
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | PUB | 168 | 168 | [11 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals | PUB | 168 | 168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## July 22, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | PUB | 50 | 50 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | PUB | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
PUB's Oklaunion Share | PUB | 68 | [11 empty] | 68 |  | 68
CPL Firm Contract | PUB | 25 |  |  | 25 | [10 empty] | 25
Amistad/Falcon Hydro | PUB | 2 |  |  | 2 | [10 empty] | 2
Replacement Power from TUEC | PUB | 45 | [10 empty] | 45 |  |  | 45
|  | 0 | [13 empty] | 0
Losses Payback to CPL | CPL | -25 | [6 empty] | -25 | [6 empty] | -25
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | PUB | 165 | 50 | 0 | 27 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 45 | 68 | 0 | 115 | 0
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | PUB | 165 | 165 | [11 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals | PUB | 165 | 165 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## August 5, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | PUB | 27 | 27 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | PUB | -3 | [13 empty] | 0 | -3
|  | 0 | [13 empty] | 0
PUB's Oklaunion Share | PUB | 68 | [11 empty] | 68 |  | 68
CPL Firm Contract | PUB | 25 |  |  | 25 | [10 empty] | 25
Amistad/Falcon Hydro | PUB | 2 |  |  | 2 | [10 empty] | 2
Replacement Power from TUEC | PUB | 45 | [10 empty] | 45 |  |  | 45
|  | 0 | [13 empty] | 0
Losses Payback to CPL | CPL | -5 | [6 empty] | -5 | [6 empty] | -5
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | PUB | 159 | 27 | 0 | 27 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 45 | 68 | 0 | 135 | -3
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | PUB | 159 | 159 | [11 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals | PUB | 159 | 159 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## September 10, 1996 @1800
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | PUB | 43 | 43 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | PUB | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
PUB's Oklaunion Share | PUB | 68 | [11 empty] | 68 |  | 68
CPL Firm Contract | PUB | 25 |  |  | 25 | [10 empty] | 25
Amistad/Falcon Hydro | PUB | 1 |  |  | 1 | [10 empty] | 1
Economy C from LCRA | PUB | 15 | [5 empty] | 15 | [7 empty] | 15
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | PUB | 152 | 43 | 0 | 26 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 68 | 0 | 109 | 0
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | PUB | 152 | 152 | [11 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals | PUB | 152 | 152 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## 1997 Generator Groups
Generator Group Name: | PUB
Generator Unit Name | Available Capability | Nominated Capability
5932 SI RAY9 | 65 | 65
5934 SI RAY5 | 22 | 22
5935 SI RAY8 | 48 | 44
5903 SAN MIGUEL | 68 | 68
8032 AMISTAD | 7.2 | 3.5
8048 FALCON | 7.2 | 3.5
Total Generation | 217.4 | 206
Generator Group Name: | Group 2
Generator Unit Name | Available Capability | Nominated Capability
Total Generation | 0 | 0
Generator Group Name: | Group 3
Generator Unit Name | Available Capability | Nominated Capability
Total Generation | 0 | 0
Generator Group Name: | Group 4
Generator Unit Name | Available Capability | Nominated Capability
Total Generation | 0 | 0

## 1997 VAMM Nominations
PUB
Generator Groups
|  | Forecasted |  | PUB | Group 2 | Group 3 | Group 4 | Total
| Type of | 1997 Firm | Capability-MW: | 206 | 0 | 0 | 0 | 206
Load Groups | Nomination | Peak Demand
|  |  | Nominated | 100% |  |  |  | 100%
PUB Load | Purchase | 179 | 115.1% | 206 |  |  |  | 206
0
0
0
0
0
0
0
Totals |  | 179 |  | 206 | 0 | 0 | 0 | 206
Calculated Capability not Nominated |  |  |  | 0 | 0 | 0 | 0 | 0