## June 19, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation |  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent |  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TMPA
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load |  | 0 | 0 | [11 empty] | 0
|  | 0 | [12 empty] | 0
Bryan | Bryan | 205800 | [8 empty] | 205800 |  |  |  | 205800
Denton | Denton | 215200 | [8 empty] | 215200 |  |  |  | 215200
Garland | Garland | 441900 | [8 empty] | 441900 |  |  |  | 441900
Greenville | Greenville | 95100 | [8 empty] | 95100 |  |  |  | 95100
TMPA | TMPA | 0 | [8 empty] | 0 |  |  |  | 0
|  | 0 | [12 empty] | 0
Totals |  | 958000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 958000 | 0 | 0 | 0 | 958000
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## July 22, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation |  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent |  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TMPA
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load |  | 0 | 0 | [11 empty] | 0
|  | 0 | [12 empty] | 0
Bryan | Bryan | 209300 | [8 empty] | 209300 |  |  |  | 209300
Denton | Denton | 218200 | [8 empty] | 218200 |  |  |  | 218200
Garland | Garland | 453300 | [8 empty] | 453300 |  |  |  | 453300
Greenville | Greenville | 97200 | [8 empty] | 97200 |  |  |  | 97200
TMPA | TMPA | 0 | [8 empty] | 0 |  |  |  | 0
|  | 0 | [12 empty] | 0
Totals |  | 978000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 978000 | 0 | 0 | 0 | 978000
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## August 5, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation |  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent |  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TMPA
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load |  | 0 | 0 | [11 empty] | 0
|  | 0 | [12 empty] | 0
Bryan | Bryan | 207600 | [8 empty] | 207600 |  |  |  | 207600
Denton | Denton | 216800 | [8 empty] | 216800 |  |  |  | 216800
Garland | Garland | 441200 | [8 empty] | 441200 |  |  |  | 441200
Greenville | Greenville | 92400 | [8 empty] | 92400 |  |  |  | 92400
TMPA | TMPA | 0 | [8 empty] | 0 |  |  |  | 0
|  | 0 | [12 empty] | 0
Totals |  | 958000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 958000 | 0 | 0 | 0 | 958000
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## September 10, 1996 @1800
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation |  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent |  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TMPA
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load |  | 0 | 0 | [11 empty] | 0
|  | 0 | [12 empty] | 0
Bryan | Bryan | 179300 | [8 empty] | 179300 |  |  |  | 179300
Denton | Denton | 187700 | [8 empty] | 187700 |  |  |  | 187700
Garland | Garland | 384200 | [8 empty] | 384200 |  |  |  | 384200
Greenville | Greenville | 78800 | [8 empty] | 78800 |  |  |  | 78800
TMPA | TMPA | 0 | [8 empty] | 0 |  |  |  | 0
|  | 0 | [12 empty] | 0
Totals |  | 830000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 830000 | 0 | 0 | 0 | 830000
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## 1997 Generator Groups
Generator Group Name: | Group 1
Generator Unit Name | Available Capability | Nominated Capability
Total Generation | 0 | 0
Generator Group Name: | Group 2
Generator Unit Name | Available Capability | Nominated Capability
Total Generation | 0 | 0
Generator Group Name: | Group 3
Generator Unit Name | Available Capability | Nominated Capability
Total Generation | 0 | 0
Generator Group Name: | Group 4
Generator Unit Name | Available Capability | Nominated Capability
Total Generation | 0 | 0

## 1997 VAMM Nominations
Name
Generator Groups
|  | Forecasted |  | Group 1 | Group 2 | Group 3 | Group 4 | Total
| Type of | 1997 Firm | Capability-MW: | 0 | 0 | 0 | 0 | 0
Load Groups | Nomination | Peak Demand
Nominated
0
0
0
0
0
0
0
0
Totals |  | 0 |  | 0 | 0 | 0 | 0 | 0
Calculated Capability not Nominated |  |  |  | 0 | 0 | 0 | 0 | 0