## CONTACT INFORMATION
Load Entity Information
Load Entity: | City of Bryan (BRYN)
Contact Person: | David Massey
Mailing Address Line 1: | P.O. Box 1000
Mailing Address Line 2: | P.O. Box 1000
City: | Bryan
State: | Texas
Zip Code: | 77805
Street Address Line 1: | 205 E. 28th
Street Address Line 2: | 205 E. 28th
City: | Bryan
State: | Texas
Zip Code: | 77803
Company Internal Mail Code:
Telephone Number: | (409) 821-5765
Facsimile (FAX) Number: | (409) 821-5795
Internet email address: | massey@BTUtilities.com

## 1700 June 19, 1998
REPORT FOR LOAD ENTITY ==> | BRYN
LOAD ENTITY IN CONTROL AREA ==> | TMPP
June 19, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Subtotal Receiving Transactions (A) | 0
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Planned - C | 50000 | TMPP | BEC
Subtotal Sending Transactions (B) | 50000
GENERATION INFORMATION
Generation kW | 280000
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 280000
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 0
Subtotal Sending Transactions (B) | 50000
Subtotal Net Generation (C) | 280000
Total Load Responsibility (A-B+C) | 230000

## 1700 July 31, 1998
REPORT FOR LOAD ENTITY ==> | BRYN
LOAD ENTITY IN CONTROL AREA ==> | TMPP
July 31, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Subtotal Receiving Transactions (A) | 0
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Planned - C | 50000 | TMPP | BEC
Subtotal Sending Transactions (B) | 50000
GENERATION INFORMATION
Generation kW | 283000
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 283000
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 0
Subtotal Sending Transactions (B) | 50000
Subtotal Net Generation (C) | 283000
Total Load Responsibility (A-B+C) | 233000

## 1600 August 3, 1998
REPORT FOR LOAD ENTITY ==> | BRYN
LOAD ENTITY IN CONTROL AREA ==> | TMPP
August 3, 1998 Hour Ending 16:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Subtotal Receiving Transactions (A) | 0
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Planned - C | 50000 | TMPP | BEC
Subtotal Sending Transactions (B) | 50000
GENERATION INFORMATION
Generation kW | 301000
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 301000
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 0
Subtotal Sending Transactions (B) | 50000
Subtotal Net Generation (C) | 301000
Total Load Responsibility (A-B+C) | 251000

## 1700 September 4, 1998
REPORT FOR LOAD ENTITY ==> | BRYN
LOAD ENTITY IN CONTROL AREA ==> | TMPP
September 4, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Unplanned - G | 50000 | LCRA | LCRA
Subtotal Receiving Transactions (A) | 50000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Planned - C | 15000 | TMPP | BEC
Subtotal Sending Transactions (B) | 15000
GENERATION INFORMATION
Generation kW | 211000
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 211000
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 50000
Subtotal Sending Transactions (B) | 15000
Subtotal Net Generation (C) | 211000
Total Load Responsibility (A-B+C) | 246000