## CONTACT INFORMATION
Load Entity Information
Load Entity: | Lower Colorado River Authority
Contact Person: | Brady J. Belk
Mailing Address Line 1: | Lower Colorado River Authority
Mailing Address Line 2: | P.O. Box 220
City: | Austin
State: | Texas
Zip Code: | 78767
Street Address Line 1: | Lower Colorado River Authority
Street Address Line 2: | 3700 Lake Austin Blvd.
City: | Austin
State: | Texas
Zip Code: | 78703
Company Internal Mail Code: | M 201
Telephone Number: | (512) 473-3577
Facsimile (FAX) Number: | (512) 473-4026
Internet email address: | bbelk@lcra.org

## 1700 June 19, 1998
REPORT FOR LOAD ENTITY ==> | Lower Colorado River Authority
LOAD ENTITY IN CONTROL AREA ==> | LCRA mostly and a little in CSW, & STEC
June 19, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
LCRA loads served by STEC, plus an energy pay back plus, planned energy for DCEC | 2717 | STEC | STEC
Net Load Exchange with COA | 8000 | AENX | AENX
Net Load Exchange with WTU, plus an energy pay back | 18503 | CSWS | WTU
GBRA Hydro Generation | 7129 | LCRA | GBRA
Purchase from COA | 50000 | AENS | COA
Purchase from HLP | 120000 | HLPT | HLP
Purchase from TNMP | 5000 | TNMP | TNMP
Subtotal Receiving Transactions (A) | 211349
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Austin's share of FPP | 581000 | AENX | COA
Net Load Exchange with CPL | 457 | CSWS | CPL
Subtotal Sending Transactions (B) | 581457
GENERATION INFORMATION
Generation kW | 2631000
Less Gen Unit Main XFMR Losses kW | 6689 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -14000
Subtotal Net Generation (C) | 2638311
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 211349
Subtotal Sending Transactions (B) | 581457
Subtotal Net Generation (C) | 2638311
Total Load Responsibility (A-B+C) | 2268203

## 1700 July 31, 1998
REPORT FOR LOAD ENTITY ==> | Lower Colorado River Authority
LOAD ENTITY IN CONTROL AREA ==> | LCRA mostly and a little in CSW, & STEC
July 31, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
LCRA loads served by STEC, plus an energy pay back plus, planned energy for DCEC | 1811 | STEC | STEC
Net Load Exchange with COA | 8000 | AENS | COA
SESCO Generation | 255000 | HLPT | Dynegy
GBRA Hydro Generation | 5801 | LCRA | GBRA
Purchase from COA | 50000 | AENS | COA
Purchase from HLP | 220000 | HLPT | HLP
Purchase from TNMP | 5000 | TNMP | TNMP
Purchase from TUE | 25000 | TUET | TUE
Subtotal Receiving Transactions (A) | 570612
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Net Load Exchange with WTU, plus an energy pay back | 208 | CSWS | WTU
Net Load Exchange with CPL | 458 | CSWS | CPL
Austin's share of FPP | 579000 | AENX | COA
SESCO Load | 267000 | LCRA | SESCO
Subtotal Sending Transactions (B) | 846666
GENERATION INFORMATION
Generation kW | 2583000
Less Gen Unit Main XFMR Losses kW | 6064 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 17000
Subtotal Net Generation (C) | 2559936
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 570612
Subtotal Sending Transactions (B) | 846666
Subtotal Net Generation (C) | 2559936
Total Load Responsibility (A-B+C) | 2283882

## 1600 August 3, 1998
REPORT FOR LOAD ENTITY ==> | Lower Colorado River Authority
LOAD ENTITY IN CONTROL AREA ==> | LCRA mostly and a little in CSW, & STEC
August 3, 1998 Hour Ending 16:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
LCRA loads served by STEC, plus an energy pay back plus, planned energy for DCEC | 1983 | STEC | STEC
Net Load Exchange with COA | 8000 | AENS | COA
Net Load Exchange with WTU, plus an energy pay back | 4417 | CSWS | WTU
SESCO Generation | 260000 | HLPT | Dynegy
GBRA Hydro Generation | 6030 | LCRA | GBRA
Purchase from COA | 100000 | AENS | COA
Purchase from CPS | 25000 | CPST | CPS
Purchase from HLP | 195000 | HLPT | HLP
Purchase from TNMP | 5000 | TNMP | TNMP
Purchase from TUE | 25000 | TUET | TUE
Subtotal Receiving Transactions (A) | 630430
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Net Load Exchange with CPL | 179 | CSWS | CPL
Austin's share of FPP | 581000 | AENX | COA
SESCO Load | 281000 | LCRA | SESCO
Emergency Sale to COA | 37000 | AENX | COA
Sale to TUE | 50000 | TUET | TUE
Emergency Sale to HLP | 10000 | HLPT | HLP
Subtotal Sending Transactions (B) | 959179
GENERATION INFORMATION
Generation kW | 2682000
Less Gen Unit Main XFMR Losses kW | 7775 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -15000
Subtotal Net Generation (C) | 2689225
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 630430
Subtotal Sending Transactions (B) | 959179
Subtotal Net Generation (C) | 2689225
Total Load Responsibility (A-B+C) | 2360476

## 1700 September 4, 1998
REPORT FOR LOAD ENTITY ==> | Lower Colorado River Authority
LOAD ENTITY IN CONTROL AREA ==> | LCRA mostly and a little in CSW, & STEC
September 4, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
LCRA loads served by STEC, plus an energy pay back plus, planned energy for DCEC | 1571 | STEC | STEC
SESCO Generation | 50000 | CPST | CPS (Dynegy)
SESCO Generation | 15000 | AENX | COA (Dynegy)
SESCO Generation | 125000 | TUET | TUE (Dynegy)
SESCO Generation | 45000 | HLPT | Dynegy
GBRA Hydro Generation | 7713 | LCRA | GBRA
Purchase from COA | 50000 | AENX | COA
Purchase from HLP | 120000 | HLPT | HLP
Purchase from TNMP | 5000 | TNMP | TNMP
Purchase from TUE |  | TUET | TUE
Subtotal Receiving Transactions (A) | 419284
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Net Load Exchange with WTU, plus an energy pay back | 1838 | CSWS | WTU
Net Load Exchange with CPL | 990 | CSWS | CPL
Austin's share of FPP | 581000 | AENX | COA
SESCO Load | 265000 | LCRA | SESCO
Sale to BBEC | 75000 | BBEC | BBEC
Subtotal Sending Transactions (B) | 923828
GENERATION INFORMATION
Generation kW | 2667000
Less Gen Unit Main XFMR Losses kW | 5840 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -11000
Subtotal Net Generation (C) | 2672160
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 419284
Subtotal Sending Transactions (B) | 923828
Subtotal Net Generation (C) | 2672160
Total Load Responsibility (A-B+C) | 2167616

## GSU Loss
UNIT | STEPUP XFMR TEST REPORT DATA | [6 empty] | LOW | HIGH | NO LOAD | FULL LOAD | UNIT LOADING |  | XFMR LOSSES
NAME | BASE | LOW | HIGH | NO LOAD | FULL LOAD | IMPD | IM | SIDE | SIDE | LOSS | LOSS | UNIT | UNIT | LOSS | LOSS
| RATING | SIDE | SIDE | LOSS | LOSS | (%) | (%) | AMPS | AMPS | (MVAR) | (MVAR) | (MW) | (MVAR) | (MW) | (MVAR)
| MVA | KV | KV | (WATTS) | (WATTS)
GID1 | 160 | 17.2 | 138 | 119500 | 595000 | 12.8 | 0.4 | 5370.7002 | 669.3916 | 0.62874 | 20.4714
GID2 | 160 | 17.2 | 138 | 119500 | 595000 | 12.9 | 0.4 | 5370.7002 | 669.3916 | 0.62874 | 20.6314
GID3 | 380 | 20.9 | 138 | 181375 | 1045266 | 11.17 | 0.43 | 10497.2776 | 1589.8051 | 1.6239 | 42.4331
FERG | 480 | 22.8 | 138 | 206336 | 1403494 | 12.19 | 0.14 | 12154.7425 | 2008.1748 | 0.63954 | 58.4952
| JUNE |  |  |  | JULY |  |  |  | AUGUST |  |  |  | SEPTEMBER
| Loading |  | XFMR |  | Loading |  | XFMR |  | Loading |  | XFMR |  | Loading |  | XFMR
| UNIT | UNIT | LOSS |  | UNIT | UNIT | LOSS |  | UNIT | UNIT | LOSS |  | UNIT | UNIT | LOSS
| (MW) | (MVAR) | (kW) |  | (MW) | (MVAR) | (kW) |  | (MW) | (MVAR) | (kW) |  | (MW) | (MVAR) | (kW)
GID1 | 129 |  | 506.2732 |  | 131 |  | 518.3592 |  | 127 |  | 494.3732 |  | 129 |  | 506.2732
GID2 | 127 |  | 494.3732 |  | 134 |  | 536.8367 |  | 134 |  | 536.8367 |  | 133 |  | 530.6311
GID3 | 312 |  | 886.0175 |  | 314 |  | 895.0803 |  | 330 |  | 969.6677 |  | 272 |  | 716.9218
FERG | 350 |  | 952.5513 |  | 331 |  | 873.7327 |  | 386 |  | 1113.9532 |  | 423 |  | 1296.2916
|  |  | 2839.2153 |  |  |  | 2824.0089 |  |  |  | 3114.8308 |  |  |  | 3050.1177
FPP AUX |  |  | 3850 |  |  |  | 3240 |  |  |  | 4660 |  |  |  | 2790
|  |  | 6689.2153 |  |  |  | 6064.0089 |  |  |  | 7774.8308 |  |  |  | 5840.1177