## CONTACT INFORMATION
Load Entity Information
Load Entity: | Greenville Electric Utility System
Contact Person: | David McCalla
Mailing Address Line 1: | 6000 Joe Ramsey Blvd.
Mailing Address Line 2:
City: | Greenville
State: | Texas
Zip Code: | 75402
Street Address Line 1: | 6000 Joe Ramsey Blvd
Street Address Line 2:
City: | Greenville
State: | Texas
Zip Code: | 75402
Company Internal Mail Code:
Telephone Number: | 903-457-2845
Facsimile (FAX) Number: | 903-457-2893
Internet email address: | dmccalla@geus.org

## 1700 June 19, 1998
REPORT FOR LOAD ENTITY ==> | GEUS
LOAD ENTITY IN CONTROL AREA ==> | TMPP
June 19, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
DGG-DGG Unplanned C | 9088 | TMPP | COGX
DGG-DGG Unplanned C | 2073 | TMPP | CODX
Subtotal Receiving Transactions (A) | 11161
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
DGG-LGE Planned G | 13414 | CSWS | LGEX
DGG-STEC Unplanned G | 640 | STEC | STEC
DGG-HLPG Unplanned G | 2560 | HLPT | HLP
Subtotal Sending Transactions (B) | 16614
GENERATION INFORMATION
Generation kW | 59000
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 384
Subtotal Net Generation (C) | 58616
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 11161
Subtotal Sending Transactions (B) | 16614
Subtotal Net Generation (C) | 58616
Total Load Responsibility (A-B+C) | 53163

## 1700 July 31, 1998
REPORT FOR LOAD ENTITY ==> | GEUS
LOAD ENTITY IN CONTROL AREA ==> | TMPP
July 31, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
DGG-DGG Unplanned C | 9399 | TMPP | CODX
Subtotal Receiving Transactions (A) | 9399
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
DGG-LGE Planned G | 14580 | CSWS | LGEX
Subtotal Sending Transactions (B) | 14580
GENERATION INFORMATION
Generation kW | 60000
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 256
Subtotal Net Generation (C) | 59744
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 9399
Subtotal Sending Transactions (B) | 14580
Subtotal Net Generation (C) | 59744
Total Load Responsibility (A-B+C) | 54563

## 1600 August 3, 1998
REPORT FOR LOAD ENTITY ==> | GEUS
LOAD ENTITY IN CONTROL AREA ==> | TMPP
August 3, 1998 Hour Ending 16:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Subtotal Receiving Transactions (A) | 0
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
DGG-LGE Planned G | 14580 | CSWS | LGEX
DGG-DGG Unplanned C | 5249 | TMPP | COGX
Subtotal Sending Transactions (B) | 19829
GENERATION INFORMATION
Generation kW | 82000
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -128
Subtotal Net Generation (C) | 82128
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 0
Subtotal Sending Transactions (B) | 19829
Subtotal Net Generation (C) | 82128
Total Load Responsibility (A-B+C) | 62299

## 1700 September 4, 1998
REPORT FOR LOAD ENTITY ==> | GEUS
LOAD ENTITY IN CONTROL AREA ==> | TMPP
September 4, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
TU-E to DGG Unplanned G | 19752 | TUET | TUEG
TU-E to DGG Unplanned E | 3923 | TUET | TUEG
Tenaska to DGG Unplanned C | 6764 | TUET | TNSK
STEC to DGG Unplanned G | 2030 | STEC | STEC
LCRA to DGG Unplanned G | 3382 | LCRA | LCRA
Subtotal Receiving Transactions (A) | 35851
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Adjustment due to TMPA unplanned outage | 43100 | TMPP | GEUS
Subtotal Sending Transactions (B) | 43100
GENERATION INFORMATION
Generation kW | 64000
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 256
Subtotal Net Generation (C) | 63744
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 35851
Subtotal Sending Transactions (B) | 43100
Subtotal Net Generation (C) | 63744
Total Load Responsibility (A-B+C) | 56495