## 2008 4CP CALCULATION
2008 Four Coincident Peak Load Calculation (MW)
Information based on Final Settlement Runs
TDSP Code | Load Entity Name | TDSP DUNS NUMBER | June 6/16/2008 16:45 | July 7/31/2008 16:45 | August 8/4/2008 17:00 | September 9/2/2008 16:45 | Average 4CP Load | Load Ratio Share | Old Load Ratio Share | DIFFERENCES
1 | CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 957877905 | 15509.0496 | 15541.7652 | 15281.0192 | 14425.594 | 15189.357 | 25.39% | 25.39% | 0.0007874%
2 | ONCOR ELECTRIC DELIVERY COMPANY | 1039940674000 | 21670.1688 | 22856.6636 | 23746.1812 | 19907.6476 | 22045.1653 | 36.85% | 36.85% | 0.001143%
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1412.3604 | 1428.2176 | 1390.0432 | 1321.8272 | 1388.1121 | 2.321% | 2.32% | 7.196e-05%
5 | AEP TEXAS CENTRAL COMPANY | 007924772 | 4229.2068 | 4062.6976 | 4114.6412 | 4623.2036 | 4257.4373 | 7.117% | 7.117% | 0.0002207%
7 | AEP TEXAS NORTH COMPANY | 007923311 | 991.1884 | 1041.2844 | 1017.3272 | 943.1224 | 998.2306 | 1.669% | 1.669% | 5.175e-05%
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 123.4684 | 120.8344 | 125.5064 | 113.02 | 120.7073 | 0.2018% | 0.2018% | 6.257e-06%
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 39.4988 | 41.0104 | 43.46 | 36.5992 | 40.1421 | 0.06711% | 0.0671% | 2.081e-06%
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 23.3696 | 25.4568 | 25.3824 | 21.1136 | 23.8306 | 0.03984% | 0.03984% | 1.235e-06%
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 371.2812 | 382.4332 | 388.1868 | 359.3452 | 375.3116 | 0.6274% | 0.6274% | 1.946e-05%
23 | BRAZOS ELECTRIC POWER CO OP INC (TDSP) | 0037722904000 | 0.4992 | 0.184 | 0.18 | 0.266 | 0.2823 | 0.0004719% | 0.0004719% | 1.463e-08%
24 | CAP ROCK ENERGY (MCCULLOCH DIVISION) (TDSP) | 0079370974000 | 20.1064 | 21.1188 | 20.7908 | 17.6488 | 19.9162 | 0.03329% | 0.03329% | 1.032e-06%
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 104.194 | 106.5784 | 108.9888 | 94.9564 | 103.6794 | 0.1733% | 0.1733% | 5.375e-06%
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 13.708 | 14.3648 | 14.1172 | 13.906 | 14.024 | 0.02344% | 0.02344% | 7.27e-07%
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 13.3252 | 13.7396 | 13.428 | 13.222 | 13.4287 | 0.02245% | 0.02245% | 6.961e-07%
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 27.1856 | 27.9172 | 28.25 | 26.4624 | 27.4538 | 0.04589% | 0.04589% | 1.423e-06%
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 54.932 | 57.5988 | 56.8852 | 55.7292 | 56.2863 | 0.09409% | 0.09409% | 2.918e-06%
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 13.0504 | 13.6224 | 14.2356 | 12.7644 | 13.4182 | 0.02243% | 0.02243% | 6.956e-07%
31 | CITY OF BURNET (TDSP) | 0746121514000 | 16.9312 | 17.4676 | 17.8204 | 17.1224 | 17.3354 | 0.02898% | 0.02898% | 8.986e-07%
32 | CITY OF CUERO (TDSP) | 0526842144000 | 25.9564 | 25.5264 | 25.5996 | 26.1612 | 25.8109 | 0.04315% | 0.04315% | 1.338e-06%
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 4.6764 | 4.8316 | 4.7088 | 4.8484 | 4.7663 | 0.007968% | 0.007968% | 2.471e-07%
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 31.2548 | 31.1944 | 31.664 | 29.9548 | 31.017 | 0.05185% | 0.05185% | 1.608e-06%
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 114.8508 | 121.2852 | 122.4552 | 115.0596 | 118.4127 | 0.198% | 0.1979% | 6.138e-06%
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 12.5964 | 13.702 | 13.4088 | 12.888 | 13.1488 | 0.02198% | 0.02198% | 6.816e-07%
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 5.2404 | 5.5256 | 5.4148 | 4.6512 | 5.208 | 0.008706% | 0.008706% | 2.7e-07%
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 16.604 | 16.194 | 16.4276 | 16.6008 | 16.4566 | 0.02751% | 0.02751% | 8.531e-07%
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 9.1024 | 8.972 | 9.4016 | 9.558 | 9.2585 | 0.01548% | 0.01548% | 4.799e-07%
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 12.152 | 12.5584 | 12.4772 | 12.3532 | 12.3852 | 0.0207% | 0.0207% | 6.42e-07%
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 14.9516 | 15.7024 | 15.5484 | 15.5096 | 15.428 | 0.02579% | 0.02579% | 7.998e-07%
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 21.6028 | 23.4128 | 22.8664 | 20.9664 | 22.2121 | 0.03713% | 0.03713% | 1.151e-06%
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.69 | 2.892 | 2.8012 | 2.6188 | 2.7505 | 0.004598% | 0.004598% | 1.426e-07%
44 | CITY OF LLANO (TDSP) | 0916952054000 | 9.7348 | 10.2288 | 9.9884 | 9.3036 | 9.8139 | 0.01641% | 0.01641% | 5.087e-07%
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 23.766 | 24.4716 | 24.4152 | 23.9732 | 24.1565 | 0.04038% | 0.04038% | 1.252e-06%
46 | CITY OF LULING (TDSP) | 0105539984000 | 12.1952 | 12.442 | 12.5844 | 12.268 | 12.3724 | 0.02068% | 0.02068% | 6.414e-07%
47 | CITY OF MASON (TDSP) | 1561267084000 | 5.2432 | 5.1396 | 5.3456 | 4.588 | 5.0791 | 0.008491% | 0.00849% | 2.633e-07%
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.0364 | 2.244 | 2.0284 | 2.13 | 2.1097 | 0.003527% | 0.003527% | 1.094e-07%
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 105.838 | 107.812 | 108.6236 | 111.0344 | 108.327 | 0.1811% | 0.1811% | 5.615e-06%
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 8.5908 | 9.0388 | 9.0592 | 8.1328 | 8.7054 | 0.01455% | 0.01455% | 4.513e-07%
51 | CITY OF SANGER | 058956020 | 13.1324 | 13.2132 | 14.2356 | 11.4144 | 12.9989 | 0.02173% | 0.02173% | 6.738e-07%
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 11.8948 | 12.762 | 12.6508 | 11.9196 | 12.3068 | 0.02057% | 0.02057% | 6.38e-07%
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 57.35 | 57.2288 | 57.7596 | 58.7332 | 57.7679 | 0.09657% | 0.09657% | 2.995e-06%
54 | CITY OF SEYMOUR | 166319145 | 7.4048 | 7.5272 | 8.0996 | 6.7096 | 7.4353 | 0.01243% | 0.01243% | 3.854e-07%
55 | CITY OF SHINER (TDSP) | 1504533714000 | 9.692 | 9.7548 | 9.2672 | 9.2152 | 9.4823 | 0.01585% | 0.01585% | 4.915e-07%
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 9.5056 | 9.9496 | 9.6824 | 9.7088 | 9.7116 | 0.01623% | 0.01623% | 5.034e-07%
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 3.4708 | 4.0068 | 3.7396 | 3.7352 | 3.7381 | 0.006249% | 0.006249% | 1.938e-07%
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 7.6216 | 7.9308 | 7.4696 | 7.5768 | 7.6497 | 0.01279% | 0.01279% | 3.965e-07%
59 | CITY OF WHITESBORO | 134546522 | 7.8548 | 8.4272 | 9.654 | 7.1184 | 8.2636 | 0.01381% | 0.01381% | 4.284e-07%
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 17.288 | 18.1 | 18.492 | 17.656 | 17.884 | 0.0299% | 0.0299% | 9.271e-07%
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 22.3116 | 21.0472 | 23.5272 | 19.8764 | 21.6906 | 0.03626% | 0.03626% | 1.124e-06%
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 42.9288 | 44.5452 | 46.5716 | 38.9588 | 43.2511 | 0.0723% | 0.0723% | 2.242e-06%
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 42.3172 | 42.4588 | 41.2368 | 33.176 | 39.7972 | 0.06653% | 0.06653% | 2.063e-06%
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 61.4884 | 67.4168 | 72.4464 | 55.0256 | 64.0943 | 0.1071% | 0.1071% | 3.323e-06%
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 13.0804 | 14.6068 | 14.394 | 7.5624 | 12.4109 | 0.02075% | 0.02075% | 6.434e-07%
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 887.132 | 984.9984 | 1045.3888 | 755.3672 | 918.2216 | 1.535% | 1.535% | 4.76e-05%
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 26.7544 | 31.1352 | 35.6628 | 19.0976 | 28.1625 | 0.04708% | 0.04708% | 1.46e-06%
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 185.6148 | 202.7044 | 222.7012 | 129.7232 | 185.1859 | 0.3096% | 0.3096% | 9.6e-06%
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 49.9024 | 49.7216 | 48.062 | 46.3288 | 48.5037 | 0.08108% | 0.08108% | 2.514e-06%
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 21.2752 | 22.15 | 22.7792 | 20.318 | 21.6306 | 0.03616% | 0.03616% | 1.121e-06%
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 19.4324 | 20.6588 | 21.6808 | 19.1876 | 20.2399 | 0.03384% | 0.03383% | 1.049e-06%
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 156.0176 | 181.5308 | 202.4512 | 129.548 | 167.3869 | 0.2798% | 0.2798% | 8.677e-06%
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 292.6688 | 291.3068 | 298.2188 | 290.1204 | 293.0787 | 0.4899% | 0.4899% | 1.519e-05%
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 15.6688 | 17.5088 | 17.4672 | 13.9916 | 16.1591 | 0.02701% | 0.02701% | 8.377e-07%
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 96.3848 | 105.0116 | 109.222 | 81.332 | 97.9876 | 0.1638% | 0.1638% | 5.079e-06%
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 14.6036 | 15.214 | 15.2164 | 10.4472 | 13.8703 | 0.02319% | 0.02319% | 7.19e-07%
79 | J A C ELECTRIC CO OP INC | 003890795 | 17.264 | 17.6724 | 19.2672 | 15.3828 | 17.3966 | 0.02908% | 0.02908% | 9.018e-07%
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 2.064 | 2.254 | 2.2756 | 1.088 | 1.9204 | 0.00321% | 0.00321% | 9.955e-08%
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 108.2236 | 108.9352 | 112.048 | 103.2532 | 108.115 | 0.1807% | 0.1807% | 5.604e-06%
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 32.65 | 38.806 | 45.6052 | 21.0608 | 34.5305 | 0.05772% | 0.05772% | 1.79e-06%
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 1.4768 | 2.43 | 2.4424 | 2.1472 | 2.1241 | 0.003551% | 0.003551% | 1.101e-07%
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 28.3284 | 32.5284 | 33.2664 | 22.8032 | 29.2316 | 0.04887% | 0.04886% | 1.515e-06%
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 361.576 | 336.0172 | 355.1148 | 370.0872 | 355.6988 | 0.5946% | 0.5946% | 1.844e-05%
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 23.5712 | 22.2952 | 22.6288 | 20.3404 | 22.2089 | 0.03713% | 0.03713% | 1.151e-06%
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 75.8992 | 75.7204 | 79.5632 | 64.102 | 73.8212 | 0.1234% | 0.1234% | 3.827e-06%
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 78.1216 | 80.7356 | 80.8364 | 64.0452 | 75.9347 | 0.1269% | 0.1269% | 3.936e-06%
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 191.7716 | 197.04 | 204.1508 | 206.1048 | 199.7668 | 0.3339% | 0.3339% | 1.036e-05%
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 1080.368 | 1106.0924 | 1130.69 | 1045.722 | 1090.7181 | 1.823% | 1.823% | 5.654e-05%
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 4.7836 | 5.3752 | 5.1956 | 2.168 | 4.3806 | 0.007323% | 0.007323% | 2.271e-07%
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 110.2168 | 108.9676 | 109.5688 | 101.8444 | 107.6494 | 0.18% | 0.18% | 5.58e-06%
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 77.7788 | 78.7648 | 75.0524 | 75.096 | 76.673 | 0.1282% | 0.1282% | 3.975e-06%
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 28.544 | 27.066 | 27.6224 | 26.1016 | 27.3335 | 0.04569% | 0.04569% | 1.417e-06%
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0%
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 463.6436 | 513.6224 | 536.688 | 409.44 | 480.8485 | 0.8038% | 0.8038% | 2.493e-05%
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 140.054 | 150.6108 | 162.2164 | 95.8976 | 137.1947 | 0.2293% | 0.2293% | 7.112e-06%
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 362.8088 | 391.0092 | 391.0796 | 336.9176 | 370.4538 | 0.6193% | 0.6193% | 1.92e-05%
103 | WISE ELECTRIC CO OP | 041405408 | 87.3024 | 90.53 | 97.1952 | 72.7816 | 86.9523 | 0.1454% | 0.1454% | 4.507e-06%
104 | BROWNSVILLE PUBLIC UTILITIES BOARD (TDSP) | 6063470374000 | 247.47 | 238.5792 | 252.786 | 258.8824 | 249.4294 | 0.417% | 0.417% | 1.293e-05%
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 318.1916 | 314.3692 | 311.6644 | 307.9692 | 313.0486 | 0.5233% | 0.5233% | 1.623e-05%
106 | CAP ROCK ENERGY (HUNT COLLIN DIVISION) (TDSP) | 0079370974100 | 23.6052 | 26.4584 | 27.878 | 17.146 | 23.7719 | 0.03974% | 0.03974% | 1.232e-06%
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 49.9977 | 53.7396 | 56.6524 | 28.346 | 47.1839 | 0.07888% | 0.08044% | -0.001563%
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2415.47 | 2489.9928 | 2513.8192 | 2447.6156 | 2466.7244 | 4.124% | 4.123% | 0.0001279%
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 14.6048 | 16.2408 | 16.772 | 13.1736 | 15.1978 | 0.02541% | 0.02541% | 7.878e-07%
111 | CITY OF BRADY (TDSP) | 070804877 | 14.9928 | 16.8124 | 16.1972 | 14.1564 | 15.5397 | 0.02598% | 0.02598% | 8.055e-07%
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 10.688 | 11.2072 | 11.0036 | 9.3568 | 10.5639 | 0.01766% | 0.01766% | 5.476e-07%
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 172.2216 | 181.2048 | 181.322 | 169.0884 | 175.9592 | 0.2942% | 0.2941% | 9.121e-06%
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 437.5656 | 464.5036 | 488.4492 | 378.9964 | 442.3787 | 0.7395% | 0.7395% | 2.293e-05%
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0 | 0.4676 | 0 | 0.3948 | 0.2156 | 0.0003604% | 0.0003604% | 1.118e-08%
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 10.6304 | 11.4252 | 11.1068 | 9.9416 | 10.776 | 0.01801% | 0.01801% | 5.586e-07%
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 21.1424 | 20.364 | 20.9364 | 17.69 | 20.0332 | 0.03349% | 0.03349% | 1.038e-06%
122 | CPS ENERGY (TDSP) | 0079360734000 | 4359.9712 | 4291.1212 | 4408.6952 | 4362.8804 | 4355.667 | 7.281% | 7.281% | 0.0002258%
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0713801904000 | 287.002 | 292.7252 | 312.4348 | 268.1508 | 290.0782 | 0.4849% | 0.4849% | 1.504e-05%
125 | GEUS (TDSP) | 8062449354000 | 101.2964 | 106.554 | 111.158 | 80.5328 | 99.8853 | 0.167% | 0.167% | 5.178e-06%
126 | JACKSON ELECTRIC CO OP INC | 078423555 | 39.6064 | 41.122 | 40.546 | 40.6784 | 40.4882 | 0.06768% | 0.06768% | 2.099e-06%
127 | KARNES ELECTRIC CO OP INC | 006824106 | 59.4148 | 54.7812 | 56.734 | 53.1556 | 56.0214 | 0.09365% | 0.09365% | 2.904e-06%
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 98.6848 | 88.3876 | 89.6768 | 83.4196 | 90.0422 | 0.1505% | 0.1505% | 4.668e-06%
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0%
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 30.8784 | 29.866 | 30.938 | 30.3664 | 30.5122 | 0.05101% | 0.05101% | 1.582e-06%
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 13.4412 | 12.606 | 13.2336 | 15.1772 | 13.6145 | 0.02276% | 0.02276% | 7.057e-07%
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0 | 0.1544 | 0.1544 | 0.1244 | 0.1083 | 0.000181% | 0.000181% | 5.614e-09%
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 71.9612 | 74.314 | 78.1888 | 76.8188 | 75.3207 | 0.1259% | 0.1259% | 3.904e-06%
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 77.336 | 80.924 | 83.8804 | 68.6664 | 77.7017 | 0.1299% | 0.1299% | 4.028e-06%
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 28.8892 | 29.9212 | 30.394 | 30.8944 | 30.0247 | 0.05019% | 0.05019% | 1.556e-06%
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0%
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0%
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 27.9496 | 31.178 | 31.5052 | 26.248 | 29.2202 | 0.04885% | 0.04885% | 1.515e-06%
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 5.0328 | 4.2748 | 4.8916 | 4.4048 | 4.651 | 0.007775% | 0.007775% | 2.411e-07%
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 51.9976 | 53.7532 | 55.0688 | 46.4064 | 51.8065 | 0.0866% | 0.0866% | 2.686e-06%
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 0027819534100 | 32.9648 | 31.1576 | 30.764 | 26.628 | 30.3786 | 0.05078% | 0.05078% | 1.575e-06%
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.6656 | 0.7616 | 0.616 | 0.55 | 0.6483 | 0.001084% | 0.001084% | 3.361e-08%
155 | HOUSTON COUNTY ELEC COOP TXU (TDSP) | 0057772064100 | 3.2585 | 2.1968 | 3.8412 | 3.2647 | 3.1403 | 0.00525% | 0.003993% | 0.001257%
158 | NUECES ELECTRIC COOP INC PILOT TDSP | 0088288574800 | 63.8116 | 63.948 | 66.744 | 72.2076 | 66.6778 | 0.1115% | 0.1115% | 3.456e-06%
166 | BIG COUNTRY ELECTRIC CO OP INC TXU (TDSP) | 0058630484100 | 0 | 0.5664 | 0 | 0 | 0.1416 | 0.0002367% | 0.0002367% | 7.34e-09%
167 | CONCHO VALLEY ELECTRIC CO OP INC TXU (TDSP) | 0038666624100 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0%
168 | WOOD COUNTY ELECTRIC COOPERATIVE INC (TDSP) | 008952491 | 0 | 0 | 0 | 0.0205 | 0.005125 | 8.567e-06% | 0.004095% | -0.004086%
169 | LIGHTHOUSE ELECTRIC CO OP TXU (TDSP) | 0028252894100 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0%
171 | CHEROKEE COUNTY ELEC CO OP ASSOC (CORAL POWER AS QSE) | 0088626254000 | 7.7934 | 8.378 | 12.4889 | 12.1343 | 10.1987 | 0.01705% | 0.01575% | 0.001294%
172 | HEART OF TEXAS ELECTRIC COOPERATIVE INC (DSP) | 012074558 | 77.636 | 81.1784 | 84.8256 | 71.7468 | 78.8467 | 0.1318% | 0.1318% | 4.087e-06%
| Total |  | 59618.0204 | 61098.7512 | 62197.2125 | 56363.6155 | 59819.3999 | 100%
Note: DC Tie exports and Block Load Transfer exports are excluded from this report