## 2002FOUR CP CALCULATION
2002 Four Coincident Peak Load Calculation
Data to be filed with PUCT (11/22/02)
TDSP CODE | Load Entity Name | DUNS Number | June Load at ERCOT Coincident Peak MW | July Load at ERCOT Coincident Peak MW | August Load at ERCOT Coincident Peak MW | September Load at ERCOT Coincident Peak MW | Average 4CP Load MW | Load Ratio Share
1 | RELIANT ENERGY HL AND P (TDSP) | 957877905 | 12603.144 | 13093.9132 | 12832.7348 | 10615.0292 | 12286.2053 | 22.98%
2 | TXU ELECTRIC CO (TDSP) | 1039940674000 | 20984.3944 | 22396.9852 | 22815.1336 | 22414.1808 | 22152.6735 | 41.43%
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1063.24 | 1258.5984 | 1254.3248 | 1061.2748 | 1159.3595 | 2.168%
5 | CPL ENERGY DELIVERY COMPANY (CPL-EDC) (TDSP) | 007924772 | 3658.2484 | 3936.1476 | 4391.37 | 3794.3312 | 3945.0243 | 7.378%
7 | WTU ENERGY DELIVERY COMPANY (WTU-EDC) (TDSP) | 007923311 | 909.5716 | 1001.8472 | 1106.7396 | 929.8588 | 987.0043 | 1.846%
8 | TXU SESCO CO (TDSP) | 0079280964000 | 0.082 | 0.094 | 0 | 0 | 0.044 | 8.229e-05%
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 96.7708 | 96.7896 | 100.9908 | 82.226 | 94.1943 | 0.1762%
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 30.6192 | 31.8896 | 34.7048 | 29.3248 | 31.6346 | 0.05916%
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 15.512 | 15.6052 | 17.41 | 15.5592 | 16.0216 | 0.02996%
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 23.004 | 24.8912 | 25.8936 | 23.3608 | 24.2874 | 0.04542%
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 288.9104 | 296.4876 | 311.358 | 273.232 | 292.497 | 0.547%
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 1.5584 | 0.3508 | 0.1672 | 0.2488 | 0.5813 | 0.001087%
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) ( | 0079370974000 | 16.9268 | 17.952 | 19.9652 | 16.4524 | 17.8241 | 0.03334%
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 81.8392 | 85.6912 | 93.798 | 72.2896 | 83.4045 | 0.156%
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 11.8112 | 11.8944 | 13.4988 | 11.8684 | 12.2682 | 0.02294%
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 11.604 | 12.9372 | 12.8792 | 11.4544 | 12.2187 | 0.02285%
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 20.284 | 20.818 | 23.63 | 19.838 | 21.1425 | 0.03954%
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 57.2016 | 60.678 | 61.0972 | 57.0836 | 59.0151 | 0.1104%
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 10.1576 | 11.304 | 11.3464 | 9.9532 | 10.6903 | 0.01999%
31 | CITY OF BURNET (TDSP) | 0746121514000 | 13.856 | 14.7696 | 16.3876 | 13.65 | 14.6658 | 0.02743%
32 | CITY OF CUERO (TDSP) | 0526842144000 | 23.4076 | 23.9996 | 25.5704 | 23.0464 | 24.006 | 0.0449%
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 4.3684 | 4.722 | 5.1272 | 4.4988 | 4.6791 | 0.008751%
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 19.1248 | 20.0404 | 31.1256 | 24.1828 | 23.6184 | 0.04417%
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 76.6744 | 80.3016 | 89.5512 | 75.4472 | 80.4936 | 0.1505%
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 11.8156 | 12.5208 | 13.5572 | 12.0416 | 12.4838 | 0.02335%
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 4.2968 | 4.7828 | 5.6124 | 4.53 | 4.8055 | 0.008987%
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 15.58 | 16.1016 | 17.7556 | 16.0348 | 16.368 | 0.03061%
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 7.6592 | 8.418 | 8.7328 | 7.37 | 8.045 | 0.01505%
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 11.444 | 12.238 | 12.2836 | 9.4968 | 11.3656 | 0.02126%
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 14.308 | 14.9336 | 15.8616 | 13.6076 | 14.6777 | 0.02745%
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 19.6664 | 20.6576 | 22.704 | 19.51 | 20.6345 | 0.03859%
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.5 | 2.7084 | 2.9428 | 2.714 | 2.7163 | 0.00508%
44 | CITY OF LLANO (TDSP) | 0916952054000 | 9.2196 | 9.6052 | 11.4776 | 9.3972 | 9.9249 | 0.01856%
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 21.1508 | 21.6604 | 24.5356 | 21.0708 | 22.1044 | 0.04134%
46 | CITY OF LULING (TDSP) | 0105539984000 | 10.2892 | 10.3904 | 11.606 | 10.326 | 10.6529 | 0.01992%
47 | CITY OF MASON (TDSP) | 1561267084000 | 4.3432 | 4.7708 | 5.554 | 4.3136 | 4.7454 | 0.008875%
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.0228 | 2.0704 | 2.3692 | 2.2108 | 2.1683 | 0.004055%
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 94.268 | 90.5872 | 98.9248 | 89.038 | 93.2045 | 0.1743%
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 7.918 | 8.1644 | 9.158 | 7.6832 | 8.2309 | 0.01539%
51 | CITY OF SANGER | 058956020 | 10.7696 | 11.712 | 11.632 | 10.0756 | 11.0473 | 0.02066%
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 14.1888 | 10.5756 | 11.7288 | 10.3596 | 11.7132 | 0.02191%
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 53.6128 | 54.214 | 58.0624 | 51.0012 | 54.2226 | 0.1014%
54 | CITY OF SEYMOUR | 166319145 | 6.9664 | 7.9552 | 8.3672 | 7.4592 | 7.687 | 0.01438%
55 | CITY OF SHINER (TDSP) | 1504533714000 | 8.1524 | 8.4568 | 9.214 | 8.8444 | 8.6669 | 0.01621%
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 9.0516 | 9.5412 | 10.4452 | 8.6908 | 9.4322 | 0.01764%
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 2.9428 | 3.1036 | 3.3052 | 3.2368 | 3.1471 | 0.005886%
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 6.7876 | 7.182 | 7.2448 | 6.6592 | 6.9684 | 0.01303%
59 | CITY OF WHITESBORO | 134546522 | 7.5328 | 7.9168 | 8.4892 | 7.7912 | 7.9325 | 0.01484%
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 15.1904 | 16.7232 | 16.662 | 15.27 | 15.9614 | 0.02985%
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 18.6436 | 19.0864 | 20.6064 | 20.1312 | 19.6169 | 0.03669%
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 32.2232 | 33.4092 | 38.65 | 32.706 | 34.2471 | 0.06405%
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 33.704 | 35.4664 | 37.8512 | 34.182 | 35.3009 | 0.06602%
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 52.4928 | 54.9664 | 58.4548 | 50.4404 | 54.0886 | 0.1012%
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 10.026 | 13.1284 | 12.4212 | 12.1028 | 11.9196 | 0.02229%
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 485.8664 | 571.0748 | 564.682 | 512.2672 | 533.4726 | 0.9977%
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 19.3368 | 16.4168 | 22.0868 | 21.2616 | 19.7755 | 0.03698%
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 129.4596 | 124.4652 | 149.3364 | 142.21 | 136.3678 | 0.255%
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 39.3092 | 40.808 | 39.7032 | 34.0856 | 38.4765 | 0.07196%
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 17.5688 | 20.0324 | 20.586 | 18.4784 | 19.1664 | 0.03585%
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 16.958 | 18.976 | 20.8152 | 18.0512 | 18.7001 | 0.03497%
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 102.256 | 104.4256 | 116.1416 | 109.1492 | 107.9931 | 0.202%
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 219.6776 | 220.9324 | 238.874 | 201.692 | 220.294 | 0.412%
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 13.1056 | 14.6372 | 15.7132 | 13.1756 | 14.1579 | 0.02648%
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 104.8924 | 108.4068 | 109.2896 | 96.7568 | 104.8364 | 0.1961%
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 11.5092 | 11.7976 | 10.912 | 11.056 | 11.3187 | 0.02117%
79 | J A C ELECTRIC CO OP INC | 003890795 | 16.244 | 17.6468 | 17.8116 | 16.728 | 17.1076 | 0.032%
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 1.8652 | 2.0476 | 1.9924 | 1.6652 | 1.8926 | 0.00354%
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 96.1316 | 97.2156 | 104.462 | 86.4844 | 96.0734 | 0.1797%
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 32.2944 | 24.3812 | 35.91 | 34.4164 | 31.7505 | 0.05938%
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 1.8636 | 2.5188 | 2.3484 | 1.7724 | 2.1258 | 0.003976%
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 28.656 | 28.6512 | 22.2612 | 21.3856 | 25.2385 | 0.0472%
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 217.3576 | 238.6104 | 259.54 | 221.2592 | 234.1918 | 0.438%
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 57.1736 | 52.8688 | 57.0796 | 49.5828 | 54.1762 | 0.1013%
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 19.3208 | 19.4084 | 20.066 | 18.828 | 19.4058 | 0.03629%
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 55.0844 | 59.3732 | 59.9524 | 59.466 | 58.469 | 0.1094%
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 58.592 | 64.1612 | 62.7248 | 57.3224 | 60.7001 | 0.1135%
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 175.774 | 177.0608 | 177.9088 | 163.7232 | 173.6167 | 0.3247%
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 751.9204 | 789.7544 | 866.6716 | 701.2032 | 777.3874 | 1.454%
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 4.124 | 4.738 | 4.518 | 3.8372 | 4.3043 | 0.00805%
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 81.596 | 94.7444 | 89.6836 | 79.266 | 86.3225 | 0.1614%
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 68.3504 | 71.2552 | 69.8676 | 69.9432 | 69.8541 | 0.1306%
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 22.3464 | 21.0096 | 23.93 | 21.0912 | 22.0943 | 0.04132%
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 7.0704 | 6.956 | 7.5404 | 7.3156 | 7.2206 | 0.0135%
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 287.0008 | 332.3728 | 333.0712 | 297.2124 | 312.4143 | 0.5843%
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 108.5416 | 120.9644 | 123.5176 | 115.3 | 117.0809 | 0.219%
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 281.6676 | 301.7404 | 313.2268 | 283.632 | 295.0667 | 0.5518%
103 | WISE ELECTRIC CO OP | 041405408 | 58.3964 | 68.1432 | 67.454 | 56.8044 | 62.6995 | 0.1173%
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 210.888 | 217.8032 | 225.5764 | 200.742 | 213.7524 | 0.3998%
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 211.9276 | 226.334 | 230.4064 | 215.6264 | 221.0736 | 0.4135%
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) | 0079370974100 | 20.3932 | 17.45 | 23.7864 | 22.3048 | 20.9836 | 0.03924%
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 35.0684 | 47.708 | 46.296 | 43.2852 | 43.0894 | 0.08059%
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2068.7092 | 2125.348 | 2253.8344 | 1984.7792 | 2108.1677 | 3.943%
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 12.6056 | 14.9768 | 14.1216 | 12.89 | 13.6485 | 0.02553%
111 | CITY OF BRADY (TDSP) | 70804877 | 13.318 | 13.8384 | 14.9712 | 12.4864 | 13.6535 | 0.02554%
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 5.8032 | 10.5444 | 10.9652 | 9.3264 | 9.1598 | 0.01713%
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 145.0204 | 167.6948 | 150.584 | 145.6584 | 152.2394 | 0.2847%
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 427.012 | 469.1616 | 453.8424 | 446.402 | 449.1045 | 0.8399%
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.4532 | 0.4288 | 2.5132 | 2.4384 | 1.4584 | 0.002728%
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 10.1684 | 6.3816 | 2.5132 | 9.7892 | 7.2131 | 0.01349%
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 10.382 | 10.386 | 16.0704 | 13.4408 | 12.5698 | 0.02351%
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 3689.4804 | 3725.848 | 3984.3904 | 3481.3612 | 3720.27 | 6.958%
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 246.0824 | 272.1388 | 265.6656 | 238.0916 | 255.4946 | 0.4778%
125 | GEUS (TDSP) | 8062449354000 | 92.098 | 84.6408 | 98.798 | 97.6868 | 93.3059 | 0.1745%
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 31.8112 | 36.6188 | 37.7764 | 28.2936 | 33.625 | 0.06289%
127 | KARNES ELECTRIC CO OP INC | 006824106 | 47.9812 | 44.6472 | 48.8984 | 42.05 | 45.8942 | 0.08583%
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 82.944 | 70.9488 | 80.2532 | 69.6084 | 75.9386 | 0.142%
129 | NUECES ELECTRIC CO OP INC | 008828857 | 40.1008 | 40.49 | 44.8428 | 37.9908 | 40.8561 | 0.07641%
130 | RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953 | 18.108 | 17.5472 | 19.1024 | 17.7028 | 18.1151 | 0.03388%
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0 | 0 | 0 | 0 | 0%
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 28.2396 | 27.2504 | 29.7724 | 25.176 | 27.6096 | 0.05164%
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 4.1992 | 13.086 | 7.1008 | 6.3008 | 7.6717 | 0.01435%
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0 | 0.1296 | 0.1244 | 0.2828 | 0.1342 | 0.000251%
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 61.9492 | 66.9556 | 71.8428 | 54.0528 | 63.7001 | 0.1191%
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 44.7532 | 66.5904 | 70.0072 | 62.2148 | 60.8914 | 0.1139%
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 27.0564 | 27.0464 | 30.088 | 24.0348 | 27.0564 | 0.0506%
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0 | 0 | 0 | 0 | 0%
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0 | 0 | 0 | 0 | 0%
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 22.2604 | 23.5884 | 26.228 | 22.3492 | 23.6065 | 0.04415%
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.3756 | 0.396 | 0.2852 | 0.3056 | 0.3406 | 0.000637%
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 3.4748 | 3.4824 | 3.7488 | 3.2088 | 3.4787 | 0.006506%
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 32.0784 | 33.2672 | 36.7924 | 32.2732 | 33.6028 | 0.06285%
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.3828 | 0.3676 | 0.4268 | 0.3636 | 0.3852 | 0.0007204%
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 27819534100 | 0 | 0.2144 | 0.1428 | 0 | 0.0893 | 0.000167%
151 | TEXAS A&M | 0037722904TAM | 27.5772 | 29.5864 | 28.2024 | 30.9604 | 29.0816 | 0.05439%
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.5072 | 0.5796 | 0.6264 | 0.5544 | 0.5669 | 0.00106%
| Total* |  | 51805.5972 | 54812.8252 | 56231.288 | 51027.14 | 53469.2126 | 100%
*Note: Total does not include DC Tie Exports

## June
Peak Interval Demand 06/12/2002 17:00 based on "FINAL" settlement run on 8/8/2002 at 22:33
TDSP Code | Load Entity Name | DUNS | 2002 Load Responsibility MW | 2002 Load Responsibility MWh
1 | RELIANT ENERGY HL AND P (TDSP) | 957877905 | 12603.144 | 3150.786
2 | TXU ELECTRIC CO (TDSP) | 1039940674000 | 20984.3944 | 5246.0986
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1063.24 | 265.81
5 | CPL ENERGY DELIVERY COMPANY (CPL-EDC) (TDSP) | 007924772 | 3658.2484 | 914.5621
7 | WTU ENERGY DELIVERY COMPANY (WTU-EDC) (TDSP) | 007923311 | 909.5716 | 227.3929
8 | TXU SESCO CO (TDSP) | 0079280964000 | 0.082 | 0.0205
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 96.7708 | 24.1927
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 30.6192 | 7.6548
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 15.512 | 3.878
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 23.004 | 5.751
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 288.9104 | 72.2276
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 1.5584 | 0.3896
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) ( | 0079370974000 | 16.9268 | 4.2317
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 81.8392 | 20.4598
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 11.8112 | 2.9528
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 11.604 | 2.901
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 20.284 | 5.071
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 57.2016 | 14.3004
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 10.1576 | 2.5394
31 | CITY OF BURNET (TDSP) | 0746121514000 | 13.856 | 3.464
32 | CITY OF CUERO (TDSP) | 0526842144000 | 23.4076 | 5.8519
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 4.3684 | 1.0921
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 19.1248 | 4.7812
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 76.6744 | 19.1686
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 11.8156 | 2.9539
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 4.2968 | 1.0742
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 15.58 | 3.895
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 7.6592 | 1.9148
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 11.444 | 2.861
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 14.308 | 3.577
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 19.6664 | 4.9166
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.5 | 0.625
44 | CITY OF LLANO (TDSP) | 0916952054000 | 9.2196 | 2.3049
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 21.1508 | 5.2877
46 | CITY OF LULING (TDSP) | 0105539984000 | 10.2892 | 2.5723
47 | CITY OF MASON (TDSP) | 1561267084000 | 4.3432 | 1.0858
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.0228 | 0.5057
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 94.268 | 23.567
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 7.918 | 1.9795
51 | CITY OF SANGER | 058956020 | 10.7696 | 2.6924
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 14.1888 | 3.5472
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 53.6128 | 13.4032
54 | CITY OF SEYMOUR | 166319145 | 6.9664 | 1.7416
55 | CITY OF SHINER (TDSP) | 1504533714000 | 8.1524 | 2.0381
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 9.0516 | 2.2629
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 2.9428 | 0.7357
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 6.7876 | 1.6969
59 | CITY OF WHITESBORO | 134546522 | 7.5328 | 1.8832
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 15.1904 | 3.7976
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 18.6436 | 4.6609
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 32.2232 | 8.0558
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 33.704 | 8.426
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 52.4928 | 13.1232
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 10.026 | 2.5065
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 485.8664 | 121.4666
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 19.3368 | 4.8342
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 129.4596 | 32.3649
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 39.3092 | 9.8273
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 17.5688 | 4.3922
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 16.958 | 4.2395
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 102.256 | 25.564
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 219.6776 | 54.9194
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 13.1056 | 3.2764
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 104.8924 | 26.2231
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 11.5092 | 2.8773
79 | J A C ELECTRIC CO OP INC | 003890795 | 16.244 | 4.061
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 1.8652 | 0.4663
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 96.1316 | 24.0329
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 32.2944 | 8.0736
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 1.8636 | 0.4659
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 28.656 | 7.164
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 217.3576 | 54.3394
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 57.1736 | 14.2934
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 19.3208 | 4.8302
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 55.0844 | 13.7711
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 58.592 | 14.648
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 175.774 | 43.9435
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 751.9204 | 187.9801
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 4.124 | 1.031
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 81.596 | 20.399
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 68.3504 | 17.0876
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 22.3464 | 5.5866
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 7.0704 | 1.7676
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 287.0008 | 71.7502
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 108.5416 | 27.1354
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 281.6676 | 70.4169
103 | WISE ELECTRIC CO OP | 041405408 | 58.3964 | 14.5991
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 210.888 | 52.722
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 211.9276 | 52.9819
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) | 0079370974100 | 20.3932 | 5.0983
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 35.0684 | 8.7671
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2068.7092 | 517.1773
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 12.6056 | 3.1514
111 | CITY OF BRADY (TDSP) | 70804877 | 13.318 | 3.3295
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 5.8032 | 1.4508
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 145.0204 | 36.2551
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 427.012 | 106.753
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.4532 | 0.1133
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 10.1684 | 2.5421
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 10.382 | 2.5955
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 3689.4804 | 922.3701
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 246.0824 | 61.5206
125 | GEUS (TDSP) | 8062449354000 | 92.098 | 23.0245
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 31.8112 | 7.9528
127 | KARNES ELECTRIC CO OP INC | 006824106 | 47.9812 | 11.9953
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 82.944 | 20.736
129 | NUECES ELECTRIC CO OP INC | 008828857 | 40.1008 | 10.0252
130 | RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953 | 18.108 | 4.527
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 28.2396 | 7.0599
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 4.1992 | 1.0498
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0 | 0
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 61.9492 | 15.4873
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 44.7532 | 11.1883
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 27.0564 | 6.7641
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 22.2604 | 5.5651
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.3756 | 0.0939
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 3.4748 | 0.8687
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 32.0784 | 8.0196
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.3828 | 0.0957
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 27819534100 | 0 | 0
151 | TEXAS A&M | 0037722904TAM | 27.5772 | 6.8943
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.5072 | 0.1268
Total |  |  | 51805.5972 | 12951.3993

## July
Peak Interval Demand 07/24/2002 16:30 based on "FINAL" settlement run on 9/19/02 at 23:06
TDSP Code | Name | DUNS | 2002 Load Responsibility MW | 2002 Load Responsibility MWh
1 | RELIANT ENERGY HL AND P (TDSP) | 957877905 | 13093.9132 | 3273.4783
2 | TXU ELECTRIC CO (TDSP) | 1039940674000 | 22396.9852 | 5599.2463
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1258.5984 | 314.6496
5 | CPL ENERGY DELIVERY COMPANY (CPL-EDC) (TDSP) | 007924772 | 3936.1476 | 984.0369
7 | WTU ENERGY DELIVERY COMPANY (WTU-EDC) (TDSP) | 007923311 | 1001.8472 | 250.4618
8 | TXU SESCO CO (TDSP) | 0079280964000 | 0.094 | 0.0235
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 96.7896 | 24.1974
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 31.8896 | 7.9724
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 15.6052 | 3.9013
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 24.8912 | 6.2228
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 296.4876 | 74.1219
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 0.3508 | 0.0877
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) ( | 0079370974000 | 17.952 | 4.488
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 85.6912 | 21.4228
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 11.8944 | 2.9736
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 12.9372 | 3.2343
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 20.818 | 5.2045
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 60.678 | 15.1695
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 11.304 | 2.826
31 | CITY OF BURNET (TDSP) | 0746121514000 | 14.7696 | 3.6924
32 | CITY OF CUERO (TDSP) | 0526842144000 | 23.9996 | 5.9999
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 4.722 | 1.1805
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 20.0404 | 5.0101
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 80.3016 | 20.0754
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 12.5208 | 3.1302
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 4.7828 | 1.1957
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 16.1016 | 4.0254
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 8.418 | 2.1045
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 12.238 | 3.0595
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 14.9336 | 3.7334
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 20.6576 | 5.1644
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.7084 | 0.6771
44 | CITY OF LLANO (TDSP) | 0916952054000 | 9.6052 | 2.4013
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 21.6604 | 5.4151
46 | CITY OF LULING (TDSP) | 0105539984000 | 10.3904 | 2.5976
47 | CITY OF MASON (TDSP) | 1561267084000 | 4.7708 | 1.1927
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.0704 | 0.5176
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 90.5872 | 22.6468
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 8.1644 | 2.0411
51 | CITY OF SANGER | 058956020 | 11.712 | 2.928
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 10.5756 | 2.6439
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 54.214 | 13.5535
54 | CITY OF SEYMOUR | 166319145 | 7.9552 | 1.9888
55 | CITY OF SHINER (TDSP) | 1504533714000 | 8.4568 | 2.1142
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 9.5412 | 2.3853
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 3.1036 | 0.7759
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 7.182 | 1.7955
59 | CITY OF WHITESBORO | 134546522 | 7.9168 | 1.9792
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 16.7232 | 4.1808
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 19.0864 | 4.7716
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 33.4092 | 8.3523
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 35.4664 | 8.8666
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 54.9664 | 13.7416
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 13.1284 | 3.2821
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 571.0748 | 142.7687
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 16.4168 | 4.1042
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 124.4652 | 31.1163
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 40.808 | 10.202
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 20.0324 | 5.0081
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 18.976 | 4.744
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 104.4256 | 26.1064
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 220.9324 | 55.2331
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 14.6372 | 3.6593
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 108.4068 | 27.1017
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 11.7976 | 2.9494
79 | J A C ELECTRIC CO OP INC | 003890795 | 17.6468 | 4.4117
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 2.0476 | 0.5119
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 97.2156 | 24.3039
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 24.3812 | 6.0953
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 2.5188 | 0.6297
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 28.6512 | 7.1628
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 238.6104 | 59.6526
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 52.8688 | 13.2172
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 19.4084 | 4.8521
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 59.3732 | 14.8433
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 64.1612 | 16.0403
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 177.0608 | 44.2652
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 789.7544 | 197.4386
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 4.738 | 1.1845
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 94.7444 | 23.6861
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 71.2552 | 17.8138
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 21.0096 | 5.2524
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 6.956 | 1.739
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 332.3728 | 83.0932
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 120.9644 | 30.2411
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 301.7404 | 75.4351
103 | WISE ELECTRIC CO OP | 041405408 | 68.1432 | 17.0358
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 217.8032 | 54.4508
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 226.334 | 56.5835
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) | 0079370974100 | 17.45 | 4.3625
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 47.708 | 11.927
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2125.348 | 531.337
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 14.9768 | 3.7442
111 | CITY OF BRADY (TDSP) | 70804877 | 13.8384 | 3.4596
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 10.5444 | 2.6361
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 167.6948 | 41.9237
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 469.1616 | 117.2904
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.4288 | 0.1072
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 6.3816 | 1.5954
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 10.386 | 2.5965
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 3725.848 | 931.462
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 272.1388 | 68.0347
125 | GEUS (TDSP) | 8062449354000 | 84.6408 | 21.1602
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 36.6188 | 9.1547
127 | KARNES ELECTRIC CO OP INC | 006824106 | 44.6472 | 11.1618
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 70.9488 | 17.7372
129 | NUECES ELECTRIC CO OP INC | 008828857 | 40.49 | 10.1225
130 | RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953 | 17.5472 | 4.3868
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 27.2504 | 6.8126
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 13.086 | 3.2715
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0.1296 | 0.0324
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 66.9556 | 16.7389
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 66.5904 | 16.6476
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 27.0464 | 6.7616
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 23.5884 | 5.8971
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.396 | 0.099
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 3.4824 | 0.8706
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 33.2672 | 8.3168
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.3676 | 0.0919
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 27819534100 | 0.2144 | 0.0536
151 | TEXAS A&M | 0037722904TAM | 29.5864 | 7.3966
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.5796 | 0.1449
Total |  |  | 54812.8252 | 13703.2063

## August
Peak Interval Demand 08/26/2002 16:45 based on "FINAL" settlement run on 10/23/02 at 21:16
TDSP Code | Name | DUNS | 2002 Load Responsibility MW | 2002 Load Responsibility MWh
1 | RELIANT ENERGY HL AND P (TDSP) | 957877905 | 12832.7348 | 3208.1837
2 | TXU ELECTRIC CO (TDSP) | 1039940674000 | 22815.1336 | 5703.7834
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1254.3248 | 313.5812
5 | CPL ENERGY DELIVERY COMPANY (CPL-EDC) (TDSP) | 007924772 | 4391.37 | 1097.8425
7 | WTU ENERGY DELIVERY COMPANY (WTU-EDC) (TDSP) | 007923311 | 1106.7396 | 276.6849
8 | TXU SESCO CO (TDSP) | 0079280964000 | 0 | 0
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 100.9908 | 25.2477
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 34.7048 | 8.6762
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 17.41 | 4.3525
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 25.8936 | 6.4734
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 311.358 | 77.8395
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 0.1672 | 0.0418
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) ( | 0079370974000 | 19.9652 | 4.9913
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 93.798 | 23.4495
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 13.4988 | 3.3747
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 12.8792 | 3.2198
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 23.63 | 5.9075
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 61.0972 | 15.2743
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 11.3464 | 2.8366
31 | CITY OF BURNET (TDSP) | 0746121514000 | 16.3876 | 4.0969
32 | CITY OF CUERO (TDSP) | 0526842144000 | 25.5704 | 6.3926
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 5.1272 | 1.2818
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 31.1256 | 7.7814
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 89.5512 | 22.3878
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 13.5572 | 3.3893
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 5.6124 | 1.4031
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 17.7556 | 4.4389
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 8.7328 | 2.1832
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 12.2836 | 3.0709
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 15.8616 | 3.9654
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 22.704 | 5.676
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.9428 | 0.7357
44 | CITY OF LLANO (TDSP) | 0916952054000 | 11.4776 | 2.8694
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 24.5356 | 6.1339
46 | CITY OF LULING (TDSP) | 0105539984000 | 11.606 | 2.9015
47 | CITY OF MASON (TDSP) | 1561267084000 | 5.554 | 1.3885
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.3692 | 0.5923
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 98.9248 | 24.7312
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 9.158 | 2.2895
51 | CITY OF SANGER | 058956020 | 11.632 | 2.908
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 11.7288 | 2.9322
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 58.0624 | 14.5156
54 | CITY OF SEYMOUR | 166319145 | 8.3672 | 2.0918
55 | CITY OF SHINER (TDSP) | 1504533714000 | 9.214 | 2.3035
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 10.4452 | 2.6113
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 3.3052 | 0.8263
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 7.2448 | 1.8112
59 | CITY OF WHITESBORO | 134546522 | 8.4892 | 2.1223
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 16.662 | 4.1655
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 20.6064 | 5.1516
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 38.65 | 9.6625
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 37.8512 | 9.4628
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 58.4548 | 14.6137
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 12.4212 | 3.1053
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 564.682 | 141.1705
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 22.0868 | 5.5217
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 149.3364 | 37.3341
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 39.7032 | 9.9258
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 20.586 | 5.1465
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 20.8152 | 5.2038
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 116.1416 | 29.0354
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 238.874 | 59.7185
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 15.7132 | 3.9283
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 109.2896 | 27.3224
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 10.912 | 2.728
79 | J A C ELECTRIC CO OP INC | 003890795 | 17.8116 | 4.4529
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 1.9924 | 0.4981
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 104.462 | 26.1155
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 35.91 | 8.9775
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 2.3484 | 0.5871
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 22.2612 | 5.5653
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 259.54 | 64.885
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 57.0796 | 14.2699
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 20.066 | 5.0165
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 59.9524 | 14.9881
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 62.7248 | 15.6812
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 177.9088 | 44.4772
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 866.6716 | 216.6679
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 4.518 | 1.1295
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 89.6836 | 22.4209
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 69.8676 | 17.4669
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 23.93 | 5.9825
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 7.5404 | 1.8851
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 333.0712 | 83.2678
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 123.5176 | 30.8794
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 313.2268 | 78.3067
103 | WISE ELECTRIC CO OP | 041405408 | 67.454 | 16.8635
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 225.5764 | 56.3941
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 230.4064 | 57.6016
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) | 0079370974100 | 23.7864 | 5.9466
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 46.296 | 11.574
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2253.8344 | 563.4586
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 14.1216 | 3.5304
111 | CITY OF BRADY (TDSP) | 70804877 | 14.9712 | 3.7428
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 10.9652 | 2.7413
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 150.584 | 37.646
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 453.8424 | 113.4606
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 2.5132 | 0.6283
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 2.5132 | 0.6283
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 16.0704 | 4.0176
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 3984.3904 | 996.0976
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 265.6656 | 66.4164
125 | GEUS (TDSP) | 8062449354000 | 98.798 | 24.6995
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 37.7764 | 9.4441
127 | KARNES ELECTRIC CO OP INC | 006824106 | 48.8984 | 12.2246
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 80.2532 | 20.0633
129 | NUECES ELECTRIC CO OP INC | 008828857 | 44.8428 | 11.2107
130 | RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953 | 19.1024 | 4.7756
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 29.7724 | 7.4431
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 7.1008 | 1.7752
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0.1244 | 0.0311
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 71.8428 | 17.9607
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 70.0072 | 17.5018
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 30.088 | 7.522
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 26.228 | 6.557
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.2852 | 0.0713
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 3.7488 | 0.9372
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 36.7924 | 9.1981
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.4268 | 0.1067
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 27819534100 | 0.1428 | 0.0357
151 | TEXAS A&M | 0037722904TAM | 28.2024 | 7.0506
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.6264 | 0.1566
Total |  |  | 56231.288 | 14057.822

## September
Peak Interval Demand 09/5/2002 16:45 based on "FINAL" settlement run on 11/1/02 at 22:35
TDSP Code | Name | DUNS | 2002 Load Responsibility MW | 2002 Load Responsibility MWh
1 | RELIANT ENERGY HL AND P (TDSP) | 957877905 | 10615.0292 | 2653.7573
2 | TXU ELECTRIC CO (TDSP) | 1039940674000 | 22414.1808 | 5603.5452
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1061.2748 | 265.3187
5 | CPL ENERGY DELIVERY COMPANY (CPL-EDC) (TDSP) | 007924772 | 3794.3312 | 948.5828
7 | WTU ENERGY DELIVERY COMPANY (WTU-EDC) (TDSP) | 007923311 | 929.8588 | 232.4647
8 | TXU SESCO CO (TDSP) | 0079280964000 | 0 | 0
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 82.226 | 20.5565
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 29.3248 | 7.3312
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 15.5592 | 3.8898
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 23.3608 | 5.8402
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 273.232 | 68.308
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 0.2488 | 0.0622
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) ( | 0079370974000 | 16.4524 | 4.1131
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 72.2896 | 18.0724
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 11.8684 | 2.9671
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 11.4544 | 2.8636
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 19.838 | 4.9595
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 57.0836 | 14.2709
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 9.9532 | 2.4883
31 | CITY OF BURNET (TDSP) | 0746121514000 | 13.65 | 3.4125
32 | CITY OF CUERO (TDSP) | 0526842144000 | 23.0464 | 5.7616
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 4.4988 | 1.1247
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 24.1828 | 6.0457
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 75.4472 | 18.8618
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 12.0416 | 3.0104
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 4.53 | 1.1325
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 16.0348 | 4.0087
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 7.37 | 1.8425
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 9.4968 | 2.3742
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 13.6076 | 3.4019
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 19.51 | 4.8775
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.714 | 0.6785
44 | CITY OF LLANO (TDSP) | 0916952054000 | 9.3972 | 2.3493
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 21.0708 | 5.2677
46 | CITY OF LULING (TDSP) | 0105539984000 | 10.326 | 2.5815
47 | CITY OF MASON (TDSP) | 1561267084000 | 4.3136 | 1.0784
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.2108 | 0.5527
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 89.038 | 22.2595
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 7.6832 | 1.9208
51 | CITY OF SANGER | 058956020 | 10.0756 | 2.5189
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 10.3596 | 2.5899
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 51.0012 | 12.7503
54 | CITY OF SEYMOUR | 166319145 | 7.4592 | 1.8648
55 | CITY OF SHINER (TDSP) | 1504533714000 | 8.8444 | 2.2111
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 8.6908 | 2.1727
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 3.2368 | 0.8092
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 6.6592 | 1.6648
59 | CITY OF WHITESBORO | 134546522 | 7.7912 | 1.9478
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 15.27 | 3.8175
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 20.1312 | 5.0328
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 32.706 | 8.1765
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 34.182 | 8.5455
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 50.4404 | 12.6101
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 12.1028 | 3.0257
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 512.2672 | 128.0668
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 21.2616 | 5.3154
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 142.21 | 35.5525
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 34.0856 | 8.5214
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 18.4784 | 4.6196
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 18.0512 | 4.5128
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 109.1492 | 27.2873
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 201.692 | 50.423
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 13.1756 | 3.2939
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 96.7568 | 24.1892
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 11.056 | 2.764
79 | J A C ELECTRIC CO OP INC | 003890795 | 16.728 | 4.182
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 1.6652 | 0.4163
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 86.4844 | 21.6211
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 34.4164 | 8.6041
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 1.7724 | 0.4431
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 21.3856 | 5.3464
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 221.2592 | 55.3148
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 49.5828 | 12.3957
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 18.828 | 4.707
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 59.466 | 14.8665
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 57.3224 | 14.3306
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 163.7232 | 40.9308
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 701.2032 | 175.3008
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 3.8372 | 0.9593
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 79.266 | 19.8165
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 69.9432 | 17.4858
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 21.0912 | 5.2728
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 7.3156 | 1.8289
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 297.2124 | 74.3031
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 115.3 | 28.825
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 283.632 | 70.908
103 | WISE ELECTRIC CO OP | 041405408 | 56.8044 | 14.2011
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 200.742 | 50.1855
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 215.6264 | 53.9066
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) | 0079370974100 | 22.3048 | 5.5762
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 43.2852 | 10.8213
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 1984.7792 | 496.1948
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 12.89 | 3.2225
111 | CITY OF BRADY (TDSP) | 70804877 | 12.4864 | 3.1216
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 9.3264 | 2.3316
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 145.6584 | 36.4146
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 446.402 | 111.6005
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 2.4384 | 0.6096
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 9.7892 | 2.4473
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 13.4408 | 3.3602
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 3481.3612 | 870.3403
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 238.0916 | 59.5229
125 | GEUS (TDSP) | 8062449354000 | 97.6868 | 24.4217
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 28.2936 | 7.0734
127 | KARNES ELECTRIC CO OP INC | 006824106 | 42.05 | 10.5125
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 69.6084 | 17.4021
129 | NUECES ELECTRIC CO OP INC | 008828857 | 37.9908 | 9.4977
130 | RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953 | 17.7028 | 4.4257
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 25.176 | 6.294
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 6.3008 | 1.5752
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0.2828 | 0.0707
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 54.0528 | 13.5132
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 62.2148 | 15.5537
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 24.0348 | 6.0087
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 22.3492 | 5.5873
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.3056 | 0.0764
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 3.2088 | 0.8022
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 32.2732 | 8.0683
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.3636 | 0.0909
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 27819534100 | 0 | 0
151 | TEXAS A&M | 0037722904TAM | 30.9604 | 7.7401
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.5544 | 0.1386
Total |  |  | 51027.14 | 12756.785

## TDSP Code
TDSP
Code | Name | Duns
1 | RELIANT ENERGY HL AND P (TDSP) | 957877905
2 | TXU ELECTRIC CO (TDSP) | 1039940674000
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441
5 | CPL ENERGY DELIVERY COMPANY (CPL-EDC) (TDSP) | 007924772
6 | SWEPCO ENERGY DELIVERY COMPANY (SWEPCO-EDC) (TDSP) | 26763672
7 | WTU ENERGY DELIVERY COMPANY (WTU-EDC) (TDSP) | 007923311
8 | TXU SESCO CO (TDSP) | 0079280964000
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000
19 | BARTLETT ELECTRIC CO OP INC | 002781813
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) ( | 0079370974000
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000
26 | CITY OF BASTROP (TDSP) | 0851553724000
27 | CITY OF BELLVILLE (TDSP) | 0935648704000
28 | CITY OF BOERNE (TDSP) | 0052470694000
29 | CITY OF BRENHAM (TDSP) | 0741649224000
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000
31 | CITY OF BURNET (TDSP) | 0746121514000
32 | CITY OF CUERO (TDSP) | 0526842144000
33 | CITY OF FLATONIA (TDSP) | 0626890134000
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000
36 | CITY OF GIDDINGS (TDSP) | 0096899514000
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000
38 | CITY OF GONZALES (TDSP) | 0937385404000
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000
41 | CITY OF LA GRANGE (TDSP) | 0607085184000
42 | CITY OF LAMPASAS (TDSP) | 0203311204000
43 | CITY OF LEXINGTON (TDSP) | 0081817324000
44 | CITY OF LLANO (TDSP) | 0916952054000
45 | CITY OF LOCKHART (TDSP) | 0746168634000
46 | CITY OF LULING (TDSP) | 0105539984000
47 | CITY OF MASON (TDSP) | 1561267084000
48 | CITY OF MOULTON (TDSP) | 0091871544000
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000
50 | CITY OF SAN SABA (TDSP) | 0248592254000
51 | CITY OF SANGER | 058956020
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000
53 | CITY OF SEGUIN (TDSP) | 0862819794000
54 | CITY OF SEYMOUR | 166319145
55 | CITY OF SHINER (TDSP) | 1504533714000
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000
57 | CITY OF WAELDER (TDSP) | 0541779694000
58 | CITY OF WEIMAR (TDSP) | 0214974584000
59 | CITY OF WHITESBORO | 134546522
60 | CITY OF YOAKUM (TDSP) | 0694557724000
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913
68 | DEWITT ELECTRIC CO OP INC (TDSP) | 0089461884000
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206
79 | J A C ELECTRIC CO OP INC | 003890795
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123
100 | TRINITY VALLEY ELEC CO OP | 009844564
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826
103 | WISE ELECTRIC CO OP | 041405408
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) | 0079370974100
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000
110 | CITY OF BOWIE (TDSP) | 8094182964000
111 | CITY OF BRADY (TDSP) | 70804877
113 | CITY OF COLEMAN (TDSP) | 1024920064000
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000
117 | CITY OF GARLAND (TDSP) | 6011012564000
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000
125 | GEUS (TDSP) | 8062449354000
126 | JACKSON ELECTRICAL CO OP INC | 078423555
127 | KARNES ELECTRIC CO OP INC | 006824106
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000
129 | NUECES ELECTRIC CO OP INC | 008828857
130 | RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000
136 | VICTORIA ELECTRIC CO OP INC | 008953861
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 27819534100
149 | MEDINA ELECTRIC CO OP INC (TDSP) AEP | 0081378124100
151 | TEXAS A&M | 0037722904TAM
152 | SHARYLAND UTILITIES NOIE (TDSP) | 1052623364100
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000