## June
PRELIMINARY JUNE 4CP
Peak Demand on 06/30/2005 at interval ending 16:45 based on Channel 4 (FINAL) settlement run on 08/26/05
TDSP Code | Load Entity Name | DUNS | 2005 Load Responsibility MW | 2005 Load Responsibility MWh
1 | CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 957877905 | 14260.058 | 3565.0145
2 | TXU ELECTRIC DELIVERY (TDSP) | 1039940674000 | 22517.6308 | 5629.4077
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1371.8528 | 342.9632
5 | AEP TEXAS CENTRAL COMPANY | 007924772 | 4228.9612 | 1057.2403
7 | AEP TEXAS NORTH COMPANY | 007923311 | 1044.1412 | 261.0353
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 115.684 | 28.921
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 36.298 | 9.0745
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 16.2544 | 4.0636
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 23.3784 | 5.8446
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 340.49 | 85.1225
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 2.3696 | 0.5924
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) (TDSP) | 0079370974000 | 19.436 | 4.859
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 101.9132 | 25.4783
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 12.9012 | 3.2253
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 14.0704 | 3.5176
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 24.9892 | 6.2473
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 64.1224 | 16.0306
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 12.2768 | 3.0692
31 | CITY OF BURNET (TDSP) | 0746121514000 | 16.5548 | 4.1387
32 | CITY OF CUERO (TDSP) | 0526842144000 | 26.0432 | 6.5108
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 4.7236 | 1.1809
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 30.8612 | 7.7153
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 94.586 | 23.6465
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 13.4852 | 3.3713
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 5.4096 | 1.3524
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 17.698 | 4.4245
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 8.6324 | 2.1581
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 12.5236 | 3.1309
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 15.9308 | 3.9827
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 21.826 | 5.4565
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.5524 | 0.6381
44 | CITY OF LLANO (TDSP) | 0916952054000 | 9.912 | 2.478
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 23.3132 | 5.8283
46 | CITY OF LULING (TDSP) | 0105539984000 | 11.588 | 2.897
47 | CITY OF MASON (TDSP) | 1561267084000 | 5.1488 | 1.2872
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 1.7568 | 0.4392
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 96.4736 | 24.1184
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 8.4228 | 2.1057
51 | CITY OF SANGER | 058956020 | 13.3816 | 3.3454
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 12.1564 | 3.0391
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 56.0228 | 14.0057
54 | CITY OF SEYMOUR | 166319145 | 8.1436 | 2.0359
55 | CITY OF SHINER (TDSP) | 1504533714000 | 9.2592 | 2.3148
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 9.6 | 2.4
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 3.6092 | 0.9023
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 7.3108 | 1.8277
59 | CITY OF WHITESBORO | 134546522 | 9.0028 | 2.2507
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 17.3676 | 4.3419
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 19.5224 | 4.8806
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 37.7304 | 9.4326
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 37.9452 | 9.4863
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 62.1204 | 15.5301
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 14.3144 | 3.5786
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 766.1944 | 191.5486
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 32.4936 | 8.1234
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 190.4328 | 47.6082
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 46.6528 | 11.6632
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 20.3036 | 5.0759
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 18.8972 | 4.7243
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 158.1092 | 39.5273
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 262.7356 | 65.6839
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 15.5096 | 3.8774
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 120.8848 | 30.2212
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 13.9364 | 3.4841
79 | J A C ELECTRIC CO OP INC | 003890795 | 18.3332 | 4.5833
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 1.8356 | 0.4589
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 108.2688 | 27.0672
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 41.6496 | 10.4124
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 2.272 | 0.568
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 29.936 | 7.484
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 305.9508 | 76.4877
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 58.4444 | 14.6111
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 22.8404 | 5.7101
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 69.07 | 17.2675
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 68.7852 | 17.1963
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 191.7412 | 47.9353
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 939.8876 | 234.9719
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 5.1268 | 1.2817
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 111.1556 | 27.7889
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 68.5204 | 17.1301
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 24.2396 | 6.0599
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 5.8316 | 1.4579
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 402.0256 | 100.5064
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 144.1984 | 36.0496
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 329.7984 | 82.4496
103 | WISE ELECTRIC CO OP | 041405408 | 78.7348 | 19.6837
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 223.8808 | 55.9702
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 286.2012 | 71.5503
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) (TDSP) | 0079370974100 | 25.4372 | 6.3593
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 52.732 | 13.183
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2250.1604 | 562.5401
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 15.0596 | 3.7649
111 | CITY OF BRADY (TDSP) | 070804877 | 15.2652 | 3.8163
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 10.2136 | 2.5534
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 168.2592 | 42.0648
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 462.5396 | 115.6349
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.4668 | 0.1167
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 11.0316 | 2.7579
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 21.8812 | 5.4703
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 4073.6776 | 1018.4194
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 291.1588 | 72.7897
125 | GEUS (TDSP) | 8062449354000 | 100.5152 | 25.1288
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 38.7528 | 9.6882
127 | KARNES ELECTRIC CO OP INC | 006824106 | 53.2068 | 13.3017
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 91.7536 | 22.9384
129 | NUECES ELECTRIC CO OP INC | 008828857 | 46.5676 | 11.6419
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 30.8376 | 7.7094
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 12.4108 | 3.1027
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0 | 0
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 70.5732 | 17.6433
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 73.2204 | 18.3051
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 29.114 | 7.2785
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 27.4984 | 6.8746
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.4308 | 0.1077
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 4.3588 | 1.0897
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 37.0832 | 9.2708
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.4736 | 0.1184
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 0027819534100 | 28.6948 | 7.1737
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.7948 | 0.1987
155 | HOUSTON COUNTY ELEC COOP TXU (TDSP) | 0057772064100 | 3.7444 | 0.9361
158 | NUECES ELECTRIC COOP INC PILOT TDSP | 0088288574800 | 1 | 0.25
Total |  |  | 58185.548 | 14546.387