## CONTACT INFORMATION
Load Entity Information
Load Entity: | Brazos Electric Cooperative
Contact Person: | Eddie Johnson
Mailing Address Line 1: | PO Box 2585
Mailing Address Line 2:
City: | Waco
State: | Texas
Zip Code: | 76702-2585
Street Address Line 1: | 2404 LaSalle
Street Address Line 2:
City: | Waco
State: | Texas
Zip Code: | 76706
Company Internal Mail Code:
Telephone Number: | 254-750-6362
Facsimile (FAX) Number: | 254-750-6367
Internet email address: | ejohnson@brazoselectric.com

## 1700 June 19, 1998
REPORT FOR LOAD ENTITY ==> | BEPCL
LOAD ENTITY IN CONTROL AREA ==> | TMPPA
June 19, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Planned B # 4631 | 50000 | AENXA | AENXG
Planned B # 4630 | 50000 | AENXA | AENXG
Planned B # 4023 | 20000 | CSWSA | CSWSG
Planned D # 4581 | 68000 | CSWSA | CSWSG
Unplanned D # 4577 | 7000 | HLPTA | DOWCG
Planned D # 4593 | 50000 | CPSTA | CPSTG
Planned C # 0 | 50000 | TMPPA | BRYNG
Adjustment with TU for points not telemetered | 28000 | TUETA | TUEGG
Subtotal Receiving Transactions (A) | 323000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Planned D # 4009 | 20000 | PUBXA | PUBXL
Planned D # 9886 | 68000 | PUBXA | PUBXL
UnPlanned C # 4572 | 100000 | TUETA | TUETL
Adjustment with TU for points not telemetered | -3600 | TUETA | TUETL
Subtotal Sending Transactions (B) | 184400
GENERATION INFORMATION
Generation kW | 1120000
Less Gen Unit Main XFMR Losses kW | 2698 | <== Provide Calculations to ISO with Submission
Less Inadvertent kW | 9000
Subtotal Net Generation (C) | 1108302
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 323000
Subtotal Sending Transactions (B) | 184400
Subtotal Net Generation (C) | 1108302
Total Load Responsibility (A-B+C) | 1246902
Less Transmission Losses | 40626
Net Load * | 1206276
* Net Load as shown is actual high side metered load and should not have losses removed.
This load is metered load and is verifiable.

## 1700 July 31, 1998
REPORT FOR LOAD ENTITY ==> | BEPCL
LOAD ENTITY IN CONTROL AREA ==> | TMPPA
July 31, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Unplanned D # 3544 | 4000 | STECA | STECG
Planned B # 3622 | 100000 | AENXA | AENXG
Planned D # 2532 | 20000 | CSWSA | CSWSG
Planned D # 3676 | 68000 | CSWSA | CSWSG
Planned C # 3531 | 48000 | HLPTA | HLPTG
UnPlanned C # 3533 | 2000 | HLPTA | HLPTG
Planned D # 3534 | 50000 | CPSTA | CPSTG
Planned C # 0 | 50000 | TMPPA | BRYNG
Unplanned G # 9526 | 12000 | TMPPA | TMPPG
Unplanned G # 1420 | 13000 | TMPPA | TMPPG
Subtotal Receiving Transactions (A) | 367000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Planned D # 2537 | 20000 | PUBXA | PUBXL
Planned D # 3678 | 68000 | PUBXA | PUBXL
Subtotal Sending Transactions (B) | 88000
GENERATION INFORMATION
Generation kW | 1064000
Less Gen Unit Main XFMR Losses kW | 2501 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 1061499
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 367000
Subtotal Sending Transactions (B) | 88000
Subtotal Net Generation (C) | 1061499
Total Load Responsibility (A-B+C) | 1340499
Less Transmission Losses | 57656
Net Load * | 1282843
* Net Load as shown is actual high side metered load and should not have losses removed.
This load is metered load and is verifiable.

## 1600 August 3, 1998
REPORT FOR LOAD ENTITY ==> | BEPCL
LOAD ENTITY IN CONTROL AREA ==> | TMPPA
August 3, 1998 Hour Ending 16:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Planned D # 3917 | 50000 | CPSTA | CPSTG
Planned B # 3887 | 100000 | AENXA | AENXG
Planned C # 4179 | 48000 | HLPTA | HLPTG
UnPlanned C # 4183 | 2000 | HLPTA | HLPTG
Unplanned D # 4001 | 11000 | TMPPA | TMPPG
Planned D # 4474 | 20000 | CSWSA | CSWSG
Planned D # 4504 | 68000 | CSWSA | CSWSG
Planned C # 0 | 50000 | TMPPA | BRYNG
Subtotal Receiving Transactions (A) | 349000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Planned D # 4479 | 20000 | PUBXA | PUBXL
Planned D # 4505 | 68000 | PUBXA | PUBXL
Subtotal Sending Transactions (B) | 88000
GENERATION INFORMATION
Generation kW | 1129000
Less Gen Unit Main XFMR Losses kW | 2796 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 4000
Subtotal Net Generation (C) | 1122204
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 349000
Subtotal Sending Transactions (B) | 88000
Subtotal Net Generation (C) | 1122204
Total Load Responsibility (A-B+C) | 1383204
Less Transmission Losses | 64983
Net Load * | 1318221
* Net Load as shown is actual high side metered load and should not have losses removed.
This load is metered load and is verifiable.

## 1700 September 4, 1998
REPORT FOR LOAD ENTITY ==> | BEPCL
LOAD ENTITY IN CONTROL AREA ==> | TMPPA
September 4, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Planned C # 9832 | 50000 | CPSTA | CPSTG
Planned B # 9816 | 100000 | AENXA | AENXG
Planned C # 9840 | 48000 | HLPTA | HLPTG
UnPlanned C # 9842 | 2000 | HLPTA | HLPTG
Planned D # 8882 | 20000 | CSWSA | CSWSG
Planned D # 9925 | 68000 | CSWSA | CSWSG
Unplanned D # 9877 | 1000 | STECA | STECG
Unplanned G # 9860 | 50000 | TNPXA | TNPXG
Planned G # 0 | 15000 | TMPPA | BRYNG
Subtotal Receiving Transactions (A) | 354000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Planned D # 8877 | 20000 | PUBXA | PUBXL
Planned D # 9886 | 68000 | PUBXA | PUBXL
Subtotal Sending Transactions (B) | 88000
GENERATION INFORMATION
Generation kW | 1087000
Less Gen Unit Main XFMR Losses kW | 2648 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -5000
Subtotal Net Generation (C) | 1089352
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 354000
Subtotal Sending Transactions (B) | 88000
Subtotal Net Generation (C) | 1089352
Total Load Responsibility (A-B+C) | 1355352
Less Transmission Losses | 40265
Net Load * | 1315087
* Net Load as shown is actual high side metered load and should not have losses removed.
This load is metered load and is verifiable.