## 97 FOUR CP
Integrated Peak Hour Demand 6/30/1997 17:00
|  | Submitted Data from Load Entities |  |  |  | Actual Reported Data by Control Area
Load Entity | Control Area | Submitted Load kW (does not include GSU losses) | Submitted GSU Losses kW | Submitted Transmission Losses kW | Submitted Control Area Total kW | June Demand & Energy Report MW | Amount Difference MW | Percent Difference D&E and Submit
Austin Electric Utility | AEUX | 1640586 | 2377 | - | 1642963 | 1643 | -0.037 | -0.002252%
City Public Service of SA | CPST | 3020720 | 8280 | - | 3029000 | 3029 | 0 | 0%
Central Power & Light | CSWS | 3776619.7 | 7989.3 | - | 5081538 | 5097 | -15.462 | -0.3034%
West Texas Utilities | CSWS | 1155586.4 | 3413.6 | - | - | - | - | -
City of Weatherford | CSWS | 50000 | - | - | - | - | - | -
TexLa Electric Coop | CSWS | 87929 | - | - | - | - | - | -
Houston Lighting & Power Company | HLPT | 12320226 | 36990 | - | 12357216 | 12317 | 40.216 | 0.3265%
Lower Colorado River Authority | LCRA | 1959265 | 2735 | - | 1962000 | 1919 | 43 | 2.241%
Public Utilties Board, Brownsville | PUBX | 162681.9 | 318.1 | - | 163000 | 163 | 0 | 0%
Medina Electric Coop | STEC | 47307 | - | - | 251030 | 248 | 3.03 | 1.222%
South Texas Electric Coop | STEC | 203723 | - | - | - | - | - | -
City of Bryan | TMPP | 208000 | - | - | 1990189 | 2000 | -9.811 | -0.4905%
City of Granbury | TMPP | 14189 | - | - | - | - | - | -
Brazos Electric Coop * | TMPP | 1015858.9 | 3131.1 | 25010 | - | - | - | -
Greenville Electric Utility | TMPP | 89093 | - | - | - | - | - | -
City of Garland | TMPP | 418558 | - | - | - | - | - | -
City of Denton | TMPP | 202349 | - | - | - | - | - | -
Brazos Power Marketing | TMPP | 14000 | - | - | - | - | - | -
Cap Rock Hunt Collin | TNMP | 10540 | - | - | 627800 | 668 | -40.2 | -6.018%
Texas New Mexico Power Company | TNMP | 616360 | 900 | - | - | - | - | -
TU Electric | TUET | 17795000 | 54000 | - | 18449845 | 18338 | 111.845 | 0.6099%
City of College Station | TUET | 113000 | - | - | - | - | - | -
Rayburn Country Electric Coop | TUET | 277845 | - | - | - | - | - | -
Southwestern Electric Service Company | TUET | 210000 | - | - | - | - | - | -
SUBTOTAL |  | 45409436.9 | 120134.1 | 25010 | 45554581 | 45422 | 132.581 | 0.2919%
*Note : This information is metered load and is verifiable.
Integrated Peak Hour Demand 7/28/1997 17:00
|  | Submitted Data from Load Entities |  |  |  | Actual Reported Data by Control Area
Load Entity | Control Area | Submitted Load kW (does not include GSU losses) | Submitted GSU Losses kW | Submitted Transmission Losses kW | Submitted Control Area Total kW | June Demand & Energy Report MW | Amount Difference MW | Percent Difference D&E and Submit
Austin Electric Utility | AEUX | 1821174 | 2637 | - | 1823811 | 1824 | -0.189 | -0.01036%
City Public Service of SA | CPST | 3317341 | 8659 | - | 3326000 | 3326 | 0 | 0%
Central Power & Light | CSWS | 4029447.7 | 8524.3 | - | 5446181 | 5461 | -14.819 | -0.2714%
West Texas Utilities | CSWS | 1255075.1 | 2924.9 | - | - | - | - | -
City of Weatherford | CSWS | 54000 | - | - | - | - | - | -
TexLa Electric Coop | CSWS | 96209 | - | - | - | - | - | -
Houston Lighting & Power Company | HLPT | 13124164 | 39890 | - | 13164054 | 13072 | 92.054 | 0.7042%
Lower Colorado River Authority | LCRA | 2173985 | 3015 | - | 2177000 | 2128 | 49 | 2.303%
Public Utilties Board, Brownsville | PUBX | 176699.6 | 300.4 | - | 177000 | 177 | 0 | 0%
Medina Electric Coop | STEC | 64812 | - | - | 281017 | 280 | 1.017 | 0.3632%
South Texas Electric Coop | STEC | 216205 | - | - | - | - | - | -
City of Bryan | TMPP | 227000 | - | - | 2244786 | 2217 | 27.786 | 1.253%
City of Granbury | TMPP | 14787 | - | - | - | - | - | -
Brazos Electric Coop * | TMPP | 1149664 | 3901 | 44435 | - | - | - | -
Greenville Electric Utility | TMPP | 96387 | - | - | - | - | - | -
City of Garland | TMPP | 464946 | - | - | - | - | - | -
City of Denton | TMPP | 228666 | - | - | - | - | - | -
Brazos Power Marketing | TMPP | 15000 | - | - | - | - | - | -
Cap Rock Hunt Collin | TNMP | 13040 | - | - | 682800 | 731 | -48.2 | -6.594%
Texas New Mexico Power Company | TNMP | 668860 | 900 | - | - | - | - | -
TU Electric | TUET | 19383000 | 63000 | - | 20130411 | 20053 | 77.411 | 0.386%
City of College Station | TUET | 122000 | - | - | - | - | - | -
Rayburn Country Electric Coop | TUET | 326411 | - | - | - | - | - | -
Southwestern Electric Service Company | TUET | 236000 | - | - | - | - | - | -
|  | 49274873.4 | 133751.6 | 44435 | 49453060 | 49269 | 184.06 | 0.3736%
Integrated Peak Hour Demand 8/20/1997 17:00
|  | Submitted Data from Load Entities |  |  |  | Actual Reported Data by Control Area
Load Entity | Control Area | Submitted Load kW (does not include GSU losses) | Submitted GSU Losses kW | Submitted Transmission Losses kW | Submitted Control Area Total kW | June Demand & Energy Report MW | Amount Difference MW | Percent Difference D&E and Submit
Austin Electric Utility | AEUX | 1862326 | 3122 |  | 1865448 | 1865 | 0.448 | 0.02402%
City Public Service of SA | CPST | 3439528 | 8472 |  | 3448000 | 3448 | 0 | 0%
Central Power & Light | CSWS | 4233811.7 | 8698.3 |  | 5624447 | 5635 | -10.553 | -0.1873%
West Texas Utilities | CSWS | 1226124.1 | 2875.9 |  | - | - | - | -
City of Weatherford | CSWS | 58000 | - |  | - | - | - | -
TexLa Electric Coop | CSWS | 94937 | - |  | - | - | - | -
Houston Lighting & Power Company | HLPT | 13283418 | 39490 |  | 13322908 | 13223 | 99.908 | 0.7556%
Lower Colorado River Authority | LCRA | 2254740 | 3260 |  | 2258000 | 2198 | 60 | 2.73%
Public Utilties Board, Brownsville | PUBX | 181701.7 | 298.4 |  | 182000.1 | 182 | 0.0001 | 5.495e-05%
Medina Electric Coop | STEC | 65906 | - |  | 302871 | 304 | -1.129 | -0.3714%
South Texas Electric Coop | STEC | 236965 | - |  | - | - | - | -
City of Bryan | TMPP | 234000 | - |  | 2252287 | 2204 | 48.287 | 2.191%
City of Granbury | TMPP | 9288 | - |  | - | - | - | -
Brazos Electric Coop * | TMPP | 1156684.3 | 3884.7 | 42431 | - | - | - | -
Greenville Electric Utility | TMPP | 96800 | - |  | - | - | - | -
City of Garland | TMPP | 455891 | - |  | - | - | - | -
City of Denton | TMPP | 223308 | - |  | - | - | - | -
Brazos Power Marketing | TMPP | 30000 | - |  | - | - | - | -
Cap Rock Hunt Collin | TNMP | 12530 | - |  | 689800 | 740 | -50.2 | -6.784%
Texas New Mexico Power Company | TNMP | 676470 | 800 |  | - | - | - | -
TU Electric | TUET | 19673000 | 64000 |  | 20419047 | 20351 | 68.047 | 0.3344%
City of College Station | TUET | 126000 | - |  | - | - | - | -
Rayburn Country Electric Coop | TUET | 317047 | - |  | - | - | - | -
Southwestern Electric Service Company | TUET | 239000 | - |  | - | - | - | -
|  | 50187475.8 | 134901.3 | 42431 | 50364808.1 | 50150 | 214.8081 | 0.4283%
Integrated Peak Hour Demand 9/17/1997 17:00
|  | Submitted Data from Load Entities |  |  |  | Actual Reported Data by Control Area
Load Entity | Control Area | Submitted Load kW (does not include GSU losses) | Submitted GSU Losses kW | Submitted Transmission Losses kW | Submitted Control Area Total kW | June Demand & Energy Report MW | Amount Difference MW | Percent Difference D&E and Submit
Austin Electric Utility | AEUX | 1808207 | 3229 |  | 1811436 | 1811 | 0.436 | 0.02408%
City Public Service of SA | CPST | 3294142 | 7858 |  | 3302000 | 3302 | 0 | 0%
Central Power & Light | CSWS | 3931456.7 | 8103.3 |  | 5383774 | 5401 | -17.226 | -0.3189%
West Texas Utilities | CSWS | 1298638.8 | 2361.2 |  | - |  | - | -
City of Weatherford | CSWS | 57000 | - |  | - |  | - | -
TexLa Electric Coop | CSWS | 86214 | - |  | - |  | - | -
Houston Lighting & Power Company | HLPT | 12589170 | 35740 |  | 12624910 | 12545 | 79.91 | 0.637%
Lower Colorado River Authority | LCRA | 2079414 | 2586 |  | 2082000 | 2032 | 50 | 2.461%
Public Utilties Board, Brownsville | PUBX | 153714.4 | 285.6 |  | 154000 | 154 | 0 | 0%
Medina Electric Coop | STEC | 65471 | - |  | 277098 | 280 | -2.902 | -1.036%
South Texas Electric Coop | STEC | 211627 | - |  | - |  | - | -
City of Bryan | TMPP | 230000 | - |  | 2188073 | 2205 | -16.927 | -0.7677%
City of Granbury | TMPP | 7074 | - |  | - |  | - | -
Brazos Electric Coop * | TMPP | 1136567.5 | 4195.5 | 30237 | - |  | - | -
Greenville Electric Utility | TMPP | 93514 | - |  | - |  | - | -
City of Garland | TMPP | 430547 | - |  | - |  | - | -
City of Denton | TMPP | 223938 | - |  | - |  | - | -
Brazos Power Marketing | TMPP | 32000 | - |  | - |  | - | -
Cap Rock Hunt Collin | TNMP | 11980 | - |  | 663800 | 706 | -42.2 | -5.977%
Texas New Mexico Power Company | TNMP | 651020 | 800 |  | - |  | - | -
TU Electric | TUET | 19239000 | 63000 |  | 19952015 | 19861 | 91.015 | 0.4583%
City of College Station | TUET | 123000 | - |  | - |  | - | -
Rayburn Country Electric Coop | TUET | 301015 | - |  | - |  | - | -
Southwestern Electric Service Company | TUET | 226000 | - |  | - |  | - | -
|  | 48280710.4 | 128158.6 | 30237 | 48439106 | 48297 | 142.106 | 0.2942%
|  |  |  | 142113 | 35528.25
PRELIMINARY 1997 Four Coincident Peak Load Calculation as of 2/16/98
Load Entity | Control Area | Average 4CP Load kW | ERCOT ES PIETF 1997 Summer On Peak Loss Adjustment Factor Percent | Average 4CP Load at Delivery Point kW | ERCOT ES PIETF 1997 Summer On Peak VAMO Loss Allocation Percent | 1997 Load Responsibility kW | Load Ratio Share
Austin Electric Utility | AEUX | 1783073.3 | 1.8785 | 1750195.4 | 1.9599 | 1784497.5 | 3.693%
City Public Service of SA | CPST | 3267932.8 | 1.3955 | 3222956.1 | 1.3611 | 3266822.5 | 6.761%
Central Power & Light | CSWS | 3992834 | 4.7613 | 3811365.4 | 3.5995 | 3948555.1 | 8.172%
West Texas Utilities | CSWS | 1233856.1 | 3.77 | 1189029.7 | 3.8193 | 1234442.1 | 2.555%
City of Weatherford | CSWS | 54750 | 0 | 54750 | 6.235 | 58163.6 | 0.1204%
TexLa Electric Coop | CSWS | 91322.3 | 0.01619 | 91307.5 | 4.8892 | 95771.7 | 0.1982%
Houston Lighting & Power Company | HLPT | 12829244.5 | 1.4297 | 12648406.4 | 1.319 | 12815236.4 | 26.52%
Lower Colorado River Authority | LCRA | 2116851 | 2.8174 | 2058844.5 | 2.3682 | 2107602.7 | 4.362%
Public Utilties Board, Brownsville | PUBX | 168699.4 | 0.31006 | 168177.9 | 2.1865 | 171855.1 | 0.3557%
Medina Electric Coop | STEC | 60874 | 5.4337 | 57736.7 | 4.6338 | 60412.1 | 0.125%
South Texas Electric Coop | STEC | 217130 | 5.4337 | 205939.7 | 4.6338 | 215482.6 | 0.446%
City of Bryan | TMPP | 224750 | 1.7435 | 220898.5 | 1.9545 | 225216 | 0.4661%
City of Granbury | TMPP | 11334.5 | 0 | 11334.5 | 5.8479 | 11997.3 | 0.02483%
Brazos Electric Coop | TMPP | 1114693.7 | 0 | 1114693.7 | 3.1235 | 1149511.4 | 2.379%
Greenville Electric Utility | TMPP | 93948.5 | 1.7435 | 92338.5 | 2.5413 | 94685.1 | 0.196%
City of Garland | TMPP | 442485.5 | 1.7435 | 434902.8 | 2.5413 | 445955.2 | 0.923%
City of Denton | TMPP | 219565.3 | 1.7435 | 215802.7 | 2.5413 | 221287 | 0.458%
Brazos Power Marketing | TMPP | 22750 | 0 | 22750 | 3.1235 | 23460.6 | 0.04856%
Cap Rock Hunt Collin | TNMP | 12022.5 | 0 | 12022.5 | 7.4366 | 12916.6 | 0.02673%
Texas New Mexico Power Company | TNMP | 653177.5 | 0.74196 | 648366.9 | 2.7302 | 666068.9 | 1.379%
TU Electric | TUET | 19022500 | 2.1102 | 18629379.1 | 2.0961 | 19019863.9 | 39.37%
City of College Station | TUET | 121000 | 0.28892 | 120651.4 | 4.4983 | 126078.7 | 0.2609%
Rayburn Country Electric Coop | TUET | 305579.5 | 0.14138 | 305148.1 | 3.135 | 314714.6 | 0.6514%
Southwestern Electric Service Company | TUET | 227750 | 0.84428 | 225843.3 | 8.5171 | 245078.6 | 0.5072%
|  | 48288124.4 |  | 47312841.3 |  | 48315675.3 | 100%
IMPORTANT
This information should NOT be used for billing purposes until this information is validated
by the ERCOT ES Power Interchange Effects and Generation Adequacy Task Forces.
This is preliminary data.