## June 19, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation |  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent |  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load |  | 0 | 0 | [11 empty] | 0
|  | 0 | [12 empty] | 0
Power Sales from TUEC | College Station | 119600 | [10 empty] | 119600 |  | 119600
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals | College Station | 119600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 119600 | 0 | 119600
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## July 22, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation |  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent |  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load |  | 0 | 0 | [11 empty] | 0
|  | 0 | [12 empty] | 0
Power Sales from TUEC | College Station | 119520 | [10 empty] | 119520 |  | 119520
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals | College Station | 119520 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 119520 | 0 | 119520
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## August 5, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation |  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent |  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load |  | 0 | 0 | [11 empty] | 0
|  | 0 | [12 empty] | 0
Power Sales from TUEC | College Station | 119880 | [10 empty] | 119880 |  | 119880
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals | College Station | 119880 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 119880 | 0 | 119880
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## September 10, 1996 @1800
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation |  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent |  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load |  | 0 | 0 | [11 empty] | 0
|  | 0 | [12 empty] | 0
Power Sales from TUEC | College Station | 111240 | [10 empty] | 111240 |  | 111240
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals | College Station | 111240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 111240 | 0 | 111240
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## Gens
Generator Group Name: | Group 1
Generator Unit Name | Available Capability | Nominated Capability
Bio-Energy Partners | 2 | 0.013705
Cogeneron Cogen | 410 | 2.8095
Collin 1 | 153 | 1.0484
Dallas 3 | 75 | 0
Dallas 9 | 70 | 0
DeCordova 1 | 818 | 5.6054
DeCordova CT1 | 78 | 0.5345
DeCordova CT2 | 78 | 0.5345
DeCordova CT3 | 78 | 0.5345
DeCordova CT4 | 78 | 0.5345
Eagle Mountain 1 | 119 | 0.81545
Eagle Mountain 2 | 175 | 1.1992
Eagle Mountain 3 | 375 | 2.5697
Encogen One Cogen | 255 | 1.7474
Falcon Seaboard Cogen | 200 | 1.3705
Graham 1 | 240 | 1.6446
Graham 2 | 402 | 2.7547
Handley 1 | 45 | 0
Handley 2 | 80 | 0.5482
Handley 3 | 400 | 2.741
Handley 4 | 458 | 3.1385
Handley 5 | 458 | 3.1385
Lake Creek 1 | 87 | 0.59617
Lake Creek 2 | 230 | 1.5761
Lake Creek Diesels | 6 | 0
Lake Hubbard 1 | 393 | 2.6931
Lake Hubbard 2 | 528 | 3.6181
Morgan Creek 2 | 22 | 0
Morgan Creek 3 | 44 | 0
Sub-Total Generation Group 1 | 6357 | 41.7663
Generator Group Name: | Group 1 (Continued)
Generator Unit Name | Available Capability | Nominated Capability
Morgan Creek 4 | 70 | 0.47968
Morgan Creek 5 | 175 | 1.1992
Morgan Creek 6 | 511 | 3.5017
Morgan Creek CT1 | 74 | 0.50709
Morgan Creek CT2 | 74 | 0.50709
Morgan Creek CT3 | 74 | 0.50709
Morgan Creek CT4 | 74 | 0.50709
Morgan Creek CT5 | 74 | 0.50709
Morgan Creek CT6 | 74 | 0.50709
Mountain Creek 2 | 33 | 0
Mountain Creek 3 | 70 | 0
Mountain Creek 6 | 128 | 0.87713
Mountain Creek 7 | 125 | 0.85657
Mountain Creek 8 | 550 | 3.7689
North Lake 1 | 175 | 1.1992
North Lake 2 | 175 | 1.1992
North Lake 3 | 365 | 2.5012
North Main 4 | 80 | 0
Parkdale 1 | 87 | 0.59617
Parkdale 2 | 115 | 0.78804
Parkdale 3 | 125 | 0.85657
Permian Basin 5 | 115 | 0.78804
Permian Basin 6 | 540 | 3.7004
Permian Basin CT1 | 66 | 0.45227
Permian Basin CT2 | 66 | 0
Permian Basin CT3 | 66 | 0.45227
Permian Basin CT4 | 66 | 0.45227
Permian Basin CT5 | 66 | 0.45227
River Crest 1 | 110 | 0
Sub-Total Generation Group 1 | 4323 | 27.1635
Generator Group Name: | Group 1 (Continued)
Generator Unit Name | Available Capability | Nominated Capability
Stryker Creek 1 | 175 | 1.1992
Stryker Creek 2 | 500 | 3.4263
Stryker Creek Diesels | 10 | 0
Tenaska Cogen | 223 | 1.5281
Tradinghouse 1 | 565 | 3.8717
Tradinghouse 2 | 818 | 5.6054
Trinidad 6 | 240 | 1.6446
Trinidad Diesels | 4 | 0
Valley 1 | 175 | 1.1992
Valley 2 | 550 | 3.7689
Valley 3 | 390 | 2.6725
Wichita Falls Cogen | 74 | 0.50709
Sub-Total Generation Group 1 | 3724 | 25.423
Total Generation Group 1 | 14404 | 94.3528
Generator Group Name: | Group 2
Generator Unit Name | Available Capability | Nominated Capability
Big Brown 1 | 575 | 3.9402
Big Brown 2 | 575 | 3.9402
Comanche Peak 1 | 1150 | 7.8804
Comanche Peak 2 | 1150 | 7.8804
Martin Lake 1 | 750 | 5.1394
Martin Lake 2 | 750 | 5.1394
Martin Lake 3 | 750 | 5.1394
Monticello 1 | 565 | 3.8717
Monticello 2 | 565 | 3.8717
Monticello 3 | 750 | 5.1394
Sandow 4 | 555 | 3.8032
Total Generation Group 2 | 8135 | 55.7455

## VAMM
College Station
Generator Groups
|  | Forecasted |  | Group 1 | Group 2 |  |  | Total
| Type of | 1997 Firm | Capability-MW: | 94.3528 | 55.7455 |  |  | 150.0983
Load Groups | Nomination | Peak Demand
|  |  | Nominated | 100% | 100% |  |  | 100%
College Station Load | Purchase | 130.5 | 115% | 94.35 | 55.75 |  |  | 150.1
0
0
0
0
0
0
0
Totals |  | 130.5 |  | 94.35 | 55.75 | 0 | 0 | 150.1
Calculated Capability not Nominated |  |  |  | 0.0027883 | -0.0044896 | 0 | 0 | -0.0017013

## Document
Date | Hour | College Station
| Ending | Demand
1996-06-19 | 17:00 | 119.6 | 119600
1996-07-22 | 17:00 | 119.52 | 119520
1996-08-05 | 17:00 | 119.88 | 119880
1996-09-10 | 18:00 | 111.24 | 111240