## CONTACT INFORMATION
Load Serving Entity Information
Load Serving Entity: | Rio Grande Electric Cooperative
Contact Person: | Daniel G. Laws
Mailing Address Line 1: | PO Box 1509
Mailing Address Line 2:
City: | Brackettville
State: | Texas
Zip Code: | 78832
Street Address Line 1: | Intersection of SH 131& US 90
Street Address Line 2:
City: | Brackettville
State: | Texas
Zip Code: | 78832
Company Internal Mail Code:
Telephone Number: | (830) 563-2444
Facsimile (FAX) Number: | (830) 563-2006
Internet email address: | rgecdl@ms1.hilconet.com

## 1700 June 28, 1999
REPORT FOR LOAD ENTITY ==> | RIO GRANDE
LOAD ENTITY IN CONTROL AREA ==> | CSWSA
June 28, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
WTU | 14983.68 | CSWSA | WTU
Subtotal Receiving Transactions (A) | 14983.68
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Subtotal Sending Transactions (B) | 0
GENERATION INFORMATION
Generation kW | 0
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 0
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 14983.68
Subtotal Sending Transactions (B) | 0
Subtotal Net Generation (C) | 0
Total Load Responsibility (A-B+C) | 14983.68

## 1700 July 29, 1999
REPORT FOR LOAD ENTITY ==> | RIO GRANDE
LOAD ENTITY IN CONTROL AREA ==> | CSWSA
July 29, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
WTU | 14808.36 | CSWSA | WTU
Subtotal Receiving Transactions (A) | 14808.36
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Subtotal Sending Transactions (B) | 0
GENERATION INFORMATION
Generation kW | 0
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 0
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 14808.36
Subtotal Sending Transactions (B) | 0
Subtotal Net Generation (C) | 0
Total Load Responsibility (A-B+C) | 14808.36

## 1700 August 26, 1999
REPORT FOR LOAD ENTITY ==> | RIO GRANDE
LOAD ENTITY IN CONTROL AREA ==> | CSWSA
August 26, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
WTU | 14306.91 | CSWSA | WTU
Subtotal Receiving Transactions (A) | 14306.91
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Subtotal Sending Transactions (B) | 0
GENERATION INFORMATION
Generation kW | 0
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 0
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 14306.91
Subtotal Sending Transactions (B) | 0
Subtotal Net Generation (C) | 0
Total Load Responsibility (A-B+C) | 14306.91

## 1700 September 7, 1999
REPORT FOR LOAD ENTITY ==> | RIO GRANDE
LOAD ENTITY IN CONTROL AREA ==> | CSWSA
September 7, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
WTU | 14132.97 | CSWSA | WTU
Subtotal Receiving Transactions (A) | 14132.97
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Subtotal Sending Transactions (B) | 0
GENERATION INFORMATION
Generation kW | 0
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 0
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 14132.97
Subtotal Sending Transactions (B) | 0
Subtotal Net Generation (C) | 0
Total Load Responsibility (A-B+C) | 14132.97