## June 19, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | LCRA | 2662700 | 2662700 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | LCRA | -4000 | [13 empty] | 0 | -4000
|  | 0 | [13 empty] | 0
FPP & MCC equipment loss | LCRA | 0 | [13 empty] | 0
Replacement Purchase | LCRA | 75000 |  | 75000 | [11 empty] | 75000
Firm Purchase | LCRA | 0 | [13 empty] | 0
Emergancy Puarchase | LCRA | 5000 | [8 empty] | 5000 |  |  |  |  | 5000
SRS | LCRA | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Load true up to STEC | STEC | -2000 | [5 empty] | -2000 | [7 empty] | -2000
Load true up to WTU | WTU | -20000 | [5 empty] | -20000 | [7 empty] | -20000
Load true up to TUE | TUE | -10000 | [5 empty] | -10000 | [7 empty] | -10000
COA Share of FPP | COA | -570000 | [5 empty] | -570000 | [7 empty] | -570000
Sale to SESCO | TUE | -75000 | [5 empty] | -75000 | [7 empty] | -75000
SRS | HLP | -1000 | [5 empty] | -1000 | [7 empty] | -1000
Totals | LCRA | 2060700 | 2662700 | 75000 | 0 | 0 | 0 | -678000 | 0 | 0 | 5000 | 0 | 0 | 0 | 0 | -598000 | -4000
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | LCRA | 2060700 | 2060700 | [11 empty] | 0
COA load served by LCRA | COA | -1035 | [5 empty] | -1035 | [6 empty] | -1035
CPL load served by LCRA | CPL | -3227 | [5 empty] | -3227 | [6 empty] | -3227
Hunt Collins load served by LCRA | LCRA | -10860 | [5 empty] | -10860 | [6 empty] | -10860
|  | 0 | [12 empty] | 0
Generator Step Up Loses (COA) | [14 empty] | 0
Generator Step Up Loses (LCRA) | [14 empty] | 0
FPP Start up Transformer Load (COA) | LCRA | 2150 |  | 2150 | [10 empty] | 2150
FPP Start up Transformer Load (LCRA) |  | 0 | [12 empty] | 0
LCRA load served by CPL | CPL | 1938 |  |  | 1938 | [9 empty] | 1938
LCRA load served by STEC | LCRA | 4373 | [7 empty] | 4373 |  |  |  |  | 4373
LCRA load served by COA | LCRA | 2105 |  | 2105 | [10 empty] | 2105
LCRA load served by TUE | LCRA | 13324 | [10 empty] | 13324 |  | 13324
LCRA load served by WTU | LCRA | 24714 | [11 empty] | 24714 | 24714
Totals | LCRA | 2094182 | 2060700 | 4255 | 1938 | 0 | 0 | -15122 | 0 | 4373 | 0 | 0 | 13324 | 24714 | 33482
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## July 22, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | LCRA | 2645600 | 2645600 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | LCRA | -2000 | [13 empty] | 0 | -2000
|  | 0 | [13 empty] | 0
FPP & MCC equipment loss | LCRA | 0 | [13 empty] | 0
Replacement Purchase | LCRA | 70000 | [10 empty] | 70000 |  |  | 70000
Firm Purchase | LCRA | 0 | [13 empty] | 0
Emergancy Puarchase | LCRA | 0 | [13 empty] | 0
SRS | LCRA | 3000 |  |  |  |  | 3000 | [8 empty] | 3000
|  | 0 | [13 empty] | 0
Load true up to STEC | STEC | -4000 | [5 empty] | -4000 | [7 empty] | -4000
Load true up to WTU | WTU | -20000 | [5 empty] | -20000 | [7 empty] | -20000
Load true up to TUE | TUE | -10000 | [5 empty] | -10000 | [7 empty] | -10000
COA Share of FPP | COA | -566000 | [5 empty] | -566000 | [7 empty] | -566000
Sale to SESCO | TUE | -71000 | [5 empty] | -71000 | [7 empty] | -71000
SRS | HLP | -1000 | [5 empty] | -1000 | [7 empty] | -1000
Totals | LCRA | 2044600 | 2645600 | 0 | 0 | 0 | 3000 | -672000 | 0 | 0 | 0 | 0 | 70000 | 0 | 0 | -599000 | -2000
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | LCRA | 2044600 | 2044600 | [11 empty] | 0
COA load served by LCRA | COA | -1050 | [5 empty] | -1050 | [6 empty] | -1050
CPL load served by LCRA | CPL | -3170 | [5 empty] | -3170 | [6 empty] | -3170
Hunt Collins load served by LCRA | LCRA | -11820 | [5 empty] | -11820 | [6 empty] | -11820
|  | 0 | [12 empty] | 0
Generator Step Up Loses (COA) | COA | 0 | [12 empty] | 0
Generator Step Up Loses (LCRA) | LCRA | 0 | [12 empty] | 0
FPP Start up Transformer Load (COA) | LCRA | 2200 |  | 2200 | [10 empty] | 2200
FPP Start up Transformer Load (LCRA) | LCRA | 0 | [12 empty] | 0
LCRA load served by CPL | LCRA | 1845 |  |  | 1845 | [9 empty] | 1845
LCRA load served by STEC | LCRA | 4288 | [7 empty] | 4288 |  |  |  |  | 4288
LCRA load served by COA | LCRA | 2134 |  | 2134 | [10 empty] | 2134
LCRA load served by TUE | LCRA | 13118 | [10 empty] | 13118 |  | 13118
LCRA load served by WTU | LCRA | 24231 | [11 empty] | 24231 | 24231
Totals | LCRA | 2076376 | 2044600 | 4334 | 1845 | 0 | 0 | -16040 | 0 | 4288 | 0 | 0 | 13118 | 24231 | 31776
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## August 5, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | LCRA | 2519100 | 2519100 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | LCRA | 0 | [13 empty] | 0
|  | -3000 | [13 empty] | 0 | -3000
FPP & MCC equipment loss | LCRA | 0 | [13 empty] | 0
Replacement Purchase | LCRA | 118000 |  |  |  |  | 118000 | [8 empty] | 118000
Firm Purchase | LCRA | 100000 |  | 100000 | [11 empty] | 100000
Emergancy Puarchase | LCRA | 0 | [13 empty] | 0
SRS | LCRA | 3000 |  |  |  |  | 3000 | [8 empty] | 3000
|  | 0 | [13 empty] | 0
Load true up to STEC | STEC | -4000 | [5 empty] | -4000 | [7 empty] | -4000
Load true up to WTU | WTU | -20000 | [5 empty] | -20000 | [7 empty] | -20000
Load true up to TUE | TUE | 0 | [13 empty] | 0
COA Share of FPP | COA | -564000 | [5 empty] | -564000 | [7 empty] | -564000
Sale to SESCO | TUE | -71000 | [5 empty] | -71000 | [7 empty] | -71000
SRS | HLP | -6000 | [5 empty] | -6000 | [7 empty] | -6000
Totals | LCRA | 2072100 | 2519100 | 100000 | 0 | 0 | 121000 | -665000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -444000 | -3000
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | LCRA | 2072100 | 2072100 | [11 empty] | 0
COA load served by LCRA | COA | -993 | [5 empty] | -993 | [6 empty] | -993
CPL load served by LCRA | CPL | -3284 | [5 empty] | -3284 | [6 empty] | -3284
Hunt Collins load served by LCRA | LCRA | -10890 | [5 empty] | -10890 | [6 empty] | -10890
|  | 0 | [12 empty] | 0
Generator Step Up Loses (COA) | COA | 0 | [12 empty] | 0
Generator Step Up Loses (LCRA) | LCRA | 0 | [12 empty] | 0
FPP Start up Transformer Load (COA) | LCRA | 2450 |  | 2450 | [10 empty] | 2450
FPP Start up Transformer Load (LCRA) | LCRA | 0 | [12 empty] | 0
LCRA load served by CPL | LCRA | 1914 |  |  | 1914 | [9 empty] | 1914
LCRA load served by STEC | LCRA | 4090 | [7 empty] | 4090 |  |  |  |  | 4090
LCRA load served by COA | LCRA | 2119 |  | 2119 | [10 empty] | 2119
LCRA load served by TUE | LCRA | 13286 | [10 empty] | 13286 |  | 13286
LCRA load served by WTU | LCRA | 23477 | [11 empty] | 23477 | 23477
Totals | LCRA | 2104269 | 2072100 | 4569 | 1914 | 0 | 0 | -15167 | 0 | 4090 | 0 | 0 | 13286 | 23477 | 32169
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## September 10, 1996 @1800
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | LCRA | 2581900 | 2581900 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | LCRA | 5000 | [13 empty] | 0 | 5000
COA share of Texas Wind Power Project | COA | -2000 | [5 empty] | -2000 | [7 empty] | -2000
FPP & MCC equipment loss | LCRA | 5000 |  | 5000 | [11 empty] | 5000
Replacement Purchase | LCRA | 0 | [13 empty] | 0
Firm Purchase | LCRA | 0 | [13 empty] | 0
Emergancy Puarchase | LCRA | 0 | [13 empty] | 0
SRS | LCRA | 1000 |  |  |  |  | 1000 | [8 empty] | 1000
Sale to COA | COA | -50000 | [5 empty] | -50000 | [7 empty] | -50000
Sale to PUB | PUB | -15000 | [5 empty] | -15000 | [7 empty] | -15000
Sale to STECMEC | STECMEC | -60000 | [5 empty] | -60000 | [7 empty] | -60000
Sale to TMPP | TMPP | -25000 | [5 empty] | -25000 | [7 empty] | -25000
Load true up to STEC | STEC | -4000 | [5 empty] | -4000 | [7 empty] | -4000
Load true up to WTU | WTU | -20000 | [11 empty] | -20000 |  | -20000
Load true up to TUE | TUE | 0 | [13 empty] | 0
COA Share of FPP | COA | -563000 | [5 empty] | -563000 | [7 empty] | -563000
Sale to TNP | TNP | -41000 | [5 empty] | -41000 | [7 empty] | -41000
Sale to SESCO | TUE | -71000 | [5 empty] | -71000 | [7 empty] | -71000
SRS | HLP | -2000 | [5 empty] | -2000 | [7 empty] | -2000
Totals | LCRA | 1739900 | 2581900 | 5000 | 0 | 0 | 1000 | -833000 | 0 | 0 | 0 | 0 | 0 | -20000 | 0 | -847000 | 5000
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | LCRA | 1739900 | 1739900 | [11 empty] | 0
COA load served by LCRA | COA | -872 | [5 empty] | -872 | [6 empty] | -872
CPL load served by LCRA | CPL | -2570 | [5 empty] | -2570 | [6 empty] | -2570
Hunt Collins load served by LCRA | LCRA | -8660 | [5 empty] | -8660 | [6 empty] | -8660
|  | 0 | [12 empty] | 0
Generator Step Up Loses (COA) | COA | 0 | [12 empty] | 0
Generator Step Up Loses (LCRA) | LCRA | 0 | [12 empty] | 0
FPP Start up Transformer Load (COA) | LCRA | 2050 |  | 2050 | [10 empty] | 2050
FPP Start up Transformer Load (LCRA) | LCRA | 0 | [12 empty] | 0
LCRA load served by CPL | LCRA | 1490 |  |  | 1490 | [9 empty] | 1490
LCRA load served by STEC | LCRA | 3699 | [7 empty] | 3699 |  |  |  |  | 3699
LCRA load served by COA | LCRA | 1655 |  | 1655 | [10 empty] | 1655
LCRA load served by TUE | LCRA | 10256 | [10 empty] | 10256 |  | 10256
LCRA load served by WTU | LCRA | 17556 | [11 empty] | 17556 | 17556
Totals | LCRA | 1764504 | 1739900 | 3705 | 1490 | 0 | 0 | -12102 | 0 | 3699 | 0 | 0 | 10256 | 17556 | 24604
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## 1997 Generator Groups
Generator Group Name: | Steam
Generator Unit Name | Available Capability | Nominated Capability
FPP Unit 1 | 291 | 291 | 7010
FPP Unit 2 | 291 | 291 | 7011
FPP Unit 3 | 437 | 437 | 7012
Ferguson | 420 | 420 | 7000
Gideon Unit 1 | 140 | 140 | 7004
Gideon Unit 2 | 140 | 140 | 7005
Gideon Unit 3 | 340 | 340 | 7006
Total Generation | 2059 | 2059
Generator Group Name: | Hydro
Generator Unit Name | Available Capability | Nominated Capability
Austin | 17.3 | 17.3 | 7020
Buchanan 1 | 14.7 | 14.7 | 7022
Buchanan 2 | 14.7 | 14.7 | 7023
Buchanan 3 | 14.9 | 14.9 | 7024
Inks 1 | 11.5 | 11.5 | 7026
Marble Falls 1 | 18.2 | 18.2 | 7028
Marble Falls 2 | 18.2 | 18.2 | 7029
Marshall Ford 1 | 36 | 36 | 7031
Marshall Ford 2 | 30 | 30 | 7032
Marshall Ford 3 | 36 | 36 | 7033
Wirtz 1 | 28 | 28 | 7035
Wirtz 2 | 28 | 28 | 7036
Total Generation | 267.5 | 267.5
Generator Group Name: | TWPP
Generator Unit Name | Available Capability | Nominated Capability
Texas Wind Power Project | 25 | 8 | 7038
Total Generation | 25 | 8
Generator Group Name: | Off System
Generator Unit Name | Available Capability | Nominated Capability
QF Contract | 123 | 123 | Ask Mark
STEC Purchase | 2 | 2 | Ask Jack
Total Generation | 125 | 125

## 1997 VAMM Nominations
LCRA
Generator Groups
|  | Forecasted |  | Steam | Hydro | TWPP | Off System | Total
| Type of | 1997 Firm | Capability-MW: | 2059 | 267.5 | 8 | 125 | 2459.5
Load Groups | Nomination | Peak Demand
|  |  | Nominated | 100% | 100% | 100% | 100% | 100%
LCRA Load | Purchase | 2119 | 114.8% | 2034 | 267.5 | 8 | 123 | 2432.5
Dewitt 10% | Purchase | 2 | 100% |  |  |  | 2 | 2
SESCO Sale | Sale | 25 | 100% | 25 |  |  |  | 25
0
0
0
0
0
Totals |  | 2146 |  | 2059 | 267.5 | 8 | 125 | 2459.5
Calculated Capability not Nominated |  |  |  | 0 | 0 | 0 | 0 | 0
|  |  | June | 2094.182
|  |  | July | 2076.376
|  |  | August | 2104.269
|  |  | September | 1764.504
|  |  | Average | 2009.8328

## GSU Loss Calculation
UNIT | STEPUP XFMR TEST REPORT DATA | [6 empty] | LOW | HIGH | NO LOAD | FULL LOAD | UNIT LOADING |  | XFMR LOSSES
NAME | BASE | LOW | HIGH | NO LOAD | FULL LOAD | IMPD | IM | SIDE | SIDE | LOSS | LOSS | UNIT | UNIT | LOSS | LOSS
| RATING | SIDE | SIDE | LOSS | LOSS | (%) | (%) | AMPS | AMPS | (MVAR) | (MVAR) | (MW) | (MVAR) | (MW) | (MVAR)
| MVA | KV | KV | (WATTS) | (WATTS)
FPP1 | 600 | 22.8 | 345 | 345230 | 1310500 | 13.95 | 0.617 | 15193.4281 | 1004.0874 | 3.6859 | 83.6897
FPP2 | 600 | 22.8 | 345 | 320967 | 1345107 | 13.67 | 0.427 | 15193.4281 | 1004.0874 | 2.5418 | 82.009
FPP3 | 445 | 26.6 | 345 | 242750 | 703840 | 10.96 | 0.378 | 9658.6793 | 744.6982 | 1.6645 | 48.7669
GID1 | 160 | 17.2 | 138 | 119500 | 595000 | 12.8 | 0.4 | 5370.7002 | 669.3916 | 0.62874 | 20.4714
GID2 | 160 | 17.2 | 138 | 119500 | 595000 | 12.9 | 0.4 | 5370.7002 | 669.3916 | 0.62874 | 20.6314
GID3 | 380 | 20.9 | 138 | 181375 | 1045266 | 11.17 | 0.43 | 10497.2776 | 1589.8051 | 1.6239 | 42.4331
FERG | 480 | 22.8 | 138 | 206336 | 1403494 | 12.19 | 0.14 | 12154.7425 | 2008.1748 | 0.63954 | 58.4952
| JUNE |  |  |  | JULY |  |  |  | AUGUST |  |  |  | SEPTEMBER
| Loading |  | XFMR |  | Loading |  | XFMR |  | Loading |  | XFMR |  | Loading |  | XFMR
| UNIT | UNIT | LOSS |  | UNIT | UNIT | LOSS |  | UNIT | UNIT | LOSS |  | UNIT | UNIT | LOSS
| (MW) | (MVAR) | (kW) |  | (MW) | (MVAR) | (kW) |  | (MW) | (MVAR) | (kW) |  | (MW) | (MVAR) | (kW)
FPP1
FPP2
FPP3
GID1 | 142 |  | 588.1555 |  | 135 |  | 543.0889 |  | 132 |  | 524.4719 |  | 137 |  | 555.7326
GID2 | 142 |  | 588.1555 |  | 131 |  | 518.3592 |  | 130 |  | 512.293 |  | 138 |  | 562.1242
GID3 | 309 |  | 872.5318 |  | 299 |  | 828.5206 |  | 294 |  | 807.0579 |  | 295 |  | 811.3215
FERG | 354 |  | 969.7052 |  | 401 |  | 1185.8639 |  | 348 |  | 944.0475 |  | 365 |  | 1017.8833
|  |  | 3018.5479 |  |  |  | 3075.8326 |  |  |  | 2787.8703 |  |  |  | 2947.0616
| 1/2 FPP 1&2 |  | 0 |  | 1/2 FPP 1&2 |  | 0 |  | 1/2 FPP 1&2 |  | 0 |  | 1/2 FPP 1&2 |  | 0
| Total for LCRA |  | 3018.5479 |  | Total for LCRA |  | 3075.8326 |  | Total for LCRA |  | 2787.8703 |  | Total for LCRA |  | 2947.0616