## 1700 June 19, 1998
REPORT FOR LOAD ENTITY ==> | WTU
LOAD ENTITY IN CONTROL AREA ==> | CSWX
June 19, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
DYNAMIC (4686) | 27000 | CSWS | CBEN
UNPLANNED (4102) | 62000 | CPST | CPS
UNPLANNED (4589) | 15000 | HLPT | HLP
PD NEWGULF STATIC LPM & RAY | 63000 | HLP | HLP
PD SWEENY LPM & RAY | 60000 | TNP | SWEENY COGEN
PD NEWGULF STATIC LPM & RAY (4591) | 15000 | HLP | HLP
UNPLANNED (4643) | 10000 | HLP | HLP
UNPLANNED (4596) | 50000 | HLP | HLP
LCRA PB | 8000 | LCRA | LCRA
TEXLA | 36000 | DCE | SWEPCO
PC PURCHASE LPM & RAY | 92000 | TMPP | WTU
Subtotal Receiving Transactions (A) | 438000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
TEXLA | 104151 | CSWX | TEXLA
WEATHERFORD | 57868 | CSWX | WEATHERFORD
HEARNE | 10297 | CSWX | HEARNE
RAYBURN | 338455 | TUET | RAYBURN
LOAD FOLLOWING WTU & TNP (4648) | 50000 | TNP | WTU
DYNAMIC (2130) | 52000 | CSWX | CPL
OKLAUNION | 68000 | TMPP | BEC
OKLA SHARE OMPA & PUB | 20000 | CSWS | TMPP
OKLA to PSO | 12000 | CSWSPP | PSO
OKLA to OMPA | 8000 | CSWSPP | OMPA
Subtotal Sending Transactions (B) | 720771
GENERATION INFORMATION
Generation kW | 1572000
Less Gen Unit Main XFMR Losses kW | 3439.1 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 6000
Subtotal Net Generation (C) | 1562560.9
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 438000
Subtotal Sending Transactions (B) | 720771
Subtotal Net Generation (C) | 1562560.9
Total Load Responsibility (A-B+C) | 1279789.9
LOAD (A+B-C+D+E) | 1278.229
PLANNED (A) | 1139
CPL>WTU DYNAMIC (B) | 27
DC-N>WTU DYNAMIC (D) | 0
PURCHASES (E) | 137
Load adjustment for TexLa (MV90 vs integrated) | -9.151
Load adjustment for Rayburn (MV90 vs integrated) | -15.455
Load adjustment for Weatherford (MV90 vs integrated) | 0.132
Load adjustment for Hearne (MV90 vs integrated) | -0.297
1.5609

## 1700 July 31, 1998
REPORT FOR LOAD ENTITY ==> | WTU
LOAD ENTITY IN CONTROL AREA ==> | CSWX
July 31, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
UNPLANNED (2900) | 100000 | HLPT | HLP
UNPLANNED (3540) | 85000 | HLPT | HLP
UNPLANNED (6787) | 62000 | CPST | CPS
UNPLANNED (7280) | 9000 | HLPT | HLP
LCRA PB | 25000 | LCRA | LCRA
TEXLA | 36000 | DCE | SWEPCO
PC SWEENY LPM & RAY | 175000 | TNP | SWEENY COGEN
PD PURCHASE PASADENA WTU & CALP | 41000 | HLPT | HLP
PG LPM&RAY | 55000 | TMPP | TMPP
UB PURCHASE LPM & RAY (2094) | 50000 | HLPT | HLP
UC PURCHASE LPM & RAY (3134) | 15000 | COA | COA
NDC DYNAMIC SCHEDULE | 136000
Subtotal Receiving Transactions (A) | 789000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
TEXLA | 109494 | CSWX | TEXLA
WEATHERFORD | 59421 | CSWX | WEATHERFORD
HEARNE | 11085 | CSWX | HEARNE
RAYBURN | 362969 | TUET | RAYBURN
DYNAMIC (3494) | 50000 | TNMP | TNP
DYNAMIC (3537) | 171000 | CSWS | CPL
DYNAMIC (3541) | 52000 | CSWS | CPL
OKLAUNION | 68000 | TMPP | BEC
OKLA OMPA & PUB | 20000 | TMPP | WTU
UNPLANNED (3285) | 58000 | HLPT | HLP
OKLAUNION TO PSO | 104000
Subtotal Sending Transactions (B) | 1065969
GENERATION INFORMATION
Generation kW | 1509000
Less Gen Unit Main XFMR Losses kW | 3315.98 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -83000
Subtotal Net Generation (C) | 1588684.02
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 789000
Subtotal Sending Transactions (B) | 1065969
Subtotal Net Generation (C) | 1588684.02
Total Load Responsibility (A-B+C) | 1311715.02
LOAD (A+B-C+D+E) | 1315.031
PLANNED (A) | 1081
CPL>WTU DYNAMIC (B) | 0
DC-N>WTU DYNAMIC (D) | 0
PURCHASES (E) | 256
Load adjustment for TexLa (MV90 vs integrated) | -6.494
Load adjustment for Rayburn (MV90 vs integrated) | -15.969
Load adjustment for Weatherford (MV90 vs integrated) | -0.421
Load adjustment for Hearne (MV90 vs integrated) | 0.915
-3.316

## 1600 August 03, 1998
REPORT FOR LOAD ENTITY ==> | WTU
LOAD ENTITY IN CONTROL AREA ==> | CSWX
August 03, 1998 Hour Ending 16:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
TEXLA | 36000 | DCE | SWEPCO
LCRA PB | 25000 | LCRA | LCRA
PD NEWGULF LPM & RAY | 65000 | HLP | HLP
PD SWEENY LPM & RAY | 135000 | TNP | SWEENY COGEN
PS PRUCHASE PASADEAN WTU & CALP | 41000 | HLP | HLP
PG LPM & RAY | 53000 | TMPP | TMPP
UB PURCHASE LPM & RAY (3994) | 50000 | COA | COA
UNPLANNED (4005) | 50000 | COA | COA
UNPLANNED (2729) | 62000 | CPSB | CPSB
UD PURCHASE LPM & RAY (4589) | 13000 | HLP | HLP
UD PURCHASE WTU & ECI (4100) | 100000 | HLP | HLP
UD PURCHASE WTU & ECI (4135) | 45000 | HLP | HLP
UD PURCH PASADENA (1756) | 9000 | HLP | HLP
NDC DYNAMIC SCHEDULE | 291000 | CSWS | DCN
Dynamic Schedule | 33000 | CSWS | CPL
Subtotal Receiving Transactions (A) | 1008000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
TEXLA | 108142 | CSWX | TEXLA
WEATHERFORD | 60965 | CSWX | WEATHERFORD
HEARNE | 11856 | CSWX | HEARNE
RAYBURN | 368792 | CSWX | RAYBURN
DYNAMIC (3542) | 52000 | CSWX | CPL
DYNAMIC (3934) | 50000 | TNP | TNP
OKLAUNION | 68000 | TMPP | BEC
EMERG SALE WTU & HLP | 300000 | HLP | HLP
OKLA SHARE OMPA & PUB | 20000 | TMPP | TMPP
OKLA to OMPA | 58000
OKLA to PSO | 104000
Subtotal Sending Transactions (B) | 1201755
GENERATION INFORMATION
Generation kW | 1563000
Less Gen Unit Main XFMR Losses kW | 3445.64 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -39000
Subtotal Net Generation (C) | 1598554.36
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 1008000
Subtotal Sending Transactions (B) | 1201755
Subtotal Net Generation (C) | 1598554.36
Total Load Responsibility (A-B+C) | 1404799.36
LOAD (A+B-C+D+E) | 1409.245
PLANNED (A) | 1011
CPL>WTU DYNAMIC (B) | 33
DC-N>WTU DYNAMIC (D) | 0
PURCHASES (E) | 378
Load adjustment for TexLa (MV90 vs integrated) | -19.142
Load adjustment for Rayburn (MV90 vs integrated) | 4.208
Load adjustment for Weatherford (MV90 vs integrated) | 3.035
Load adjustment for Hearne (MV90 vs integrated) | -0.856
-4.4456

## 1700 September 04, 1998
REPORT FOR LOAD ENTITY ==> | WTU
LOAD ENTITY IN CONTROL AREA ==> | CSWX
September 04, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
TEXLA | 36000 | DCE | SWEPCO
UNPLANNED (8364) | 62000 | CPSTA | CPS
UNPLANNED (8476) | 9000 | HLPTA | HLP
LCRA PB (7936) | 25000 | LCRA | LCRA
PD NEWGULF LPM & RAY | 65000 | HLP | HLP
PD SWEENY LPM & RAY | 175000 | TNP | SWEENY COGEN
PD PURCH WTU * CALP | 41000 | HLP | HLP
UNPLANNED LPM & RAY (8508) | 50000 | TUEC | TUEC
UD NEWGULF DYNAMIC LPM & RAY (9741) | 13000 | HLP | HLP
Dynamic schedule CPL - WTU | 116000 | CPL | CPL
Subtotal Receiving Transactions (A) | 592000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
TEXLA | 102865 | CSWX | TEXLA
WEATHERFORD | 59385 | CSWX | WEATHERFORD
HEARNE | 10878 | CSWX | HEARNE
RAYBURN | 379236 | CSWX | RAYBURN
DYNAMIC (9021) | 0 | CSWX | CPL
DYNAMIC (9690) | 52000 | CSWX | CPL
DYNAMIC (9883) | 37000 | TNP | TNP
OKLAUNION | 68000 | TMPP | BEC
OKLAUNION | 20000 | TMPP | TMPP
NDC Dynamic schedule | 6000
OKLA to PSO | 104000
OKLA to OMPA | 58000
Subtotal Sending Transactions (B) | 897364
GENERATION INFORMATION
Generation kW | 1567000
Less Gen Unit Main XFMR Losses kW | 3300.49 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -9000
Subtotal Net Generation (C) | 1572699.51
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 592000
Subtotal Sending Transactions (B) | 897364
Subtotal Net Generation (C) | 1572699.51
Total Load Responsibility (A-B+C) | 1267335.51
LOAD (A+B-C+D+E) | 1273.636
PLANNED (A) | 1108
CPL>WTU DYNAMIC (B) | 116
DC-N>WTU DYNAMIC (D) | 0
PURCHASES (E) | 71
Load adjustment for TexLa (MV90 vs integrated) | -8.865
Load adjustment for Rayburn (MV90 vs integrated) | -11.236
Load adjustment for Weatherford (MV90 vs integrated) | -1.385
Load adjustment for Hearne (MV90 vs integrated) | 0.122
-6.3005