## CONTACT INFORMATION
Load Serving Entity Information
Load Serving Entity: | Lower Colorado River Authority
Contact Person: | Brady J. Belk
Mailing Address Line 1: | Lower Colorado River Authority
Mailing Address Line 2: | P.O. Box 220
City: | Austin
State: | Texas
Zip Code: | 78767
Street Address Line 1: | Lower Colorado River Authority
Street Address Line 2: | 3700 Lake Austin Blvd.
City: | Austin
State: | Texas
Zip Code: | 78703
Company Internal Mail Code: | M 201
Telephone Number: | (512) 473-3577
Facsimile (FAX) Number: | (512) 473-4026
Internet email address: | bbelk@lcra.org

## 1700 June 28, 1999
REPORT FOR LOAD SERVING ENTITY ==> | Lower Colorado River Authority
LOAD SERVING ENTITY IN CONTROL AREA ==> | LCRA mostly and a little in CSW, & STEC
June 28, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
TexLa load RCAL | 21000 | LCRA | CSW
Net Load Exchange with WTU, plus an energy pay back | 10035 | CSWS | WTU
GBRA Hydro Generation | 12324 | LCRA | GBRA
Purchase from COA
Purchase from HLP | 170000 | HLPT | Dynegy
Purchase from TNMP
SESCO Generation | 225000 | HLPT | Dynegy
Subtotal Receiving Transactions (A) | 438359
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Serving Entity
Austin's share of FPP | 582000 | AENS | COA
Net Load Exchange with CPL | 1173 | CSWS | CPL
SESCO Load | 220000 | LCRA | SESCO
TexLa RCAL Load | 21000 | LCRA | CSW (TexLa)
Sale to COA | 75000 | AENS | COA
TXU LOAD served by LCRA (Elgin) | 14710 | LCRA | TXU
Subtotal Sending Transactions (B) | 913883
GENERATION INFORMATION
Generation kW | 2598000
Less Gen Unit Main XFMR Losses kW | 5895 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 5000
Subtotal Net Generation (C) | 2587105
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 438359
Subtotal Sending Transactions (B) | 913883
Subtotal Net Generation (C) | 2587105
Total Load Responsibility (A-B+C) | 2111581

## 1700 July 29, 1999
REPORT FOR LOAD SERVING ENTITY ==> | Lower Colorado River Authority
LOAD SERVING ENTITY IN CONTROL AREA ==> | LCRA mostly and a little in CSW, & STEC
July 29, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
TexLa load RCAL | 22000 | LCRA | CSW
Net Load Exchange with WTU, plus an energy pay back | 29387 | CSWS | WTU
GBRA Hydro Generation | 7714 | LCRA | GBRA
Purchase from COA | 50000 | AENX | COA
Puchase from CPS | 50000 | CPS | CPS
Purchase from HLP | 180000 | HLPT | Dynegy
Purchase from CSW | 100000 | CSWS | CSW
Purchase from TXU | 50000 | TXU | TXU
Purchase from Entergy | 50000 | CSWS | Entergy
SESCO Generation | 245000 | HLPT | Dynegy
Subtotal Receiving Transactions (A) | 784101
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Serving Entity
Austin's share of FPP | 580000 | AENS | COA
Net Load Exchange with CPL | 1197 | CSWS | CPL
SESCO Load | 241000 | LCRA | SESCO
TexLa RCAL Load | 22000 | LCRA | CSW (TexLa)
TXU LOAD served by LCRA (Elgin) | 15660 | LCRA | TXU
Subtotal Sending Transactions (B) | 859857
GENERATION INFORMATION
Generation kW | 2327000
Less Gen Unit Main XFMR Losses kW | 5027 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -4000
Subtotal Net Generation (C) | 2325973
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 784101
Subtotal Sending Transactions (B) | 859857
Subtotal Net Generation (C) | 2325973
Total Load Responsibility (A-B+C) | 2250217

## 1700 August 26, 1999
REPORT FOR LOAD SERVING ENTITY ==> | Lower Colorado River Authority
LOAD SERVING ENTITY IN CONTROL AREA ==> | LCRA mostly and a little in CSW, & STEC
August 26, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
TexLa load RCAL | 24000 | LCRA | CSW
Net Load Exchange with WTU, plus an energy pay back | 14106 | CSWS | WTU
GBRA Hydro Generation | 3841 | LCRA | GBRA
Purchase from HLP | 230000 | HLPT | Dynegy
Purchase from CSW | 40000 | CSWS | CSW
Purchase from TXU | 50000 | TXU | TXU
SESCO Generation | 255000 | HLPT | Dynegy
Subtotal Receiving Transactions (A) | 616947
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Serving Entity
Austin's share of FPP | 579000 | AENS | COA
Net Load Exchange with CPL | 1846 | CSWS | CPL
SESCO Load | 260000 | LCRA | SESCO
TexLa RCAL Load | 24000 | LCRA | CSW (TexLa)
Sale to HLP | 50000 | HLPT | HLP
TXU LOAD served by LCRA (Elgin) | 16280 | LCRA | TXU
Subtotal Sending Transactions (B) | 931126
GENERATION INFORMATION
Generation kW | 2725000
Less Gen Unit Main XFMR Losses kW | 5919 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -1000
Subtotal Net Generation (C) | 2720081
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 616947
Subtotal Sending Transactions (B) | 931126
Subtotal Net Generation (C) | 2720081
Total Load Responsibility (A-B+C) | 2405902

## 1700 September 7, 1999
REPORT FOR LOAD SERVING ENTITY ==> | Lower Colorado River Authority
LOAD SERVING ENTITY IN CONTROL AREA ==> | LCRA mostly and a little in CSW, & STEC
September 7, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
TexLa load RCAL | 21000 | LCRA | CSW
Net Load Exchange with WTU, plus an energy pay back | 11290 | CSWS | WTU
GBRA Hydro Generation | 6657 | LCRA | GBRA
Purchase from COA | 40000 | AENX | COA
Purchase from HLP | 230000 | HLPT | Dynegy
Purchase from CSW |  | CSWS | CSW
Purchase from TXU | 50000 | TXU | TXU
SESCO Generation | 225000 | HLPT | Dynegy
Subtotal Receiving Transactions (A) | 583947
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Serving Load Entity
Austin's share of FPP | 579000 | AENS | COA
Net Load Exchange with CPL | 1873 | CSWS | CPL
SESCO Load | 235000 | LCRA | SESCO
TexLa RCAL Load | 21000 | LCRA | CSW (TexLa)
Sale to HLP |  | HLPT | HLP
TXU LOAD served by LCRA (Elgin) | 16340 | LCRA | TXU
Sale to TNMP | 25000 | TNMP | TNMP
Sale to STEC | 25000 | STEC | STEC
Sale to BEPC | 50000 | BEPC | BEPC
Wind to HLP | 4000 | HLPT | HLP
Subtotal Sending Transactions (B) | 957213
GENERATION INFORMATION
Generation kW | 2571000
Less Gen Unit Main XFMR Losses kW | 4622 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 8000
Subtotal Net Generation (C) | 2558378
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 583947
Subtotal Sending Transactions (B) | 957213
Subtotal Net Generation (C) | 2558378
Total Load Responsibility (A-B+C) | 2185112

## GSU Loss
UNIT | STEPUP XFMR TEST REPORT DATA | [6 empty] | LOW | HIGH | NO LOAD | FULL LOAD | UNIT LOADING |  | XFMR LOSSES
NAME | BASE | LOW | HIGH | NO LOAD | FULL LOAD | IMPD | IM | SIDE | SIDE | LOSS | LOSS | UNIT | UNIT | LOSS | LOSS
| RATING | SIDE | SIDE | LOSS | LOSS | (%) | (%) | AMPS | AMPS | (MVAR) | (MVAR) | (MW) | (MVAR) | (MW) | (MVAR)
| MVA | KV | KV | (WATTS) | (WATTS)
GID1 | 160 | 17.2 | 138 | 119500 | 595000 | 12.8 | 0.4 | 5370.7002 | 669.3916 | 0.62874 | 20.4714
GID2 | 160 | 17.2 | 138 | 119500 | 595000 | 12.9 | 0.4 | 5370.7002 | 669.3916 | 0.62874 | 20.6314
GID3 | 380 | 20.9 | 138 | 181375 | 1045266 | 11.17 | 0.43 | 10497.2776 | 1589.8051 | 1.6239 | 42.4331
FERG | 480 | 22.8 | 138 | 206336 | 1403494 | 12.19 | 0.14 | 12154.7425 | 2008.1748 | 0.63954 | 58.4952
| JUNE |  |  |  | JULY |  |  |  | AUGUST |  |  |  | SEPTEMBER
| Loading |  | XFMR |  | Loading |  | XFMR |  | Loading |  | XFMR |  | Loading |  | XFMR
| UNIT | UNIT | LOSS |  | UNIT | UNIT | LOSS |  | UNIT | UNIT | LOSS |  | UNIT | UNIT | LOSS
| (MW) | (MVAR) | (kW) |  | (MW) | (MVAR) | (kW) |  | (MW) | (MVAR) | (kW) |  | (MW) | (MVAR) | (kW)
GID1 | 130 |  | 512.293 |  | 128 |  | 500.3 |  | 131 |  | 518.3592 |  | 128 |  | 500.3
GID2 | 129 |  | 506.2732 |  | 133 |  | 530.6311 |  | 120 |  | 454.1875 |  | 133 |  | 530.6311
GID3 | 331 |  | 974.4525 |  | 290 |  | 790.1483 |  | 300 |  | 832.8566 |  | 334 |  | 988.8937
FERG | 338 |  | 902.2595 |  | 0 |  | 206.336 |  | 386 |  | 1113.9532 |  | 255 |  | 602.4393
|  |  | 2895.2782 |  |  |  | 2027.4154 |  |  |  | 2919.3564 |  |  |  | 2622.264
FPP AUX |  |  | 3000 |  |  |  | 3000 |  |  |  | 3000 |  |  |  | 2000
|  |  | 5895.2782 |  |  |  | 5027.4154 |  |  |  | 5919.3564 |  |  |  | 4622.264