## June 19, 1996 @1700
TMPP
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | TMPP | 1800000 | 1800000 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | TMPP | 2000 | [13 empty] | 0 | 2000
|  | 0 | [13 empty] | 0
City of Austin (Contract) | TMPP | 22000 |  | 22000 | [11 empty] | 22000
City of Austin (Economy B) | TMPP | 50000 |  | 50000 | [11 empty] | 50000
City of Austin (Weatherford) | TMPP | 25000 |  | 25000 | [11 empty] | 25000
TU Electric (Economy B) | TMPP | 250000 | [10 empty] | 250000 |  |  | 250000
|  | 0 | [13 empty] | 0
LCRA (Emergency) | LCRA | -5000 | [8 empty] | -5000 |  |  |  |  | -5000
TU Electric (Rayburn Country) | TUEC | -43000 | [8 empty] | -43000 |  |  |  |  | -43000
WTU (Tex-La) | WTU | -27000 | [8 empty] | -27000 |  |  |  |  | -27000
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | TMPP | 2074000 | 1800000 | 97000 | 0 | 0 | 0 | 0 | 0 | 0 | -75000 | 0 | 250000 | 0 | 0 | 272000 | 2000
Brazos Electric Cooperative
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | Brazos | 2074000 | 2074000 | [11 empty] | 0
Adjustment - Substation Interchange w/TU | Brazos | 37000 | [10 empty] | 37000 |  | 37000
0
Weatherford (Purchase from Brazos) (3) | Weatherford | -18300 | [8 empty] | -18300 |  |  |  | -18300
Weatherford (Purchase from Austin) (3) | Weatherford | -25000 | [8 empty] | -25000 |  |  |  | -25000
0
Granbury (LPM) | Granbury | -15300 | [8 empty] | -15300 |  |  |  | -15300
Texas Municipal Power Agency | TMPA | -958000 | [8 empty] | -958000 |  |  |  | -958000
0
Totals | Brazos | 1094400 | 2074000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1016600 | 0 | 37000 | 0 | -979600
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.
(1) This value is load currently served by TU, but will be served by Brazos Electric beginning 5/01/97
(2) This value is the difference between control area metered and point of delivery metered load for Brazos Electric. The total as shown is metered load and is verifiable.
(3) The entire City of Weatherford load will be served by West Texas Utilities beginning 12/01/96

## July 22, 1996 @1700
TMPP
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | TMPP | 1792000 | 1792000 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | TMPP | -4000 | [13 empty] | 0 | -4000
|  | 0 | [13 empty] | 0
City of Austin (Contract) | TMPP | 23000 |  | 23000 | [11 empty] | 23000
City of Austin (Economy B) | TMPP | 100000 |  | 100000 | [11 empty] | 100000
City of Austin (Weatherford) | TMPP | 25000 |  | 25000 | [11 empty] | 25000
TU Electric (Economy B) | TMPP | 275000 | [10 empty] | 275000 |  |  | 275000
|  | 0 | [13 empty] | 0
TU Electric (Rayburn Country) | TUEC | -42000 | [8 empty] | -42000 |  |  |  |  | -42000
WTU (Tex-La) | WTU | -28000 | [8 empty] | -28000 |  |  |  |  | -28000
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | TMPP | 2141000 | 1792000 | 148000 | 0 | 0 | 0 | 0 | 0 | 0 | -70000 | 0 | 275000 | 0 | 0 | 353000 | -4000
Brazos Electric Cooperative
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | Brazos | 2141000 | 2141000 | [11 empty] | 0
Adjustment - Substation Interchange w/TU | Brazos | 0 | [10 empty] | 0 |  | 0
|  | 0 | [12 empty] | 0
Weatherford (Purchase from Brazos) (3) | Weatherford | -23600 | [8 empty] | -23600 |  |  |  | -23600
Weatherford (Purchase from Austin) (3) | Weatherford | -25000 | [8 empty] | -25000 |  |  |  | -25000
|  | 0 | [12 empty] | 0
Granbury (LPM) | Granbury | -15000 | [8 empty] | -15000 |  |  |  | -15000
Texas Municipal Power Agency | TMPA | -978000 | [8 empty] | -978000 |  |  |  | -978000
|  | 0 | [12 empty] | 0
Totals | Brazos | 1099400 | 2141000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1041600 | 0 | 0 | 0 | -1041600
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.
(1) This value is load currently served by TU, but will be served by Brazos Electric beginning 5/01/97
(2) This value is the difference between control area metered and point of delivery metered load for Brazos Electric. The total as shown is metered load and is verifiable.
(3) The entire City of Weatherford load will be served by West Texas Utilities beginning 12/01/96

## August 5, 1996 @1700
TMPP
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | TMPP | 1921000 | 1921000 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | TMPP | 47000 | [13 empty] | 0 | 47000
|  | 0 | [13 empty] | 0
City of Austin (Contract) | TMPP | 25000 |  | 25000 | [11 empty] | 25000
City of Austin (Weatherford) | TMPP | 25000 |  | 25000 | [11 empty] | 25000
CSW (Emergency) | TMPP | 25000 |  |  | 25000 | [10 empty] | 25000
TU Electric (Economy B) | TMPP | 150000 | [10 empty] | 150000 |  |  | 150000
|  | 0 | [13 empty] | 0
TU Electric (Rayburn Country) | TUEC | -42000 | [8 empty] | -42000 |  |  |  |  | -42000
TU Electric (Payback) | TUEC | -6000 | [8 empty] | -6000 |  |  |  |  | -6000
WTU (Tex-La) | WTU | -28000 | [8 empty] | -28000 |  |  |  |  | -28000
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | TMPP | 2117000 | 1921000 | 50000 | 25000 | 0 | 0 | 0 | 0 | 0 | -76000 | 0 | 150000 | 0 | 0 | 149000 | 47000
Brazos Electric Cooperative
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | Brazos | 2117000 | 2117000 | [11 empty] | 0
Adjustment - Substation Interchange w/TU | Brazos | 0 | [10 empty] | 0 |  | 0
|  | 0 | [12 empty] | 0
Weatherford (Purchase from Brazos) (3) | Weatherford | -24300 | [8 empty] | -24300 |  |  |  | -24300
Weatherford (Purchase from Austin) (3) | Weatherford | -25000 | [8 empty] | -25000 |  |  |  | -25000
|  | 0 | [12 empty] | 0
Granbury (LPM) | Granbury | -15000 | [8 empty] | -15000 |  |  |  | -15000
Texas Municipal Power Agency | TMPA | -958000 | [8 empty] | -958000 |  |  |  | -958000
|  | 0 | [12 empty] | 0
Totals | Brazos | 1094700 | 2117000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1022300 | 0 | 0 | 0 | -1022300
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.
(1) This value is load currently served by TU, but will be served by Brazos Electric beginning 5/01/97
(2) This value is the difference between control area metered and point of delivery metered load for Brazos Electric. The total as shown is metered load and is verifiable.
(3) The entire City of Weatherford load will be served by West Texas Utilities beginning 12/01/96

## September 10, 1996 @1800
TMPP
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | TMPP | 1588000 | 1588000 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | TMPP | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
City of Austin (Contract) | TMPP | 9000 |  | 9000 | [11 empty] | 9000
City of Austin (Weatherford) | TMPP | 25000 |  | 25000 | [11 empty] | 25000
HLP (Economy B) | TMPP | 200000 |  |  |  |  | 200000 | [8 empty] | 200000
LCRA (Economy B) | TMPP | 25000 | [5 empty] | 25000 | [7 empty] | 25000
|  | 0 | [13 empty] | 0
TU Electric (Rayburn Country) | TUEC | -43000 | [8 empty] | -43000 |  |  |  |  | -43000
TU Electric (Payback) | TUEC | -6000 | [8 empty] | -6000 |  |  |  |  | -6000
WTU (Tex-La) | WTU | -27000 | [8 empty] | -27000 |  |  |  |  | -27000
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | TMPP | 1771000 | 1588000 | 34000 | 0 | 0 | 200000 | 25000 | 0 | 0 | -76000 | 0 | 0 | 0 | 0 | 183000 | 0
Brazos Electric Cooperative
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | Brazos | 1771000 | 1771000 | [11 empty] | 0
Adjustment - Substation Interchange w/TU | Brazos | 20000 | [10 empty] | 20000 |  | 20000
|  | 0 | [12 empty] | 0
Weatherford (Purchase from Brazos) (3) | Weatherford | -19700 | [8 empty] | -19700 |  |  |  | -19700
Weatherford (Purchase from Austin) (3) | Weatherford | -25000 | [8 empty] | -25000 |  |  |  | -25000
|  | 0 | [12 empty] | 0
Granbury (LPM) | Granbury | -12500 | [8 empty] | -12500 |  |  |  | -12500
Texas Municipal Power Agency | TMPA | -830000 | [8 empty] | -830000 |  |  |  | -830000
|  | 0 | [12 empty] | 0
Totals | Brazos | 903800 | 1771000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -887200 | 0 | 20000 | 0 | -867200
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.
(1) This value is load currently served by TU, but will be served by Brazos Electric beginning 5/01/97
(2) This value is the difference between control area metered and point of delivery metered load for Brazos Electric. The total as shown is metered load and is verifiable.
(3) The entire City of Weatherford load will be served by West Texas Utilities beginning 12/01/96

## 1997 Generator Groups
Generator Group Name: | Group 1
Generator Unit Name | Available Capability | Nominated Capability
Total Generation | 0 | 0
Generator Group Name: | Group 2
Generator Unit Name | Available Capability | Nominated Capability
Total Generation | 0 | 0
Generator Group Name: | Group 3
Generator Unit Name | Available Capability | Nominated Capability
Total Generation | 0 | 0
Generator Group Name: | Group 4
Generator Unit Name | Available Capability | Nominated Capability
Total Generation | 0 | 0

## 1997 Gens
unit nominations
bepc
Generator Group Bepc
unit name ,# | bus number | unit capabilty | unit nomination
r.w. miller,1 | 332 | 75 | 75
r.w. miller,2 | 333 | 120 | 120
r.w. miller,3 | 334 | 208 | 208
r.w. miller,4 | 335 | 104 | 104
r.w. miller,5 | 336 | 104 | 104
san miguel,1 | 5903 | 391 | 127.5
n. texas,1 | 503 | 18 | 18
n. texas,2 | 504 | 18 | 18
n. texas,3 | 505 | 39.5 | 39.5
whitney,1 | 244 | 15 | 15
whitney,2 | 245 | 15 | 15
morris sheppard,1 | 344 | 12 | 12
morris sheppard,2 | 345 | 12 | 12
tenaska,1 | 366 | 172 | 172
tenaska,2 | 367 | 86 | 86
okalunion,1 | 6752 | 677 | 68
|  | 2066.5 | 1194
Generator Group Tmpa
gibbons creek,1 | 990 | 453 | 53.001
53.001
Generator Group Denton
denton,1 | 920 | 11.5 | 1.3455
denton,2 | 921 | 11.5 | 1.3455
denton,3 | 922 | 26 | 3.042
denton,4 | 923 | 61 | 7.137
denton,5 | 924 | 66 | 7.722
|  | 176 | 20.592
Generator Group Garland
c.e. newman,1 | 840 | 8.5 | 0.9945
c.e. newman,2 | 841 | 8.5 | 0.9945
c.e. newman,3 | 838 | 16.9 | 1.9773
c.e. newman,4 | 839 | 16.9 | 1.9773
c.e. newman,5 | 837 | 42 | 4.914
olinger ,1 | 842 | 75 | 8.775
olinger,2 | 843 | 110 | 12.87
olinger,3 | 844 | 150 | 17.55
|  | 427.8 | 50.0526
Generator Group Greenville
greenville diesel,1-8 |  | 15 | 1.7
greenville steam,1 | 948 | 19 | 2.223
greenville steam,2 | 949 | 25 | 2.925
greenville steam,3 | 950 | 41.5 | 4.8555
|  | 100.5 | 11.7035
Generator Group Bryan
bryan,3 | 889 | 12.5 | 2.3375
bryan,4 | 890 | 22 | 4.114
bryan,5 | 891 | 25 | 4.675
bryan,6 | 887 | 54 | 10.098
bryan,7 | 888 | 20 | 3.74
dansby,1 | 892 | 115 | 21.505
|  | 248.5 | 46.4695
Generator Group City of Austin Gas Units
holly,1 | 9012 | 97 | 0.9
holly,2 | 9013 | 97 | 0.9
holly,3 | 9014 | 165 | 1.5
holly,4 | 9015 | 181 | 1.6
decker,1 | 9000 | 310 | 2.7
decker,2 | 9001 | 400 | 3.5
decker,3 | 9002 | 48 | 0.4
decker,4 | 9003 | 48 | 0.4
decker,5 | 9004 | 48 | 0.4
decker,6 | 9005 | 48 | 0.4
Generator Group Dow
dow,1 | 4940 | 781 | 43

## 1997 VAMM Nominations
Name
Generator Groups
|  | Forecasted |  | Group 1 | Group 2 | Group 3 | Group 4 | Total
| Type of | 1997 Firm | Capability-MW: | 0 | 0 | 0 | 0 | 0
Load Groups | Nomination | Peak Demand
Nominated
0
0
0
0
0
0
0
0
Totals |  | 0 |  | 0 | 0 | 0 | 0 | 0
Calculated Capability not Nominated |  |  |  | 0 | 0 | 0 | 0 | 0

## 1997 VAMM
generator groups
load group | nomination type | forecasted 1997 |  |  | bepc | tmpa | garland | denton | greenville | bryan | city of austin | dow | total
|  | firm peak demand | load nominated,% | [7 empty] | gas units
|  |  |  | capability | 1194 | 53.001 | 50.0526 | 20.592 | 11.7035 | 46.4695 | 12.7 | 43 | 1431.5186
bepc | purchase | 1219 | 1401,115 |  | 1194 | 53.001 | 50.0526 | 20.592 | 11.7035 | 29.1 |  | 43 | 1401.4491
granbury | purchase | 15 | 17.3,115 | [6 empty] | 17.3 |  |  | 17.3
bpm | purchase | 11 | 12.7,115 | [7 empty] | 12.7 |  | 12.7

## GSU Losses
bepc step up losses(mw)
| june |  | july | aug | sept
ntex1 | 0.0398 |  | 0.0398 | 0.0788 | 0.0398 | 0.0398 | 0 | 0 | 0.039 | 0
ntex2 | 0.0392 |  | 0.0392 | 0.0742 | 0.0392 | 0.0392 | 0 | 0 | 0.035 | 0
ntex3 | 0.1649 |  | 0.1899 | 0.2089 | 0.0329 | 0.0329 | 0.132 | 0.157 | 0.176 | 0
mil1 | 0.3262 |  | 0.3262 | 0.3112 | 0.3182 | 0.0612 | 0.265 | 0.265 | 0.25 | 0.257
mil2 | 0.5084 |  | 0.5384 | 0.5154 | 0.4934 | 0.0874 | 0.421 | 0.451 | 0.428 | 0.406
mil3 | 0.67265 |  | 0.57665 | 0.13165 | 0.54865 | 0.03965 | 0.633 | 0.537 | 0.092 | 0.509
mil4 | 0.254 |  | 0.25 | 0.25 | 0.246 | 0.041 | 0.213 | 0.209 | 0.209 | 0.205
mil5 | 0.254 |  | 0.238 | 0.255 | 0.251 | 0.041 | 0.213 | 0.197 | 0.214 | 0.21