## CONTACT INFORMATION
Load Serving Entity Information
Load Serving Entity: | Brownsville Public Utilities Board
Contact Person: | Ramon Sanz, Jr.
Mailing Address Line 1: | P.O. Box 3270
Mailing Address Line 2:
City: | Brownsville
State: | Texas
Zip Code: | 78523-3270
Street Address Line 1: | 1425 Robinhood Dr.
Street Address Line 2:
City: | Brownsville
State: | Texas
Zip Code: | 78521
Company Internal Mail Code:
Telephone Number: | (956) 983-6283
Facsimile (FAX) Number: | (956) 983-6289
Internet email address: | rsanz@brownsville-pub.com

## 1700 June 28, 1999
REPORT FOR LOAD SERVING ENTITY ==> | BPUB
LOAD SERVING ENTITY IN CONTROL AREA ==> | BPUB
June 28, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Annual Planned | 68000 | TMPPA | SMPBG
Annual Planned | 35000 | HLPTA | CALPG
Unplanned - C | 2000 | CSWSA | CPLCG
Unplanned - G | 90000 | CPSTA | CPSGG
Unplanned - B | 39000 | HLPTA | HLPGG
Subtotal Receiving Transactions (A) | 234000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Serving Entity
Monthly Planned | 55000 | CSWSA | CPLCL
Unplanned - G | 35000 | CSWSA | CPLCL
Subtotal Sending Transactions (B) | 90000
GENERATION INFORMATION
Generation kW | 39000
Less Gen Unit Main XFMR Losses kW | 121.6 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -1000
Subtotal Net Generation (C) | 39878.4
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 234000
Subtotal Sending Transactions (B) | 90000
Subtotal Net Generation (C) | 39878.4
Total Load Responsibility (A-B+C) | 183878.4

## 1700 July 29, 1999
REPORT FOR LOAD SERVING ENTITY ==> | BPUB
LOAD SERVING ENTITY IN CONTROL AREA ==> | BPUB
July 29, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Annual Planned | 66000 | TMPPA | SMPBG
Annual Planned | 35000 | HLPTA | CALPG
Unplanned | 2000 | CSWSA | CPLCG
Unplanned | 10000 | CSWSA | CPLCG
Monthly Planned | 90000 | CSWSA | FRONG
Subtotal Receiving Transactions (A) | 203000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Serving Entity
Monthly Planned | 55000 | CSWSA | CPLCL
Unplanned - G | 35000 | CSWSA | CPLCL
Subtotal Sending Transactions (B) | 90000
GENERATION INFORMATION
Generation kW | 74000
Less Gen Unit Main XFMR Losses kW | 241 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 73759
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 203000
Subtotal Sending Transactions (B) | 90000
Subtotal Net Generation (C) | 73759
Total Load Responsibility (A-B+C) | 186759

## 1700 August 26, 1999
REPORT FOR LOAD SERVING ENTITY ==> | BPUB
LOAD SERVING ENTITY IN CONTROL AREA ==> | BPUB
August 26, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Annual Planned | 35000 | HLPTA | CALPG
Monthly Planned | 90000 | CSWSA | FRONG
Unplanned - B | 15000 | HLPTA | HLPGG
Unplanned - D | 50000 | CSWSA | FRONG
Unplanned - D | 6000 | CSWSA | WTUCG
Subtotal Receiving Transactions (A) | 196000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Serving Entity
Monthly Planned | 55000 | CSWSA | CPLCL
Unplanned - G | 35000 | CSWSA | CPLCL
Subtotal Sending Transactions (B) | 90000
GENERATION INFORMATION
Generation kW | 83000
Less Gen Unit Main XFMR Losses kW | 281.6 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -2000
Subtotal Net Generation (C) | 84718.4
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 196000
Subtotal Sending Transactions (B) | 90000
Subtotal Net Generation (C) | 84718.4
Total Load Responsibility (A-B+C) | 190718.4

## 1700 September 7, 1999
REPORT FOR LOAD SERVING ENTITY ==> | BPUB
LOAD SERVING ENTITY IN CONTROL AREA ==> | BPUB
September 7, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Annual Planned | 56000 | TMPPA | SMPBG
Annual Planned | 35000 | HLPTA | CALPG
Monthly Planned | 90000 | CSWSA | FRONG
Unplanned - G | 15000 | TMPPA | DGGXG
Unplanned - B | 1000 | HLPTA | CALPG
Subtotal Receiving Transactions (A) | 197000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Serving Load Entity
Monthly Planned | 55000 | CSWSA | CPLCL
Unplanned - G | 35000 | CSWSA | CPLCL
Unplanned - B | 2000 | HLPTA | HLPLL
Subtotal Sending Transactions (B) | 92000
GENERATION INFORMATION
Generation kW | 40000
Less Gen Unit Main XFMR Losses kW | 137.8 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 1000
Subtotal Net Generation (C) | 38862.2
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 197000
Subtotal Sending Transactions (B) | 92000
Subtotal Net Generation (C) | 38862.2
Total Load Responsibility (A-B+C) | 143862.2