## CONTACT INFORMATION
Load Entity Information
Load Entity: | STEC AND MEC
Contact Person: | MIKE TROELL
Mailing Address Line 1: | P.O. BOX 119
Mailing Address Line 2:
City: | NURSERY
State: | TEXAS
Zip Code: | 77976
Street Address Line 1:
Street Address Line 2:
City:
State:
Zip Code:
Company Internal Mail Code:
Telephone Number: | 512-575-6491
Facsimile (FAX) Number: | 512-580-1529
Internet email address: | mike@stec.org

## 1700 June 19, 1998
REPORT FOR LOAD ENTITY ==> | STEC AND MEC | (SEE BELOW)
LOAD ENTITY IN CONTROL AREA ==> | STEC/MEC
June 19, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
LCRA PAYBACK | 4000 | LCRA | LCRAGG
CSW HYDRO PB | 20000 | CSW | CSWSA
CSW PAYBACK | 8000 | CSW | CSWGG
HLP UB (DYNAMIC) | 13000 | HLP | HLPGG
TNSK-ALACG UD | 10000 | HLP | ALACG
DGG-TMPP UG | 5000 | TMPP | DGGXG
LPM-SWNY-TNP UD | 15000 | TNP | SWNYG3
FANNIN | 4217 | CSW | CSWSA
MIDFIELD WEST | 2054 | CSW | CSWSA
Subtotal Receiving Transactions (A) | 81271
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
FORDTRAN | 2425 | LCRA | LCRACL
WESER | 2292 | LCRA | LCRACL
DEWITT COUNTY ELECTRIC COOP | 2000 | LCRA | DWCEL
CASA BLANCA | 7920 | CSW (CPL) | CPLCL
GEORGE WEST | 7316 | CSW (CPL) | CPLCL
DLD-TMPP-UD | 10000 | TMPP | BPMXL
APC-TMPP-UD | 10000 | TMPP | BPMXL
Subtotal Sending Transactions (B) | 41953
GENERATION INFORMATION
Generation kW | 271640
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -1000
Subtotal Net Generation (C) | 272640
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 81271
Subtotal Sending Transactions (B) | 41953
Subtotal Net Generation (C) | 272640
Total Load Responsibility (A-B+C) | 311958
STEC LOAD RESPONSIBILITY | 233514.5
MEC LOAD RESPONSIBILITY | 78443.5

## 1700 JULY 31, 1998
REPORT FOR LOAD ENTITY ==> | STEC AND MEC | (SEE BELOW)
LOAD ENTITY IN CONTROL AREA ==> | STEC/MEC
July 31, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
LCRA PAYBACK | 5000 | LCRA | LCRAGG
CSW HYDRO PB | 17000 | CSW | CSWSA
CSW PAYBACK | 8000 | CSW | CSWGG
HLP UB (DYNAMIC) | 3000 | HLP | HLPGG
LPM-TNP PD | 25000 | TNP | SWNYG
AEN UB | 50000 | AEN | AENXG
ECI-CPS UB | 25000 | CPS | CPSGG
FANNIN | 4407 | CSW | CSWSA
MIDFIELD WEST | 2028 | CSW | CSWSA
Subtotal Receiving Transactions (A) | 139435
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
FORDTRAN | 2540 | LCRA | LCRACL
WESER | 2271 | LCRA | LCRACL
DEWITT COUNTY ELECTRIC COOP | 2000 | LCRA | DWCEL
CASA BLANCA | 8168 | CSW (CPL) | CPLCL
GEORGE WEST | 7126 | CSW (CPL) | CPLCL
APC TMPP UD | 21000 | TMPP | BPMXL
HLP UG | 15000 | HLP | HLPCL
Subtotal Sending Transactions (B) | 58105
GENERATION INFORMATION
Generation kW | 240562
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 1000
Subtotal Net Generation (C) | 239562
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 139435
Subtotal Sending Transactions (B) | 58105
Subtotal Net Generation (C) | 239562
Total Load Responsibility (A-B+C) | 320892
STEC LOAD RESPONSIBILITY | 245389.7
MEC LOAD RESPONSIBILITY | 75502.3

## 1600 August 3, 1998
REPORT FOR LOAD ENTITY ==> | STEC AND MEC | (SEE BELOW)
LOAD ENTITY IN CONTROL AREA ==> | STEC/MEC
August 3, 1998 Hour Ending 16:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
LCRA PAYBACK | 5000 | LCRA | LCRAGG
CSW HYDRO PB | 16000 | CSW | CSWSA
CSW PAYBACK | 8000 | CSW | CSWGG
HLP UB (DYNAMIC) | 10000 | HLP | HLPGG
LPM-TNP PD | 25000 | TNP | SWNYG
AEN PB | 4000 | AEN | AENXG
AEN UB | 15000 | CPS | CPSGG
FANNIN | 4402 | CSW | CSWSA
MIDFIELD WEST | 1409 | CSW | CSWSA
Subtotal Receiving Transactions (A) | 88811
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
FORDTRAN | 2552 | LCRA | LCRACL
WESER | 2431 | LCRA | LCRACL
DEWITT COUNTY ELECTRIC COOP | 2000 | LCRA | DWCEL
CASA BLANCA | 8696 | CSW (CPL) | CPLCL
GEORGE WEST | 7978 | CSW (CPL) | CPLCL
APC TMPP UD | 21000 | TMPP | BPMXL
CSW - PB (CITY OF ROBSTOWN) | 4000 | CSW (CPL) | CPLCL
Subtotal Sending Transactions (B) | 48657
GENERATION INFORMATION
Generation kW | 286335
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 5000
Subtotal Net Generation (C) | 281335
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 88811
Subtotal Sending Transactions (B) | 48657
Subtotal Net Generation (C) | 281335
Total Load Responsibility (A-B+C) | 321489
STEC LOAD RESPONSIBILITY | 248898.1
MEC LOAD RESPONSIBILITY | 72590.9

## 1700 September 4, 1998
REPORT FOR LOAD ENTITY ==> | STEC AND MEC | (SEE BELOW)
LOAD ENTITY IN CONTROL AREA ==> | STEC/MEC
September 4, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
LCRA PAYBACK | 5000 | LCRA | LCRAGG
CSW HYDRO PB | 3000 | CSW | CSWSA
CSW PAYBACK | 8000 | CSW | CSWGG
HLP UB (DYNAMIC) | 14000 | HLP | HLPGG
TU UB | 25000 | TU | TUEGG
AEN PB | 4000 | AEN | AENXG
FANNIN | 4277 | CSW | CSWSA
MIDFIELD WEST | 1320 | CSW | CSWSA
Subtotal Receiving Transactions (A) | 64597
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
FORDTRAN | 2310 | LCRA | LCRACL
WESER | 2261 | LCRA | LCRACL
DEWITT COUNTY ELECTRIC COOP | 2000 | LCRA | DWCEL
CASA BLANCA | 7816 | CSW (CPL) | CPLCL
GEORGE WEST | 6878 | CSW (CPL) | CPLCL
APC TMPP UD | 21000 | TMPP | BPMXL
CSW - PB (CITY OF ROBSTOWN) | 4000 | CSW (CPL) | CPLCL
DLD-TMPP UD | 10000 | TMPP | BPMXL
DGG TMPP UG | 15000 | TMPP | DGGCL
HLP UE | 10000 | HLP | HLPCL
Subtotal Sending Transactions (B) | 81265
GENERATION INFORMATION
Generation kW | 301022
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 3000
Subtotal Net Generation (C) | 298022
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 64597
Subtotal Sending Transactions (B) | 81265
Subtotal Net Generation (C) | 298022
Total Load Responsibility (A-B+C) | 281354
STEC LOAD RESPONSIBILITY | 220161.1
MEC LOAD RESPONSIBILITY | 61192.9