## CONTACT INFORMATION
Load Serving Entity Information
Load Serving Entity: | TXU Electric (TXU)
Contact Person: | Henry Durrwachter
Mailing Address Line 1: | 1601 Bryan Street
Mailing Address Line 2: | Suite 12020
City: | Dallas
State: | Texas
Zip Code: | 75201-3411
Street Address Line 1: | 1601 Bryan Street
Street Address Line 2: | Suite 12020
City: | Dallas
State: | Texas
Zip Code: | 75201-3411
Company Internal Mail Code: | Suite 12020
Telephone Number: | 214-812-8321
Facsimile (FAX) Number: | 214-812-8177
Internet email address: | hdurrwachter@txu.com

## 1700 June 28, 1999
REPORT FOR LOAD SERVING ENTITY ==> | TXU Electric (TXU)
LOAD SERVING ENTITY IN CONTROL AREA ==> | TXU Electric (TXU) in Control Area TXUT
June 28, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Firm Schedules
TNMPA-TUETA-PD | 2000 | TNMPA | BIOGX
TNMPA-TUETA-PD | 135000 | TNMPA | SWNYG
Economy Schedules
TNMPA-TUETA-UD | 1000 | TNMPA | BIOGX
Interchange Adjustments
LCRA - TXU (a) | 14710 | LCRA | LCRA
Subtotal Receiving Transactions (A) | 152710
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Serving Entity
Economy Schedules
TUETA-HLPTA-UG | 200000 | HLPTA | HLPCL
TUETA-CSWSA-UG | 500000 | CSWSA | DCT
TUETA-CSWSA-UG | 16000 | CSWSA | DCT
TUETA-CSWSA-UG | 36000 | CSWSA | DCT
TUETA-TNMPA-UG | 50000 | TNMPA | TNMPL
Wholesale Load Adjustments
COCS (b) | 123280 | TXUT | Not Applicable
Alcoa Self-Serve (c) | 99000 | TXUT | Not Applicable
Subtotal Sending Transactions (B) | 1024280 | Notes:
(a) TXU Electric's 1999 load at Elgin is being added as this was
GENERATION INFORMATION |  | served by LCRA.
Generation kW | 19893000 | (b) The City of College Station's 1999 load is being removed from
Less Gen Unit Main XFMR Losses kW | 60180 | TXU Electric's reported load for the City of College Station
Inadvertent kW | 37000 | to report its own 2000 load responsibility.
Subtotal Net Generation (C) | 19795820 | (c) A portion of the 1999 load for Alcoa is being removed from
TXU Electric's reported load, as this portion of Alcoa's load is
TOTAL LOAD CALCULATION |  | considered self-serve.
Subtotal Receiving Transactions (A) | 152710
Subtotal Sending Transactions (B) | 1024280
Subtotal Net Generation (C) | 19795820
Total Load Responsibility (A-B+C) | 18924250

## 1700 July 29, 1999
REPORT FOR LOAD SERVING ENTITY ==> | TXU Electric (TXU)
LOAD SERVING ENTITY IN CONTROL AREA ==> | TXU Electric (TXU) in Control Area TXUT
July 29, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Firm Schedules
TNMPA-TUETA-PD | 2000 | TNMPA | BIOGX
TNMPA-TUETA-PD | 135000 | TNMPA | SWNYG
HLPTA-TUETA-PD | 200000 | HLPTA | DOWC
Economy Schedules
TNMPA-TUETA-UD | 1000 | TNMPA | BIOGX
CSWSA-TUETA-UE | 21000 | CSWSA | WTUCG
Interchange Adjustments
LCRA - TXU (a) | 15660 | LCRA | LCRA
Subtotal Receiving Transactions (A) | 374660
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Serving Entity
Firm Schedules
TUETA-CSWSA-PG | 250000 | CSWSA | DCT
Economy Schedules
TUETA-CSWSA-UG | 100000 | CSWSA | RCECL
TUETA-CSWSA-UG | 36000 | CSWSA | DCT
TUETA-CSWSA-UG | 14000 | CSWSA | DCT
TUETA-TNMPA-UG | 25000 | TNMPA | TNMPL
TUETA-LCRAA-UG | 50000 | LCRAA | LCRAL
TUETA-AENXA-UG | 25000 | AENXA | AENXL
Wholesale Load Adjustments
COCS (b) | 130460 | TXUT | Not Applicable
Alcoa Self-Serve (c) | 113000 | TXUT | Not Applicable
Subtotal Sending Transactions (B) | 743460 | Notes:
(a) TXU Electric's 1999 load at Elgin is being added as this was
GENERATION INFORMATION |  | served by LCRA.
Generation kW | 20989000 | (b) The City of College Station's 1999 load is being removed from
Less Gen Unit Main XFMR Losses kW | 62990 | TXU Electric's reported load for the City of College Station
Inadvertent kW | 22000 | to report its own 2000 load responsibility.
Subtotal Net Generation (C) | 20904010 | (c) A portion of the 1999 load for Alcoa is being removed from
TXU Electric's reported load, as this portion of Alcoa's load is
TOTAL LOAD CALCULATION |  | considered self-serve.
Subtotal Receiving Transactions (A) | 374660
Subtotal Sending Transactions (B) | 743460
Subtotal Net Generation (C) | 20904010
Total Load Responsibility (A-B+C) | 20535210

## 1700 August 26, 1999
REPORT FOR LOAD SERVING ENTITY ==> | TXU Electric (TXU)
LOAD SERVING ENTITY IN CONTROL AREA ==> | TXU Electric (TXU) in Control Area TXUT
August 26, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Firm Schedules
TNMPA-TUETA-PD | 2000 | TNMPA | BIOGX
TNMPA-TUETA-PD | 135000 | TNMPA | SWNYG
HLPTA-TUETA-PD | 200000 | HLPTA | DOWC
CSWSA-TUETA-PD | 160000 | CSWSA | OXYCG
Economy Schedules
CSWSA-TUETA-UG | 100000 | CSWSA | DCT
CSWSA-TUETA-UG | 20000 | CSWSA | DCT
CSWSA-TUETA-UG | 30000 | CSWSA | DCT
CSWSA-TUETA-UG | 50000 | CSWSA | DCT
CPSTA-TUETA-UD | 50000 | CPSTA | CPSGG
CSWSA-TUETA-UG | 50000 | CSWSA | DCT
TMPPA-TUETA-UG | 5000 | TMPPA | DGGXG
TNMPA-TUETA-UD | 1000 | TNMPA | BIOGX
Interchange Adjustments
LCRA - TXU (a) | 16280 | LCRA | LCRA
Subtotal Receiving Transactions (A) | 819280
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Serving Entity
Firm Schedules
TUETA-TMPPA-PD | 3000 | TMPPA | COGRL
Economy Schedules
TUETA-LCRAA-UG | 20000 | LCRAA | LCRAL
TUETA-TMPPA-UI | 15000 | TMPPA | BPMXL
TUET(TX CTY)-TNMPA-UD | 10000 | TNMPA | TNMPL
TUETA-LCRAA-UG | 30000 | LCRAA | LCRAL
TUETA-HLPTA-UE | 150000 | HLPTA | HLPCL
Wholesale Load Adjustments
COCS (b) | 148260 | TXUT | Not Applicable
Alcoa Self-Serve (c) | 107000 | TXUT | Not Applicable
Subtotal Sending Transactions (B) | 483260 | Notes:
(a) TXU Electric's 1999 load at Elgin is being added as this was
GENERATION INFORMATION |  | served by LCRA.
Generation kW | 21175000 | (b) The City of College Station's 1999 load is being removed from
Less Gen Unit Main XFMR Losses kW | 65970 | TXU Electric's reported load for the City of College Station
Inadvertent kW | 2000 | to report its own 2000 load responsibility.
Subtotal Net Generation (C) | 21107030 | (c) A portion of the 1999 load for Alcoa is being removed from
TXU Electric's reported load, as this portion of Alcoa's load is
TOTAL LOAD CALCULATION |  | considered self-serve.
Subtotal Receiving Transactions (A) | 819280
Subtotal Sending Transactions (B) | 483260
Subtotal Net Generation (C) | 21107030
Total Load Responsibility (A-B+C) | 21443050

## 1700 September 7, 1999
REPORT FOR LOAD SERVING ENTITY ==> | TXU Electric (TXU)
LOAD SERVING ENTITY IN CONTROL AREA ==> | TXU Electric (TXU) in Control Area TXUT
September 7, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Firm Schedules
TNMPA-TUETA-PD | 2000 | TNMPA | BIOGX
Economy Schedules
TNMPA-TUETA-UD | 1000 | TNMPA | BIOGX
CSWSA-TUETA-UG | 80000 | CSWSA | DCT
CSWSA-TUETA-UG | 70000 | CSWSA | DCT
Interchange Adjustments
LCRA - TXU (a) | 16340 | LCRA | LCRA
Subtotal Receiving Transactions (A) | 169340
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Serving Load Entity
Economy Schedules
TUETA-LCRAA-UG | 20000 | LCRAA | LCRAL
TUETA-TMPPA-UI | 15000 | TMPPA | BECOL
TUETA-LCRAA-UG | 30000 | LCRAA | LCRAL
TUETA-CSWSA-UG | 100000 | CSWSA | DCT
TUETA-CSWSA-UG | 100000 | CSWSA | DCT
TUETA-CSWSA-UG | 100000 | CSWSA | DCT
TUETA-CSWSA-UG | 100000 | CSWSA | DCT
TUETA-TMPPA-UG | 50000 | TMPPA | BECOL
TUETA-TMPPA-UG | 25000 | TMPPA | BRYN
TUETA-CSWSA-UG | 100000 | CSWSA | WTUCL
TUETA-CSWSA-UG | 100000 | CSWSA | DCT
TUETA-CSWSA-UG | 300000 | CSWSA | WTUCL
TUETA-STECA-UG | 25000 | STECA | STMEL
TUETA-CSWSA-UG | 50000 | CSWSA | DCT
Wholesale Load Adjustments
COCS (b) | 135990 | TXUT | Not Applicable
Alcoa Self-Serve (c) | 109000 | TXUT | Not Applicable
Subtotal Sending Transactions (B) | 1359990 | Notes:
(a) TXU Electric's 1999 load at Elgin is being added as this was
GENERATION INFORMATION |  | served by LCRA.
Generation kW | 20148000 | (b) The City of College Station's 1999 load is being removed from
Less Gen Unit Main XFMR Losses kW | 67360 | TXU Electric's reported load for the City of College Station
Inadvertent kW | -61000 | to report its own 2000 load responsibility.
Subtotal Net Generation (C) | 20141640 | (c) A portion of the 1999 load for Alcoa is being removed from
TXU Electric's reported load, as this portion of Alcoa's load is
TOTAL LOAD CALCULATION |  | considered self-serve.
Subtotal Receiving Transactions (A) | 169340
Subtotal Sending Transactions (B) | 1359990
Subtotal Net Generation (C) | 20141640
Total Load Responsibility (A-B+C) | 18950990