## June 19, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | TUEC | 19952000 | 19952000 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | TUEC | 13000 | [13 empty] | 0 | 13000
|  | 0 | [13 empty] | 0
Purchases - Firm Schedules |  | 0 | [13 empty] | 0
CP&L - SESCO | TUEC | 43000 |  |  | 43000 | [10 empty] | 43000
HL&P - TNP | TUEC | 30000 |  |  |  |  | 30000 | [8 empty] | 30000
TNP - TNP | --- | 0 | [13 empty] | 0
TMPP - Rayburn | TUEC | 43000 | [8 empty] | 43000 |  |  |  |  | 43000
LCRA - SESCO | TUEC | 75000 | [5 empty] | 75000 | [7 empty] | 75000
|  | 0 | [13 empty] | 0
Purchases - Firm Schedules |  | 0 | [13 empty] | 0
Electric Clearinghouse | --- | 0 | [13 empty] | 0
ENRON | --- | 0 | [13 empty] | 0
COA Replacement | TUEC | 200000 |  | 200000 | [11 empty] | 200000
STEC - Rayburn | --- | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Payback-in-Kind |  | 0 | [13 empty] | 0
LCRA | TUEC | 10000 | [5 empty] | 10000 | [7 empty] | 10000
TMPP | --- | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Sales - Economy Schedules |  | 0 | [13 empty] | 0
HL&P Economy C | --- | 0 | [13 empty] | 0
LCRA Replacement | --- | 0 | [13 empty] | 0
COA Economy B | --- | 0 | [13 empty] | 0
TMPP Economy B | TMPP | -250000 | [10 empty] | -250000 |  |  | -250000
PUB Economy C | PUB | -68000 | [10 empty] | -68000 |  |  | -68000
PUB Replacement | --- | 0 | [13 empty] | 0
STEC Economy C | --- | 0 | [13 empty] | 0
STEC Replacement | --- | 0 | [13 empty] | 0
East DC Tie Economy A | --- | 0 | [13 empty] | 0
CPL Replacement | CPL | -75000 | [10 empty] | -75000 |  |  | -75000
WTU Replacement | WTU | -400000 | [10 empty] | -400000 |  |  | -400000
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | TUEC | 19573000 | 19952000 | 200000 | 43000 | 0 | 30000 | 85000 | 0 | 0 | 43000 | 0 | -793000 | 0 | 0 | -392000 | 13000
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | TUEC | 19573000 | 19573000 | [11 empty] | 0
|  | 0 | [12 empty] | 0
Firm Schedules |  | 0 | [12 empty] | 0
CP&L - SESCO | SESCO | -43000 | [10 empty] | -43000 |  | -43000
HL&P - TNP | TNP | -30000 | [10 empty] | -30000 |  | -30000
TNP - TNP | --- | 0 | [10 empty] | 0 |  | 0
TMPP - Rayburn | Rayburn | -43000 | [10 empty] | -43000 |  | -43000
LCRA - SESCO | SESCO | -75000 | [10 empty] | -75000 |  | -75000
|  | 0 | [10 empty] | 0 |  | 0
|  | 0 | [10 empty] | 0 |  | 0
College Station | College Station | -119600 | [10 empty] | -119600 |  | -119600
|  | 0 | [10 empty] | 0 |  | 0
Brazos Net Interchange | Brazos | -37000 | [10 empty] | -37000 |  | -37000
|  | 0 | [10 empty] | 0 |  | 0
LCRA Net Interchange | LCRA | -13000 | [10 empty] | -13000 |  | -13000
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals | TUEC | 19212400 | 19573000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -360600 | 0 | -360600
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## July 22, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | TUEC | 20122000 | 20122000 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | TUEC | 18000 | [13 empty] | 0 | 18000
|  | 0 | [13 empty] | 0
Purchases - Firm Schedules |  | 0 | [13 empty] | 0
CP&L - SESCO | TUEC | 22000 |  |  | 22000 | [10 empty] | 22000
HL&P - TNP | TUEC | 30000 |  |  |  |  | 30000 | [8 empty] | 30000
TNP - TNP | --- | 0 | [13 empty] | 0
TMPP - Rayburn | TUEC | 42000 | [8 empty] | 42000 |  |  |  |  | 42000
LCRA - SESCO | TUEC | 71000 | [5 empty] | 71000 | [7 empty] | 71000
|  | 0 | [13 empty] | 0
Purchases - Firm Schedules |  | 0 | [13 empty] | 0
Electric Clearinghouse | --- | 0 | [13 empty] | 0
ENRON | --- | 0 | [13 empty] | 0
COA Replacement | --- | 0 | [13 empty] | 0
STEC - Rayburn | --- | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Payback-in-Kind |  | 0 | [13 empty] | 0
LCRA | TUEC | 10000 | [5 empty] | 10000 | [7 empty] | 10000
TMPP | --- | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Sales - Economy Schedules |  | 0 | [13 empty] | 0
HL&P Economy C | --- | 0 | [13 empty] | 0
LCRA Replacement | LCRA | -70000 | [10 empty] | -70000 |  |  | -70000
COA Economy B | --- | 0 | [13 empty] | 0
TMPP Economy B | TMPP | -275000 | [10 empty] | -275000 |  |  | -275000
PUB Economy C | --- | 0 | [13 empty] | 0
PUB Replacement | PUB | -45000 | [10 empty] | -45000 |  |  | -45000
STEC Economy C | STEC | -15000 | [10 empty] | -15000 |  |  | -15000
STEC Replacement | STEC | -30000 | [10 empty] | -30000 |  |  | -30000
East DC Tie Economy A | SPP | -150000 | [10 empty] | -150000 |  |  | -150000
CPL Replacement | CPL | -100000 | [10 empty] | -100000 |  |  | -100000
WTU Replacement | --- | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | TUEC | 19630000 | 20122000 | 0 | 22000 | 0 | 30000 | 81000 | 0 | 0 | 42000 | 0 | -685000 | 0 | 0 | -510000 | 18000
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | TUEC | 19630000 | 19630000 | [11 empty] | 0
|  | 0 | [12 empty] | 0
Firm Schedules |  | 0 | [12 empty] | 0
CP&L - SESCO | SESCO | -22000 | [10 empty] | -22000 |  | -22000
HL&P - TNP | TNP | -30000 | [10 empty] | -30000 |  | -30000
TNP - TNP | --- | 0 | [10 empty] | 0 |  | 0
TMPP - Rayburn | Rayburn | -42000 | [10 empty] | -42000 |  | -42000
LCRA - SESCO | SESCO | -71000 | [10 empty] | -71000 |  | -71000
|  | 0 | [10 empty] | 0 |  | 0
|  | 0 | [10 empty] | 0 |  | 0
College Station | College Station | -119520 | [10 empty] | -119520 |  | -119520
|  | 0 | [10 empty] | 0 |  | 0
Brazos Net Interchange | --- | 0 | [10 empty] | 0 |  | 0
|  | 0 | [10 empty] | 0 |  | 0
LCRA Net Interchange | LCRA | -13000 | [10 empty] | -13000 |  | -13000
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals | TUEC | 19332480 | 19630000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -297520 | 0 | -297520
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## August 5, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | TUEC | 19481000 | 19481000 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | TUEC | -24000 | [13 empty] | 0 | -24000
|  | 0 | [13 empty] | 0
Purchases - Firm Schedules |  | 0 | [13 empty] | 0
CP&L - SESCO | TUEC | 22000 |  |  | 22000 | [10 empty] | 22000
HL&P - TNP | --- | 0 | [13 empty] | 0
TNP - TNP | TUEC | 30000 | [9 empty] | 30000 |  |  |  | 30000
TMPP - Rayburn | TUEC | 42000 | [8 empty] | 42000 |  |  |  |  | 42000
LCRA - SESCO | TUEC | 71000 | [5 empty] | 71000 | [7 empty] | 71000
|  | 0 | [13 empty] | 0
Purchases - Firm Schedules |  | 0 | [13 empty] | 0
Electric Clearinghouse | TUEC | 100000 |  |  |  |  | 100000 | [8 empty] | 100000
ENRON | TUEC | 50000 |  |  |  |  | 50000 | [8 empty] | 50000
COA Replacement | --- | 0 | [13 empty] | 0
STEC - Rayburn | --- | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Payback-in-Kind |  | 0 | [13 empty] | 0
LCRA | --- | 0 | [13 empty] | 0
TMPP | TUEC | 6000 | [8 empty] | 6000 |  |  |  |  | 6000
|  | 0 | [13 empty] | 0
Sales - Economy Schedules |  | 0 | [13 empty] | 0
HL&P Economy C | HL&P | -150000 | [10 empty] | -150000 |  |  | -150000
LCRA Replacement | --- | 0 | [13 empty] | 0
COA Economy B | --- | 0 | [13 empty] | 0
TMPP Economy B | TMPP | -150000 | [10 empty] | -150000 |  |  | -150000
PUB Economy C | --- | 0 | [13 empty] | 0
PUB Replacement | PUB | -45000 | [10 empty] | -45000 |  |  | -45000
STEC Economy C | --- | 0 | [13 empty] | 0
STEC Replacement | --- | 0 | [13 empty] | 0
East DC Tie Economy A | --- | 0 | [13 empty] | 0
CPL Replacement | --- | 0 | [13 empty] | 0
WTU Replacement | --- | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | TUEC | 19433000 | 19481000 | 0 | 22000 | 0 | 150000 | 71000 | 0 | 0 | 48000 | 30000 | -345000 | 0 | 0 | -24000 | -24000
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | TUEC | 19433000 | 19433000 | [11 empty] | 0
|  | 0 | [12 empty] | 0
Firm Schedules |  | 0 | [12 empty] | 0
CP&L - SESCO | SESCO | -22000 | [10 empty] | -22000 |  | -22000
HL&P - TNP | --- | 0 | [10 empty] | 0 |  | 0
TNP - TNP | TNP | -30000 | [10 empty] | -30000 |  | -30000
TMPP - Rayburn | Rayburn | -42000 | [10 empty] | -42000 |  | -42000
LCRA - SESCO | SESCO | -71000 | [10 empty] | -71000 |  | -71000
|  | 0 | [10 empty] | 0 |  | 0
|  | 0 | [10 empty] | 0 |  | 0
College Station | College Station | -119880 | [10 empty] | -119880 |  | -119880
|  | 0 | [10 empty] | 0 |  | 0
Brazos Net Interchange | --- | 0 | [10 empty] | 0 |  | 0
|  | 0 | [10 empty] | 0 |  | 0
LCRA Net Interchange | LCRA | -13000 | [10 empty] | -13000 |  | -13000
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals | TUEC | 19135120 | 19433000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -297880 | 0 | -297880
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## September 10, 1996 @1800
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | TUEC | 16742000 | 16742000 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | TUEC | -13000 | [13 empty] | 0 | -13000
|  | 0 | [13 empty] | 0
Purchases - Firm Schedules |  | 0 | [13 empty] | 0
CP&L - SESCO | TUEC | 22000 |  |  | 22000 | [10 empty] | 22000
HL&P - TNP | --- | 0 | [13 empty] | 0
TNP - TNP | TUEC | 30000 | [9 empty] | 30000 |  |  |  | 30000
TMPP - Rayburn | TUEC | 43000 | [8 empty] | 43000 |  |  |  |  | 43000
LCRA - SESCO | TUEC | 71000 | [5 empty] | 71000 | [7 empty] | 71000
|  | 0 | [13 empty] | 0
Purchases - Firm Schedules |  | 0 | [13 empty] | 0
Electric Clearinghouse | --- | 0 | [13 empty] | 0
ENRON | --- | 0 | [13 empty] | 0
COA Replacement | --- | 0 | [13 empty] | 0
STEC - Rayburn | TUEC | 50000 | [7 empty] | 50000 | [5 empty] | 50000
|  | 0 | [13 empty] | 0
Payback-in-Kind |  | 0 | [13 empty] | 0
LCRA | --- | 0 | [13 empty] | 0
TMPP | TUEC | 6000 | [8 empty] | 6000 |  |  |  |  | 6000
|  | 0 | [13 empty] | 0
Sales - Economy Schedules |  | 0 | [13 empty] | 0
HL&P Economy C | HL&P | -200000 | [10 empty] | -200000 |  |  | -200000
LCRA Replacement | --- | 0 | [13 empty] | 0
COA Economy B | COA | -100000 | [10 empty] | -100000 |  |  | -100000
TMPP Economy B | --- | 0 | [13 empty] | 0
PUB Economy C | --- | 0 | [13 empty] | 0
PUB Replacement | --- | 0 | [13 empty] | 0
STEC Economy C | --- | 0 | [13 empty] | 0
STEC Replacement | --- | 0 | [13 empty] | 0
East DC Tie Economy A | --- | 0 | [13 empty] | 0
CPL Replacement | --- | 0 | [13 empty] | 0
WTU Replacement | --- | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | TUEC | 16651000 | 16742000 | 0 | 22000 | 0 | 0 | 71000 | 0 | 50000 | 49000 | 30000 | -300000 | 0 | 0 | -78000 | -13000
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | TUEC | 16651000 | 16651000 | [11 empty] | 0
|  | 0 | [12 empty] | 0
Firm Schedules |  | 0 | [12 empty] | 0
CP&L - SESCO | SESCO | -22000 | [10 empty] | -22000 |  | -22000
HL&P - TNP | --- | 0 | [10 empty] | 0 |  | 0
TNP - TNP | TNP | -30000 | [10 empty] | -30000 |  | -30000
TMPP - Rayburn | Rayburn | -43000 | [10 empty] | -43000 |  | -43000
LCRA - SESCO | SESCO | -71000 | [10 empty] | -71000 |  | -71000
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
College Station | College Station | -111240 | [10 empty] | -111240 |  | -111240
|  | 0 | [12 empty] | 0
Brazos Net Interchange | Brazos | -20000 | [10 empty] | -20000 |  | -20000
|  | 0 | [12 empty] | 0
LCRA Net Interchange | LCRA | -10000 | [10 empty] | -10000 |  | -10000
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals | TUEC | 16343760 | 16651000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -307240 | 0 | -307240
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## 1997 Generator Groups
Generator Group Name: | Group 1
Generator Unit Name | Available Capability | Nominated Capability
Total Generation | 0 | 0
Generator Group Name: | Group 2
Generator Unit Name | Available Capability | Nominated Capability
Total Generation | 0 | 0
Generator Group Name: | Group 3
Generator Unit Name | Available Capability | Nominated Capability
Total Generation | 0 | 0
Generator Group Name: | Group 4
Generator Unit Name | Available Capability | Nominated Capability
Total Generation | 0 | 0

## 1997 VAMM Nominations
Name
Generator Groups
|  | Forecasted |  | Group 1 | Group 2 | Group 3 | Group 4 | Total
| Type of | 1997 Firm | Capability-MW: | 0 | 0 | 0 | 0 | 0
Load Groups | Nomination | Peak Demand
Nominated
0
0
0
0
0
0
0
0
Totals |  | 0 |  | 0 | 0 | 0 | 0 | 0
Calculated Capability not Nominated |  |  |  | 0 | 0 | 0 | 0 | 0

## E
Generator Group Name: | Group 1
Generator Unit Name | Available Capability | Nominated Capability
Bio-Energy Partners | 2 | 1.9863
Cogeneron Cogen | 410 | 407.1905
Collin 1 | 153 | 151.9516
Dallas 3 | 75 | 0
Dallas 9 | 70 | 0
DeCordova 1 | 818 | 812.3946
DeCordova CT1 | 78 | 77.4655
DeCordova CT2 | 78 | 77.4655
DeCordova CT3 | 78 | 77.4655
DeCordova CT4 | 78 | 77.4655
Eagle Mountain 1 | 119 | 118.1845
Eagle Mountain 2 | 175 | 173.8008
Eagle Mountain 3 | 375 | 372.4303
Encogen One Cogen | 255 | 253.2526
Falcon Seaboard Cogen | 200 | 198.6295
Graham 1 | 240 | 238.3554
Graham 2 | 402 | 399.2453
Handley 1 | 45 | 0
Handley 2 | 80 | 79.4518
Handley 3 | 400 | 397.259
Handley 4 | 458 | 454.8615
Handley 5 | 458 | 454.8615
Lake Creek 1 | 87 | 86.4038
Lake Creek 2 | 230 | 228.4239
Lake Creek Diesels | 6 | 0
Lake Hubbard 1 | 393 | 390.3069
Lake Hubbard 2 | 528 | 524.3819
Morgan Creek 2 | 22 | 0
Morgan Creek 3 | 44 | 0
Sub-Total Generation Group 1 | 6357 | 6053.2337
Generator Group Name: | Group 1 (Continued)
Generator Unit Name | Available Capability | Nominated Capability
Morgan Creek 4 | 70 | 69.5203
Morgan Creek 5 | 175 | 173.8008
Morgan Creek 6 | 511 | 507.4983
Morgan Creek CT1 | 74 | 73.4929
Morgan Creek CT2 | 74 | 73.4929
Morgan Creek CT3 | 74 | 73.4929
Morgan Creek CT4 | 74 | 73.4929
Morgan Creek CT5 | 74 | 73.4929
Morgan Creek CT6 | 74 | 73.4929
Mountain Creek 2 | 33 | 0
Mountain Creek 3 | 70 | 0
Mountain Creek 6 | 128 | 127.1229
Mountain Creek 7 | 125 | 124.1434
Mountain Creek 8 | 550 | 546.2311
North Lake 1 | 175 | 173.8008
North Lake 2 | 175 | 173.8008
North Lake 3 | 365 | 362.4988
North Main 4 | 80 | 0
Parkdale 1 | 87 | 86.4038
Parkdale 2 | 115 | 114.212
Parkdale 3 | 125 | 124.1434
Permian Basin 5 | 115 | 114.212
Permian Basin 6 | 540 | 536.2996
Permian Basin CT1 | 66 | 65.5477
Permian Basin CT2 | 66 | 0
Permian Basin CT3 | 66 | 65.5477
Permian Basin CT4 | 66 | 65.5477
Permian Basin CT5 | 66 | 65.5477
River Crest 1 | 110 | 0
Sub-Total Generation Group 1 | 4323 | 3936.8365
Generator Group Name: | Group 1 (Continued)
Generator Unit Name | Available Capability | Nominated Capability
Stryker Creek 1 | 175 | 173.8008
Stryker Creek 2 | 500 | 496.5737
Stryker Creek Diesels | 10 | 0
Tenaska Cogen | 223 | 221.4719
Tradinghouse 1 | 565 | 561.1283
Tradinghouse 2 | 818 | 812.3946
Trinidad 6 | 240 | 238.3554
Trinidad Diesels | 4 | 0
Valley 1 | 175 | 173.8008
Valley 2 | 550 | 546.2311
Valley 3 | 390 | 387.3275
Wichita Falls Cogen | 74 | 73.4929
Sub-Total Generation Group 1 | 3724 | 3684.577
Total Generation Group 1 | 14404 | 13674.6472
Generator Group Name: | Group 2
Generator Unit Name | Available Capability | Nominated Capability
Big Brown 1 | 575 | 571.0598
Big Brown 2 | 575 | 571.0598
Comanche Peak 1 | 1150 | 1142.1196
Comanche Peak 2 | 1150 | 1142.1196
Martin Lake 1 | 750 | 744.8606
Martin Lake 2 | 750 | 744.8606
Martin Lake 3 | 750 | 744.8606
Monticello 1 | 565 | 561.1283
Monticello 2 | 565 | 561.1283
Monticello 3 | 750 | 744.8606
Sandow 4 | 555 | 551.1968
Total Generation Group 2 | 8135 | 8079.2545

## F
TU Electric
Generator Groups
|  | Forecasted |  | Group 1 | Group 2 |  |  | Total
| Type of | 1997 Firm | Capability-MW: | 13674.6472 | 8079.2545 |  |  | 21753.9017
Load Groups | Nomination | Peak Demand
|  |  | Nominated | 100% | 100% |  |  | 100%
TU Electric Load | Purchase | 18488.5 | 115% | 13367.37 | 7897.7 |  |  | 21265.07
TNP | Purchase | 425 | 115% | 307.28 | 181.55 |  |  | 488.83
0
0
0
0
0
0
Totals |  | 18913.5 |  | 13674.65 | 8079.25 | 0 | 0 | 21753.9
Calculated Capability not Nominated |  |  |  | -0.0027883 | 0.0044896 | 0 | 0 | 0.0017013

## B (2)
UNIT MAIN LOSSES 1700 HOURS 06/19/96
| STEPUP XFMR TEST DATA |  |  |  | GENERATOR OUTPUT |  |  |  | XFMR LOSSES
| BASE | LOW | NO LOAD | FULL LOAD | TERMINAL | REAL | REACTIVE
UNIT | RATING | SIDE | LOSS | LOSS | VOLTAGE | POWER | POWER | CURRENT | NO LOAD | AT LOAD | TOTAL
| MVA | kV | kW | kW | kV | MW | MVAR | A | kW | kW | kW
BBRN 1 | 600 | 17.1 | 410.646 | 1485.975 | 18 | 578 | 27 | 18559.5749 | 455.0094 | 1247.2644 | 1702.2738
BBRN 2 | 600 | 17.1 | 374.761 | 1423.391 | 18 | 572 | -86 | 18553.1158 | 415.2476 | 1193.9026 | 1609.1503
COLL 1 | 180 | 17.1 | 196 | 765.6 | 18 | 122 | 101 | 5080.1194 | 217.1745 | 534.9562 | 752.1307
CMPK 1 | 1300 | 20.9 | 783.84 | 2435.73 | 22 | 1091 | 334 | 29942.9784 | 868.5208 | 1693.3482 | 2561.8689
CMPK 2 | 1300 | 20.9 | 844.19 | 2375.73 | 22 | 1102 | 409 | 30847.5881 | 935.3906 | 1752.9383 | 2688.3289
DEC 1 | 825 | 22.8 | 341 | 2744.3 | 24 | 742 | 375 | 19999.8409 | 377.8393 | 2515.1722 | 2893.0115
DEC CT A | 51 | 13.5 | 58.283 | 63.93 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
DEC CT B | 51 | 13.5 | 59.317 | 64.276 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
DEC CT C | 51 | 13.5 | 59.317 | 64.276 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
DEC CT D | 51 | 13.5 | 62 | 64 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
EGMT 1 | 112 | 15 | 215.8 | 520 | 15.5 | 106 | 52 | 4397.8363 | 230.4264 | 541.1893 | 771.6157
EGMT 2 | 210 | 19 | 254.75 | 839.85 | 20 | 166 | 76 | 5270.3574 | 282.2715 | 572.8906 | 855.1621
EGMT 3 | 390 | 19 | 216.627 | 1268.339 | 20 | 340 | 154 | 10774.8163 | 240.0299 | 1048.466 | 1288.4959
GRAM 1 | 280 | 19 | 159.362 | 1027.459 | 20 | 214 | -1 | 6177.7153 | 176.5784 | 541.6674 | 718.2458
GRAM 2 | 400 | 21 | 262.2 | 1131.5 | 22 | 376 | 45 | 9937.8579 | 287.766 | 924.017 | 1211.783
HAND 1 | 50 | 12.47 | 154.44 | 143.29 | 13 | 0 | 0 | 0 | 0 | 0 | 0
HAND 2 | 75 | 12.47 | 113 | 270.15 | 13 | 72 | 2 | 3198.8657 | 122.8096 | 229.2602 | 352.0698
HAND 3 | 460 | 18.1 | 288.67 | 1577.048 | 19 | 343 | 165 | 11565.9417 | 318.0912 | 979.8727 | 1297.9639
HAND 4 | 500 | 24.7 | 199.596 | 1392.607 | 26 | 434 | 180 | 10433.3141 | 221.159 | 1109.8091 | 1330.9681
HAND 5 | 500 | 24.7 | 189.401 | 1409.23 | 26 | 427 | 139 | 9971.6066 | 209.8626 | 1025.8581 | 1235.7207
LCRK 1 | 100 | 13.2 | 165 | 195 | 13.8 | 83 | 52 | 4097.675 | 180.3409 | 171.1507 | 351.4916
LCRK 2 | 250 | 19 | 170.445 | 718.294 | 20 | 150 | 96 | 5141.0116 | 188.8587 | 328.9636 | 517.8223
LKHB 1 | 615 | 22 | 355.88 | 1550.208 | 24 | 0 | 0 | 0 | 0 | 0 | 0
LKHB 2 | 580 | 20.9 | 263.04 | 1682 | 22 | 510 | 263 | 15058.8606 | 291.4571 | 1485.8264 | 1777.2834
MTNLK 1 | 800 | 19 | 385.4 | 2119.92 | 20 | 753 | 207 | 22543.6244 | 427.036 | 1823.1207 | 2250.1568
MTNLK 2 | 800 | 19 | 387.3 | 2101.56 | 20 | 755 | 189 | 22467.495 | 429.1413 | 1795.1452 | 2224.2865
MTNLK 3 | 800 | 19 | 318.8 | 2068.07 | 20 | 752 | 190 | 22390.5486 | 353.241 | 1754.4588 | 2107.6998
MOSES 1 | 600 | 17.1 | 370.527 | 1491.875 | 18 | 562 | 205 | 19187.9645 | 410.5562 | 1338.4471 | 1749.0034
MOSES 2 | 600 | 17.1 | 370 | 1500 | 18 | 554 | 197 | 18859.5906 | 409.9723 | 1300.0701 | 1710.0424
MOSES 3 | 800 | 22.8 | 417.482 | 1836.397 | 24 | 737 | 234 | 18601.6508 | 462.5839 | 1548.3906 | 2010.9745
MRGN CT A | 51 | 13.2 | 56.696 | 181.693 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN CT B | 51 | 13.2 | 57.364 | 181.234 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN CT C | 51 | 13.2 | 57.263 | 180.048 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN CT D | 51 | 13.2 | 56.804 | 179.856 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN CT E | 51 | 13.2 | 57.335 | 183.891 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN CT F | 51 | 13.2 | 57.222 | 178.088 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN 2 | 22 | 12.47 | 65.76 | 87.8 | 13.2 | 0 | 0 | 0 | 0 | 0 | 0
MRGN 4 | 68 | 13.2 | 134.4 | 178.8 | 13.8 | 59 | -1 | 2468.7361 | 146.8959 | 123.1879 | 270.0838
MRGN 5 | 200 | 19 | 177.038 | 645.9 | 20 | 158 | 38 | 4691.1264 | 196.164 | 384.8469 | 581.0109
MRGN 6 | 535 | 21 | 291.2 | 1785 | 22 | 455 | -43 | 11993.8575 | 319.5937 | 1186.884 | 1506.4776
MTCK 3 | 66 | 13.2 | 173.79 | 207.65 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MTCK 6 | 150 | 13.2 | 110.58 | 717.32 | 13.8 | 111 | 69 | 5468.0143 | 120.8612 | 498.2632 | 619.1244
MTCK 7 | 140 | 14.4 | 122.7 | 540.6 | 15 | 124 | 73 | 5538.418 | 133.138 | 526.3052 | 659.4432
MTCK 8 | 625 | 20.9 | 356.787 | 1536.193 | 22 | 542 | 297 | 16219.3343 | 395.3319 | 1355.7063 | 1751.0382
NLK 1 | 200 | 13.2 | 153.84 | 648.821 | 13.8 | 164 | 91 | 7846.7476 | 168.1433 | 522.0516 | 690.1949
NLK 2 | 200 | 17.1 | 129.1 | 703.8 | 18 | 163 | 96 | 6067.6061 | 143.0471 | 568.2475 | 711.2946
NLK 3 | 370 | 19 | 245 | 1271 | 20 | 346 | 150 | 10886.3829 | 271.4681 | 1191.62 | 1463.0881
PARK 1 | 60 | 13.2 | 79 | 183 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
PARK 2 | 150 | 13.2 | 193.4 | 754.7 | 13.8 | 110 | 0 | 4602.0674 | 211.3814 | 371.3359 | 582.7173
PARK 3 | 150 | 14.4 | 120.635 | 686.2 | 15 | 79 | 74 | 4166.3555 | 130.8974 | 329.3268 | 460.2242
PB 5 | 140 | 13.2 | 166.8 | 523.512 | 13.8 | 112 | 14 | 4722.2068 | 182.3083 | 311.3362 | 493.6445
PB 6 | 560 | 18 | 202.514 | 1712.217 | 18 | 527 | 22 | 16918.2554 | 202.514 | 1519.0084 | 1721.5224
PB CT A | 51 | 13.2 | 56.042 | 181.393 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
PB CT B | 51 | 13.2 | 57.471 | 181.163 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
PB CT C | 51 | 13.2 | 56.01 | 180.164 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
PB CT D | 51 | 13.5 | 59.317 | 64.276 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
PB CT E | 51 | 13.5 | 59.525 | 65.142 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
RCST 1 | 130 | 13.2 | 195.24 | 647.7 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
SANDOW 4 | 642 | 20.9 | 250 | 1496.493 | 22 | 546 | 194 | 15206.3855 | 277.0083 | 1100.197 | 1377.2053
STRYK 1 | 200 | 13.2 | 142.72 | 729.5 | 13.8 | 175 | -4 | 7323.3831 | 155.9894 | 511.279 | 667.2684
STRYK 2 | 550 | 18.2 | 299.742 | 1639.672 | 19 | 455 | 142 | 14483.6967 | 326.6721 | 1129.9376 | 1456.6097
THSE 1 | 650 | 17.1 | 383.7 | 2046.565 | 18 | 535 | 240 | 18807.6959 | 425.1524 | 1503.0848 | 1928.2372
THSE 2 | 736.6 | 22.8 | 375.4 | 2109.9 | 24 | 745 | 333 | 19630.7641 | 415.9557 | 2337.0274 | 2752.9831
TDAD 6 | 265 | 21 | 276.587 | 1162.772 | 22 | 31 | 60 | 1772.3387 | 303.5558 | 68.8107 | 372.3665
VAL 1 | 200 | 19 | 137.7 | 709.344 | 20 | 166 | 0 | 4792.0072 | 152.5762 | 441.022 | 593.5982
VAL 2 | 600 | 20.9 | 265 | 1495 | 22 | 486 | 146 | 13317.2768 | 293.6288 | 965.1246 | 1258.7534
VAL 3 | 400 | 20.8 | 255 | 1316.2 | 22 | 345 | 25 | 9077.6418 | 285.2718 | 879.8242 | 1165.096
[9 empty] | TOTAL ALL UNITS |  | 59049.5317

## C (2)
UNIT MAIN LOSSES 1700 HOURS 07/22/96
| STEPUP XFMR TEST DATA |  |  |  | GENERATOR OUTPUT |  |  |  | XFMR LOSSES
| BASE | LOW | NO LOAD | FULL LOAD | TERMINAL | REAL | REACTIVE
UNIT | RATING | SIDE | LOSS | LOSS | VOLTAGE | POWER | POWER | CURRENT | NO LOAD | AT LOAD | TOTAL
| MVA | kV | kW | kW | kV | MW | MVAR | A | kW | kW | kW
BBRN 1 | 600 | 17.1 | 410.646 | 1485.975 | 18 | 580 | 24 | 18619.4288 | 455.0094 | 1255.3221 | 1710.3315
BBRN 2 | 600 | 17.1 | 374.761 | 1423.391 | 18 | 537 | -90 | 17464.5143 | 415.2476 | 1057.9088 | 1473.1564
COLL 1 | 180 | 17.1 | 196 | 765.6 | 18 | 132 | 79 | 4934.2383 | 217.1745 | 504.6737 | 721.8482
CMPK 1 | 1300 | 20.9 | 783.84 | 2435.73 | 22 | 1086 | 358 | 30008.7223 | 868.5208 | 1700.7923 | 2569.3131
CMPK 2 | 1300 | 20.9 | 844.19 | 2375.73 | 22 | 1102 | 361 | 30432.2057 | 935.3906 | 1706.0473 | 2641.4379
DEC 1 | 825 | 22.8 | 341 | 2744.3 | 24 | 747 | 388 | 20249.4999 | 377.8393 | 2578.3581 | 2956.1975
DEC CT A | 51 | 13.5 | 58.283 | 63.93 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
DEC CT B | 51 | 13.5 | 59.317 | 64.276 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
DEC CT C | 51 | 13.5 | 59.317 | 64.276 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
DEC CT D | 51 | 13.5 | 62 | 64 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
EGMT 1 | 112 | 15 | 215.8 | 520 | 15.5 | 114 | 47 | 4593.047 | 230.4264 | 590.3001 | 820.7265
EGMT 2 | 210 | 19 | 254.75 | 839.85 | 20 | 168 | 102 | 5673.6232 | 282.2715 | 663.9151 | 946.1866
EGMT 3 | 390 | 19 | 216.627 | 1268.339 | 20 | 323 | 153 | 10317.3802 | 240.0299 | 961.3321 | 1201.362
GRAM 1 | 280 | 19 | 159.362 | 1027.459 | 20 | 223 | -1 | 6437.5202 | 176.5784 | 588.1852 | 764.7636
GRAM 2 | 400 | 21 | 262.2 | 1131.5 | 22 | 364 | 50 | 9642.2223 | 287.766 | 869.8587 | 1157.6247
HAND 1 | 50 | 12.47 | 154.44 | 143.29 | 13 | 0 | 0 | 0 | 0 | 0 | 0
HAND 2 | 75 | 12.47 | 113 | 270.15 | 13 | 71 | 1 | 3153.5334 | 122.8096 | 222.8084 | 345.6179
HAND 3 | 460 | 18.1 | 288.67 | 1577.048 | 19 | 354 | 131 | 11469.8609 | 318.0912 | 963.6603 | 1281.7515
HAND 4 | 500 | 24.7 | 199.596 | 1392.607 | 26 | 437 | -3 | 9704.1543 | 221.159 | 960.1059 | 1181.2649
HAND 5 | 500 | 24.7 | 189.401 | 1409.23 | 26 | 427 | 48 | 9541.5886 | 209.8626 | 939.2872 | 1149.1498
LCRK 1 | 100 | 13.2 | 165 | 195 | 13.8 | 80 | 43 | 3799.8017 | 180.3409 | 147.1721 | 327.513
LCRK 2 | 250 | 19 | 170.445 | 718.294 | 20 | 193 | 80 | 6031.1 | 188.8587 | 452.7346 | 641.5934
LKHB 1 | 615 | 22 | 355.88 | 1550.208 | 24 | 341 | 149 | 8952.0973 | 423.5266 | 476.9314 | 900.458
LKHB 2 | 580 | 20.9 | 263.04 | 1682 | 22 | 497 | 246 | 14553.1466 | 291.4571 | 1387.7066 | 1679.1636
MTNLK 1 | 800 | 19 | 385.4 | 2119.92 | 20 | 746 | 185 | 22187.4777 | 427.036 | 1765.972 | 2193.008
MTNLK 2 | 800 | 19 | 387.3 | 2101.56 | 20 | 748 | 190 | 22278.6146 | 429.1413 | 1765.0891 | 2194.2304
MTNLK 3 | 800 | 19 | 318.8 | 2068.07 | 20 | 749 | 194 | 22335.2673 | 353.241 | 1745.8062 | 2099.0472
MOSES 1 | 600 | 17.1 | 370.527 | 1491.875 | 18 | 561 | 177 | 18868.453 | 410.5562 | 1294.2435 | 1704.7998
MOSES 2 | 600 | 17.1 | 370 | 1500 | 18 | 557 | 150 | 18502.2799 | 409.9723 | 1251.2749 | 1661.2472
MOSES 3 | 800 | 22.8 | 417.482 | 1836.397 | 24 | 740 | 213 | 18524.399 | 462.5839 | 1535.5565 | 1998.1404
MRGN CT A | 51 | 13.2 | 56.696 | 181.693 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN CT B | 51 | 13.2 | 57.364 | 181.234 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN CT C | 51 | 13.2 | 57.263 | 180.048 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN CT D | 51 | 13.2 | 56.804 | 179.856 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN CT E | 51 | 13.2 | 57.335 | 183.891 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN CT F | 51 | 13.2 | 57.222 | 178.088 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN 2 | 22 | 12.47 | 65.76 | 87.8 | 13.2 | 0 | 0 | 0 | 0 | 0 | 0
MRGN 4 | 68 | 13.2 | 134.4 | 178.8 | 13.8 | 65 | 1 | 2719.7252 | 146.8959 | 149.5095 | 296.4054
MRGN 5 | 200 | 19 | 177.038 | 645.9 | 20 | 162 | -12 | 4689.3496 | 196.164 | 384.5555 | 580.7194
MRGN 6 | 535 | 21 | 291.2 | 1785 | 22 | 481 | -26 | 12641.4041 | 319.5937 | 1318.503 | 1638.0967
MTCK 3 | 66 | 13.2 | 173.79 | 207.65 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MTCK 6 | 150 | 13.2 | 110.58 | 717.32 | 13.8 | 114 | 63 | 5449.2561 | 120.8612 | 494.8505 | 615.7117
MTCK 7 | 140 | 14.4 | 122.7 | 540.6 | 15 | 123 | 57 | 5217.9178 | 133.138 | 467.1547 | 600.2927
MTCK 8 | 625 | 20.9 | 356.787 | 1536.193 | 22 | 536 | 326 | 16463.751 | 395.3319 | 1396.8737 | 1792.2056
NLK 1 | 200 | 13.2 | 153.84 | 648.821 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
NLK 2 | 200 | 17.1 | 129.1 | 703.8 | 18 | 165 | 98 | 6155.4787 | 143.0471 | 584.8256 | 727.8727
NLK 3 | 370 | 19 | 245 | 1271 | 20 | 347 | 181 | 11297.8612 | 271.4681 | 1283.4029 | 1554.8711
PARK 1 | 60 | 13.2 | 79 | 183 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
PARK 2 | 150 | 13.2 | 193.4 | 754.7 | 13.8 | 93 | 37 | 4187.4612 | 211.3814 | 307.4415 | 518.8229
PARK 3 | 150 | 14.4 | 120.635 | 686.2 | 15 | 112 | 78 | 5253.2882 | 130.8974 | 523.5726 | 654.4699
PB 5 | 140 | 13.2 | 166.8 | 523.512 | 13.8 | 109 | 7 | 4569.6244 | 182.3083 | 291.5417 | 473.85
PB 6 | 560 | 18 | 202.514 | 1712.217 | 18 | 514 | 4 | 16487.0569 | 202.514 | 1442.5647 | 1645.0787
PB CT A | 51 | 13.2 | 56.042 | 181.393 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
PB CT B | 51 | 13.2 | 57.471 | 181.163 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
PB CT C | 51 | 13.2 | 56.01 | 180.164 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
PB CT D | 51 | 13.5 | 59.317 | 64.276 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
PB CT E | 51 | 13.5 | 59.525 | 65.142 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
RCST 1 | 130 | 13.2 | 195.24 | 647.7 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
SANDOW 4 | 642 | 20.9 | 250 | 1496.493 | 22 | 556 | 167 | 15235.1856 | 277.0083 | 1104.3684 | 1381.3767
STRYK 1 | 200 | 13.2 | 142.72 | 729.5 | 13.8 | 175 | -5 | 7324.4586 | 155.9894 | 511.4291 | 667.4186
STRYK 2 | 550 | 18.2 | 299.742 | 1639.672 | 19 | 458 | 152 | 14663.6025 | 326.6721 | 1158.1825 | 1484.8546
THSE 1 | 650 | 17.1 | 383.7 | 2046.565 | 18 | 535 | 260 | 19079.2424 | 425.1524 | 1546.8014 | 1971.9538
THSE 2 | 736.6 | 22.8 | 375.4 | 2109.9 | 24 | 715 | 291 | 18570.2183 | 415.9557 | 2091.3341 | 2507.2897
TDAD 6 | 265 | 21 | 276.587 | 1162.772 | 22 | 220 | 60 | 5984.369 | 303.5558 | 784.5116 | 1088.0674
VAL 1 | 200 | 19 | 137.7 | 709.344 | 20 | 152 | 0 | 4387.862 | 152.5762 | 369.7697 | 522.3459
VAL 2 | 600 | 20.9 | 265 | 1495 | 22 | 481 | 134 | 13103.6607 | 293.6288 | 934.4107 | 1228.0395
VAL 3 | 400 | 20.8 | 255 | 1316.2 | 22 | 360 | 35 | 9492.0947 | 285.2718 | 961.9975 | 1247.2693
[9 empty] | TOTAL ALL UNITS |  | 59516.9454

## D (2)
UNIT MAIN LOSSES 1700 HOURS 08/05/96
| STEPUP XFMR TEST DATA |  |  |  | GENERATOR OUTPUT |  |  |  | XFMR LOSSES
| BASE | LOW | NO LOAD | FULL LOAD | TERMINAL | REAL | REACTIVE
UNIT | RATING | SIDE | LOSS | LOSS | VOLTAGE | POWER | POWER | CURRENT | NO LOAD | AT LOAD | TOTAL
| MVA | kV | kW | kW | kV | MW | MVAR | A | kW | kW | kW
BBRN 1 | 600 | 17.1 | 410.646 | 1485.975 | 18 | 571 | 26 | 18333.8103 | 455.0094 | 1217.1047 | 1672.1141
BBRN 2 | 600 | 17.1 | 374.761 | 1423.391 | 18 | 529 | -96 | 17244.8179 | 415.2476 | 1031.4601 | 1446.7077
COLL 1 | 180 | 17.1 | 196 | 765.6 | 18 | 134 | 74 | 4909.8876 | 217.1745 | 499.7048 | 716.8793
CMPK 1 | 1300 | 20.9 | 783.84 | 2435.73 | 22 | 1085 | 273 | 29361.3612 | 868.5208 | 1628.2033 | 2496.7241
CMPK 2 | 1300 | 20.9 | 844.19 | 2375.73 | 22 | 1104 | 289 | 29948.728 | 935.3906 | 1652.2698 | 2587.6604
DEC 1 | 825 | 22.8 | 341 | 2744.3 | 24 | 729 | 382 | 19798.8291 | 377.8393 | 2464.8679 | 2842.7072
DEC CT A | 51 | 13.5 | 58.283 | 63.93 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
DEC CT B | 51 | 13.5 | 59.317 | 64.276 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
DEC CT C | 51 | 13.5 | 59.317 | 64.276 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
DEC CT D | 51 | 13.5 | 62 | 64 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
EGMT 1 | 112 | 15 | 215.8 | 520 | 15.5 | 114 | 33 | 4420.6497 | 230.4264 | 546.8186 | 777.245
EGMT 2 | 210 | 19 | 254.75 | 839.85 | 20 | 168 | 37 | 4965.9675 | 282.2715 | 508.6269 | 790.8984
EGMT 3 | 390 | 19 | 216.627 | 1268.339 | 20 | 345 | 132 | 10663.3719 | 240.0299 | 1026.8895 | 1266.9194
GRAM 1 | 280 | 19 | 159.362 | 1027.459 | 20 | 230 | -11 | 6647.1172 | 176.5784 | 627.1098 | 803.6882
GRAM 2 | 400 | 21 | 262.2 | 1131.5 | 22 | 371 | 54 | 9838.8181 | 287.766 | 905.6915 | 1193.4575
HAND 1 | 50 | 12.47 | 154.44 | 143.29 | 13 | 0 | 0 | 0 | 0 | 0 | 0
HAND 2 | 75 | 12.47 | 113 | 270.15 | 13 | 70 | -2 | 3110.0778 | 122.8096 | 216.7101 | 339.5197
HAND 3 | 460 | 18.1 | 288.67 | 1577.048 | 19 | 359 | 117 | 11473.6037 | 318.0912 | 964.2893 | 1282.3805
HAND 4 | 500 | 24.7 | 199.596 | 1392.607 | 26 | 436 | 178 | 10457.4841 | 221.159 | 1114.9571 | 1336.1161
HAND 5 | 500 | 24.7 | 189.401 | 1409.23 | 26 | 427 | 133 | 9931.1734 | 209.8626 | 1017.5556 | 1227.4182
LCRK 1 | 100 | 13.2 | 165 | 195 | 13.8 | 83 | 51 | 4075.6173 | 180.3409 | 169.3131 | 349.654
LCRK 2 | 250 | 19 | 170.445 | 718.294 | 20 | 218 | 121 | 7197.5111 | 188.8587 | 644.7857 | 833.6444
LKHB 1 | 615 | 22 | 355.88 | 1550.208 | 24 | 341 | 93 | 8502.7909 | 423.5266 | 430.2584 | 853.785
LKHB 2 | 580 | 20.9 | 263.04 | 1682 | 22 | 509 | 249 | 14870.4692 | 291.4571 | 1448.8825 | 1740.3396
MTNLK 1 | 800 | 19 | 385.4 | 2119.92 | 20 | 759 | 178 | 22504.9069 | 427.036 | 1816.8639 | 2243.8999
MTNLK 2 | 800 | 19 | 387.3 | 2101.56 | 20 | 756 | 177 | 22414.0023 | 429.1413 | 1786.6073 | 2215.7486
MTNLK 3 | 800 | 19 | 318.8 | 2068.07 | 20 | 0 | 0 | 0 | 0 | 0 | 0
MOSES 1 | 600 | 17.1 | 370.527 | 1491.875 | 18 | 557 | 165 | 18633.182 | 410.5562 | 1262.1689 | 1672.7251
MOSES 2 | 600 | 17.1 | 370 | 1500 | 18 | 553 | 167 | 18528.6454 | 409.9723 | 1254.8435 | 1664.8158
MOSES 3 | 800 | 22.8 | 417.482 | 1836.397 | 24 | 741 | 167 | 18272.7851 | 462.5839 | 1494.1254 | 1956.7093
MRGN CT A | 51 | 13.2 | 56.696 | 181.693 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN CT B | 51 | 13.2 | 57.364 | 181.234 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN CT C | 51 | 13.2 | 57.263 | 180.048 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN CT D | 51 | 13.2 | 56.804 | 179.856 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN CT E | 51 | 13.2 | 57.335 | 183.891 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN CT F | 51 | 13.2 | 57.222 | 178.088 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN 2 | 22 | 12.47 | 65.76 | 87.8 | 13.2 | 0 | 0 | 0 | 0 | 0 | 0
MRGN 4 | 68 | 13.2 | 134.4 | 178.8 | 13.8 | 62 | -2 | 2595.2417 | 146.8959 | 136.1365 | 283.0323
MRGN 5 | 200 | 19 | 177.038 | 645.9 | 20 | 170 | -5 | 4909.5994 | 196.164 | 421.5275 | 617.6914
MRGN 6 | 535 | 21 | 291.2 | 1785 | 22 | 482 | -5 | 12649.9001 | 319.5937 | 1320.2759 | 1639.8695
MTCK 3 | 66 | 13.2 | 173.79 | 207.65 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MTCK 6 | 150 | 13.2 | 110.58 | 717.32 | 13.8 | 114 | 50 | 5207.9894 | 120.8612 | 452.0013 | 572.8625
MTCK 7 | 140 | 14.4 | 122.7 | 540.6 | 15 | 125 | 49 | 5167.706 | 133.138 | 458.2071 | 591.3451
MTCK 8 | 625 | 20.9 | 356.787 | 1536.193 | 22 | 502 | 300 | 15347.3107 | 395.3319 | 1213.8475 | 1609.1794
NLK 1 | 200 | 13.2 | 153.84 | 648.821 | 13.8 | 163 | 75 | 7506.6775 | 168.1433 | 477.7817 | 645.925
NLK 2 | 200 | 17.1 | 129.1 | 703.8 | 18 | 165 | 86 | 5968.108 | 143.0471 | 549.7637 | 692.8108
NLK 3 | 370 | 19 | 245 | 1271 | 20 | 348 | 180 | 11310.1724 | 271.4681 | 1286.2015 | 1557.6696
PARK 1 | 60 | 13.2 | 79 | 183 | 13.8 | 73 | 39 | 3462.6259 | 86.345 | 318.5876 | 404.9326
PARK 2 | 150 | 13.2 | 193.4 | 754.7 | 13.8 | 82 | 73 | 4593.1208 | 211.3814 | 369.8935 | 581.2749
PARK 3 | 150 | 14.4 | 120.635 | 686.2 | 15 | 109 | 50 | 4615.754 | 130.8974 | 404.2032 | 535.1006
PB 5 | 140 | 13.2 | 166.8 | 523.512 | 13.8 | 108 | -5 | 4523.2331 | 182.3083 | 285.6522 | 467.9605
PB 6 | 560 | 18 | 202.514 | 1712.217 | 18 | 513 | -7 | 16456.0144 | 202.514 | 1437.1375 | 1639.6515
PB CT A | 51 | 13.2 | 56.042 | 181.393 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
PB CT B | 51 | 13.2 | 57.471 | 181.163 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
PB CT C | 51 | 13.2 | 56.01 | 180.164 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
PB CT D | 51 | 13.5 | 59.317 | 64.276 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
PB CT E | 51 | 13.5 | 59.525 | 65.142 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
RCST 1 | 130 | 13.2 | 195.24 | 647.7 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
SANDOW 4 | 642 | 20.9 | 250 | 1496.493 | 22 | 558 | 173 | 15331.3494 | 277.0083 | 1118.3538 | 1395.3621
STRYK 1 | 200 | 13.2 | 142.72 | 729.5 | 13.8 | 175 | -8 | 7329.117 | 155.9894 | 512.0799 | 668.0693
STRYK 2 | 550 | 18.2 | 299.742 | 1639.672 | 19 | 466 | 98 | 14470.0155 | 326.6721 | 1127.804 | 1454.4761
THSE 1 | 650 | 17.1 | 383.7 | 2046.565 | 18 | 535 | 201 | 18331.2569 | 425.1524 | 1427.8967 | 1853.0491
THSE 2 | 736.6 | 22.8 | 375.4 | 2109.9 | 24 | 686 | 285 | 17870.1107 | 415.9557 | 1936.6176 | 2352.5733
TDAD 6 | 265 | 21 | 276.587 | 1162.772 | 22 | 231 | 8 | 6065.8122 | 303.5558 | 806.0103 | 1109.5661
VAL 1 | 200 | 19 | 137.7 | 709.344 | 20 | 162 | 0 | 4676.5372 | 152.5762 | 420.024 | 572.6002
VAL 2 | 600 | 20.9 | 265 | 1495 | 22 | 519 | 147 | 14156.008 | 293.6288 | 1090.5212 | 1384.15
VAL 3 | 400 | 20.8 | 255 | 1316.2 | 22 | 329 | 13 | 8640.7485 | 285.2718 | 797.173 | 1082.4448
[9 empty] | TOTAL ALL UNITS |  | 58023.3544

## E (2)
UNIT MAIN LOSSES 1700 HOURS 09/10/96
| STEPUP XFMR TEST DATA |  |  |  | GENERATOR OUTPUT |  |  |  | XFMR LOSSES
| BASE | LOW | NO LOAD | FULL LOAD | TERMINAL | REAL | REACTIVE
UNIT | RATING | SIDE | LOSS | LOSS | VOLTAGE | POWER | POWER | CURRENT | NO LOAD | AT LOAD | TOTAL
| MVA | kV | kW | kW | kV | MW | MVAR | A | kW | kW | kW
BBRN 1 | 600 | 17.1 | 410.646 | 1485.975 | 18 | 494 | 87 | 16088.9055 | 455.0094 | 937.2932 | 1392.3026
BBRN 2 | 600 | 17.1 | 374.761 | 1423.391 | 18 | 536 | 87 | 17417.2057 | 415.2476 | 1052.1851 | 1467.4328
COLL 1 | 180 | 17.1 | 196 | 765.6 | 18 | 137 | 33 | 4519.9603 | 217.1745 | 423.4866 | 640.6611
CMPK 1 | 1300 | 20.9 | 783.84 | 2435.73 | 22 | 1088 | 248 | 29284.9589 | 868.5208 | 1619.7407 | 2488.2615
CMPK 2 | 1300 | 20.9 | 844.19 | 2375.73 | 22 | 1103 | 236 | 29601.4039 | 935.3906 | 1614.1683 | 2549.5589
DEC 1 | 825 | 22.8 | 341 | 2744.3 | 24 | 739 | 303 | 19213.861 | 377.8393 | 2321.3676 | 2699.207
DEC CT A | 51 | 13.5 | 58.283 | 63.93 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
DEC CT B | 51 | 13.5 | 59.317 | 64.276 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
DEC CT C | 51 | 13.5 | 59.317 | 64.276 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
DEC CT D | 51 | 13.5 | 62 | 64 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
EGMT 1 | 112 | 15 | 215.8 | 520 | 15.5 | 114 | 6 | 4252.1954 | 230.4264 | 505.9382 | 736.3647
EGMT 2 | 210 | 19 | 254.75 | 839.85 | 20 | 168 | 10 | 4858.3262 | 282.2715 | 486.8161 | 769.0876
EGMT 3 | 390 | 19 | 216.627 | 1268.339 | 20 | 351 | 102 | 10551.6586 | 240.0299 | 1005.4861 | 1245.516
GRAM 1 | 280 | 19 | 159.362 | 1027.459 | 20 | 0 | 0 | 0 | 0 | 0 | 0
GRAM 2 | 400 | 21 | 262.2 | 1131.5 | 22 | 319 | 30 | 8408.5176 | 287.766 | 661.5052 | 949.2712
HAND 1 | 50 | 12.47 | 154.44 | 143.29 | 13 | 0 | 0 | 0 | 0 | 0 | 0
HAND 2 | 75 | 12.47 | 113 | 270.15 | 13 | 69 | -2 | 3065.6846 | 122.8096 | 210.5676 | 333.3772
HAND 3 | 460 | 18.1 | 288.67 | 1577.048 | 19 | 0 | 0 | 0 | 0 | 0 | 0
HAND 4 | 500 | 24.7 | 199.596 | 1392.607 | 26 | 406 | 114 | 9364.2065 | 221.159 | 894.0168 | 1115.1758
HAND 5 | 500 | 24.7 | 189.401 | 1409.23 | 26 | 405 | 90 | 9212.7227 | 209.8626 | 875.655 | 1085.5176
LCRK 1 | 100 | 13.2 | 165 | 195 | 13.8 | 81 | 14 | 3439.0401 | 180.3409 | 120.5531 | 300.894
LCRK 2 | 250 | 19 | 170.445 | 718.294 | 20 | 0 | 0 | 0 | 0 | 0 | 0
LKHB 1 | 615 | 22 | 355.88 | 1550.208 | 24 | 0 | 0 | 0 | 0 | 0 | 0
LKHB 2 | 580 | 20.9 | 263.04 | 1682 | 22 | 398 | 54 | 10540.4899 | 291.4571 | 727.9565 | 1019.4136
MTNLK 1 | 800 | 19 | 385.4 | 2119.92 | 20 | 721 | 85 | 20957.616 | 427.036 | 1575.6208 | 2002.6568
MTNLK 2 | 800 | 19 | 387.3 | 2101.56 | 20 | 666 | 152 | 19720.1251 | 429.1413 | 1382.96 | 1812.1012
MTNLK 3 | 800 | 19 | 318.8 | 2068.07 | 20 | 724 | 86 | 21047.0109 | 353.241 | 1550.2244 | 1903.4654
MOSES 1 | 600 | 17.1 | 370.527 | 1491.875 | 18 | 558 | 108 | 18230.0119 | 410.5562 | 1208.1401 | 1618.6964
MOSES 2 | 600 | 17.1 | 370 | 1500 | 18 | 540 | 85 | 17533.7711 | 409.9723 | 1123.7065 | 1533.6788
MOSES 3 | 800 | 22.8 | 417.482 | 1836.397 | 24 | 703 | 123 | 17168.4533 | 462.5839 | 1318.9851 | 1781.569
MRGN CT A | 51 | 13.2 | 56.696 | 181.693 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN CT B | 51 | 13.2 | 57.364 | 181.234 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN CT C | 51 | 13.2 | 57.263 | 180.048 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN CT D | 51 | 13.2 | 56.804 | 179.856 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN CT E | 51 | 13.2 | 57.335 | 183.891 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN CT F | 51 | 13.2 | 57.222 | 178.088 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MRGN 2 | 22 | 12.47 | 65.76 | 87.8 | 13.2 | 0 | 0 | 0 | 0 | 0 | 0
MRGN 4 | 68 | 13.2 | 134.4 | 178.8 | 13.8 | 68 | 7 | 2859.9483 | 146.8959 | 165.3237 | 312.2196
MRGN 5 | 200 | 19 | 177.038 | 645.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0
MRGN 6 | 535 | 21 | 291.2 | 1785 | 22 | 457 | -12 | 11997.2736 | 319.5937 | 1187.5602 | 1507.1538
MTCK 3 | 66 | 13.2 | 173.79 | 207.65 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
MTCK 6 | 150 | 13.2 | 110.58 | 717.32 | 13.8 | 113 | 30 | 4891.3491 | 120.8612 | 398.7097 | 519.5709
MTCK 7 | 140 | 14.4 | 122.7 | 540.6 | 15 | 124 | 30 | 4910.4575 | 133.138 | 413.7234 | 546.8615
MTCK 8 | 625 | 20.9 | 356.787 | 1536.193 | 22 | 523 | 147 | 14257.0363 | 395.3319 | 1047.5098 | 1442.8416
NLK 1 | 200 | 13.2 | 153.84 | 648.821 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
NLK 2 | 200 | 17.1 | 129.1 | 703.8 | 18 | 146 | 23 | 4740.7046 | 143.0471 | 346.8874 | 489.9345
NLK 3 | 370 | 19 | 245 | 1271 | 20 | 346 | 163 | 11041.022 | 271.4681 | 1225.7139 | 1497.182
PARK 1 | 60 | 13.2 | 79 | 183 | 13.8 | 75 | 35 | 3462.6259 | 86.345 | 318.5876 | 404.9326
PARK 2 | 150 | 13.2 | 193.4 | 754.7 | 13.8 | 103 | 68 | 5163.6049 | 211.3814 | 467.4842 | 678.8656
PARK 3 | 150 | 14.4 | 120.635 | 686.2 | 15 | 0 | 0 | 0 | 0 | 0 | 0
PB 5 | 140 | 13.2 | 166.8 | 523.512 | 13.8 | 104 | -3 | 4352.8554 | 182.3083 | 264.5381 | 446.8463
PB 6 | 560 | 18 | 202.514 | 1712.217 | 18 | 514 | -9 | 16489.0848 | 202.514 | 1442.9196 | 1645.4336
PB CT A | 51 | 13.2 | 56.042 | 181.393 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
PB CT B | 51 | 13.2 | 57.471 | 181.163 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
PB CT C | 51 | 13.2 | 56.01 | 180.164 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
PB CT D | 51 | 13.5 | 59.317 | 64.276 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
PB CT E | 51 | 13.5 | 59.525 | 65.142 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
RCST 1 | 130 | 13.2 | 195.24 | 647.7 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
SANDOW 4 | 642 | 20.9 | 250 | 1496.493 | 22 | 554 | 99 | 14769.0438 | 277.0083 | 1037.8228 | 1314.8311
STRYK 1 | 200 | 13.2 | 142.72 | 729.5 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0
STRYK 2 | 550 | 18.2 | 299.742 | 1639.672 | 19 | 67 | 5 | 2041.5807 | 326.6721 | 22.4506 | 349.1227
THSE 1 | 650 | 17.1 | 383.7 | 2046.565 | 18 | 510 | 212 | 17715.2837 | 425.1524 | 1333.5476 | 1758.7
THSE 2 | 736.6 | 22.8 | 375.4 | 2109.9 | 24 | 640 | 210 | 16203.6376 | 415.9557 | 1592.2616 | 2008.2173
TDAD 6 | 265 | 21 | 276.587 | 1162.772 | 22 | 230 | 16 | 6050.5219 | 303.5558 | 801.9519 | 1105.5077
VAL 1 | 200 | 19 | 137.7 | 709.344 | 20 | 153 | 9 | 4424.3644 | 152.5762 | 375.9474 | 528.5236
VAL 2 | 600 | 20.9 | 265 | 1495 | 22 | 490 | 65 | 12971.812 | 293.6288 | 915.7013 | 1209.3301
VAL 3 | 400 | 20.8 | 255 | 1316.2 | 22 | 249 | 148 | 7601.698 | 285.2718 | 616.98 | 902.2518
[9 empty] | TOTAL ALL UNITS |  | 48112.5356